(B) Description and rate of Item based on Market (offered Rates)

| S.NO | DESCRIPTION OF WORK / ITEM | QTY. | RATE |  | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Rate in Rupees | Rate in Words |  |  |
|  | Rewinding of electrical motor 3 phase 400/440 volts 50 cycle with best quantity insolated copper wire of required guage including testing on load with satisfactory result up to one week time opening and refitting and replacing the bolts if necessary excluding the cost of worn out material Ghosia P/S, Teinery road P/S & Ej-18 P/S. | (40 Hp) 3 No |  |  | Per job |  |
|  | Roller Bearing No.845376, S.K.F. Ghosia P/S Teinery Road P/S & Ej-18 P/S. | 03 No |  |  | each |  |
|  | Labour charges and transportation from site to workshop and workshop to site. | 03 Jobs |  |  | each Job |  |
|  | Providing Fixing O Ring Kit Ghosia P/S Teinery Road P/S & Ej-18 P/S. | 03 No |  |  | Each |  |
|  | Providing & Fixing thermal production switch Ghosia P/S Teinery Road P/S & Ej-18 P/S. | 03 No |  |  | Each |  |
|  | Providing Upper mechanical Seal Part No.3840367 Ghosia P/S Teinery Road P/S & Ej-18 P/S. | 03 No |  |  | Each |  |
|  | Providing Lower mechanical Seal Part No.6831400 Ghosia P/S Teinery Road P/S & Ej-18 P/S. | 03 No. |  |  | Each |  |
|  | Providing Washer part No.3921500 Ghosia P/S Teinery Road P/S & Ej-18 P/S. | 03 No |  |  | Each |  |
|  | P/F Magnetic contractor model No.FC50NC as required & as per instruction of E/I required at panel board Ghosia P/S Teinery Road P/S & Ej-18 P/S. | 03 No |  |  | Each |  |
|  | P/F Magnetic contractor Model No.FC65NC as required and as per instruction of E/I on prepared board as required for Ghosia P/S Teinery Road P/S & Ej-18 P/S. | 06 No |  |  | Each |  |
|  | P/F Circuit breaker 100amp TP (XS-100NS) on prepared board as required for Ghosia P/S Tannery Road P/S & Ej-18 P/S. | 03 No |  |  | Each |  |
| 12 | P/F circuit breaker 200amp TP No.(XS-225NS) on prepared board as required for Ghosia P/S Tannery Road P/S & Ej-18 P/S. | 03 Nos |  |  | Each |  |
| 13 | 415V AC,3 – Phase, 50Hz under & over voltage relay with phase failure phase shift, phase flickering, asymmetric, phase sequence, contractor control / wire break switch off time delay (Zahra) Ghosia P/S Teinery Road P/S & Ej-18 P/S. | 04 Nos. |  |  | Each |  |
| 14 | Providing and lying (main or sub main) PVC insulated & PVC sheetedwith four core copper conductor 600/1000 volts size 25mm 2 (cable from motor to panel board) Teinery Road P/S & Ej-18 P/S. | 50 m |  |  | P/m |  |
| 15 | P/F Timer 500 Hours Power Backup (National) after removing of existing burnt / damaged / old timer after disconnection of main power supply and reconnection the same after fixing the timer as required as per instruction of E/I Ghosia P/S Teinery Road P/S & Ej-18 P/S. | 03 No |  |  | Each |  |
| 16 | C.I Sluice Valve heavy pattern (Test Pressure) 21.0 Kg/Sq.cm or 300 lb/sq.inch (Imported) dia 8” Tannery Road P/S. | 02 No |  |  | Each |  |
|  | Total |  |  |  |  |  |

EXECUTIVE ENGINEER (SPD-I)

KW&SB.

I /we hereby quoted amounting toRs.___________Inwords)______________________________________________

Signature & stamp of Contractor

Address: ______________________________________________________

Contact#_______________