## Main
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Rehabilitation / Renovation of Building Earmarked for Safe House for Innocent Woman at Jam Nawaz Ali at Two Rooms in Revenue Rest House Jam Nawaz Ali District Sanghar.
S.# | Items of Work |  |  |  |  | Qty: |  | Rate | Unit | Amount
Part-A (Civil Work)
1 | Dismentaling Glazed or eracusi Tiles etc (S.I.No. 55 P.No 13) |  |  |  |  | 856 | Cft | 786.5 | %Sft | 6732
2 | Removing cement palster from walls (S.I.No. 53 P-13) |  |  |  |  | 1414 | Cft | 121 | %Sft | 1711
3 | Applying fleating coat of cement 1/32" thick (S.I.No.14 P-52) |  |  |  |  | 1414 | Cft | 660 | %Sft | 9332
4 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) |  |  |  |  | 1414 | Cft | 2206.6 | %Sft | 31201
5 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) |  |  |  |  | 1414 | Sft | 2197.52 | %Sft | 31073
6 | Laying white marble flooring fine dreosed in the surface wihtout winging set in line mortar 1:2: I/c rubbing and polishing of the joint (28-P/ (a) 3/4" thick flooring (S.I.No.28 P-42) |  |  |  |  | 712 | Sft | 567.48 | P.Sft | 404046
7 | Providing and Fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" / 6" x 4" in dado skirting and facing removal / tucking of existing plaster surface etc. over 1/2" thick base of cement mortar 1:3 setting of tils in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry, currient finishing cleaning and (New work) (S.I.No 68 P.No 48) |  |  |  |  | 202 | Sft | 186.04 | P.Sft | 37580
8 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) |  |  |  |  | 144 | Sft | 27747.06 | %Sft | 39956
9 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand morter 3/4" thick i/c finishing (S.I.No 38 P.No 44) |  |  |  |  | 588 | Sft | 28299.3 | %Sft | 166400
10 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) |  |  |  |  | 81 | Sft | 1273.76 | P.Sft | 103174.56
11 | Galvonized wire guaze fixed to chowkats with 3/4" deodar strip and screws (S.I.No 14-D-P.No: 59) |  |  |  |  | 64 | Sft | 190.72 | P.Sft | 12206
12 | Supplying and fixing in position Aluminium channles framing of binged door of Alcp mads with 5 mm their tinted glaze glazing belgium and Alpha (Japan) locke I/c handle stopperetc (b) lurs modle Bronze) (S.I.No. 83-B-P-107) |  |  |  |  | 74 | Sft | 1507.66 | P.Sft | 111567
13 | Supplying and fixing in position Aluminium channles framing of binged door of Alcp mads with 5 mm their tinted glaze glazing belgium and Alpha (Japan) locke I/c handle stopperetc (b) lurs modle Bronze) (S.I.No. 84-b-P-107) |  |  |  |  | 64 | Sft | 1647.69 | P.Sft | 105452
14 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . |  |  |  |  | 187 | Cft | 14429.25 | %Cft | 26982.6975
15 | Supplying and fixing false ceilling of paster of paris in pannel I/c making fram work of deodar wood I/c pointing with galigia paint (S.I.No. 52 P-63) |  |  |  |  | 448 | Sft | 25293.42 | %Sft | 113315
16 | Providing and fixing palster of paris ceilling bordar of 5"x10" with of specified design and thickness I/c fixing beside ceilling with nails screws with getties (S.I.No. 44 P-38) |  |  |  |  | 240 | Sft | 104.22 | P.Rft | 25013
17 | Providing and Lying C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-d-P.No 42) 2" thick |  |  |  |  | 1000 | Sft | 3275.5 | %Sft | 32755
18 | Distempering 3 Coats (S.I.No 24-C-P.No 54) |  |  |  |  | 920 | Cft | 1079.65 | %Sft | 9933
19 | Preparing / Painting Doors windows (New Surface) (S.I.No 5-C-P.No 69) |  |  |  |  | 138 | Sft | 2116.41 | %Sft | 2921
20 | Painting New Surface (d) Preparing Surface and painting Guard Bars of iron gate (S.I.No. 5-d-P.No. …..) |  |  |  |  | 275 | Sft | 1270.83 | %Sft | 3495
21 | Preparing the surface and painting with Matt Finish i/c rubbing the surface with Bathy (Silicon carbide rubbing brick) filling th evoids with zink / chalk / plaster of paris mixture, applying first coat premix, making the surface smooth and then painting 3 Coats with matt finish of approved make etc complete (New Surface) (S.I.No 36 P.No 54) |  |  |  |  | 2826 | Sft | 3444.38 | %Sft | 97338
22 | Providing and laying Hala or astern tile glazed 8”x8” x ¼” on floor wall i/c in required colour and pattern of stile specification joint in whit cement pigment over a base of 1.2 grey cement marter ¾” thick i/c washing and filling of joints with slarry of white gery of with cement etc complete (S.I.No 62 P.No 47) |  |  |  |  | 104 | Sft | 34520.31 | %Sft | 35901
23 | Preparing the surface and painting with Weather Coat of approved make to New weather coat surface (S.I.No: 38-B-P.No: 55) |  |  |  |  | 1521 | Sft | 2567.95 | %Sft | 39059
|  |  |  | Amount of Schedule Items |  |  |  |  | Total | 1447143.2575
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Deduct _________ % Below of Marble item rates oc CSR Rs:
Total (A)
Part-B ( W/S & S/F)
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe constructions & making good in cement concrete1:2:4 (W.C Pan o not less than 23" clear opening between flushing rins and 3 gallons flushing tank with 4" dia C.I Pipe (S.I.No 1-b-P.No 1) |  |  |  |  | 2 | Nos | 4846.6 | Each | 9693.2
2 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) |  |  |  |  | 2 | Nos | 4694.8 | Each | 9389.6
3 | Add: Extra for providing and fixing of earthen ware pedestal (S.I.No: 9 P.No: 03). |  |  |  |  | 2 | Nos | 938.47 | Each | 1876.94
4 | P/f: 6" X 2" or 6" X 3" C.I floor trap of the approved self cleaning design with a C.I srew down gating with out a vent arm complete with a nd I/c making requost number of holes in cement walls plinth and floor pipe connection and making good in c.c. 1:2:4 ratio (S.I.No 20 P.No 6) |  |  |  |  | 2 | Nos | 2042.43 | Each | 4084.86
5 | P/F 1/2" dia nyloon connection with peir of slip cock and jointed to nyloon connection (S.i.No 23 P.No 6) |  |  |  |  | 2 | Nos | 447.15 | Each | 894.3
6 | P/F Brass tower rail compelte 24" long 3/4" dia round superior quality (S.I.No 1(iii-B) P.No 7) |  |  |  |  | 2 | Nos | 1082.95 | Each | 2165.9
7 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| i) 1/2" dia |  |  |  |  | 20 | Rft | 73.21 | P.RRft | 1464.2
| ii) 3/4" dia |  |  |  |  | 20 | Rft | 95.79 | P.RRft | 1915.8
| iii) 1" dia |  |  |  |  | 20 | Rft | 128.55 | P.RRft | 2571
8 | Add: Extra labour for cancelled G.I Pipe and fitting 1/2" dia |  |  |  |  | 20 | Rft | 7.82 | P.RRft | 156.4
9 | P/F: Handle valve (Chine Make)
| a) 3/4" dia |  |  |  |  | 2 | Nos | 271.92 | P.No: | 543.84
| b) 1" dia |  |  |  |  | 2 | Nos | 365.42 | P.No: | 730.84
10 | S/F: long bib cock of superier quality with 1/2" thick c.p head (S.I.No 13-b-P.No 19) |  |  |  |  | 4 | Nos | 1109.46 | Each | 4437.84
11 | S/F: 1/2" Cancelled tee stop cock of superior quality with C.P head 1/2" (S.I.No: 14 P.No:14). |  |  |  |  | 2 | Nos | 889.46 | P.No: | 1778.92
12 | S/F: Cancelled stop cock of superier quality with c.p head 1/2" dia (S.I.No 11-b-P.No 18) |  |  |  |  | 2 | Nos | 509.74 | P.No: | 1019.48
13 | S/F: Jet shower with rod of superior quality with C.P handle 1/2" dia (S.I.No: 15 / P-19). |  |  |  |  | 2 | Nos | 1142.24 | P.No: | 2284.48
14 | S/F: sawan type of piler cock superier quality single C.P hea 1/2" dia (S.I.No 16-b-P.No 19) |  |  |  |  | 2 | Nos | 877.8 | P.No: | 1755.6
15 | UPVC pipe pressure pipe "B" Class fixing in tranches i/c cutting fitting etc complete 4" dia (S.I.No 4-b-P.no 23) |  |  |  |  | 5 | Nos | 136 | Each | 680
16 | UPVC fititing 4" dia of class "B"
| a) 4" dia Tee |  |  |  |  | 4 | Nos | 725 | Each | 2900
| b) 4" Elblow |  |  |  |  | 4 | Nos | 577 | Each | 2308
|  |  | Amount of Schedule Items |  |  |  |  | Total |  | 52651.2
Add: / Deduct _________ %Above / Below on Sanitary Items Rs:
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
Total Rs.
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR | [5 empty] | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Rehabilitation / Renovation of Building Earmarked For Safe House for Innocent Woman at Tnado Adam at Existing office Building of UC-IV Tnado Adam District Sanghar.
S.# | Items of Work |  |  |  |  | Qty: |  | Rate | Unit | Amount
Part-A (Civil Work)
1 | Dismentling RCC work in salb I/c sepraty(S.I.No. 20 P.No,10) |  |  |  |  | 469 | Cft | 5445 | %Cft | 25537
2 | Dismentling pacca brick work in cment send moter (S.I.No.13 P.No. 10) |  |  |  |  | 50 | Sft | 1285.63 | %Sft | 643
3 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) |  |  |  |  | 717 | Cft | 337 | P.Cft | 241629
4 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) Tar |  |  |  |  | 32.265 | cwt | 5001.7 | P.cwt | 161380
5 | Removing cement palster from walls (S.I.No. 53 P-13) |  |  |  |  | 2579 | Cft | 121 | %Sft | 3121
6 | Pacca Brick Work in ground floor with cement sand mortar ratio (1:6) (S.I.No 5 (e) Page No: 20) |  |  |  |  | 122 | Sft | 12674.36 | %Sft | 15463
7 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) |  |  |  |  | 2873 | Cft | 2206.6 | %Sft | 63396
8 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) |  |  |  |  | 2873 | Sft | 2197.52 | %Sft | 63135
9 | Applying fleating coat of cement 1/32" thick (S.I.No.14 P-52) |  |  |  |  | 2579 | Cft | 660 | %Sft | 17021
10 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No.4 ( C ) P-14) |  |  |  |  | 550 | Cft | 8694.95 | %Cft | 47822
11 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . |  |  |  |  | 412 | Cft | 14429.25 | %Cft | 59449
12 | Laying white marble flooring fine dreosed in the surface wihtout winging set in line mortar 1:2: I/c rubbing and polishing of the joint (28-P/ (a) 3/4" thick flooring (S.I.No.28 P-42) |  |  |  |  | 480 | Sft | 567.48 | P.Sft | 272390
13 | Providing and Fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" / 6" x 4" in dado skirting and facing removal / tucking of existing plaster surface etc. over 1/2" thick base of cement mortar 1:3 setting of tils in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry, currient finishing cleaning and (New work) (S.I.No 68 P.No 48) |  |  |  |  | 620 | Sft | 186.04 | P.Sft | 115345
14 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) |  |  |  |  | 55 | Sft | 27747.06 | %Sft | 15261
15 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand morter 3/4" thick i/c finishing (S.I.No 38 P.No 44) |  |  |  |  | 614 | Sft | 28299.3 | %Sft | 173758
16 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) |  |  |  |  | 224 | Sft | 1273.76 | P.Sft | 285322.24
17 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) |  |  |  |  | 256 | Sft | 180.5 | P.Sft | 46208
18 | Galvonized wire guaze fixed to chowkats with 3/4" deodar strip and screws (S.I.No 14-D-P.No: 59) |  |  |  |  | 150 | Sft | 190.72 | P.Sft | 28608
19 | Providing and Lying C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-d-P.No 42) 2" thick |  |  |  |  | 1092 | Sft | 3275.5 | %Sft | 35768
20 | Two Coat of Bitumen laid hot using 34 Lbs for % Sft over roof and blinded with sand at one C.ft Per % Sft (S.I.No 13 P.No 34) |  |  |  |  | 1092 | Sft | 1887.4 | %Sft | 20610
21 | Providing and laying Hala or astern tile glazed 8”x8” x ¼” on floor wall i/c in required colour and pattern of stile specification joint in whit cement pigment over a base of 1.2 grey cement marter ¾” thick i/c washing and filling of joints with slarry of white gery of with cement etc complete (S.I.No 62 P.No 47) |  |  |  |  | 116 | Sft | 34520.31 | %Sft | 40044
22 | White washing 3 coats (S.I.No 26-C-P.No 53) |  |  |  |  | 535 | Sft | 829.95 | %Sft | 4440
23 | Distempering 3 Coats (S.I.No 24-C-P.No 53) |  |  |  |  | 1084 | Sft | 1079.65 | %Sft | 11703
24 | Preparing the surface and painting with Matt Finish i/c rubbing the surface with Bathy (Silicon carbide rubbing brick) filling th evoids with zink / chalk / plaster of paris mixture, applying first coat premix, making the surface smooth and then painting 3 Coats with matt finish of approved make etc complete (New Surface) (S.I.No 36 P.No 54) |  |  |  |  | 1177 | Sft | 2499.76 | %Sft | 29422
25 | Preparing the surface and painting with Weather Coat of approved make to New weather coat surface (S.I.No: 38-B-P.No: 55) |  |  |  |  | 2008 | Sft | 2567.95 | %Sft | 51564
26 | Painting doors and windows any type three coats (S.I.No.4-c P-67) |  |  |  |  | 264 | Sft | 1662.21 | %Sft | 4388
|  |  |  | Amount of Schedule Items |  |  |  |  | Total | 1833427.24
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Deduct _________ % Below of Marble item rates oc CSR Rs:
Total (A)
Part-B ( W/S & S/F)
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe constructions & making good in cement concrete1:2:4 (W.C Pan o not less than 23" clear opening between flushing rins and 3 gallons flushing tank with 4" dia C.I Pipe (S.I.No 1-b-P.No 1) |  |  |  |  | 1 | Nos | 4846.6 | Each | 4846.6
2 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) |  |  |  |  | 1 | Nos | 4694.8 | Each | 4694.8
3 | Add: Extra for providing and fixing of earthen ware pedestal (S.I.No: 9 P.No: 03). |  |  |  |  | 1 | Nos | 938.47 | Each | 938.47
4 | P/F 1/2" dia nyloon connection with peir of slip cock and jointed to nyloon connection (S.i.No 23 P.No 6) |  |  |  |  | 2 | Nos | 447.15 | Each | 894.3
5 | P/F Brass tower rail compelte 24" long 3/4" dia round superior quality (S.I.No 1(iii-B) P.No 7) |  |  |  |  | 1 | Nos | 1082.95 | Each | 1082.95
6 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| i) 1/2" dia |  |  |  |  | 50 | Rft | 73.21 | P.RRft | 3660.5
| ii) 3/4" dia |  |  |  |  | 50 | Rft | 95.79 | P.RRft | 4789.5
| iii) 1" dia |  |  |  |  | 50 | Rft | 128.55 | P.RRft | 6427.5
6 | Add: Extra labour for cancelled G.I Pipe and fitting 1/2" dia |  |  |  |  | 30 | Rft | 7.82 | P.RRft | 234.6
7 | P/F: Handle valve (Chine Make)
| a) 3/4" |  |  |  |  | 2 | Nos | 271.92 | P.No: | 543.84
| b) 1" |  |  |  |  | 2 | Nos | 365.42 | P.No: | 730.84
8 | S/F: long bib cock of superier quality with 1/2" thick c.p head (S.I.No 13-b-P.No 19) |  |  |  |  | 4 | Nos | 1109.46 | Each | 4437.84
9 | S/F: 1/2" Cancelled tee stop cock of superior quality with C.P head 1/2" (S.I.No: 14 P.No:14). |  |  |  |  | 2 | Nos | 889.46 | P.No: | 1778.92
10 | S/F: Cancelled stop cock of superier quality with c.p head 1/2" dia (S.I.No 11-b-P.No 18) |  |  |  |  | 2 | Nos | 509.74 | P.No: | 1019.48
11 | S/F: Jet shower with rod of superior quality with C.P handle 1/2" dia (S.I.No: 15 / P-19). |  |  |  |  | 2 | Nos | 1142.24 | P.No: | 2284.48
12 | S/F: sawan type of piler cock superier quality single C.P hea 1/2" dia (S.I.No 16-b-P.No 19) |  |  |  |  | 2 | Nos | 877.8 | P.No: | 1755.6
13 | UPVC pipe pressure pipe "B" Class fixing in tranches i/c cutting fitting etc complete 4" dia (S.I.No 4-b-P.no 23) |  |  |  |  | 10 | Nos | 136 | Each | 1360
14 | UPVC fititing 4" dia of class "B"
| a) 4" dia Tee |  |  |  |  | 5 | Nos | 725 | Each | 3625
| b) 4" Elblow |  |  |  |  | 4 | Nos | 577 | Each | 2308
|  |  | Amount of Schedule Items | [5 empty] | Total | 47413.22
Add: / Deduct _________ %Above / Below on Sanitary Items Rs:
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
Total Rs.
Total (A+B)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR | [5 empty] | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Rehabilitation/Renovation of Building Earmarked for Safe House for Innocent at Shahdadpur Existing Office Building of UC-I Shahdadpur District Sanghar.
S.# | Items of Work |  |  |  |  | Qty: |  | Rate | Unit | Amount
Part-A (Civil Work)
1 | Dismentling pacca brick work in cment send moter (S.I.No.13 P.No. 10) |  |  |  |  | 113 | Sft | 1285.63 | %Sft | 1453
2 | Dismentling RCC work in salb I/c sepraty(S.I.No. 20 P.No,10) |  |  |  |  | 835 | Cft | 5445 | %Cft | 45466
3 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) |  |  |  |  | 1102 | Cft | 337 | P.Cft | 371374
4 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) Tar |  |  |  |  | 49.59 | cwt | 5001.7 | P.cwt | 248034
5 | Removing cement palster from walls (S.I.No. 53 P-13) |  |  |  |  | 3026 | Cft | 121 | %Sft | 3661
6 | Pacca Brick Work in ground floor with cement sand mortar ratio (1:6) (S.I.No 5 (e) Page No: 20) |  |  |  |  | 156 | Sft | 12674.36 | %Sft | 19772
7 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) |  |  |  |  | 3180 | Cft | 2206.6 | %Sft | 70170
8 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) |  |  |  |  | 3180 | Sft | 2197.52 | %Sft | 69881
9 | Applying fleating coat of cement 1/32" thick (S.I.No.14 P-52) |  |  |  |  | 3026 | Cft | 660 | %Sft | 19972
10 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . |  |  |  |  | 478 | Cft | 14429.25 | %Cft | 68972
11 | Laying white marble flooring fine dreosed in the surface wihtout winging set in line mortar 1:2: I/c rubbing and polishing of the joint (28-P/ (a) 3/4" thick flooring (S.I.No.28 P-42) |  |  |  |  | 462 | Sft | 567.48 | P.Sft | 262176
12 | Providing and Fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" / 6" x 4" in dado skirting and facing removal / tucking of existing plaster surface etc. over 1/2" thick base of cement mortar 1:3 setting of tils in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry, currient finishing cleaning and (New work) (S.I.No 68 P.No 48) |  |  |  |  | 136 | Sft | 186.04 | P.Sft | 25301
13 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) |  |  |  |  | 135 | Sft | 27747.06 | %Sft | 37459
14 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand morter 3/4" thick i/c finishing (S.I.No 38 P.No 44) |  |  |  |  | 336 | Sft | 28299.3 | %Sft | 95086
15 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) |  |  |  |  | 116 | Sft | 1273.76 | P.Sft | 147756.16
16 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) |  |  |  |  | 32 | Sft | 180.5 | P.Sft | 5776
17 | Galvonized wire guaze fixed to chowkats with 3/4" deodar strip and screws (S.I.No 14-D-P.No: 59) |  |  |  |  | 32 | Sft | 190.72 | P.Sft | 6103
18 | Providing and Lying C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-d-P.No 42) 2" thick |  |  |  |  | 1898 | Sft | 3275.5 | %Sft | 62169
19 | Two Coat of Bitumen laid hot using 34 Lbs for % Sft over roof and blinded with sand at one C.ft Per % Sft (S.I.No 13 P.No 34) |  |  |  |  | 1898 | Sft | 1887.4 | %Sft | 35823
20 | White washing 3 coats (S.I.No 26-C-P.No 53) |  |  |  |  | 642 | Sft | 829.95 | %Sft | 5328
21 | Distempering 3 Coats (S.I.No 24-C-P.No 53) |  |  |  |  | 2640 | Sft | 1079.65 | %Sft | 28503
22 | Colour Wash 3 coat (S.I.No…… P.No……) |  |  |  |  | 2784 | Sft | 1303.17 | %Sft | 36280
23 | Painting doors and windows any type three coats (S.I.No.4-c P-67) |  |  |  |  | 296 | Sft | 1662.21 | %Sft | 4920
[5 empty] | Amount of Schedule Items |  |  |  | Total | 1671435.16
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Deduct _________ % Below of Marble item rates oc CSR Rs:
Total (A)
Part-B ( W/S & S/F)
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe constructions & making good in cement concrete1:2:4 (W.C Pan o not less than 23" clear opening between flushing rins and 3 gallons flushing tank with 4" dia C.I Pipe (S.I.No 1-b-P.No 1) |  |  |  |  | 1 | Nos | 4846.6 | Each | 4846.6
2 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) |  |  |  |  | 1 | Nos | 4694.8 | Each | 4694.8
3 | Add: Extra for providing and fixing of earthen ware pedestal (S.I.No: 9 P.No: 03). |  |  |  |  | 1 | Nos | 938.47 | Each | 938.47
4 | P/F 1/2" dia nyloon connection with peir of slip cock and jointed to nyloon connection (S.i.No 23 P.No 6) |  |  |  |  | 4 | Nos | 447.15 | Each | 1788.6
5 | P/F Brass tower rail compelte 24" long 3/4" dia round superior quality (S.I.No 1(iii-B) P.No 7) |  |  |  |  | 2 | Nos | 1082.95 | Each | 2165.9
6 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| i) 1/2" dia |  |  |  |  | 20 | Rft | 73.21 | P.RRft | 1464.2
| ii) 3/4" dia |  |  |  |  | 20 | Rft | 95.79 | P.RRft | 1915.8
| iii) 1" dia |  |  |  |  | 20 | Rft | 128.55 | P.RRft | 2571
7 | Add: Extra labour for cancelled G.I Pipe and fitting 1/2" dia |  |  |  |  | 25 | Rft | 7.82 | P.RRft | 195.5
8 | P/F: Handle valve (Chine Make)
| a) 3/4" |  |  |  |  | 2 | Nos | 271.92 | P.No: | 543.84
| b) 1" |  |  |  |  | 2 | Nos | 365.42 | P.No: | 730.84
9 | S/F: long bib cock of superier quality with 1/2" thick c.p head (S.I.No 13-b-P.No 19) |  |  |  |  | 4 | Nos | 1109.46 | Each | 4437.84
10 | S/F: 1/2" Cancelled tee stop cock of superior quality with C.P head 1/2" (S.I.No: 14 P.No:14). |  |  |  |  | 2 | Nos | 889.46 | P.No: | 1778.92
11 | S/F: Cancelled stop cock of superier quality with c.p head 1/2" dia (S.I.No 11-b-P.No 18) |  |  |  |  | 2 | Nos | 509.74 | P.No: | 1019.48
12 | S/F: Jet shower with rod of superior quality with C.P handle 1/2" dia (S.I.No: 15 / P-19). |  |  |  |  | 2 | Nos | 1142.24 | P.No: | 2284.48
13 | S/F: sawan type of piler cock superier quality single C.P hea 1/2" dia (S.I.No 16-b-P.No 19) |  |  |  |  | 2 | Nos | 877.8 | P.No: | 1755.6
14 | UPVC pipe pressure pipe "B" Class fixing in tranches i/c cutting fitting etc complete 4" dia (S.I.No 4-b-P.no 23) |  |  |  |  | 4 | Nos | 136 | Each | 544
15 | UPVC fititing 4" dia of class "B"
| a) 4" dia Tee |  |  |  |  | 4 | Nos | 725 | Each | 2900
| b) 4" Elblow |  |  |  |  | 4 | Nos | 577 | Each | 2308
|  | Amount of Schedule Items | [6 empty] | Total | 38883.87
Add: / Deduct _________ %Above / Below on Sanitary Items Rs:
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
Total Rs.
Total (A+B)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR | [5 empty] | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Construction of Woman of Building Earmarked for Safe House for Innocent Woman at Sinjhoro at Existing Office Building of AC Office Sinjhoro District Saghar.
S.# | Items of Work |  |  |  |  | Qty: |  | Rate | Unit | Amount
Part-A (Civil Work)
1 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) |  |  |  |  | 866 | Cft | 3176.25 | %0Cft | 2751
2 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No.4 ( C ) P-14) |  |  |  |  | 217 | Cft | 8694.95 | %Cft | 18868
3 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) |  |  |  |  | 1348 | Cft | 11948.36 | %Cft | 161064
4 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) |  |  |  |  | 869 | Cft | 337 | P.Cft | 292853
5 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) Tar |  |  |  |  | 39.105 | cwt | 5001.7 | P.cwt | 195591
6 | Pacca Brick Work in ground floor with cement sand mortar ratio (1:6) (S.I.No 5 (e) Page No: 20) |  |  |  |  | 1656 | Sft | 12674.36 | %Sft | 209887
7 | Pacca Brick Work in other than (1:6) (S.I.No. 7-e-P.No. 21) |  |  |  |  | 444 | Sft | 12364.46 | %Sft | 54898
7 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No.4 ( C ) P-14) |  |  |  |  | 557 | Cft | 8694.95 | %Cft | 48431
8 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . |  |  |  |  | 278 | Cft | 14429.25 | %Cft | 40113
9 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) |  |  |  |  | 5419 | Sft | 2206.6 | %Sft | 119576
10 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) |  |  |  |  | 5419 | Sft | 2197.52 | %Sft | 119084
11 | Laying white marble flooring fine dreosed in the surface wihtout winging set in line mortar 1:2: I/c rubbing and polishing of the joint (28-P/ (a) 3/4" thick flooring (S.I.No.28 P-42) |  |  |  |  | 521 | Sft | 567.48 | P.Sft | 295657
12 | Providing and Fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" / 6" x 4" in dado skirting and facing removal / tucking of existing plaster surface etc. over 1/2" thick base of cement mortar 1:3 setting of tils in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry, currient finishing cleaning and (New work) (S.I.No 68 P.No 48) |  |  |  |  | 168 | Sft | 186.04 | P.Sft | 31255
13 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) |  |  |  |  | 99 | Sft | 27747.06 | %Sft | 27470
14 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand morter 3/4" thick i/c finishing (S.I.No 38 P.No 44) |  |  |  |  | 340 | Sft | 28299.3 | %Sft | 96218
15 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) |  |  |  |  | 153 | Sft | 1273.76 | P.Sft | 194885.28
16 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) |  |  |  |  | 76 | Sft | 180.5 | P.Sft | 13718
17 | Supplying and fixing in position iron steel grillies door with angle iron frame of 1-1/2"x1-1/2"x 1/4 and flate iron of 3/4" x 1/4" with approved design and locking arrnagment (S.I.No. 31 P-94) |  |  |  |  | 32 | Sft | 231.6 | P.Sft | 7411
18 | Galvonized wire guaze fixed to chowkats with 3/4" deodar strip and screws (S.I.No 14-D-P.No: 60) |  |  |  |  | 76 | Sft | 190.72 | P.Sft | 14495
19 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I. 24 P.No 91) |  |  |  |  | 56 | Sft | 726.72 | P.Sft | 40696
20 | Supplying and fixing false ceilling of paster of paris in pannel I/c making fram work of deodar wood I/c pointing with galigia paint (S.I.No. 52 P-63) |  |  |  |  | 360 | Sft | 25293.42 | %Sft | 91056
21 | Providing and fixing palster of paris ceilling bordar of 5"x10" with of specified design and thickness I/c fixing beside ceilling with nails screws with getties (S.I.No. 44 P-38) |  |  |  |  | 108 | Sft | 104.22 | P.Rft | 11256
22 | Providing and Lying C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-d-P.No 42) 2" thick |  |  |  |  | 1838 | Sft | 3275.5 | %Sft | 60204
23 | Two Coat of Bitumen laid hot using 34 Lbs for % Sft over roof and blinded with sand at one C.ft Per % Sft (S.I.No 13 P.No 34) |  |  |  |  | 1838 | Sft | 1887.4 | %Sft | 34690
24 | Distempering 3 Coats (S.I.No 24-C-P.No 53) |  |  |  |  | 620 | Sft | 1079.65 | %Sft | 6694
25 | Preparing the surface and painting with Matt Finish i/c rubbing the surface with Bathy (Silicon carbide rubbing brick) filling th evoids with zink / chalk / plaster of paris mixture, applying first coat premix, making the surface smooth and then painting 3 Coats with matt finish of approved make etc complete (New Surface) (S.I.No 36 P.No 54) |  |  |  |  | 2832 | Sft | 3444.38 | %Sft | 97545
26 | Preparing New Surface Painting doors and windows any type i/c edges 03 Coats (S.I.No 5-c-P.No 70) |  |  |  |  | 404 | Sft | 2116.41 | %Sft | 8550
27 | Painting New Surface (d) Preparing Surface and painting Guard Bars of iron gate (S.I.No. 5-d-P.No. …..) |  |  |  |  | 176 | Sft | 1270.83 | %Sft | 2237
28 | Providing and laying Hala or astern tile glazed 8”x8” x ¼” on floor wall i/c in required colour and pattern of stile specification joint in whit cement pigment over a base of 1.2 grey cement marter ¾” thick i/c washing and filling of joints with slarry of white gery of with cement etc complete (S.I.No 62 P.No 47) |  |  |  |  | 227 | Sft | 34520.31 | %Sft | 78361
29 | Preparing the surface and painting with Weather Coat of approved make to New weather coat surface (S.I.No: 38-B-P.No: 55) |  |  |  |  | 2587 | Sft | 2567.95 | %Sft | 66433
|  |  |  | Amount of Schedule Items |  |  |  | Total (A) |  | 2441947.28
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Deduct _________ % Below of Marble item rates oc CSR Rs:
Total (A)
Part-B ( W/S & S/F)
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe constructions & making good in cement concrete1:2:4 (W.C Pan o not less than 23" clear opening between flushing rins and 3 gallons flushing tank with 4" dia C.I Pipe (S.I.No 1-b-P.No 1) |  |  |  |  | 2 | Nos | 4846.6 | Each | 9693.2
2 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) |  |  |  |  | 1 | Nos | 4694.8 | Each | 4694.8
3 | Add: Extra for providing and fixing of earthen ware pedestal (S.I.No: 9 P.No: 03). |  |  |  |  | 1 | Nos | 938.47 | Each | 938.47
4 | P/F 1/2" dia nyloon connection with peir of slip cock and jointed to nyloon connection (S.i.No 23 P.No 6) |  |  |  |  | 2 | Nos | 447.15 | Each | 894.3
5 | P/F Brass tower rail compelte 24" long 3/4" dia round superior quality (S.I.No 1(iii-B) P.No 7) |  |  |  |  | 2 | Nos | 1082.95 | Each | 2165.9
6 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| i) 1/2" dia |  |  |  |  | 25 | Rft | 73.21 | P.RRft | 1830.25
| ii) 3/4" dia |  |  |  |  | 25 | Rft | 95.79 | P.RRft | 2394.75
| iii) 1" dia |  |  |  |  | 25 | Rft | 128.55 | P.RRft | 3213.75
7 | Add: Extra labour for cancelled G.I Pipe and fitting 1/2" dia |  |  |  |  | 25 | Rft | 7.82 | P.RRft | 195.5
8 | P/F: Handle valve (Chine Make)
| a) 3/4" |  |  |  |  | 1 | Nos | 271.92 | P.No: | 271.92
| b) 1" |  |  |  |  | 1 | Nos | 365.42 | P.No: | 365.42
9 | S/F: long bib cock of superier quality with 1/2" thick c.p head (S.I.No 13-b-P.No 19) |  |  |  |  | 4 | Nos | 1109.46 | Each | 4437.84
10 | S/F: 1/2" Cancelled tee stop cock of superior quality with C.P head 1/2" (S.I.No: 14 P.No:14). |  |  |  |  | 2 | Nos | 889.46 | P.No: | 1778.92
11 | S/F: Cancelled stop cock of superier quality with c.p head 1/2" dia (S.I.No 11-b-P.No 18) |  |  |  |  | 2 | Nos | 509.74 | P.No: | 1019.48
12 | S/F: Jet shower with rod of superior quality with C.P handle 1/2" dia (S.I.No: 15 / P-19). |  |  |  |  | 2 | Nos | 1142.24 | P.No: | 2284.48
13 | S/F: sawan type of piler cock superier quality single C.P hea 1/2" dia (S.I.No 16-b-P.No 19) |  |  |  |  | 1 | Nos | 877.8 | P.No: | 877.8
14 | UPVC pipe pressure pipe "B" Class fixing in tranches i/c cutting fitting etc complete 4" dia (S.I.No 4-b-P.no 23) |  |  |  |  | 10 | Nos | 136 | Each | 1360
15 | UPVC fititing 4" dia of class "B"
| a) 4" dia Tee |  |  |  |  | 4 | Nos | 725 | Each | 2900
| b) 4" Elblow |  |  |  |  | 4 | Nos | 577 | Each | 2308
|  | Amount of Schedule Items | [6 empty] | Total | 43624.78
Add: / Deduct _________ %Above / Below on Sanitary Items Rs:
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
Total (B)
Total (A+B)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR | [5 empty] | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Rehabilitation / Renovation of Building Earmarked for Safe House for Innocent Woman at Khipro at Exising Office Building of Hall at Taluka Hospital Khipro District Sanghar.
S.# | Items of Work |  |  |  |  | Qty: |  | Rate | Unit | Amount
Part-A (Civil Work)
1 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . |  |  |  |  | 469 | Cft | 14429.25 | %Cft | 67673
2 | Laying white marble flooring fine dreosed in the surface wihtout winging set in line mortar 1:2: I/c rubbing and polishing of the joint (28-P/ (a) 3/4" thick flooring (S.I.No.28 P-42) |  |  |  |  | 625 | Sft | 567.48 | P.Sft | 354675
3 | Providing and Fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" / 6" x 4" in dado skirting and facing removal / tucking of existing plaster surface etc. over 1/2" thick base of cement mortar 1:3 setting of tils in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry, currient finishing cleaning and (New work) (S.I.No 68 P.No 48) |  |  |  |  | 100 | Sft | 186.04 | P.Sft | 18604
4 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) |  |  |  |  | 94 | Sft | 27747.06 | %Sft | 26082
5 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand morter 3/4" thick i/c finishing (S.I.No 38 P.No 44) |  |  |  |  | 216 | Sft | 28299.3 | %Sft | 61126
6 | Providing and laying Hala or astern tile glazed 8”x8” x ¼” on floor wall i/c in required colour and pattern of stile specification joint in whit cement pigment over a base of 1.2 grey cement marter ¾” thick i/c washing and filling of joints with slarry of white gery of with cement etc complete (S.I.No 62 P.No 47) |  |  |  |  | 136 | Sft | 34520.31 | %Sft | 46948
7 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) |  |  |  |  | 113 | Sft | 1273.76 | P.Sft | 143934.88
8 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) |  |  |  |  | 64 | Sft | 180.5 | P.Sft | 11552
9 | Galvonized wire guaze fixed to chowkats with 3/4" deodar strip and screws (S.I.No 14-D-P.No: 60) |  |  |  |  | 64 | Sft | 190.72 | P.Sft | 12206
10 | Providing and Lying C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-d-P.No 42) 2" thick |  |  |  |  | 900 | Sft | 3275.5 | %Sft | 29480
11 | Two Coat of Bitumen laid hot using 34 Lbs for % Sft over roof and blinded with sand at one C.ft Per % Sft (S.I.No 13 P.No 34) |  |  |  |  | 900 | Sft | 1887.4 | %Sft | 16987
12 | Distempering 3 Coats (S.I.No 24-C-P.No 53) |  |  |  |  | 900 | Sft | 1079.65 | %Sft | 9717
13 | Preparing New Surface Painting doors and windows any type i/c edges 03 Coats (S.I.No 5-c-P.No 70) |  |  |  |  | 226 | Sft | 2116.41 | %Sft | 4783
14 | Preparing the surface and painting with Matt Finish i/c rubbing the surface with Bathy (Silicon carbide rubbing brick) filling th evoids with zink / chalk / plaster of paris mixture, applying first coat premix, making the surface smooth and then painting 3 Coats with matt finish of approved make etc complete (New Surface) (S.I.No 36 P.No 54) |  |  |  |  | 1680 | Sft | 3444.38 | %Sft | 57866
15 | Preparing the surface and painting with Weather Coat of approved make to New weather coat surface (S.I.No: 38-B-P.No: 55) |  |  |  |  | 1680 | Sft | 2567.95 | %Sft | 43142
|  |  |  | Amount of Schedule Items |  |  |  | Total (A) |  | 904775.88
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Deduct _________ % Below of Marble item rates oc CSR Rs:
Total (A)
Part-B ( W/S & S/F)
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe constructions & making good in cement concrete1:2:4 (W.C Pan o not less than 23" clear opening between flushing rins and 3 gallons flushing tank with 4" dia C.I Pipe (S.I.No 1-b-P.No 1) |  |  |  |  | 1 | Nos | 4846.6 | Each | 4846.6
2 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) |  |  |  |  | 1 | Nos | 4694.8 | Each | 4694.8
3 | Add: Extra for providing and fixing of earthen ware pedestal (S.I.No: 9 P.No: 03). |  |  |  |  | 1 | Nos | 938.47 | Each | 938.47
4 | P/F 1/2" dia nyloon connection with peir of slip cock and jointed to nyloon connection (S.i.No 23 P.No 6) |  |  |  |  | 2 | Nos | 447.15 | Each | 894.3
5 | P/F Brass tower rail compelte 24" long 3/4" dia round superior quality (S.I.No 1(iii-B) P.No 7) |  |  |  |  | 2 | Nos | 1082.95 | Each | 2165.9
6 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| i) 1/2" dia |  |  |  |  | 30 | Rft | 73.21 | P.RRft | 2196.3
| ii) 3/4" dia |  |  |  |  | 35 | Rft | 95.79 | P.RRft | 3352.65
| iii) 1" dia |  |  |  |  | 35 | Rft | 128.55 | P.RRft | 4499.25
7 | Add: Extra labour for cancelled G.I Pipe and fitting 1/2" dia |  |  |  |  | 30 | Rft | 7.82 | P.RRft | 234.6
8 | P/F: Handle valve (Chine Make)
| a) 3/4" |  |  |  |  | 2 | Nos | 271.92 | P.No: | 543.84
| b) 1" |  |  |  |  | 2 | Nos | 365.42 | P.No: | 730.84
9 | S/F: long bib cock of superier quality with 1/2" thick c.p head (S.I.No 13-b-P.No 19) |  |  |  |  | 4 | Nos | 1109.46 | Each | 4437.84
10 | S/F: 1/2" Cancelled tee stop cock of superior quality with C.P head 1/2" (S.I.No: 14 P.No:14). |  |  |  |  | 2 | Nos | 889.46 | P.No: | 1778.92
11 | S/F: Cancelled stop cock of superier quality with c.p head 1/2" dia (S.I.No 11-b-P.No 18) |  |  |  |  | 2 | Nos | 509.74 | P.No: | 1019.48
12 | S/F: Jet shower with rod of superior quality with C.P handle 1/2" dia (S.I.No: 15 / P-19). |  |  |  |  | 2 | Nos | 1142.24 | P.No: | 2284.48
13 | S/F: sawan type of piler cock superier quality single C.P hea 1/2" dia (S.I.No 16-b-P.No 19) |  |  |  |  | 2 | Nos | 877.8 | P.No: | 1755.6
14 | UPVC pipe pressure pipe "B" Class fixing in tranches i/c cutting fitting etc complete 4" dia (S.I.No 4-b-P.no 23) |  |  |  |  | 10 | Nos | 136 | Each | 1360
15 | UPVC fititing 4" dia of class "B"
| a) 4" dia Tee |  |  |  |  | 5 | Nos | 725 | Each | 3625
| b) 4" Elblow |  |  |  |  | 4 | Nos | 577 | Each | 2308
|  | Amount of Schedule Items | [6 empty] | Total | 43666.87
Add: / Deduct _________ %Above / Below on Sanitary Items Rs:
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
Total (B)
Total (A+B)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR | [5 empty] | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Rehabilitation / Renovation of Building Earmarked For Safe House for Innocent Woman Two Rooms in DDO Social Welfare Office Sanghar for Woman Safe House Sanghar
S.# | Items of Work |  |  |  |  | Qty: |  | Rate | Unit | Amount
Part-A (Civil Work)
Part-A (Civil Work)
1 | Dismentling pacca brick work in cment send moter (S.I.No.13 P.No. 10) |  |  |  |  | 107 | Sft | 1285.63 | %Sft | 1376
2 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) |  |  |  |  | 415 | Cft | 3327.5 | %Cft | 13809
3 | Excavation of Wall in dry upto 20'feet below ground level and disposal side within one chain in ordinary soil (S.I.No…….. P.No…………) |  |  |  |  | 412 | Cft | 2247.58 | %Cft | 926
4 | Wet sinking of all wells for depth Below spring level by means of devers i/c all change for shoring loading and remaining excavated material in ordinary soil 0 to 5' depth |  |  |  |  | 412 | Cft | 11763.8 | %Cft | 48467
5 | Making RC Well Curb ( S.I.No……. P.No……….) |  |  |  |  | 65 | Cft | 704.25 | P.Cft | 45776
6 | Laying Well Crub in position only (S.I.No. 6 P.No 90) |  |  |  |  | 1 | No. | 272.25 | Each | 272
7 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) |  |  |  |  | 324 | Sft | 11948.36 | %Sft | 38713
8 | Extra Labour for pacca brick work of circular masonry (S.I.No….. P.No……) |  |  |  |  | 324 | Cft | 1131.63 | %Cft | 3666
9 | Dismentling RCC work in salb I/c sepraty(S.I.No. 20 P.No,10) |  |  |  |  | 322 | Cft | 5445 | %Cft | 17533
10 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) |  |  |  |  | 453 | Cft | 337 | P.Cft | 152661
11 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 7 P-20) |  |  |  |  | 20.38 | cwt | 5001.7 | P.cwt | 101935
12 | Pacca Brick Work in ground floor with cement sand mortar ratio (1:6) (S.I.No 5 (e) Page No: 20) |  |  |  |  | 193 | Cft | 12674.36 | %Cft | 24462
13 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . |  |  |  |  | 363 | Sft | 14429.25 | %Sft | 52378
14 | Removing cement palster from walls (S.I.No. 53 P-13) |  |  |  |  | 795 | Cft | 121 | %Sft | 962
15 | Applying fleating coat of cement 1/32" thick (S.I.No.14 P-52) |  |  |  |  | 795 | Cft | 660 | %Sft | 5247
16 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) |  |  |  |  | 42 | Sft | 1273.76 | P.Sft | 53497.92
17 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) |  |  |  |  | 1559 | Sft | 2206.6 | %Sft | 34401
18 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) |  |  |  |  | 1559 | Sft | 2197.52 | %Sft | 34259
19 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand morter 3/4" thick i/c finishing (S.I.No 38 P.No 44) |  |  |  |  | 795 | Sft | 28299.3 | %Sft | 224979
20 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) |  |  |  |  | 776 | Sft | 27747.06 | %Sft | 215317
21 | Galvonized wire guaze fixed to chowkats with 3/4" deodar strip and screws (S.I.No 14-D-P.No: 59) |  |  |  |  | 84 | Sft | 190.72 | P.Sft | 16020
22 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) |  |  |  |  | 20 | Sft | 180.5 | P.Sft | 3610
23 | Providing and Lying C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-B-P.No 41) 2" thick |  |  |  |  | 210 | Sft | 3275.5 | %Sft | 6879
24 | Supplying and fixing false ceilling of paster of paris in pannel I/c making fram work of deodar wood I/c pointing with galigia paint (S.I.No. 52 P-63) |  |  |  |  | 441 | Sft | 25293.42 | %Sft | 111544
25 | Providing and fixing palster of paris ceilling bordar of 5"x10" with of specified design and thickness I/c fixing beside ceilling with nails screws with getties (S.I.No. 44 P-38) |  |  |  |  | 121 | Sft | 104.22 | P.Sft | 12611
26 | White washing 3 coats (S.I.No 26-C-P.No 53) |  |  |  |  | 776 | Sft | 829.95 | %Sft | 6440
27 | Distempering 3 Coats (S.I.No 24-C-P.No 53) |  |  |  |  | 1836 | Sft | 1079.65 | %Sft | 19822
28 | Painting doors and windows any type three coats (old Surface) (S.I.No.4-c P-67) |  |  |  |  | 349 | Sft | 1662.21 | %Sft | 5801
29 | Preparing the surface and painting with plastic emulation paint of approved make i/c rubbing the surface with sand paper with chalk plaster etc complete (S.I.No 40 P.No 55). |  |  |  |  | 1836 | Sft | 2237.95 | %Sft | 41089
30 | Painting Guard Bars 3 Coats (old Surface) (S.I.No 4-d-P.No 68) |  |  |  |  | 113 | Sft | 977.4 | %Sft | 1104
31 | Painting Guard Bars 3 Coats (new Surface) (S.I.No 5-d-P.No 69) |  |  |  |  | 84 | Sft | 1270.83 | %Sft | 1067
32 | Colour wash 3 Coats (S.I.No 25 P.No 53) |  |  |  |  | 722 | Sft | 1303.17 | %Sft | 9409
33 | Two Coat of Bitumen laid hot using 34 Lbs for % Sft over roof and blinded with sand at one C.ft Per % Sft (S.I.No 13 P.No 34) |  |  |  |  | 806 | Sft | 1887.4 | %Sft | 15212
|  |  |  | Amount of Schedule Items |  |  |  | Total (A) |  | 1321244.92
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Deduct _________ % Below of Marble item rates oc CSR Rs:
Total (A)
Part-B ( W/S & S/F)
1 | P.Fixing Europen Type white glazed earthen ware wash down w.c pan (S.I.No. 5 P.No. 2) |  |  |  |  | 2 | Nos | 11477.4 | Each | 22954.8
2 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe constructions & making good in cement concrete1:2:4 (W.C Pan o not less than 23" clear opening between flushing rins and 3 gallons flushing tank with 4" dia C.I Pipe (S.I.No 1-b-P.No 1) |  |  |  |  | 2 | Nos | 5486.8 | Each | 10973.6
3 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) |  |  |  |  | 2 | Nos | 4694.8 | Each | 9389.6
4 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| i) 1/2" dia |  |  |  |  | 75 | Rft | 73.21 | P.RRft | 5490.75
| ii) 3/4" dia |  |  |  |  | 165 | Rft | 95.79 | P.RRft | 15805.35
| iii) 1" dia |  |  |  |  | 85 | Rft | 128.55 | P.RRft | 10926.75
5 | Add: Extra for providing and fixing of earthen ware pedestal (S.I.No: 9 P.No: 03). |  |  |  |  | 2 | Nos | 938.47 | Each | 1876.94
6 | P/f: 6" X 2" or 6" X 3" C.I floor trap of the approved self cleaning design with a C.I srew down gating with out a vent arm complete with a nd I/c making requost number of holes in cement walls plinth and floor pipe connection and making good in c.c. 1:2:4 ratio (S.I.No 20 P.No 6) |  |  |  |  | 4 | Nos | 2024.43 | Each | 8097.72
7 | P/F 1/2" dia nyloon connection with peir of slip cock and jointed to nyloon connection (S.i.No 23 P.No 6) |  |  |  |  | 4 | Nos | 447.15 | Each | 1788.6
8 | P/F 1/2" dia lead connection (S.I.No. 22 P.No. 6) |  |  |  |  | 4 | Nos | 689.7 | Each | 2758.8
9 | P/F: Handle valve (Chine Make)
| A---do--- 3/4" dia |  |  |  |  | 4 | Nos | 271.92 | P.No: | 1087.68
| B---do--- 1" dia |  |  |  |  | 2 | Nos | 365.42 | P.No: | 730.84
10 | S/F: long bib cock of superier quality with 1/2" thick c.p head (S.I.No 13-b-P.No 19) |  |  |  |  | 4 | Nos | 1109.46 | Each | 4437.84
11 | S/F: 1/2" Cancelled tee stop cock of superior quality with C.P head 1/2" (S.I.No: 14 P.No:14). |  |  |  |  | 8 | Nos | 843.92 | P.No: | 6751.36
12 | S/F: Cancelled stop cock of superier quality with c.p head 1/2" dia (S.I.No 11-b-P.No 18) |  |  |  |  | 6 | Nos | 478.28 | P.No: | 2869.68
13 | S/F wash basin mixture with 1/2" dia C.P h C.P head etc complete (S.I.No ……. P.No …...) |  |  |  |  | 2 | Nos | 3179 | P.No: | 6358
14 | S/F: C.P Mulism Shower with double bib cock and ring pipe complete (S.I.No: 19-a P-19). |  |  |  |  | 2 | Nos | 3432 | P.No: | 6864
15 | S/F Bath Room accesseries set 7 pieces i/c towel rod burish holder soap tray shelf of approved quality and design (S.i.No 22 P.No 19) |  |  |  |  | 2 | Nos | 8122.4 | P.No: | 16245
16 | S/F: Jet shower with rod of superior quality with C.P handle 1/2" dia (S.I.No: 15 / P-19). |  |  |  |  | 2 | Nos | 1142.24 | P.No: | 2284.48
17 | UPVC pipe pressure pipe "B" Class fixing in tranches i/c cutting fitting etc complete 4" dia (S.I.No 4-b-P.no 23) |  |  |  |  | 48 | Nos | 136 | Each | 6528
18 | P/F: Chamber 9" X 6" ( Inside dimension) x 24" deep for house maters with 6" thick c.c 1:2 block get on 1:6 cement morter 6" thick c,c, 1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M to all inside wall surface and to top 1" thick c.c. 1:2:4 flooring complete with hinged cast concrate a cover and frame 15" x 9" (inside) clear opning wt: 1"qr : etc fixed in cement concrate 1:2:4 i/c curring excavation back filling and disposal of earth etc complete (S.I.No ....... P.No .......) |  |  |  |  | 2 | Nos | 2582.47 | Each | 5164.94
19 | Providing and Fixing RCC Pipe 6" dia (S.I.No 2-P.No 23) |  |  |  |  | 36 | Rft | 199.25 | Each | 7173
20 | Construction of Main Hole or inspection Chamber size 2x2'x3-6" of bricks masonary without C.I Cover and frame (S.I.No…… P.No…….) |  |  |  |  | 2 | Nos | 7191.5 | Each | 14383
21 | M/F of 24" RCC Main Hole Cover cast in 1:2:4 concrete , 3" thick and reinforcement with 1/2" dia bar at 4" center to center (S.I.No 1 P.No 30) |  |  |  |  | 2 | Nos | 1051.25 | Each | 2102.5
22 | Supplying 4" dia PVC Bend Class "B" (S.I.No…… P.No……) |  |  |  |  | 8 | Nos | 850 | Each | 6800
Amount of Schedule Items
Add: / Deduct _________ %Above / Below on Sanitary Items Rs:
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
Total (B)
Part-C (Non-Schedule Item)
1 | S/F 0.50 HP Motor 1800 RPM with piston pump set of approved quality i/c making plate form in C.C 1:2:4 (M.R) |  |  |  |  | 1 | No |  | Each
Total (c)
Total (A+B+c)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR | [5 empty] | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.
Note on P388: Anwer ali:
Note on P507: Anwer ali:

## Sheet1
S.# | Items of Work | Qty: |  | Rate | Unit | Amount
PART-(B) Water Supply & Sanitary Fitting
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe constructions & making good in cement concrete1:2:4 (W.C Pan o not less than 23" clear opening between flushing rins and 3 gallons flushing tank with 4" dia C.I Pipe (S.I.No 1-b-P.No 1) | 7 | Nos | 4846.6 | Each | 33926.2
2 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) | 5 | Nos | 4694.8 | Each | 23474
3 | Add: Extra for providing and fixing of earthen ware pedestal (S.I.No: 9 P.No: 03). | 5 | Nos | 938.47 | Each | 4692.35
4 | S/F: long bib cock of superier quality with 1/2" thick c.p head (S.I.No 13-b-P.No 19) | 10 | Nos | 1109.46 | Each | 11094.6
5 | S/F: 1/2" Cancelled tee stop cock of superior quality with C.P head 1/2" (S.I.No: 14 P.No:14). | 5 | Nos | 889.46 | P.No: | 4447.3
6 | S/F: sawan type of piler cock superier quality single C.P hea 1/2" dia (S.I.No 16-b-P.No 19) | 5 | Nos | 795 | P.No: | 3975
7 | P/F 1/2" dia nyloon connection with peir of slip cock and jointed to nyloon connection (S.i.No 23 P.No 6) | 5 | Nos | 447.15 | Each | 2235.75
8 | P/f: 6" X 2" or 6" X 3" C.I floor trap of the approved self cleaning design with a C.I srew down gating with out a vent arm complete with a nd I/c making requost number of holes in cement walls plinth and floor pipe connection and making good in c.c. 1:2:4 ratio (S.I.No 20 P.No 6) | 7 | Nos | 2024.43 | Each | 14171.01
9 | Supplying and Fixing C.P Muslim shower with double bib cock & ring pipe etc complete (S.I.No 19-a-P.No19) | 2 | No | 3432 | Each | 6864
10 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| i) 1/2" dia | 270 | Rft | 73.21 | P.RRft | 19766.7
| ii) 3/4" dia | 270 | Rft | 95.79 | P.RRft | 25863.3
| iii) 1" dia | 100 | Rft | 128.55 | P.RRft | 12855
11 | P/F: Handle valve (Chine Make) | 2 | Nos | 271.92 | P.No: | 543.84
12 | Providing and Fixing RCC Pipe 6" dia (S.I.No 2-P.No 23) | 50 | Rft | 199.25 | Each | 9962.5
13 | UPVC pipe pressure pipe "B" Class fixing in tranches i/c cutting fitting etc complete 4" dia (S.I.No 4-b-P.no 23) | 270 | Nos | 136 | Each | 36720
14 | S/F 1HP Motor Single motor with best quality pipe set 3/4 x 1" suction and delivery with fixing etc complete (R.A) | 1 | Nos | 12000 | P.No: | 12000
15 | S/F hand pump with all accessories 1-1/2" dia cor stainer with wooden shoe i/c boring fitting and finding etc complete ( S.No……. P.No…….)
| a) Boring pipe | 90 | Rft | 38.95 | P.Rft | 3506 | =
| b) Coir Stainer | 10 | Rft | 76.05 | P.Rft | 761 | =
[5 empty] | Total | 226859
SUB-ENGINEER |  |  |  | ASSISTANT ENGINEER
BUILDINGS SUB-DIVISION
SANGHAR.

## extMaterial
NAME OF WORK: - |  | 0
MATERIAL STATEMENT
S.NO: | NAME OF ITEM | QTY | CEMENT | SAND | BAJRI | STONE | BRICKS | STEEL | EARTH
2 | C.C 1:5:10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | P.B work (1:6) | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | 0 | 0
4 | RCC (1:2:4) | Qty: | #VALUE! | #VALUE! | #VALUE! |  | 0 | #REF! | 0
6 | C.P Plaster 1/2" thick(1:6) | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
7 | C.P Plaster 3/8" thick(1:4) | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
8 | C.C Plain 1:2:4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | Topping 3" thick | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0
11 | Earth Filling | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | #REF!
|  | Total | #VALUE! | #VALUE! | #REF! | 0 | #VALUE! | #REF! | #REF!
|  | Rate | 34.54 | 2675.05 | 2172.04 | 3000.65 | 956.19 | 20.74 | 579.41
|  | Amounts | #VALUE! | #VALUE! | #REF! | 0 | #VALUE! | #REF! | #REF!
#VALUE!
SUB-ENGINEER |  |  |  |  | DEPUTY DISTRICT OFFICER
(BUILDINGS) WORKS & SERVICES
TANDO ADAM.

## Carrig
NAME OF WORK: - |  |  |  | 0
CARRIAGE OF MATERIAL
1 | Cement
| Lead from Hyderabad to Site work | [5 empty] | 47 | Miles
| Cartage of First |  | 2 | Miles |  | Rs: | 7.53
| Remaing of | 45 | Miles | 0.6 | Per Miles | Rs: | 27
Add: 25% of hill area
34.53
2 | Hill Sand
| Lead from Bhullary to site work | [5 empty] | 60 | Miles
| Cartage of First |  | 6 | Miles |  | Rs: | 771.96
| Remaing of | 54 | Miles | 32.56 | Per Miles | Rs: | 1758.24
| Add: 25% of hill area |  |  |  |  | Rs: | 144.85
2675.05
3 | Crush Bajri.
| Lead from Jam Shoro crush to site work | [5 empty] | 49 | Miles
| Cartage of First |  | 6 | Miles |  | Rs: | 771.96
| Remaing of | 43 | Miles | 32.56 | Per Miles | Rs: | 1400.08
2172.04
4 | Stone Metal
| Lead from onger to site work | [5 empty] | 70 | Miles
| Cartage of First |  | 6 | Miles |  | Rs: | 771.96
| Remaing of | 64 | Miles | 32.56 | Per Miles | Rs: | 2083.84
| Add: 25% of hill area |  |  |  |  | Rs: | 144.85
3000.65
5 | Steel
| Lead from Latifabad (HYD) to site of work | [5 empty] | 46 | Miles
| Cartage of First |  | 6 | Miles |  | Rs: | 771.96
| Remaing of | 40 | Miles | 32.56 | Per Miles | Rs: | 1302.4
[7 empty] | 2074.36 | ÷ 100 = | 20.74
6 | Bricks
Units = 1000 Nos:
| Lead from Tando Adam to site of work. | [5 empty] | 19 | Miles
| Cartage of First |  | 6 | Miles |  | Rs: | 617.54
| Remaining of | 13 | Mil | 26.05 |  | Rs: | 338.65
956.19
7 | Earth
| Lead from source to site work | [5 empty] | 0.3 | Miles
| Cartage of First Three Miles |  |  |  |  | Rs: | 579.41
579.41
SUB-ENGINEER | [6 empty] | DEPUTY DISTRICT OFFICER
(BUILDINGS) WORKS & SERVICES
TANDO ADAM

## Summary
SUMMARY OF COST
Name of Work: |  | 0
PART-A. (Civil Works)
| 1 | Cost of Schedule Items |  |  | Rs: | #VALUE!
| 2 | Add:Cost Febrication, Steel Grills |  |  | Rs: | #VALUE!
| 3 | Add: Cost of Marble Tiles, Wire Guaze. |  |  | Rs: | 0
|  |  |  | Total Rs: |  | #VALUE!
| 4 | Add: Carttage |  |  | Rs: | #VALUE!
| 5 | Add: 10% Above on item No 2 above |  |  | Rs: | #VALUE!
| 6 | Deducted 20% Below Item No 3 above |  | (-) | Rs: | 0
|  |  |  | Total Rs: |  | #VALUE!
PART-B. (W/S & S/F)
|  | Cost of Schedule Items |  |  | Rs: | 158411.5
|  | Add: 5% Above |  |  | Rs: | 7921
|  | Cost of G.I & RCC Pipe |  |  | Rs: | 68447.5
|  | Add: 15% Above G.I & RCC Pipe |  |  | Rs: | 10267
|  |  |  | Total Rs: |  | 245047
General Abstract
|  |  | Part-A ( Civil Work) |  | Rs: | #VALUE!
|  |  | Part-B ( W/S & S/F) |  | Rs: | 245047
|  |  | Total |  | Rs: | #VALUE!
|  |  |  | SAY |  | #VALUE!
SUB-ENGINEER |  |  |  | ASSISTANT ENGINEER
BUILDINGS SUB-DIVISION
SHAHDADPUR.

## Face Sheet (2)
DISTRICT OFFICE | :► |  | District Officer (Buildings)
Works & Services Sanghar.
TALUKA OFFICE | :► |  | Deputy District Officer (Buildings)
Works & Services Tando Adam.
FUND HEAD | :► |  | District Government
SERVICE HEAD |  | :► | 0
#REF!
This detailed estimate has been framed in the office of the District Officer (Buildings) Works & Services Sanghar, for probable expenses that will be incurred on the carry-out the above said work.
FACE SHEET