| Name of Work :- | Fixing the Paver blocks Over the existing road fixing of C.C.Paver block from Khairpur Pir-Jo-Goth Soomra Mohalla via Hockey Ground (10429 Sft). |
| --- | --- |

SCHEDULE-B.

| Quantity. | Item of Work. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- |

01. Crushed fire bricks grated as sand (S.I.No.51 P,No.04)

| 1721 | Cft | Rs:2500.00 | P. % Cft | Rs:43025.00 |
| --- | --- | --- | --- | --- |

02. Supplying and filling Sand under floor and plugging in wells. (S.I.No.29, P-31)

| 1721 | Cft | Rs:151.25 | P.% Cft | Rs:2603.00 |
| --- | --- | --- | --- | --- |

03. Erection and removal of centering for R.c.c.or Plain C.C. works of portal wood (S.I.No.18b, P-21).

| 1125 | Sft | Rs:3127.41 | P. % Sft | Rs:35183.00 |
| --- | --- | --- | --- | --- |

04. Cement Concrete Plain i/c Placing compacting, finishing and curing complete (i/c screening and washing of stone aggregate without shuttering (1:3:6) (S.I.No.5h, P-18).

| 844 | Cft | Rs:14429.25 | P. % Cft | Rs:121783.00 |
| --- | --- | --- | --- | --- |

05. Providing & fixing cement paving blocks flooring having size of 197x97x           60 (mm) of city/quddra/cobble shape with natural colours, having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner/pattern and design etc complete.

| 10429 | Sft | Rs:199.77 | P. Sft | Rs:2083401.00 |
| --- | --- | --- | --- | --- |
|  |  |  | Total | Rs:2285995.00 |

Note:- Subject to any Changes Variation in rates/

Quantities in Technical Sanction.

| CONTRACTOR. | Executive Engineer |
| --- | --- |
|  | Highway Division |
|  | Khairpur. |