## Sch.B
Rehabilitation of Police Club Mirpurkhas
Schedule "B"
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Buildings Items
Part (A) (Civil Work) Schedule Items.
1 | Dismantling cement concrete plain 1:2:4. (S.I.No:19(c) P-10) | 1489 | -Cft: | 3327.5 | %-Cft: | 49546.475 | 49546
2 | Removing cement or lime plaster. (S.I.No:53, P-13) | 2741 | -Sft: | 121 | %-Sft: | 3316.61 | 3317
3 | Scraping ordinary distemper, oil bound distemper or paint on walls. (S.I.No:54(b) P-13) | 6705 | -Sft: | 226.88 | %-Sft: | 15212.304 | 15212
4 | Pacca brick work in Ground floor in (I-e) cement sand mortor 1:6. (S.I.No:05(I-e) P-21) | 31 | -Cft: | 12674.36 | %-Cft: | 3929.0516 | 3929
5 | P/F in position doors, windows and ventilators of first class deodar wood frames and 1-3/4" thick commercial ply, veneer shutters of first class deodar skeleton (Hollow) and commercial ply wood (3 ply) on both side i/c hold fasts, hinges iron tower bolts, handles & cleats with cord & one mortice locks and hooks. (S.I.No:09, P-58) (only Shutters) (Full Rate 1227.36 - 370.83 = 856.53) | 43 | -Sft: | 856.53 | P.Sft: | 36830.79 | 36831
6 | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (S.I.No:11(a) P-52) | 3483 | -Sft: | 2197.52 | %-Sft: | 76539.6216 | 76540
7 | Cement concrete plain including placing compacting, finishing and curing, complete i/c screening and washing stone aggregate without shuttering. (h) Ratio 1:3:6. (S.I.No:05(h), P-16) | 536 | -Cft: | 12595 | %-Cft: | 67509.2 | 67509
8 | Hard wood railing of any shape and design i/c bands and corners fixed in position i/c polishing complete as directed. (a) Shisham wood. (S.I.No.30(a) P-62) | 27 | -Rft: | 375.78 | P.Rft: | 10146.06 | 10146
9 | Excavation in foundation of Building Bridges and other structure i/c dagbelling dressing, refilling around structure with excavated earth watering and remming lead upto 5 ft: (b) In ordinary soil. (S.I.No:18(b) P-04) | 1080 | -Cft: | 3176.25 | %0-Cft: | 3430.35 | 3430
10 | Cement concrete brick or stone ballast 1-1/2” thick to 2” gauze ratio 1:4:8. (S.I.No:04(b) P-15) | 470 | -Cft: | 9416.28 | %-Cft: | 44256.516 | 44257
11 | Pacca brick work in foundation and plinth in (I-e) cement sand mortor 1:6 (S.I.No:04(I-e), P-20) | 608 | -Cft: | 11948.36 | %-Cft: | 72646.0288 | 72646
12 | Filling, watering and ramming earth in floors with surplus earth from foundation lead upto one chain and lift upto 5 ft: (S.I.No:21, P-04) | 720 | -Cft: | 1512.5 | %0-Cft: | 1089 | 1089
13 | Supplying and filling sand under floor and plugging in walls. (S.I.No:29, P-26) | 711 | -Cft: | 1141.25 | %-Cft: | 8114.2875 | 8114
14(a) | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels. (a) 2” thick topping. (S.I.No:16(a), P-42) | 810 | -Sft: | 3275.5 | %-Sft: | 26531.55 | 26532
(b) | 2” thick topping. | 4124 | -Sft: | 3502.38 | %-Sft: | 144438.1512 | 144438
15 | P/F bitumen Felt paper of 60 LBS obver roof i/c crearing of roof with wire brush and removing dust applying bitumen coats at the rate of 34 LBS per % Sft as premix inter coats and then laying flets paper with 10% over laps then applying and spreading hill sand at the rate of 1 cft of 100 sft. (S.I.No:41 P-38) | 4124 | -Sft: | 54.7 | P-Sft: | 225582.8 | 225583
16 | Facing water spouts of parnala. (S.I.No:37 P-38) | 20 | No: | 211.75 | Each | 4235 | 4235
17 | Door closure Aluminum Door (i) Single action good quality. | 5 | -No: | 5000 | Each. | 25000 | 25000
18 | P/F Relining for curtain with deodar wooden putty i/e fixed in wall with screw etc complete. (S.I.No:90 P-109) | 84 | -Rft: | 347.49 | P.Rft: | 29189.16 | 29189
19 | S/F Window printed blinds (H/V) with plain designs and of approved colour i/c fixing in window with necessary accessories. (S.I.No:71 P-67) | 756 | -Sft: | 91.11 | P-Sft: | 68879.16 | 68879
20 | Glazing with pens (24”oz to 26”oz) using putty and deodar wooden Ist: class fillets. (S.I.No:46, P-64) | 117 | -Sft: | 163.9 | P.Sft: | 19176.3 | 19176
21 | Extra lead for 04-miles. (S.I.No: , P- ) (Schedule Carriage) | 1489 | -Cft: | 649.86 | %-Cft: | 9676.4154 | 9676
22 | Primary coat of chalk under distemper. (S.I.No:23, P-54) | 415 | -Sft: | 442.75 | %-Sft: | 1837.4125 | 1837
23 | Distempering on walls 03-coats. (S.I.No:24(c) P-54) | 415 | -Sft: | 1079.65 | %-Sft: | 4480.5475 | 4481
24 | Preparing the surface and painting with matt finish i/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink / chalk / plaster of paris mixture, applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete. (new surface) (03-coat) (S.I.No:36(c), P-55) | 7585 | -Sft: | 3444.38 | %-Sft: | 261256.223 | 261256
25 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick / sand paper, filling the voids with chalk / plaster of paris and then painting with waether coat of approved make 03-coats. (new surface) (S.I.No:38(c), P-56) | 5436 | -Sft: | 2567.95 | %-Sft: | 139593.762 | 139594
26 | Painting new surface. (c) Preparing surface and painting doors and windows any type 03-coats.New Surface (S.I.No:05(c-iii) P-70) | 84 | -Sft: | 2116.41 | %-Sft: | 1777.7844 | 1778
26 | Painting new surface. (c) Preparing surface and painting doors and windows any type 03-coats.Old Surface (S.I.No:05(c-iii) P-70) | 1258 | -Sft: | 1662.21 | %-Sft: | 20910.6018 | 20911
|  | T o t a l :- |  |  |  | 1375131.1623 | 1375131
Part (B) (Civil Work) Schedule Items.
1 | P/F G.I. frames / chowkits of size 7" x 2" or 4-1/2" x 3" for doors using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing. (S.I.No:29, P-93) | 18 | -Rft: | 228.9 | P.Rft: | 4120.2 | 4120
2 | P/F G.I. frames / chowkits of size 7" x 2" or 4-1/2" x 3" for windows using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing. (S.I.No:28, P-93) | 9 | -Rft: | 240.5 | P.Rft: | 2164.5 | 2165
3 | S/F in position iron / steel grill of 3/4” x 1/4” size flat iron of approved design i/c painting 3-coat etc complete. (weight not to be less than 3.7 Lbs / Sq: Foot of finished grill) (S.I.No:26, P-93) | 32 | -Sft: | 180.5 | P.Sft: | 5776 | 5776
4 | Making and fixing grating in opening including fixing at site with flat iron 2” x 3/8” and 3/4” Sq: bars at 4" centre to centre. (S.I.No:25, P-92) | 80 | -Sft: | 293.15 | P.Sft: | 23452 | 23452
6 | P/F iron collapsible gate with channel framing of section 3/4" x 5/16" at 4" c/c i/c revitted with 3/4" x 1/8" flat iron patti placed diagonally and provided with top & bottom T-section 1" x 1" x 1/8" along with rollers also i/c locking arrangement and fixing in floor / ceiling or wall etc. completed. (S.I.No:32, P-94) | 84 | -Sft: | 387.04 | P-Sft: | 32511.36 | 32511
|  | T o t a l :- |  |  |  | 68024.06 | 68024
Part (C) (Civil Work) Schedule Items.
1 | Laying floor of approved white glazed tiles 1/4” thick in white cement 1:2 over 3/4” thick cement mortar 1:2 complete. (S.I.No:24, P-43) | 415 | -Sft: | 27678.86 | %-Sft: | 114867.269 | 114867
2 | White glazed tiles 1/4” thick dado jointed in white cement and laid over 1:2 cement sand mortar 3/4” thick including finishing. (S.I.No:37, P-45) | 2085 | -Sft: | 28253.61 | %-Sft: | 589087.7685 | 589088
3 | Supplying and fixing in position aluminum channel framming for hinged door or alcop made with 5 mm thick tinted glass glazing (Belgium) and alpha (Japan) locks i/c handles and stoppers etc. (b) Deluxe model (Bronze) (S.I.No:83(b) P-108) | 194 | -Sft: | 1507.66 | P.Sft: | 292486.04 | 292486
4 | First class deodar wood wrought joinery work in wire guaze door and windows with 22 S.W.G. Galvanized wire guaze 144 mesh per square inch iron fittings complete
(a) | Galvanized wire gauze fixed to chowkats 3/4” deodar wood strips and screws. | 472 | -Sft: | 190.72 | P.Sft: | 90019.84 | 90020
5 | First class deodar wood wrought joinery work in wire guaze door and windows with 22 S.W.G. Galvanized wire guaze 144 mesh per square inch iron fittings complete. (S.I.No:14(d), P-59)
(a) | Fixing expanded metal with 1" deodar wooden strips and screws. (S.I.No:22(a), P-61) | 472 | -Sft: | 296.05 | P.Sft: | 139735.6 | 139736
|  | T o t a l :- |  |  |  | 1226196.5175 | 1226197
Part (D) (Civil Work) Non Schedule Items.
1 | Cement plaster 1/2" thick in cement sand morter ratio 1:4 i/c floating coat of cement with S.B.R cemical upto 20' height.etc | 3483 | -Sft: |  | %-Sft: | 0
2 | P/L Master Granite Tiles fully glazed jointed in white cement and laid over 1:2 grey cement sand morter 1/4" thick i/c finishing & fitting of joint etc | 2954 | -Sft: |  | P.Sft: | 0
3 | P/F Gypsum Board Falce Ceiling Sheet 2'x2' (DFB Brand equivlent) in panels of required design i/c metal suspension system.etc | 2097 | -Sft: |  | P.Sft: | 0
4 | P/F shade made of fiber glass sheet rest over frame of size 1-1/2" x 1-1/2" M.S angle iron erected over vertical pipe posts of MS Pipe 2-1/2" dia. Etc | 414 | -Sft: |  | P.Sft: | 0
|  | T o t a l :- |  |  |  | 0
1) | Part (A) (Civil Work) Schedule Items. |  |  | RS:- |  | #REF! | 1375131
2) | Part (B) (Civil Work) Schedule Items. |  |  | RS:- |  | #REF! | 68024
3) | Part (C) (Civil Work) Schedule Items. |  |  | RS:- |  | 0 | 1226197
4) | Part (D) (Civil Work) Non Schedule Items. |  |  | RS:- |  | 0
|  |  |  | TOTAL :- |  | #REF!
Part (B) Water Supply & Sanitary Fittings
Part (A) Schedule Items (Except G.I & R.C.C Items
1 | P/F orisa type white or colour glazed earthen ware w.c. pan with cost of low level plastic flush tank of 3-gallons capacity of approved quality i/c making requisite number of holes in walls, plinth & floor and making good in cement concrete 1:2:4. (a) W.C. pan orisa type 23" with plastic tank of low level down 3-gallons C.I. trap & C.I. thumble (Superior quality) (i) With 4” dia C.I. trap. (S.I.No:03(a-i) P-02) | 4 | -No: | 5836.6 | Each. | 23346.4 | 23346
2 | P/F European white glazed earthern ware wash down w.c. pan complete with and i/c the cost of white / black plastic seat (beat quality) and lid with c.p. brass hinges & buffers. 3 gallons white glazed earthern ware low level flushing cistern with siphon fitting 1-1/2" dia white porcelain enamalled flush bend 3/4" dia and making requisite number of holes in walls, plinth & floor for pipe connections and making good in cement concrete 1:2:4. (standard pattern) (S.I.No:5 P-2) | 2 | -No: | 11477.4 | Each. | 22954.8 | 22955
3 | P/F flat back lopped from urinal basin (of not less than 17" in height) of white glazed earthen ware complete with and i/c the cost of 1 gallon C.I. automatic flushing cistern with fitting a pot cock C.I. or W.I. brackets standard flush pipe with fitting standard waste pipe (ename iron) connection complete and making requisite number of holes in walls, plinth and floor for pipe connection & making good in cement concrete 1:2:4. (foreign equivalent) (S.I.No:6, P-2) | 1 | -No: | 3890.7 | Each. | 3890.7 | 3891
4 | P/F 24“ x 18’’ lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I or C.I. antilever brackets 6” inches, built into wall, painted while in two coat after a primary coat of red lead paint a pair of 1/2" dia chrome plate pillar traps 1-1/2" dia rubber plug & chrome plated brass chain 1-1/4" dia malloable or cp brass traps malloable iron of brass union & making requisite number of holes in wall plinth & floor for pipe connection and making good in cement concrete 1:2:4. (S.I.No:8 P-3) | 4 | -No: | 4253.9 | Each. | 17015.6 | 17016
5 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed. (Foreign or Equivalent) (S.I.No:09, P-03) | 4 | -No: | 938.47 | Each. | 3753.88 | 3754
6 | P/F 6” x 2” or 6” x 3” C.I. floor trap of the approved selt cleaning design with a C.I. screwed down gratting with or without a vent arm complete with & i/c making requisite number of holes in walls, plinth & floor for pipe connections & making good in cement concrete 1:2:4. (S.I.No:20, P-06) | 4 | -No: | 2042.43 | Each. | 8169.72 | 8170
7 | P/F full way gun metal values with wheels, threaded or flanged ends with rubber washing. (iv) 1-1/4" dia (Standard pattern) (S.I.No.4(b-iv) P-17) | 4 | -Nos: | 447.15 | Each. | 1788.6 | 1789
8 | Providing and fixing 4” dia C.I. soil and vent pipes i/c cutting and fitting and extra painting to match the colour of building. (S.I.No:01, P-09) | 12 | -Rft: | 333.29 | P.Rft: | 3999.48 | 3999
9 | Providing and fixing 4” dia bend of required degree with access door rubber washer 1/8" thick and bolts & nuts and extra painting to match the colour of the building. (S.I.No:09, P-09) | 4 | -No: | 599.6 | Each. | 2398.4 | 2398
10 | Providing and fixing 4” dia C.I. plain bend of required degree i/c extra painting to match the Colour of building. (S.I.No:10, P-10) | 5 | -No: | 566.7 | Each. | 2833.5 | 2834
11 | Providing and fixing 4” dia C.I. offsets of various length including extra painting to match the colour of the building. (S.I.No:08, P-10) | 4 | -No: | 702 | Each. | 2808 | 2808
12 | Providing and fixing 4” dia C.I. terminal guard including extra painting to match the colour of the building. (S.I.No:11, P-10) | 6 | -No: | 389.7 | Each. | 2338.2 | 2338
13 | P/F M.S. clamps of the approved design to 4" dia C.I. Pipe sockets i/c the cost of cutting and making good to wall or M,S. bolts & nuts, 4” into wall i/c pipe distance pieces extra painting to match the colour of the building. (S.I.No:02, P-09) | 24 | -No: | 72.16 | Each. | 1731.84 | 1732
14 | Providing and fixing 4” x 4” dia C.I. branch of the Required degree with access doors, rubber washer 3/8” thick and bolts & nuts & extra painting to match the colour of building. (S.I.No:03, P-09) | 6 | -No: | 702 | Each. | 4212 | 4212
15 | Providing and fixing 4” x 4” x 4” dia plain C.I. branch of the required degree i/c extra painting to match the colour of the building. (S.I.No:07, P-09) | 5 | -Nos: | 704.2 | Each. | 3521 | 3521
16 | Providing & fixing handle valve (China). (i) 1/2" dia. (S.I.No:05(i), P-17) | 1 | -No: | 200.42 | Each. | 200.42 | 200
(ii) | 3/4” dia. | 2 | -No: | 271.92 | Each. | 543.84 | 544
17 | P/F flat back lopped from urinal basin (of not less than 17" in height) of white glazed earthen ware complete with and i/c the cost of 1 gallon C.I. automatic flushing cistern with fitting a pot cock C.I. or W.I. brackets standard flush pipe with fitting standard waste pipe (ename iron) connection complete and making requisite number of holes in walls, plinth and floor for pipe connection & making good in cement concrete 1:2:4. (foreign equivalent) (S.I.No:7, P-2) | 4 | -No: | 1384.35 | Each. | 5537.4 | 5537
18 | S/F canceled stop cock of superior quality with C.P. head 1/2” dia. (S.I.No:11(b) P-18) | 10 | -No: | 509.74 | Each. | 5097.4 | 5097
19 | S/F swan type pillar cock of superior quality with crystal head 1/2" dia. (S.I.No:16(b) P-19) | 4 | -No: | 877.8 | Each. | 3511.2 | 3511
20 | Supplying & fixing C.P. Muslim shower with crystal head etc. complete. (S.I.No:16(b) P-19) | 2 | -No: | 3432 | Each. | 6864 | 6864
21 | Providing F.C. pressure pipe with collars (Dadex or equivalent) i/c digging the trenches to required depth and fixing in position and jointing with rubber rings i/c testing to water pressure head of 200 ft: (b) 4” dia F.C. pressure pipe. (S.I.No:03(b) P-25) | 120 | -Rft: | 188.44 | P.Rft: | 22612.8 | 22613
22 | S/F Bath room accessories set (7-pieces) i/c towel rod, brush holder, soap tray, shelf of approved quality and design etc complete. (S.I.No:22, P-19) | 4 | -No: | 8122.4 | Each. | 32489.6 | 32490
23 | Provinding chambers 15"x9 (inside dimensions) x24" deep for house meters with 6" thick C.C. 1:3:6 block set-on 1:6 cement motor 6" thick C.C. 1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M to all inside wall surface and to top hinged cast iron cover and frame 15"x9 (inside) clear opening wt 1" (Qr) etc. fixed in cement concrete 1:2:4 i/c curing excavation back filling & disposal of earth etc complete. (S.I.No:2, P-17) | 4 | -No: | 4905.67 | Each. | 19622.68 | 19623
24 | Constructing manhole or inspection chamber for the required diameter of circular sewer and 3’-6” (1067 mm) depth with walls of B.B. in cement sand mortar 1:3 cement plastered 1:3, 1/2” thick, inside of walls and 1” (25 mm) thick over benching and channel i/c fixing C.I. manhole cover with frame of clear opening 1-1/2' x 1-1/2’ (457 x 457 mm) of 1.75 Cwt. (88.9 kg) embedded in plain C.C. 1:2:4 and fixing 1” (25 mm) dia M.S. steps 6” (150 mm) wide projecting 4” (102 mm) from the face of wall at 12” (305 mm) C.C. duly painted etc. complete as per standard specification and drawing. (a) 4” to 12” dia 2’ x 2’ x 3’-6”. (without C.I cover) (P.H.E.S.I.No:01, P-46) | 4 | -No: | 14748 | Each. | 58992 | 58992
25 | Add extra labour for concealed G.I. Pipe & fittings i/c making recess in the wall for Pipe & making good in cement mortar etc complete. (i) 1/2" dia. (S.I.No:02(i) P12) | 100 | -Rft: | 7.82 | P.Rft: | 782 | 782
26 | Add extra labour for concealed G.I. Pipe & fittings i/c making recess in the wall for Pipe & making good in cement mortar etc complete. (ii) 3/4" dia. (S.I.No:02(ii) P12) | 150 | -Rft: | 8.45 | P.Rft: | 1267.5 | 1268
|  | T o t a l :- |  |  |  | 262282.96 | 262284
Part (B) Schedule Items G.I & R.C.C Pipe Items
1 | Providing G.I. Pipe, specials and clamps etc, i/c fixing cutting & fitting complete with and i/c the cost of breaking through walls and roof, making good etc. painting two coats after cleaning the pipe etc. with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200-ft: and handling. (S.I.No:01, P-12)
(i) | 1/2” dia G.I. Pipe. | 100 | -Rft: | 73.21 | P.Rft: | 7321 | 7321
(ii) | 3/4” dia G.I. Pipe. | 150 | -Rft: | 95.79 | P.Rft: | 14368.5 | 14369
2 | Providing, laying RCC pipe & collar class ‘B’ and fixing in trench i/c cutting, fitting and jointing with maxphalt composition and cement mortor (1:1) i/c testing with water to a head of 22.5 meter or 75-ft (a) 80 mm (6”dia). (P.H.E.S.I.No:02(a), P-15) | 125 | -Rft: | 199.25 | P.Rft: | 24906.25 | 24906
|  | T o t a l :- |  |  |  | 46595.75 | 46596
Part (C) Non Schedule Items.
1 | P/F Water Pumping Set 1/2 H.P Single Phase 220 Volts with 1" x 1-1/4" Suction and Delivery i/c making C.C 1:3:6 plate form of required size and fixing with nuts and bolts.(Local Make) | 1 | -No: |  | Each: | 0
|  | T o t a l :- |  |  |  | 0
1) | Part (A) Schedule Items (Except G.I & R.C.C Items |  |  | RS:- |  | 1778 | 262284
2) | Part (B) Schedule Items G.I & R.C.C Pipe Items |  |  | RS:- |  | 23452 | 46596
3) | Part (C) Non Schedule Items. |  |  | RS:- |  | 0
|  |  |  | TOTAL :- |  | 25230
G E N E R A L A B S T R A C T.
1) | Part (A) Buildings Items |  |  | RS:- |  | 1375131
2) | Part (B) Water Supply & Sanitary Fittings |  |  | RS:- |  | 68024
|  |  |  | G. TOTAL :- |  | 1443155
N O T E :-
1) | Only hill sand will be used.
2) | Premium on non schedule item will not be allowed.
3) | Cartage of any item either supplied y the Department if the contractor will be not allowed.
4) | Water arrangement will be made by the contractor at his own risk and cost.
5) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
6) | The Material used in the work or finished project can be got tested from any approved lab: as the direction by Engineer In charge or his representative and all the expenses in this connection with such testing shall be borne by the contractor executively
Contractor |  | (JAVED A. ODHO ) PPM, PSP Deputy Inspector General of Police Mirpurkhas Range