NAME OF WORK:- M/R TO ADMINISTRATION BLOCK A.T.I SAKRAND.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling cement concrete plain 1:2:4.

(S.I.No:19©P.No:10). = 1439.Cft. 3327/50 %Cft. 47883/=

2/- Dismantling cement concrete plain 1:3:6.

(S.I.No:19(b)P.No:10). = 364.Cft. 1306/80 %cft. 4757/=

3/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.

(S.I.No:16©P.No:41). = 5754.Sft. 4411/82 %Sft. 253856/=

4/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No: 4 P.No:24). = 1317.Cft. 11948/36 %Cft. 157360/=

5/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:52). = 2734Sft. 2206/60 %Sft. 60328/=

6/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:52). = 6237Sft. 2197/52 %Sft. 60146/=

7/- Preparing painting surface small detached articles exceeding

One sq: foot and not exceeding three sq:feet of painted surface.

(S.I.No:5 (g)P.No:70) = 1200Nos. 3393/78 %Sft. 40725/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 625,055/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD.

NAME OF WORK:- M/R TO BUREAU OF STATISTICS OFFICE NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Removing lime or cement plaster.(S.I.No:53 P.no:13). = 133.Sft. 121/- %Sft. 161/=

2/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in required

Colour abd a pattern of STILE specification jointed in white

Cement and pigment over a base of 1:2 grey cement mortar

¾”thick i/c washing and filling of joints with slaurry of white

Cement and pigment in desired shape with finishing cleaning

And cost of wax polish etc complete i/c cutting.

(S.I.No:60 P.No:46). = 133.Sft. 30509/77 %Sft. 40578/=

3/- Filling, Watering and Ramming earth under floor with new

earth (Excavated from Outside) lead up to One Chain and

lift up to 5’ft:.(S.I.No:22 P.No:4) = 1208.Cft. 3630/- %oCft. 4385/=

4/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No:4 P.No:15). = 213.Cft. 8122/95 %Cft. 17302/=

5/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.

(S.I.No:16©P.No:41). = 484.Sft. 3275/50 %Sft. 15853/=

6/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 131.Sft. 190/72 PSft. 24984/=

7/- White washing 2.coats.(S.I.No:24(b)P.No:53). = 766.Sft. 425/84 %Sft. 3262/=

8/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 2682Sft. 1043/90 %Sft. 27997/=

9/- Preparing surface painting doors and windows any type

2.coats(Old surface)(S.I.No:5 P.No:76). = 647Sft. 1160/06 %Sft. 7506/=

10/- Preparing surface and painting sashes fan light glazed or gauzed

Doors and type(i/c edges).(S.I.No:5(b)P.No:68). = 179.Sft. 674/19 %Sft. 1207/=

11/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 735.Sft. 674/60 %Sft. 4958/=

12/- P/F false ceiling of thermopile in panels of required

Design and size i/c frame work of Aluminum T-Section

Hanged with nail wire to ceiling etc completed.

(S.I.No:43 P.No:39). = 117.Sft. 91/50 PSft. 10706/=

13/- P/F plaster or paris ceiling border of 8”-10”with or

Specified design & thickness i/c fixing besides

Ceiling with nails/screws with jetties.

(S.I.No:44 P.No:39). = 44.Rft. 104/22 PRft. 4586/=

14/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 1400.Sft. 2206/60 %Sft. 30892/=

15/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 1400 .Sft. 2197/52 %Sft. 30765/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 225,142/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than 23”clear opening between flushing

Rims and 3gallons flushing tank with 4”dia C.I trape.

(S.I.No:1(A)P.No:1). = 2.Nos. 5044/60 Each. 10089/=

2/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3). = 2.Nos. 938/47 Each. 1877/=

3/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 4.Nos. 843/92 Each. 3376/=

4/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 4.Nos. 1109/46 Each. 4438/=

5/- Flush tank low level plastic 3gallons I.C.L(Master brand 2nd

Quality.(M.S.I.No:27 (b)P.No:122). = 2.Nos. 2300/- Each. 2600/=

6/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 30Rft. 333/- PRFt. 9990/=
2. ¾”dia. = 50Rft. 126/- PRFT. 6300/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 38,670/=

PART “C” E.I WORK.

1/- P/F brass ceiling 56”(good Qlty:)(E.S.I.No:235 P.No:34). = 4.Nos. 3185/- Each. 12740/=

2/- P/F water pump mono block suction and delivery 1-1/4”x1”single

Phase 220volt delivery upto 50’ft:i/c making CC plain 1:3:6 platform

Of required size and fixing with nute and bolts etc in all respect.

1.H.P.(Q.R). = 1.Nos. 17000/- Each. 17000/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 29,740/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO ASSISTANT COMMISSIONER OFFICE NAWABSHAH.

SCHEDULE-B

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- P/F false ceiling of thermopile on panels of required design

And size i/c frame work of Aluminum T-section hanged with

Nail wire to ceiling etc complete.(S.I.No:43 P.No:39)

= 424.Sft. 91/50 PSft. 38796/=

2/- P/F plaster of paris ceiling border of 8”-10”with or specified

Design & thickness i/c fixing bedides ceiling with nails/screws

With jetties.(S.I.No:44 P.No:39). = 128.Rft. 104/22 PRft 13340/=

3/- Scraping of distemper.(S.I.No:54(b)P.No:13) = 5591Sft. 226/- %Sft. 12636/=

4/- Preparing surface and painting with matt finish i/c rubbing the surface

With bathy(silicon carbide rubbing brick)filling thevoids with zink/chalk/

Plaster of paris mixture applying first coat premix making the surface

Smooth and then painting 3coats with matt finish of approved make

Etc complete(New surface)2nd & subsequent coat.

(S.I.No:36(b)P.No:54). = 5591Sft. 1772/38 %Sft. 99094/=

5/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53) = 2195Sft. 1043/90 %Sft. 22914/=

6/- Preparing the surface and painting with weather coat i/c rubbing

The surface with rubbing brick/sand paper filling the voids with

Chalk/plaster of paris and then painting with weather coat of

Approved make 2nd & subsequent coat.(S.I.No:38(b)P.No:55). = 2698Sft. 1498/48 %Sft. 22454/=

7/- Preparing surface painting doors and windows any type i/c edges

2.coat (Old surface)(S.I.No:5 P.No:69). = 629.Sft. 1160/06 %Sft. 7297/=

8/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 523.Sft. 674/60 %Sft. 3528/=

9/- Preparing surface painting sashes fan light glazed or gauzed doors

And windows any type 3.coats(New surface)(S.I.No:5(b)P.No:68). = 198.Sft. 1270/83 %Sft. 1335/=

10/- Galvanized wire gauze fixed to chowkats with ¾”deodar strips

And screws.(S.I.No:14(d)P.No:59). = 72.Sft. 190/72 PSft. 13732/=

11/- Cement plaster(1:4)upto 20’ft:ht:3/4”thick.

(S.I.No: 13(a)P.No: 53). = 270Sft. 3015/76 %Sft. 8143/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 243,269/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO DISTRICT JAIL NAWABSHAH (RESIDENCE SIDE).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Dismantling cement concrete reinforced separating renfor cement

From concrete cleaning and straightening the same.

(S.I.No:20 P.No:16). = 209.Cft. 5445/- %Cft. 11380/=

2/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 209.Cft. 337/- PCft. 70433/=

3/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 11.70Cwt. 5001/70 PCwt. 58520/=

4/- Removing lime or cement plaster.(S.I.No:53 P.no:13) = 1777.Sft. 121/- %Sft. 2150/=

5/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 1777.Sft. 2206/60 %Sft. 39211/=

6/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 1777 .Sft. 2197/52 %Sft. 39049/=

7/- Dismantling cement concrete plain 1:2:4.

(S.I.No:19©P.No:10). = 438.Cft. 3327/50 %Cft. 14574/=

8/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.

(S.I.No:16©P.No:41). = 2577.Sft. 3235/75 %Sft. 83385/=

9/- P/L tiles glazed 6”x6”x1/4”on floor or wall facing in req:colour

And a pattern of STILE specification jointed in white cement

And pigment over a base of 1:2 grey cement mortar ¾”thick

i/c washing and filling of joints with slaurry of white cement

and pigment in desired shape with finishing cleaning and cost

of wax polish etc complete i/c cutting.(S.I.No:60 P.No:46). = 362.Sft. 30509/77 %Sft. 110445/=

10/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 75.Sft. 27678/86 %Sft. 20759/=

11/- White glazed ¼”thick dado jointed in white cement and laid

Over 1:2 cement sand mortar ¾”thick i/c finishing.

(S.I.No:37 P.No:44). = 179.Sft. 28253/61 %Sft. 50574/=

12/- S/F Girder. (S.I.No: P.No: ) = 3.75Cwt. 3850/- P.Cwt. 14434/=

13/- Erecting rolled steel beams or old rails in roofs etc erection

And fixing in position.(S.I.No:6 P.No:91). = 3.75Cwt. 186/34 P.Cwt. 698/=

14/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for doors using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling at with cement sand slurry of ratio 1:6 and reparing

The jambs.The cost also i/c making and fixing.(S.I.No:29 P.No:92).

= 137.Rft. 228/90 PRft. 31291/=

15/- P/F GI frames/chowkats of size 7”x2” or 4-1/2”x3”for windows using

20guage GI sheet i/c welded hinges and fixing at site with necessary

Hold fasts filling with cement sand slurry of ratio 1:6 and repairing the

Jambs. The cost also i/c all carriage tools and plants used in making

And fixing.(S.I.No:28 P.No:92). = 17.Rft. 240/50 PRft. 4089/=

16/- First class deodar wood wrought in doors and windows etc fixed in

Position i/c chowkats hold fasts iron tower bolts handles cleats cords

With hooks etc deodar paneled and paneled or glazed and fully

Glazed 1-3/4”thick.(Only Shutter)(S.I.No:7(b)P.No:58). = 138.Sft. 902/93 PSft. 124604/=

17/- Mud plaster over roof(b) 1” thick.(S.I.No:1(b)P.No: 51). = 499Sft. 555/- %Sft. 2769/=

18/- Gobri leeping Over roof.(S.I.No:27(b)P.No:54). = 499.Cft. 86/- %Cft. 429/=

19/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No:4 P.No: 24). = 57.Cft. 12674/36 %Cft. 7224/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 686,018/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(B)P.No:1). = 2.No. 5088/20 Each. 10176/=

2/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 6.Nos. 1109/46 Each. 6657/=

3/- S/F cancealed tee-stop cock of superior qlty:with CP head

½”dia.(S.I.No:12(b)P.No:18). = 6.Nos. 889/46 Each. 5337/=

4/- P/F 22”x18”lavatory basin in white glazed earthen ware complete

With & i/c two coats of WI or CI cantilever brackets 6”inches built

Into wall painted white in two coats after a primary coat of red

Paint of ½”dia chrome plated pillar taps 1-1/2”rubber plug & chrome

Brass waste of approved patterns 1-1/4”dia malleable iron C.P brass

Traps malleable iron or brass unions and making number of holes

In walls plinth and floor for pipe connections and making good in

Cement concrete 1:2:4(Std:Pattern)(S.I.No:12 P.No:4). = 2.Nos. 6237/- Each. 12474/=

5/- P/F in position nylon connection complete with ½”dia brass stop

Cock with pair of brass nuts and lining joints to nylon connection.

(S.I.No:23 P.No:6). = 4.Nos. 447/15 Each. 1789/=

6/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3) = 1.Nos. 938/47 Each. 938/=

7/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 2.Nos. 1217/= Each. 2434/=

8/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

with`PVC solvent/JTG solution and fixing at any height/floor

using jhoola or long ladder in horizontal or vertical pipe as directed

by the Engineer incharge Plain Elbow. = 2.Nos. 780/- Each. 1560/=

9/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 50Rft. 333/- PRFt. 16650/=
2. 1-1/2” dia. = 350Rft. 127/- PRFT. 44450/=
3. ¾”dia. = 50Rft. 126/- PRFT. 6300/=
4. ½” dia. = 100Rft. 99/- PRFT. 9900/=

\_\_\_

Total Rs:- 118,665/=

CONTRACTOR EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD