SCHEDULE-B

CONSTRUCTION FOR OFFICE BUILDING FOR ON-FARM WATER MANAGEMENT STAFF  (DEPUTY DIRECTOR) SHAHEED BENAZIRABAD PROVIDING INTERNAL E.I

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

1.  Wiring for light or fan point with 1.1.13/.029)PVC insulated wire in 20 mm PVC

Insulated wire in ¾ PVC conduit recessed in the wall or columns as required(SINO:124/p:15)

Light point 	92-Nos:   1130/-      Each	103960/-

Fan point	   20-Nos:	1130/-     Each.	       22600/-/-

2.  Wiring for call bell point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit  recessed in the wall or columns as required(S.i.No:128-P15)

8-No:          1764/-   Each                    14112/-

3)  Wiring  for plug point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit recessed in the wall or columns as required (S.i.no:126P-15

26-Nos:      985/-     Each                   25610/-

4)  Wiring for main with 2-7/.029)PVC insulated wire in 20 mm PVC conduite recessed in the wall or columns as required (SINO:10p-2)

200Mtr:	    222/-      P-Mtr:               44400/-

5)  )  Wiring for main with 2-7/..044)PVC insulated wire in 25 mm PVC conduit recessed in the wall or columns as required (SINO12.P-2)

170- Mtr:            341/-      P.Mtr:            57970/-

6)  P/L main  or sub-main  PVC ins:with 2-7/.064 (6mm2)  copper conductor ¾  dia PVC

Conduit  in the wall or columns as required (S.I.No:14p-02)

50-Mtr:                641/-     P-Mtr:           32050/-

7) P/F circuit  bracket 15 amp to 100 amps  TP ((XS-100NS) on prepared board  As required (S.I.No.207p-31                           02-Nos:                9261/-   Each              18522/-

8) P/F circuit  breacket 6 amp to 63 amps  SP ((TB-5S) on prepared board  As required (S.I.No.203p-31                                           18-Nos:                916/- -   Each              16488/-

9) P/F brass pandent lamp holder (SINO:229-p33)

92-Nos:	74/-	    Each		    6808/-

10) P/F 3 pin 10/15  amps plug  and socket flush type (SINO:227p-33)

16-Nos:	162/-	    Each                 2592/-

11)  P/F AC brass  ceiling fan  56  good quality (SINO: 2135 –p34)

18-Nos:          3185/-       Each                 57330/-

__________

Total=	402,442/-

__________

(PART B NON SCHEDULE ITEMS)

1)   S/F service wire 2-7/.064 PVC  2 core  cable approved quality

200-.Mtr:                		P-Mtr:

2)  P/F   main Pannel board  double shutter to accommodate heavy duty circuit breackerr

i/c painting  with enemelled paint for other similar job on surface

08 SFT                    	Each

3) P/F energy sever superior quality

92-No:             		Each

4)P/F Electric bell 220 volts .

8-Nos:             		Each.

5) P/F Bell push batton  etc complete.     8-Nos:                                Each

6) P/F  fancy switch plate china made  10 gang

14-Nos:             		Each

7) P/F fancy switch plate china made 4 gang

10-Nos:                             Each

8) P/F Earthing set with  2x2x1/4 copper plate buried in the ground at a depth  of  12 ft or  less if the water comes  out from the ground level  with salt and cholorocal  etc i/c providing G.I. pipe and copper wire size size 8 SWG in all respe

1-No:                             Each

9) P/F  Exhaust fan 16 “ sweep approved quality etc

4-Nos:                            Each

____________

Total=

___________

CONTRACTOR						EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

SCHEDULE-B

CONSTRUCTION OF  TWO COURT BUILDING AT SAKRAND DISTRICT  SHAHEED BENAZIRABAD PROVIDING INTERNAL ELECTRIFICATION.

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

1.  Wiring for light or fan point with 1.1.13/.029)PVC insulated wire in 20 mm PVC

Insulated wire in ¾ PVC conduit recessed in the wall or columns as required(SINO:124/p:15)

Light point 	218/--Nos:   1130/-      Each	246340/-

Fan point	   51-Nos:	1130/-     Each.	       57630/-

2.  Wiring for call bell point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit  recessed in the wall or columns as required(S.i.No:128-P15)

16/-NoS:          1764/-   Each                 28224/-

3)  Wiring  for plug point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit recessed in the wall or columns as required (S.i.no:126P-15

76-Nos:      985/-     Each                     74860/-

4)  Wiring for( Main or sub Main )with 2-7/.029)PVC insulated wire in 20 mm PVC conduite recessed in the wall or columns as required (SINO:10p-2)

552-Mtr:	    222/-      P-Mtr:               121878/-

5 Wiring for(Main or sub Main with 2-7.036 PVC insulated wire in 25 mm 1 PVC conduite recessed in the wall or columns as required.    14-Mtr:       252/-       P-Mtr:                53928/-

6)  )  Wiring for(Main  or sub Main) with 2-7/..044)PVC insulated wire in 25 mm PVC conduit recessed in the wall or columns as required (SINO12.P-2)

262- Mtr:            341/-      P.Mtr:            89342/-

7) P/F circuit  breacket 15 amp to 100 amps  TP ((XS-100NS) on prepared board  As required (S.I.No.207p-31                           04-Nos:                9261/-   Each                              37044/-

8) P/F circuit  breacket 6 amp to 63 amps  SP ((TB-5S) on prepared board  As required (S.I.No.203p-31                                           52-Nos:                916/- -   Each               47632/-

10)   Providing and fixing  circuite breacker  400 amps TP setting 250-400 amps (XS-400)CJ prepared board (S..i.No:210-p-31)

1-No:                39401/-    Each               39401/-

11) P/F 3 pin 10/15  amps plug  and socket flush type (SINO:227p-33)

20-Nos:	162/-	    Each                3240/--

12)  P/F AC brass  ceiling fan  56  good quality (SINO: 2135 –p34)

51-Nos:          3185/-       Each                 162435/-

13) P/F brass bracket lamp holder suitable for l12mm ½ (S.i.No:230-p-33)

218-Nos:             72/-      Each.                15696/-

14) P/F brass Bracket fam 18 “ good quality (S>I>NO:236-p-34)

08-Nos:              2791/=  Each                  21608/-

Total=                     999978/-

CONTRACTOR						EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

SCHEDULE-B

M/R TO  JUDICIAL BUNGLOW S 3-NOS; AT NAWABSHAH PROVIDING INTERNAL E.I

| S.No: | Item of work | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

(Part A Schedule Items)

1) Providing and laying  ( Main or Sub- Main) PVC insulated  with size 2-7/.029)copper conductor in ¾ dia  PVC conduite on surface (SINO: 3p-1)

200-Mtr:     171/-              P-Mtr:                 34200/-

2) P/F  brass bracket lamp holder suitable for  15 mm 5/8 “  holder  (SINO:231p-33)	 				                   25-Nos:    72/-                Each                    1800/-

3) P/F 3 ppin 10/15  amps plug and socket flush type (SINO:227/p-33)

8-Nos:       162/-              Each                    1296/-

4) P/F brass ceiling fan  56 sweep  good quality (SINO:235 p-34)

08-Nos:     3185/-           Each                    25480/-

5) Providing and fixing  brass  bracket fan  18” good quality (SINO:236p-34

01-No:      2791/-            Each                    2791/-

_________

Total=       65567/-

_________

(PART B NON  SCHEDULE ITEMS)

1) P/F fancy light fitting superior quality  etc complelte

10-Nos:             			 Each

2)  Providing and fixing energy server superior quality.

20-Nos:                 		Each

3) Providing and fixing electric bell  20 volts

02-Nos:                 		Each

4) P\F Electric bell push baton                  02-Nos:                                         Each

5)  Providing and fixing energy server 85 wattsuperior quality.

4-Nos:                      		Each

6) Rewinding or ceiling fan 56 sweep etc complete

06-Nos:                   		Each

7) P\F  Dimmer for lelectric fan  and regulator etc complete

10-Nos:                    		Each

8) P/F Exhaust fan  12 inch sweep good quality

03-Nos:               		 Each

_______

Total=

CONTRACTOR						EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

SCHEDULE-B

M/R TO  DISTRICT & SESSION JUDGEBUNGLOW  AT N.SHAH PROVIDING INTERNAL E.I

| S.No: | Item of work | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

(Part A Schedule Items)

1) Providing and laying  ( Main or Sub- Main) PVC insulated  with size 2-7/.029)copper conductor in ¾ dia  PVC conduite on surface (SINO: 10p-2)

90-Mtr:     222/-              P-Mtr:                 19980/-

2) P/F brass ceiling fan  56 sweep  good quality (SINO:235 p-34)

05-Nos:     3185/-           Each                    15925/-

_________

Total=      35905/-

_________

(PART B NON  SCHEDULE ITEMS)

1) P/F  Energy sever 85 watt superior quality  etc complelte

26-Nos:          		     Each

2)  Providing and fixing energy server25 watt superior quality.

16-Nos:               		    Each

3)  Providing and fixing  fancy wall bracket light with internal connection  complete

In all respects .

16-Nos:                  	    Each

4) Rewinding of motor l  HP   single phase 220 voltes  etc complete

04-Nos:                   	      Each

________

Total=

CONTRACTOR						EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD