NAME OF WORK:- M/R TO JUDICIAL COMPLEX AT NAWABSHAH (GROUND FLOOR).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.

1/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 10914Sft. 425/84 %Sft. 46476/=

2/- Distemper 2.coats.(S.I.No:26(b)P.No:53). = 34873.Sft. 1043/90 %Sft. 364039/=

3/- Preparing surface painting doors and windows any type

2.coats(Old surface)(S.I.No:5 P.No:76). = 298.Sft. 1160/06 %Sft. 3457/=

4/- French polishing complete.(b)On old work.

(S.I.No:7(b)P.No: 71). = 119.Sft. 3837/= %Sft. 4566/=

5/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 798.Sft. 674/60 %Sft. 5383/=

6/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.I.No:4(a)P.No:68) = 670Sft. 1072/06 %Sft. 7183/=

7/- Glazing with panes (16oz to 18oz)i/c cost of putty.

(S.I.No:45(a)P.No: 63). = 20.Sft. 115/55 PSft. 2311/=

8/- P/F Aluminum sheet on doors pasted with glue as per requirement.

(S.I.No:61 P.No:66). = 56.Sft. 63/77 PSft. 6471/=

\_\_\_\_\_\_\_\_\_\_

Total Rs:- 4,40,312/=

PART “B” INT:W/S & S/F.

1/- P/F squatting type white glazed earthen ware W.C pan with i/c

The cost of flushing cistern with int:fitting and flush pipe with

Bend & making requisite number of holes in walls plinth & floor

For pipe connections & making good in cement concrete 1:2:4.

W.C pan of not less than with 4”dia white glazed earthen ware

Trap & plastic thumble.(S.I.No:1(A)P.No:1). = 3.Nos. 5044/60 Each. 15134/=

2/- P/F 22”x18”lavatory basin in white glazed earthen ware complete

With & i/c two coats of WI or CI cantilever brackets 6”inches built

Into wall painted white in two coats after a primary coat of red

Paint of ½”dia chrome plated pillar taps 1-1/2”rubber plug & chrome

Brass waste of approved patterns 1-1/4”dia malleable iron C.P brass

Traps malleable iron or brass unions and making number of holes

In walls plinth and floor for pipe connections and making good in

Cement concrete 1:2:4(Std:Pattern)(S.I.No:12 P.No:4). = 1.Nos. 4694/80 Each. 4695/=

3/- P/F European white glazed earthn ware wash down W.C pan

Complete with and i/c the cost of white/black plastic seat(best

Qlty:)and lid with CP brass hinges and buffers 3gallons white

Glazed earthen ware low level flushing cistern with siphon

Fitting 1-1/2”dia white porcelain enameled flush bend ¾”dia

Making req:numbers of holes in walls plinth and floor for pipe

Connections and making good in cement concrete 1:2:4(Foreign

Quality)(S.I.No:5 P.No:2). = 1.No. 11477/40 Each. 11477/=

4/- Add:extra for labour for P/F of earthen ware pedestal white or

Coloured glazed (Foreign or Equivalent)(S.I.No:9 P.No:3). = 1.No. 938/47 Each. 938/=

5/- S/F cancealed tee stop cock of superior quality with C.P head

½” dia.(S.I.No:12(a)P.No: 18). = 4.Nos. 843/92 Each. 3376/=

6/- S/F long bib cock of superior quality with CP head ½”dia.

(S.I.No:13(a)P.No:19). = 4.Nos. 1109/46 Each. 4438/=

7/- P/F UPVC fitting of sch:40(E)(AGM or Pak Arab make)i/c jointing

With PVC solvent/JTG solution and fixing at any height/floor

Using jhoola or long ladder in horizontal or vertical pipe as

Directed by the Engineer incharge 4”Plug Tee. = 1.No. 1217/= Each. 1217/=

8/- P/F UPVC soil & vent pipe AGM make of approved quality on walls

& in C.C flooring working upto 90’ft:ht:jointing with UPVC fitting

By using approved paste/solution making good etc complete as

Per instruction of the Engineer incharge Rate i/c cost of labour

Material cartage scaffolding jhoola etc complete.

1. 4” dia. = 25Rft. 333/- PRFt. 8325/=
2. ¾”dia. = 50Rft. 126/- PRFT. 6300/=

9/- S/F wash basin mixture of superior quality with CP head ½”dia.

(S.I.No:14(b)P.No:19). = 1.Nos. 3179/- Each. 3179/=

10/- P/F 24”x18”bavelled edge mirror of Belgium glass complete with

1/8”thick hard board and CP screws fixed to wooden pleat(Superior

Quality)(S.I.No:3 (b)P.No:7). = 1.No. 2376/- Each. 2376/=

\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 61,455/=

CONTRACTOR EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO JUDICIAL COMPLEX AT NAWABSHAH (REPAIR OF COMPOUND WALL).

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.--.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-..-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.

1/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 20775Sft. 425/84 %Sft. 88468/=

2/- Distemper 2.coats.(S.I.No:26(b)P.No:53). = 45875Sft. 1043/90 %Sft. 478889/=

3/- Preparing surface painting doors and windows any type

2.coats(Old surface)(S.I.No:5 P.No:76). = 6269Sft. 1160/06 %Sft. 72725/=

4/- French polishing complete.(b)On old work.

(S.I.No:7(b)P.No: 71). = 7117.Sft. 3837/= %Sft. 273079/=

5/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 1942.Sft. 674/60 %Sft. 13101/=

6/- Dismantling glazed or encaustic tiles etc.

(S.I.No:55 P.No:13). = 63.Sft. 786/50 %Sft. 495/=

7/- Laying floor of approved with glazed tile ¼”thick in white

Cement 1:2 over ¾”thick cement mortar 1:2 complete.

(S.I.No:24 P.No:42). = 63.Sft. 27678/86 %Sft. 17438/=

8/- Preparing surface painting corrugated surface patent roofing etc

With oil paint 2.coats.(Old surface)(S.I.No:4(a)P.No:68) = 2844Sft. 1072/06 %Sft. 30489/=

9/- P/F Aluminum sheet on doors pasted with glue as per requirement.

(S.I.No:61 P.No:66). = 64.Sft. 63/77 PSft. 4081/=

10/- S/F masonite,Bacolite per celutes or card board sheet etc panels

i/c supplying and making deodar wood Ist: class frame work for

ceiling or partition.(S.I.No:39 P.No:63). = 21.Sft. 42902/15 %Sft. 9009/=

11/- Glazing with panes (16oz to 18oz)i/c cost of putty.

(S.I.No:45(a)P.No: 63). = 20.Sft. 115/55 PSft. 8666/=

\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 9,98,512/=

CONTRACTOR EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO DISTRICT JAIL NAWABSHAH(REPAIR OF COMPOUND WALL).

ABSTRACT SHEET.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Excavation in foundation of building bridges and other

str:i/c dag belling dressing refilling around str: with

excavated earth watering and ramming lead upto 5’ft:

(b)In ordinary soil.(S.I.No:18(b)P.No:4). = 1191.Cft. 3176/25 %ocft. 3783/=

2/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:5:10.(S.I.No:4 P.No:15). *= 397.Cft.* 8694/95 %Cft. 34519/=

3/- Dismantling brick work lime or cement mortar.

(S.I.No:13 P.No:10). = 506.Cft. 1285/63 %Cft. 6505/=

4/- Pacca brick work in foundation/plinth in cement sand

Mortor 1:6.(S.I.No:4 P.No:19). = 1347.Cft. 11948/36 %Cft. 60944/=

5/- D:P:C with(cement sand and shingle concrete 1:2:4)

i/c 2coats of asphaltic mixture 3”thick.

(S.I.No:28©P.No:18). = 449.Sft. 4982/18 %Sft. 22370/=

6/- Pacca brick work other than building i/c stricking of joints

20’ft:ht:in cement sand mortar 1:6.(S.I.No:7(a)P.No:21). = 900.Cft. 12346/65 %Cft. 111120/=

7/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 5000.Sft. 2206/60 %Sft. 110330/=

8/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 5000.Sft. 2197/52 %Sft. 109876/=

9/- Colour washing walls 2.coats over one coat of white wash.

(S.I.No: P.No: ) = 5000.Sft. 1303/11 %Sft. 65156/=

\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 6,24,398/=

CONTRACTOR EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD

NAME OF WORK:- M/R TO DISTRICT JAIL NAWABSHAH.

SCHEDULE-B.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

S.No. Item of work. Qty:. Rate. Unit. Amount.

-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-.-

1/- Excavation in foundation of building bridges and other

str:i/c dag belling dressing refilling around str: with

excavated earth watering and ramming lead upto 5’ft:

(b)In ordinary soil.(S.I.No:18(b)P.No:4). = 587.Cft. 3176/25 %ocft. 1864/=

2/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:5:10.(S.I.No:4 P.No:15). *= 320.Cft.* 8694/95 %Cft. 27824/=

3/- Pacca brick work in foundation/plinth in cement sand

Mortor 1:6.(S.I.No:4 P.No:19). = 323.Cft. 11948/36 %Cft. 38593/=

4/- D:P:C with(cement sand and shingle concrete 1:2:4)

i/c 2coats of asphaltic mixture 3”thick.

(S.I.No:28©P.No:18). = 52.Sft. 4982/18 %Sft. 2591/=

5/- Filling, Watering and Ramming earth under floor with new

earth (Excavated from Outside) lead up to One Chain and

lift up to 5’ft:.(S.I.No:22 P.No:4) = 391.Cft. 3630/- %oCft. 1419/=

6/- Cement concrete brick or stone ballast 1-1/2” to 2”guage

Ratio 1:6:12.(S.I.No:4 P.No:15). = 74.Cft. 8122/95 %Cft. 6011/=

7/- Pacca brick work in ground floor in cement sand mortar 1:6.

(S.I.No: 4 P.No: 20) = 442.Cft. 12674/36 %Cft. 56021/=

8/- Fabrication of mild steel reinforcement for cement concrete

i/c cutting bending laying in position making joints and fastening

i/c cost of binding wire(also i/c removal of rust from bars)

(S.I.No:8(b)P.No:15). = 5.90Cwt. 5001/70 PCwt. 29510/=

9/- Reinforced cement concrete work i/c all labour and material except

The cost of steel reinforcement and its labour for bending and binding

Which will be paid separately. This rate also i/c all kinds of formas

Moulds lifting shuttering curing rendering and finishing the exposed

Surface(i/c screening & washing of shingle)(a)RCC work in roof slab

Beams columns rafts lintels and other str:members laid in situ or

Precast laid in position complete in all respects ratio 1:2:4 90.Lbs.

Cement 2cft. Sand 4cft shingle 1/8” to ¼”guage.(S.I.No:6(a)P.No:15).

= 79.Cft. 337/- PCft. 26623/=

10/- Second class tile roofing consisting of 4”earth and 1”mud plaster with

Gobri leeping over ½”thick cement plaster 1:6 with 34.Lbs of hot bitumen

Coating sandblinded provided over one layer oif 12”x6”x2”tiles laid in 1:6

Cement mortar i/c 1:2 cement pointing under neath of tiles complete i/c

Curing etc.(S.I.No:2 P.No: 33). = 311Sft. 7607/25 %Sft. 23659 /=

11/- S/F Girder. (S.I.No: P.No: ) = 4.10Cwt. 3850/- P.Cwt. 15785/=

12/- S/F T-Iron 1-1/2”x1-1/2”Size.(S.I.No: P.No: ). = 3.61Cwt. 3575/- P.Cwt. 12906/=

13/- Erecting rolled steel beams or old rails in roofs etc erection

And fixing in position.(S.I.No:6 P.No:91). = 8.21Cwt. 186/34 P.Cwt. 1530/=

14/- Removing lime or cement plaster.(S.I.No:53 P.no:13). = 1498Sft. 121/- %Sft. 1813/=

15/- Cement plaster(1:6)upto 20’ft:ht:1/2”thick.

(S.I.No:13(a)P.No:53). = 2579.Sft. 2206/60 %Sft. 56908/=

16/- Cement plaster(1:4)upto 20’ft:ht:3/8”thick.

(S.I.No:11(a)P.No:53). = 2579 .Sft. 2197/52 %Sft. 56674/=

17/- Dismantling cement concrete plain 1:2:4.

(S.I.No:19©P.No:10). = 240.Cft. 3327/50 %Cft. 7986/=

18/- P/L 1”thick topping cement concrete(1:2:4)i/c surface

Finishing and dividing into panels 2”thick.

(S.I.No:16©P.No:41). = 1897.Sft. 3275/50 %Sft. 62136/=

19/- Two coats of bitumen laid hot using 34Lbs for %sft over roof

And blinded with sand at one cft per %sft.

(S.I.No:13 P.No:34). = 1657Sft. 1887/40 %Sft. 31274/=

20/- S/F in position iron/steel grill of ¾”x1/4”size flat iron of approved

Design i/c painting 3coats etc complete(wt:not to be less than

3.7Lbs/sq:ft:of finished grill)(S.I.No:26 P.No:92). = 36.Sft. 180/50 PSft. 6498/=

21/- White washing walls 2.coats.(S.I.No:24(b)P.No:53). = 5267Sft. 425/84 %Sft. 22429/=

22/- Colour washing walls 2.coats.(S.I.No:25(b)P.No:53). = 14850Sft. 859/90 %Sft. 127695/=

23/- Distempering on walls 2.coats.(S.I.No:26(b)P.No:53). = 4811Sft. 1043/90 %Sft. 50222/=

24/- S/F in position Alumunium channels framing for slidding windows

& ventilators of Alcope made with 5mm thick tinted glass glazing

(Belgium)& Alumunium fly screen i/c handles stoppers & locking

Arrangement etc complete(b)Deluxe model(Bronze).

(S.I.No:84(b)P.No:108). = 140.Sft. 1647/69 PSft. 230677/=

25/- Mud plaster on walls(b) 1” thick.(S.I.No:1(b)P.No: 51). = 4500Sft. 555/- %Sft. 24975/=

26/- Preparing surface painting guard bars gates of iron bars

Gratings railings(i/c std:braces etc)and similar open work

2.coats(Old surface)(S.I.No:5(d)P.No:69). = 496.Sft. 674/60 %Sft. 3346/=

27/- Colour washing walls 2.coats over one coat of white wash.

(S.I.No: P.No: ). = 2579.Sft. 1303/11 %Sft. 33607/=

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Total Rs:- 7.55.609/=

CONTRACTOR EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD