PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/ 975 Dated 23-12-2016 |
| --- | --- |

| Name of Work:- | Providing Laying Jointing & Testing Pvc Rising Main, Delivery Main, Distribution System, Providing & Installing Pumping Machinery @ Source And Water Works And Construction Of Pump House (2 Nos) Compound Wall, L.S.R (3000 Gallons Capacity) (7 Nos) For Rural Water Supply Scheme Allahdino Mirbehar & Surrounding Villages District Thatta (Work No.1) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-3000/- |
| --- | --- |

| Date of Issue 18/01/2017 | Date of Opening 19/01/2017. |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGINEERING DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Providing Laying Jointing & Testing PVC Rising Main, Delivery Main, Distribution System, Providing & Installing Pumping Machinery @ Source and Water Works and Construction of Pump House (2 Nos) Compound Wall, L.S.R (3000 Gallons Capacity) (7 Nos) for Rural Water Supply Scheme Allahdino Mirbehar & Surrounding Villages District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 8.776 Million |
| (e) | Amount of Bid Security:- | Rs:-176000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10%) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 19-01-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 19-01-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 05 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	PROVIDING LAYING JOINTING & TESTING PVC RISING MAIN, DELIVERY MAIN, DISTRIBUTION SYSTEM, PROVIDING & INSTALLING PUMPING MACHINERY @ SOURCE AND WATER WORKS AND CONSTRUCTION OF PUMP HOUSE (2 NOS) COMPOUND WALL, L.S.R (3000 GALLONS CAPACITY) (7 NOS) FOR RURAL WATER SUPPLY SCHEME ALLAHDINO MIRBEHAR & SURROUNDING VILLAGES DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  RISING MAIN

1.	Excavation for pipe line  in trenches and pits in Soft Soil i/c triming and dressing side to true alingment / design section / profiles and shape leveling of bed of trenches to correct level and grade i/c laying of earth in 6” layer for construction of tanks and dressing and disposal of surplus earth within one chain as directed by Engineer In charge (P.H.S.I.No.3 P/60)

19856.25 Cft  		@ Rs. 3600/- 	P%0 Cft		Rs. 71483/-

2,	Excavation for pipe line in trenches and pits in Hard Soil           i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within a one chain as directed by Engineer In charge providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft (1-52mm) and lead upto one chain (30x50) (P.H.S.I.No: 3 P/61).

3971.25 Cft   	 @ Rs.3900/-			P: %0 Cft		Rs.15488/-

3.	Providing Laying UPVC Pressure Pipe of Class-B (Equivalentmake) fixing in trenches i/c cutting, fitting and jointing with “Z” joint with one rubber ring i/c testing with water to head of 61 meter or 200’ft (PHSINo.E(i) P/22)

6”dia

3530.00 Rft	 	@ Rs. 262/- 	 		P: Rft.			Rs.924860/-

4.	P.V.C Special ‘B’ Class for PVC Pipe etc complete (SMINo.18 P/27).

- 900  Bend 6” dia

1 No	 		@ Rs. 1913/-		 	 Each			Rs. 1913/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

- Air valve double acting conal (SMINo.8 P/12)

6” dia

- Nos	 		@ Rs. 4000/-			 Each			Rs. 4000/-

- Tail Piece Cost iron 6” dia.

6” dia

- Nos	 		@ Rs. 618/75			 Each			Rs. 2475/-

6.	Providing Laying Jointing P.E Pipe in trenches i/c fitting into P.E Pipe (HDPE) for Water Supply confirming ISO 4427/DIN 8074/8075 B.S 3580 PSI 3051 (PHSINo.12 P/25).

6" DIA

10 Rft. 		 	@ Rs.440/-	 		P: Rft 			Rs. 4400/-

7.	Manufacturing and furnishing M.S Flanged pipe 8” dia madeout of              M.S Sheet 3/8” thick i/c drilling holes and welding etc complete              (Rate Approved).

6" DIA

2 Nos. 	 		@ Rs.804/77	 		Each 			Rs. 1610/-

8.	Jointing C.I M/S Flanged Pipe and specials flanged and inside at trenches i/c supplying rubber packing of the required thickness  nuts and bolts with washer etc and other tools required for jointing and testing the joints to the specified pressure etc complete.   (P.H.S.I. No: 1 P/40)

6" DIA

4 Joints			@ Rs: 938/-			 P/ Joints		Rs: 3752/-

9,	Providing chamber -2 -1/3”  x 1 ½”  ( 7 11x 457mm) inside dismension 4  (137mm) deep as per approved design for S.V 3” to 12” dia with 18” (457mm) dia inside C.I Cover and frame (wt = 1 sq ) fixed in R.C.C 1:2:4 alab 4” (102mm) thick brick machinery walls set in 1:6 cement C.C 1:3:6 in foundation (25mm) thick cement 1:2:4 flooring ½”dia (125mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing & fixing M.S foot rest every one foot beyond 2 ½” ft depth curring excavation back filling and disposal of surplus etc complete.  (P.H.S.I.No: 1 P/ 40)

1 No:			@ Rs. 18820/- 		Each			Rs. 18820/-

10.	Refilling the excavated staff in trenches in 6” thick layers i/c watering and ramming to full compaction etc complete (P.H.S.I No. 22 P/47)

20047.50  Cft 		@ Rs. 2760/- 			P%0 Cft 		Rs. 55331/-

---------------------

Total 	Rs:11,04,971/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “B”  DELIVERY MAIN

1,	Excavation for pipe line in trenches and pits in Soft Soil           i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within a one chain as directed by Engineer In charge providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft (1-52mm) and lead upto one chain (30x50) (P.H.S.I.No: 3 P/61).

###### 18563.00 Cft   	 	@ Rs.3600/-		P: %0 Cft		Rs.66827/-

2,	Excavation for pipe line in trenches and pits in Hard Soil i/c trimming and dressing sides to true alignment and shape leveling of beds trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer in charge i/c providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5’ft and lead upto one chain  (P.H.S.I.No: 10 P/61).

###### 1687.50 Cft  	 	 	@ Rs.3900/-		P: %0 Cft		Rs.6581/-

3,	Providing Laying Jointing in trenches UPVC Pressure pipe of Class B (Equivalent Make) will be joint with one rubber ring i/c carring with water to head of 61 Miles etc complete.

6” dia

###### 3000.00 Rft: 		  	@ Rs.262/-		P: Rft			Rs.786000/-

4,		P.V.C Special for PVC Pipe (S.M.I.No. 14 P/14)

i.	Bend 900

6”Dia

3 Nos				@ Rs.1913/-		Each			Rs. 5739/-

ii.	Tee Un-Equal 6”x6”x3” dia

4 Nos				@ Rs.1800/-		Each			Rs. 7200/-

iii.	Tee Equal 6” dia

2 Nos				@ Rs.1800/-		Each			Rs. 3600/-

6,	Supplying & Installing G.I Pipe of 6” dia (112) approved to be tested with pressure head of 200’ft (S.S.Ino.1 P/5)

###### 6”dia

###### 260 Rft.		  	 @ Rs.695/04		P: Rft			Rs.180710/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

7,	Manufacturing and Furnishing M.S Flanged Pipe 8” dia made out of M.S Sheet 3/8” thick i/c drilling holes and welding etc complete..

###### 6”dia

###### 26 Nos.		  	 @ Rs.804/77		Each			Rs.20924/-

8,	Jointing C.I/M.S flanged pipe and specials flanged and inside a trenches i/c supplying rubber packing of the required thickness nuts and bolts with washer etc complete (P.H.S.I.No. M (I) P/40)

###### 6”dia

###### 16 Joints.	 	 	 @ Rs.938/-		P: Joint		Rs.15008/-

9,	Refilling the excavated stuff in trenches in 6”thick layers i/c watering and ramming to full compaction etc complete.

(P.H.S.I.No: 24  : P : 53 ).

###### 18225.45 Cft: 	 	 	 @ Rs.2760/-		P:%0 Cft		Rs.50302/-

------------------

Total	Rs:11,42,891/-

GROUP: “C”  PUMPING MACHINERY 20 BHP Electric & 30 BHP Diesel (AT W/WORKS)

1.	Providing & Installing in Position i/c transportation to site of work Rural Water Supply Scheme Allahdino Mirbehar Electric Pumping Machinery 20 BHP Coupled with Centrifugal pump (KSB) ETA Norm 65-200 Size  3x2.50 mounted on common steel base plate capable of discharging of 260 gallons per minute to a head of 115’ft i/c fixing on cement concrete of 5/8” dia to be embedded in the c.c. foundation i/c testing the pumping set of 72 hours etc complete (R.A Attached)

20 BHP

1.0 Set			@Rs: 394250/-		P:Set			Rs:394250/-

2.	Providing & Installing in Position i/c transportation to site of work Rural Water Supply Scheme Allahdino Mirbehar Diesel Engine Golden Made Pumping Set  30 BHP Coupled with Centrifugal Pump (KSB) ETA Norm 80-200   Size 3” x 2” mounted on common steel base plate capable of discharging of 260 gallons per minute to a head of 170’ft i/c fixing on cement concrete or 5/8” dia to be embedded in the C.C.Foundation i/c testing the pumping set of 72 hours etc complete (R.A Attached).

30 BHP

1.0 Set			@Rs: 345110/-		P:Set			Rs:345110/-

3.	Supplying C.I Sluice Valve heavy pattern test pressure 21 KG/sq cam or 300 Ibs/Inch. (P.H.S.I.NO: 2 P/9)

3”dia

2 Nos.		 	 @ Rs. 4290/- 			Each			Rs.8580/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4.	Supplying Reflex valve heavy pattern test pressure 21 Kg/Sq cum or 300 Ibs/inch (P.H.S.I.NO:         P/9)

3”dia

2.0 Nos	 	@ Rs. 1543/75		 Each.  	         	Rs.3088/-

5.	Supplying C.I foot valve heavy pattern with cone type gate                      (M.S.I.No. 4 P/10) (Imported)

3”dia

2.0 Nos	 	@ Rs. 731/25			 Each.  	         	Rs.1463/-

6.	Supplying C.I Bend with flanged end with holes i/c trimming etc complete (M.S.I.NO:2 P/10)

3” dia

33.40 Kg 		@ Rs. 120/-			 P:Kg	 		Rs. 4008/-

7.	Supplying C.I Tee with flanged end with holes i/c trimming & facing of flanged (for all size) (Rate Approved).

3”x3”x3”

9.07 Kg 		@ Rs. 120//-			P:Kg	 		Rs. 1088/-

8.	C.I Tapered flat  with bottoms or central tapered flanged ends with holes i/c trimming and facing of flanged for al sizes (Rate Approved)

2.50” x 3”

10.50 Kg 		@ Rs.120/-			 P:Kg	 		Rs.1260/-

9.	Supplying & Instlaling M.S Pipe of various dia made out of M.S Sheet 3/16” thick cutting of olding to curvature and shape P.E -10  i/c welding etc complete (R.A Approved)

3” dia

59.00 Rft 		@ Rs.385/89			 P:Rft	 		Rs.22768/-

10.	Manufacturing and furnishing M.S Flanged pipe 6”dia madeout of M.S Sheet 3/8” thick including dilling holes and welding etc complete              (Rate Approved)

3”dia

14.00  Nos.		  @ Rs. 500/89 		Each			Rs. 7012/-

11.	Jointing C.I M.S Flanged Pipes and Specials flanged and inside a trenches i/c supplying rubber rings and testing washer etc and other tools required for joining and testing joints pressure etc complete (P.H.S.I.NO: 1 P/27)

3”dia

20 Joints		@ Rs. 499/-			P: Joint		Rs. 9980/-

--------------------

Total	Rs:7,98,607/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “D”  PUMPING MACHINERY 10 BHP Electric & 16 BHP Diesel (AT SOURCE)

1.	Providing & Installing in Position i/c transportation to site of work Rural Water Supply Scheme Allahdino Mirbehar Electric Pumping Machinery 10 BHP Coupled with Centrifugal pump (Golden) 65-27                           Size 2.50” x 3” mounted on common steel base plate capable of discharging of 260 gallons per minute to a head of 70’ft i/c fixing on cement concrete of 5/8” dia to be embedded in the c.c. foundation i/c testing the pumping set of 72 hours etc complete (R.A Attached)

10 BHP

1.0 Set			@Rs: 228320/-		P:Set			Rs:228320/-

2.	Providing & Installing in Position i/c transportation to site of work Rural Water Supply Scheme Allahdino Mirbehar Diesel Engine Pumping Set 20 BHP coupled with Centrifugal Pump (Golden) Norm 65-27                Size 3”x2.50” mounted on common steel base plate capable of discharging of 5/8” dia to be embedded in the C.C.Foundation i/c testing the pumping set of 70 hours etc complete (R.A Attached).

16 BHP

1.0 Set			@Rs: 205240/-		P:Set			Rs:205240/-

3.	Supplying C.I Sluice Valve heavy pattern test pressure 21 KG/sq cam or 300 Ibs/Inch. (P.H.S.I.NO: 2 P/9)

3”dia

2 Nos.		 	 @ Rs. 4290/-	 		Each			Rs. 8580/-

4.	Supplying Reflex valve heavy pattern test pressure 21 Kg/Sq cum or 300 Ibs/inch (P.H.S.I.NO:         P/9)

3”dia

2.0 Nos	 	@ Rs. 1543/75		 Each.  	         	Rs.3088/-

5.	Supplying C.I foot valve heavy pattern with cone type gate (M.S.I.No. 4 P/10)

3”dia

2.0 Nos	 	@ Rs. 731/25			 Each.  	         	Rs.1463/-

6.	Supplying C.I Bend with flanged end with holes i/c trimming etc complete (M.S.I.NO:2 P/10)

3’dia

33.40 Kg 		@ Rs. 120/-			 P:Kg	 		Rs. 4008/-

7.	Supplying C.I Tee with flanged end with holes i/c trimming & facing of flanged (for all size) (SMINO.9 P/11).

3”x3”x3”

9.07 Kg 		@ Rs. 120/-			P:Kg	 		Rs. 1088/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

8.	C.I Tapered flat  with bottoms or central tapered flanged ends with holes i/c trimming and facing of flanged for al sizes (Rate Approved)

3” x 2.50”

10.50 Kg 		@ Rs.120/-			 P:Kg	 		Rs. 1260/-

9.	Supplying instlaling M.S Pipe of various dia made out of M.S Sheet 3/16” thick cutting of olding to curvature and shape i/c welding etc complete              (R.A Approved Based on Schedule)

3” dia

59.00 Rft 		@ Rs.385/89			 P:Rft	 		Rs.22768/-

10.	Manufacturing and furnishing M.S Flanged pipe 6”dia madeout of M.S Sheet 3/8” thick including dilling holes and welding etc complete              (Rate Approved Based on Schedule)

3”dia

14.00  Nos.		  @ Rs. 500/89 		Each			Rs.7012/-

11.	Jointing C.I M.S Flanged Pipes and Specials flanged and inside a trenches i/c supplying rubber rings and testing washer etc and other tools required for joining and testing joints pressure etc complete (P.H.S.I.NO: 1 P/27)

3”dia

20 Joints		@ Rs. 499/-			P: Joint		Rs. 9980/-

-------------------

Total	Rs:4,92,807/-

GROUP: “E”  DISTRIBUTION SYSTEM

1,	Excavation for pipe line in trenches and pits in Soft Soil               of murum i/c trimming an dressing sides to ture alignment and shape leveling  of beds joints holes and disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards light flags and temporary crossing for non-vehicular traffic wherever required lift upto 5ft and lead upto one chain  (P.H.S.I.No:  1  P/60).

3” dia

###### 35000 Cft:  		@ Rs. 3600/-			P%0Cft		Rs. 126000/-

2,	Excavation for pipe line in trenches and pits in Hard Soil by hammering and chiseling trimming and dressing sides to true alignment and shape leveling of beds trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer in charge i/c providing fence guards lights flags and temporary crossing for non-vehicular traffic wherever required lift upto 5’ft and lead upto one chain  (P.H.S.I.No: 10 P/64).

###### 7000.00 Cft  	  	@ Rs.3900/-			P: %0 Cft		Rs.27300/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

3,	Providing P.V.C Pipe class “B” equvalant make fixing in trenches i/c cutting fitting and jointing with “Z” joint with rubber ring i/c testing with water to lead of 61  miter or 200ft (PHSINo.E(I) P/22)

3”dia Pipe

7000 Rft			@ Rs. 90/-	 		P/Rft			Rs.630000/-

4, 	PVC Specials for P.V.C Pipe (SMINo.1 P/27).

Bend 900

3”dia		8 Nos:		@ Rs. 731/-	 	Each			Rs. 5848/-

Tee Equal

3”dia		8 Nos:		@ Rs. 900/-	 	Each			Rs. 7200/-

Short Piece

3” dia		14 Nos:	@ Rs. 375/-		Each			Rs. 5250/-

PVC End Plate

3” dia		10 Nos:	@ Rs. 250/-		Each			Rs.2500/-

5,	Refilling the excavated stuff in trenches in 6”thick layers i/c watering and ramming to full compaction etc complete.

(P.H.S.I.No: 24  : P : 53 ).

37800 Cft		@ Rs. 2760/-			 P%0Cft		Rs.104328/-

6.	Jointing C.I M/S Flanged Pipe and specials flanged and inside at trenches i/c supplying rubber packing of the required thickness  nuts and bolts with washer etc and other tools required for jointing and testing the joints to the specified pressure etc complete.   (P.H.S.I. No: 1 P/40)

3" DIA

14 Joints		@ Rs: 499/-			 P/ Joints		Rs: 6986/-

------------------

Total	Rs:9,15,412/-

GROUP: “F”  PUMP HOUSE (10’x12’)

1,	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)  (GSINo:  18   P/ 4   ).

###### 245.00 Cft:   	 	@ Rs. 3176/25		P%0Cft		Rs. 778/-

2,	Cement concrete brick or stone ballast 1 ½” to 2” guage ratio (1:4: 8) .  (G.S.I.No 4  : P:  14  )

###### 106.00 Cft:   	 	@ Rs. 9416/28		P%0 Cft		Rs. 9981/-

3,	Random Rubble Masonary i/c hammer dressing in cement sand mortor (1:6) in foundation and plinth (GSINo.1 P/27).

###### 108.00 Cft:   	 	@ Rs. 17723/-			P% Cft			Rs. 19141/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4,	Coursed rubble masonary i/c hammer dressing in cement sand mortor 1: 6 in foundation and plinth.                   (GSINo: 2d (iii) P/ 26 ).

###### 144.00 Cft:   	 	@ Rs. 25321/-			P%Cft			Rs. 36462/-

5,	D.P.C with cement sand and shingle concrete 1:2:4 including 2 coats of asphaltic mixture (b) 2” thick. (GSINo: 28: P:18 ).

74.00 Sft			@ Rs. 4982/18 		P% Sft			Rs.3687/-

6,	Providing Laying (1:3:6) Cement Concrete Sold Block masonary wall above 6” in thickness in 1:6 Cement              Mortor i/c racking out joints by curing etc complete. (GSINO.24 P/19).

###### 209.75 Cft:   	 	@ Rs. 14621/44		P% Cft			Rs. 30668/-

7,	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid seperatley. This rats also i/c all kinds of forms moduls lifittings shuttering curring rendering and finishing the exposed surface i/c screening and waching of shingle (a) R.C work in r-cf slab beams columns rafts lintels and other structural member laid in situ or cement 2 cft sand 4 cft shingle ¼” to 1/8” guage etc complete.

(G.S.I.No  6-1 : P: 18 )

###### 97.33 Cft:   	 	@ Rs. 337/-			P/Cft			Rs. 32800/-

8,	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/cost of binding wire also i/c removal of rust from bars.

(G.S.I.No:  7 (ii)  : P/ 16 ).

3.91 Cwt			@ Rs. 5001/70	 	P/Cwt			Rs. 19557/-

9,	Making and fixing steel grated door with 1/16”thick sheeting i/c angle iron frame 2”x2”x3/8” and ¾” square bars 4” center to center with looking arragement.

(G.S.I.No: 24 : P : 9 ).

28.00 Sft			@ Rs. 726/72	 		P/Sft			Rs. 20348/-

10,	Fabrication of heavy steel work with angles tees flat iron and sheet iron etc complete.

###### 2.03 Cwt:   	 	@ Rs. 4928/59		P: Cwt			Rs. 10005/-

11,	Supplying and fixing in position iron steel grill of ¼”x1/4” size flate iron of approved design i/c painting 3 coats etc complete weight net to be less than 3.7 Ibs/sq foot of finished grill  (G.S.I.No. 26 : P: 97 )

###### 24.00 Sft:   	 	@ Rs. 180/50			P/Sft			Rs. 4332/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

12,	Painting New Surface:-

c) Preparing surface and painting of doors and windows only type i/c edges (3 costs) (G.S.I.No: 5 : P : 76  ).

104.00 Sft		@ Rs. 2116/41 		P%Sft			Rs. 2201/-

13,	Cement Plaster 1:6 ½”thick 12’ height (GSINo.13 P/52).

###### 7839.00 Sft:   	 	@ Rs. 2206/60		P:% Sft		Rs. 18513/-

14,	Cement planter 1:4 upto 20’ft height ½”thick ratio (1:4).

(G.S.I.No: 11 : P : 57 ).

839.00 Sft		@ Rs. 2197/53	 	P% Sft			Rs. 18437/-

15,	Laying while marble flooring fine ¾”thick flooring                   etc complete .

###### 120.00 Sft:   	 	@ Rs. 567/48			P%Sft			Rs. 68098/-

16,	Pointing flush on stone work in cement sand mortor (1:3)

(G.S.I.No. 20 : P: 58 )

###### 82.50 Sft:   	 	@ Rs. 1758/08		P%Sft			Rs. 1450/-

17,	Primary Coat of Chalk distember (GSINO.23 P/54)

1040.00 Sft		@ Rs. 442/75 			P%Sft			Rs. 4605/-

18,	Distembearing 2 Coats (GSINO.24 P/   ).

600.00 Sft		@ Rs. 1043/90 		P%Sft			Rs. 6263/-

19,	Preparing the Surface and Painting with weather Coats (GSINO.38 (a) P/56) (2 Coats).

440.00 Sft		@ Rs. 1948/10 		P%Sft			Rs. 8572/-

-----------------

Total	Rs.3,05,916/-

GROUP: “G”  COMPOUND WALL

1,	Excavation in foundation of building brides and others structure i/c deg belling dressing refilling around the structure with excavated earth water and remaining lift upto 5 ft and lead upto one chain (in ordinary soil) etc  (G.S.I No.18 P/ 4)

###### 3430.00 Cft: 	  	@ Rs. 3176/25		P%0Cft		Rs.10895/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

2,	Random Rubble Masonary i/c hammer dress in     Cement Sand mortor (1:6) in foundation and plinth (GSINO.2 P/27)

###### 2502.00 Sft: 	  	@ Rs. 17723/-			P% Sft			Rs.448746/-

3,	Cement concrete or stone Ballast 1 ½” gauge ratio (1:4:8)  (GSI No. 4   P-  14  )

###### 853.00 Cft:   	 	@ Rs. 9416/28		P%Cft			Rs. 80321/-

4,	Coursed rubble masonry i/c harmer dressing in cement sand motor (1:6) in foundation and plinth etc (G.S.I No. 2  P- 26   )

1582.50 Cft		@ Rs. 25321/- 		P%Cft			Rs.400705/-

5,	D.P.C with cement sand shingle concrete                   Ratio (1:2:4) and cost of asphaltic mixture              (G.S.I No. 28  P- 18 )

1055.00 Cft		@ Rs. 4982/18 		P%Sft			Rs. 52562/-

6,	Providing & layng (1:3:6) cement concrete solid                  block masonry wall 6” and below in thickness set in   (1:6) cement mortar in ground floor super-structure including raking out joints & curing etc complete.             (G.S.I No. 22  P- 18 )

###### 2168.00 Cft:   	 	@ Rs. 14621/44		P%Cft			Rs. 316993/-

7,	Cement Plaster ½” thick upto 12’ft height in cement sand mortor (1:4) (G.S.I No. 11/B  P- 51 )

###### 8134.00 Sft:   	 	@ Rs. 2283/93		P%Sft			Rs.185775/-

8,	Pointing Flush on Stone work (Raised) i/c cement sand mortar (1:3)  G.S.I No. 20  P- 52 )

2532.00 Sft		@ Rs. 1758/08	 	P%Sft			Rs.44515/-

9,	RCC work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structure member laid in situ or precast laid in position in all respect ratio (1:2:4) (G.S.I.No. 6 P/15)

62.00 Cft		@ Rs. 337/- 			P: Cft			Rs. 20894/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

10,	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire else i/c removal of rest from Tor bar                                          (G.S. I No. 8 P/16 )

###### 2.49 Cwt:   	 	@ Rs. 5001/70		P: Cwt			Rs.12454/-

11,	Making & Fixing Steel Grated Doors with 1/16” thick shuttering including angle iron frame 2” x 2” 3/8” and and 3/4” sq bars 4” centre to centre with locking arrangement  G.S.I No. 24  P- 91)

###### 50.00 Sft:   	 	@ Rs. 726/72			P:% Sft		Rs. 43603/-

12,	Primary Coat of Chalk distember (GSINo.23 P/54).

7174 Sft			@ Rs. 442/75			 P%Sft			Rs. 31763/-

13,	Painting New Surface

Preparing Surface and Painting of doors and  windows in any type i/c edges (02 Coats)                 G.S.I No. 5  P-68 )

100.00 Sft		@ Rs.2116/41		 	P%Sft			Rs. 2116/-

14,	Distember (02 Coat (G.S.I No.26  P- 54)

###### 3376 Sft:   	 	@ Rs. 1043/90		P: Sft			Rs. 35242/-

14,	Preparing the surface and painting with weather          (2 Coats) i/c rubbing (GSINo.33/ A P/56)

###### 3587.00 Sft:   	 	@ Rs. 1948/10		P:% Sft		Rs. 69878/-

-----------------

Total	Rs:17,56,462/-

GROUP: “H”  LOW SERVICE RESERVOIR

1.	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)

(G.S.I.No:  18   P/ 4   ).

1601.92 Cft  		@ Rs. 3176/25		 P%0 Cft		Rs. 5088/-

2.	Cement Concrete or Stone Ballast 1 ½” guage Ratio (1:4:8) (G.S.I.No.4 P/14)

712.47 Cft  		@ Rs. 9476/28		P% Cft			Rs. 67088/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

3.	Coursed Rubble Masonry i/c hammer dressing in cement sand motor ratio (1:6) in foundation and plinth (G.S.I.No.2 P/25)

844.80 Cft 		@ Rs. 25321/- 		P% Cft.		Rs. 213912/-

4.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be aid separately.  This rates also i/c all kinds forms moduls lifitting shuttering curring rendering and finishing the exposed surface i/c screening and washing of shingle (a) RC work in roof slab beams columns rafts linkes and other structural member laid in or precost laid in position in all respect ratio 1:2:4 etc complete.              (G.S.I.No.6 P/15)

1576.85 Cft 		@ Rs. 337/- 			P: Cft.			Rs. 531398/-

5.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire else i/c removal of rest from Tor bar                (GSINo.  P/ )

63.35 Cwt 		@ Rs. 5001/70 		P: Cwt.			Rs. 316858/-

6.	Providing and Laying (1:3:6) cement concrete solid block masonry set (1:6) cement mortor in plinth and foundation i/c raking out joints and curing etc complete (GSINo. 22 P/18)

305.61 Cft 		@ Rs. 14268/53		P:% Cft.		Rs. 43606/-

7.	Providing Construction Joint in Cocnrete work of 9” wide (1:6) corrugated PVC water stopper with bulbs i/c cutting costs of materila and labour (G.S.I.No.B (2) P/43)

160.24 Rft 		@ Rs. 86/-	 		P: Rft.			Rs. 13781/-

8.	Cement Plaster ½” thick in cement sand mortor (1:4) upto 12’ft height (GSINo. 11 P/51)

½” Thick

2547.00 Sft 		@ Rs. 2283/93 		P:% Sft		Rs.58172/-

9.	Supplying of Dampoo (P.S.I.No.11 P/23)

126.00 Kg 		@ Rs. 56/82 			P: Kg.			Rs.7159/-

10.	Supplying and fixing C.I main holes cover with frame i/c cost            of material etc (P.S.I.No. J (i) P/35)

For Main Holes

6.00 Cwt 		@ Rs. 6985/-	 		P: Cwt			Rs. 41910/-

11.	Providing G.I Pipe and special and climbs, etc i/c fixing cutting and fitting complete with an i/c the cost of breaking through walls and roof making good etc painting 2 Coats after cleaning the pipe and etc with white / zine paint with pigment to match the color and testing with water to a pressure head of 200ft and handing.

3”dia

162.00 Rft	 	@ Rs. 360/40 			P: Rft.			Rs.58385/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

12.	Manufacturing and supplying M.S Flanges of different dia made out of M.S Sheet of 3/8” thickness i/c cutting welding holes and welding of flange with M.S Pipe etc complete.

3”dia

72.00 No		@ Rs. 500/89 			Each			Rs.136064/-

13.	C.I Tail pieces with one flanged and spigot of the other end all sizes (S.S.No.   P/    )

3”dia

160.32 Kg 		@ Rs. 120/-	 		P: Kg			Rs.19238/-

14.	C.I Bend with one flanged and with holes i/c trimming and facing of flanges for all sizes (S.S.I No.   P/   )

160.32 Kg		@ Rs. 120/-	 		P: Kg			Rs. 19238/-

15.	Providing and fixing C.I Ventilator (weight not be less than 90 Ibs/each in tank of roof or approved design with water light joint i/c painting etc complete (P.H.S.I.No. 4 P/55)

6 No.	 		@ Rs. 4870/-	 		Each			Rs.29220/-

16.	Jointing C.I/M.S Flanged pipes and special flanged and inside a  trenches i/c supplying rubber packing of the required thickness nuts an d bolts with washer etc and other tools required for jointing and testing the joint to the specified pressure etc complete (P.H.S.I.No. M (I) P/40)

3”dia Intel Pipe

150.00 Joints 		@ Rs. 499/- 			P: Joint		Rs.74850/-

17.	Providing G.I Pipe in Standard length with cone type gate socket each pipe length (S.O.M.I.No.   P/    )

G.I Pipe 1 ¾” dia

48.00 Rft 		@ Rs. 136/05 			P: Rft.			Rs.6530/-

18.	Bib Cock bar Standard pattern (S.S.V.No.  P/    )

¾” dia

24.00 Nos. 		@ Rs. 348/92			P: Bag.			Rs.8374/-

19.	M.I Sluice Valve heavy pattern (S.M.I. No.  P/    )

3”dia

6.00 No. 		@ Rs. 4290/-			Each.			Rs. 25740/-

20.	Cement Concrete Plain i/c pacing compacting finishing and curying complete i/c screening and washing of stone aggregate wihtout shuttering ratio (1:2:4) (G.S.I.No. 5 P/15)

174.00 Cft 		@ Rs. 14429/25		P% Cft			Rs.25219/-

---------------------

Total	Rs:16,01,830/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ Rising Main |  | Rs:11,04,971/- |
| --- | --- | --- |
| Group ‘B’ Pumping Machinery @ Source (10 BHP & 16 BHP) |  | Rs: 4,92,807/- |
| Group ‘C’ Pumping Machinery @ W/Works (20 BHP & 30 BHP) |  | Rs:7,98,607/- |
| Group ‘D’ Delivery Main |  | Rs:11,42,891/- |
| Group ‘E’ Distribution System |  | Rs:9,15,412/- |
| Group ‘F’ Pump House (10’x12’) |  | Rs:3,05,916/- |
| Group ‘G’ Compound Wall |  | Rs:17,56,462/- |
| Group ‘H’ Low Service Reservoir |  | Rs:16,01,830/- |
| Total |  | Rs: 81,18,896/- |

Amount Total (a) + (b) + (c) + (d) + (e) + (f) + (g) + (h) Rs:	81,18,896/-  .

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in words & Figures______________________________________________

| CONTRACTORS | ( NOOR AHMED JALBANI ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

SUMMARY OF BILL QUANTITIES

NAME OF WORK: -	PROVIDING LAYING JOINTING & TESTING PVC RISING MAIN, DELIVERY MAIN, DISTRIBUTION SYSTEM, PROVIDING & INSTALLING PUMPING MACHINERY @ SOURCE AND WATER WORKS AND CONSTRUCTION OF PUMP HOUSE (2 NOS) COMPOUND WALL, L.S.R (3000 GALLONS CAPACITY) (7 NOS) FOR RURAL WATER SUPPLY SCHEME ALLAHDINO MIRBEHAR & SURROUNDING VILLAGES DISTRICT THATTA

Cost of Bid	_________________				Amount __________________

1.	(A) Cost based on Composite Schedule of Rates	   	_______________

2.	(B) Cost based on Offered Schedule of Rates 		_______________

3.	(C) Amount of Item based on Market (Offer Rates) 	 _______________

4.	(D) Amount of Expected Escalation Rates		 _______________

TOTAL COST OF BID = TOTAL OF (A) + (B) + (C) + (D) 	_______________

CONTRACTOR

(QARAR RAZA)

DIVISIONAL ACCOUNTS OFFICER

PUBLIC HEALTH ENGG: DIVISION THATTA

(NOOR AHMED JALBANI)

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION THATTA

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/975 Dated 23-12-2016 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF OPEN SURFACE DRAIN TYPE-I I/C C.C.PAVEMENT FOR GHULAMULLAH CITY, GHARO CITY, MIRPUR SAKRO CITY, BUHARA CITY, JUNGSHAHI CITY, SONEHRY CITY AND GUL MANDA CITY FOR RURAL DRAINAGE SCHEME CHATTO CHAND CITY, MIRPUR SAKRO, BUHARA CITY, JUNGSHAHI CITY, JHIMPIR CITY, SONEHRY CITY, GUL MANDA CITY, GHULAM MOHAMMAD BROHI CITY, DISTRICT THATTA (Work No.2) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-3000/- |
| --- | --- |

| Date of Issue 18/01/2017__ | Date of Opening _19/01/2017_ |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Open Surface Drain Type-I i/c C.C.Pavement for Ghulamullah City, Gharo City, Mirpur Sakro City, Buhara City, Jungshahi City, Sonehry City and Gul Manda City for Rural Drainage Scheme Chatto Chand City, Mirpur Sakro, Buhara City, Jungshahi City, Jhimpir City, Sonehry City, Gul Manda City, Ghulam Mohammad Brohi City, District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 8.508 Million |
| (e) | Amount of Bid Security:- | Rs:-171000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 19-01-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 19-01-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 05 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF OPEN SURFACE DRAIN TYPE-I I/C C.C.PAVEMENT FOR GHULAMULLAH CITY, GHARO CITY, MIRPUR SAKRO CITY, BUHARA CITY, JUNGSHAHI CITY, SONEHRY CITY AND GUL MANDA CITY FOR RURAL DRAINAGE SCHEME CHATTO CHAND CITY, MIRPUR SAKRO, BUHARA CITY, JUNGSHAHI CITY, JHIMPIR CITY, SONEHRY CITY, GUL MANDA CITY, GHULAM MOHAMMAD BROHI CITY, DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GHULAMULLAH CITY

GROUP: “A”  OPEN SURFACE DRAINS

1. 	Excavation in foundation of building and other structure i/c dig belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In Ordinary Soil) (G.S.I.NO: 18 P/ 18)

Type – I   Drain

2904.00 Cft		@ Rs.  3176/25 	  	P:%0Cft		Rs: 9224/-

2.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:4:8 ) (G.S.I.No.   P/    )

Type – I   Drain

726.00 Cft		@ Rs.  11288/75 	  	P:% Cft		Rs:81956/-

3.	Pucca Brick work in foundation and plinth in cement sand mortor (1:6) (G.S.S.I.NO:      P/    )

Type – I   Drain

1800 Cft		@ Rs. 11948/36 	  	P:% Cft		Rs:215070/-

4.	Cement Plaster ½” thick upto 12”height in cement sand mortor (Ratio 1:4) (G.S.I.NO :     P/     )

Type – I   Drain

3408.00 Sft		@ Rs. 2283/93 	  	P:% Sft		Rs:77836/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

5. 	Construction of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profiles i/c cost of modules as pr drawing i/c supplying florating coast of cement 1/3"thick to the expensed surface finishing smooth curing etc as per detailed drawing (P.H.S.I.No: E P/44).

Type – I

1200 Rft 		@ Rs: 94/-			P/Rft			Rs: 112800/-

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (G.S.I.No: 6  P 18).

Type- I

63.88 Cft		@ Rs.  337/- 	 	 	P: Cft			Rs: 21528/-

7.	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from Tor bar. (G.S.I.No: 7  P19 ).

2.28 Cwt		@ Rs: 5001/70		P/Cwt			Rs:   11404/-

--------------------

Total	Rs: 529818/-

GROUP: “B”  CEMENT CONCRETE PAVEMENT

1. 	Barrow pit excavation undressed lead upto 100ft in ordinary soil. (G.S.I.NO: 3  P/ 1 )

7896.00 Cft			@ Rs.  2117/50 	  P:%0Cft		Rs:16720/-

- Earth work compaction (Soft, Ordinary, Or hard Soil) laying earth in 6" layers including watering etc complete.               (G.S.I.NO: 2   P/ 3 )

10800 Cft			@ Rs.354/ 		  P%Cft		Rs: 3823/-

3.	Cement concrete brick or stone ballast Ratio (1:4:8) (G.S.I.No: 5 P/17)

2376.00 Cft			@ Rs. 9416/28 	  P%Cft		Rs: 223731/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:2:4 ) (G.S.I.No. 4   P/ 18  )

1800 Cft			  @ Rs:-14429/25	  P%Cft		Rs:- 259727/-

6. 	Erection & removal of centering (G.S.I.No.    P/   ).

120.00  Sft 			@ Rs: 3127/41	P%Sft			Rs:  3753/-

----------------

Total	Rs:5,07,754/-

A  B  S   T   R   A   C   T

| Group ‘A’ Open Surface Drains Type-I,II & III |  | Rs: 5,29,818/- |
| --- | --- | --- |
| Group ‘B’ Cement Concrete Pavement |  | Rs: 5,07,754/- |
| Total |  | Rs: 10,37,572/- |

GHARO CITY

GROUP: “A”  OPEN SURFACE DRAINS

1. 	Excavation in foundation of building and other structure i/c dig belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In Ordinary Soil) (G.S.I.NO: 18 P/ 18)

Type – I   Drain

2710.40 Cft		@ Rs.  3176/25 	  	P:%0Cft		Rs: 8609/-

2.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:4:8 ) (G.S.I.No.   P/    )

Type – I   Drain

677.60 Cft		@ Rs.  11288/75 	  	P:% Cft		Rs:76493/-

3.	Pucca Brick work in foundation and plinth in cement sand mortor (1:6) (G.S.S.I.NO:      P/    )

Type – I   Drain

1680 Cft		@ Rs. 11948/36 	  	P:% Cft		Rs:200732/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4.	Cement Plaster ½” thick upto 12”height in cement sand mortor (Ratio 1:4) (G.S.I.NO :     P/     )

Type – I   Drain

3158.40 Sft		@ Rs. 2283/93 	  	P:% Sft		Rs:72136/-

5. 	Construction of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profiles i/c cost of modules as pr drawing i/c supplying florating coast of cement 1/3"thick to the expensed surface finishing smooth curing etc as per detailed drawing (P.H.S.I.No: E P/44).

Type – I

1120 Rft 		@ Rs: 94/-			P/Rft			Rs: 105280/-

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (GSINo:6 P/18).

Type- I

63.88 Cft		@ Rs.  337/- 	 	 	P: Cft			Rs: 21528/-

7.	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from Tor bar. (G.S.I.No: 7  P19 ).

2.28 Cwt		@ Rs: 5001/70		P/Cwt			Rs:   11404/-

--------------------

Total	Rs: 496182/-

GROUP: “B”  CEMENT CONCRETE PAVEMENT

1. 	Barrow pit excavation undressed lead upto 100ft in ordinary soil. (G.S.I.NO: 3  P/ 1 )

9050.00 Cft			@ Rs.  2117/50 	  P:%0Cft		Rs:19163/-

- Earth work compaction (Soft, Ordinary, Or hard Soil) laying earth in 6" layers including watering etc complete.               (G.S.I.NO: 2   P/ 3 )

11760 Cft			@ Rs.354/ 		  P%Cft		Rs: 4163/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

3.	Cement concrete brick or stone ballast Ratio (1:4:8) (G.S.I.No: 5 P/17)

2218.00 Cft			@ Rs. 9416/28 	  P%Cft		Rs: 208853/-

4.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:2:4 ) (G.S.I.No. 4   P/ 18  )

1680 Cft			  @ Rs:-14429/25	  P%Cft		Rs:-242411/-

6. 	Erection & removal of centering (G.S.I.No.    P/   ).

111.00  Sft 			@ Rs: 3127/41	P%Sft			Rs: 3471/-

----------------

Total	Rs:4,78,061/-

A  B  S   T   R   A   C   T

| Group ‘A’ Open Surface Drains Type-I,II & III |  | Rs: 4,96,182/- |
| --- | --- | --- |
| Group ‘B’ Cement Concrete Pavement |  | Rs: 4,78,061/- |
| Total |  | Rs: 9,74,243/- |

MIRPUR SAKRO CITY

GROUP: “A”  OPEN SURFACE DRAINS

1. 	Excavation in foundation of building and other structure i/c dig belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In Ordinary Soil) (G.S.I.NO: 18 P/ 18)

Type – I   Drain

2638.00 Cft		@ Rs.  3176/25 	  	P:%0Cft		Rs: 8379/-

2.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:4:8 ) (G.S.I.No.   P/    )

Type – I   Drain

659.00 Cft		@ Rs.  11288/75 	  	P:% Cft		Rs:74393/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

3.	Pucca Brick work in foundation and plinth in cement sand mortor (1:6) (G.S.S.I.NO:      P/    )

Type – I   Drain

1635 Cft		@ Rs. 11948/36 	  	P:% Cft		Rs:195356/-

4.	Cement Plaster ½” thick upto 12”height in cement sand mortor (Ratio 1:4) (G.S.I.NO :     P/     )

Type – I   Drain

3074 Sft		@ Rs. 2283/93 	  	P:% Sft		Rs:70208/-

5. 	Construction of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profiles i/c cost of modules as pr drawing i/c supplying florating coast of cement 1/3"thick to the expensed surface finishing smooth curing etc as per detailed drawing (P.H.S.I.No: E P/44).

Type – I

1090 Rft 		@ Rs: 94/-			P/Rft			Rs: 102460/-

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (G.S.I.No: 6  P 18).

31.94 Cft		@ Rs.  337/- 	 	 	P: Cft			Rs: 10764/-

7.	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from Tor bar. (G.S.I.No: 7  P19 ).

1.14 Cwt		@ Rs: 5001/70		P/Cwt			Rs:   5702/-

------------------

TOTAL	Rs: 467262/-

GROUP: “B” CEMENT CONCRETE PAVEMENT

1. 	Barrow pit excavation undressed lead upto 100ft in ordinary soil. (G.S.I.NO: 3  P/ 1 )

7172.00 Cft			@ Rs.  2117/50 	  P:%0Cft		Rs:15187/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

- Earth work compaction (Soft, Ordinary, Or hard Soil) laying earth in 6" layers including watering etc complete.               (G.S.I.NO: 2   P/ 3 )

9810 Cft			@ Rs.354/-		  P%Cft		Rs: 3473/-

3.	Cement concrete brick or stone ballast Ratio (1:4:8) (G.S.I.No: 5 P/17)

2158 Cft			@ Rs. 9416/28 	  P%Cft		Rs: 203203/-

4.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:2:4 ) (G.S.I.No. 4   P/ 18  )

1635 Cft			  @ Rs:-14429/25	  P%Cft		Rs:- 235918/-

6. 	Erection & removal of centering (G.S.I.No.    P/   ).

108.00  Sft 			@ Rs: 3127/41	P%Sft			Rs: 3378/-														----------------													Total	Rs:4,61,159/-

A  B  S   T   R   A   C   T

| Group ‘A’ Open Surface Drains Type-I,II & III |  | Rs: 4,67,262/- |
| --- | --- | --- |
| Group ‘B’ Cement Concrete Pavement |  | Rs: 4,61,159/- |
| Total |  | Rs: 9,28,421/- |

BUHARA CITY

GROUP: “A”  OPEN SURFACE DRAINS

1. 	Excavation in foundation of building and other structure i/c dig belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In Ordinary Soil) (G.S.I.NO: 18 P/ 18)

2783 Cft		@ Rs.  3176/25 	  	P:%0Cft		Rs: 8840/-

2.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:4:8 ) (G.S.I.No.   P/    )

Type – I   Drain

696.00 Cft		@ Rs.  11288/75 	  	P:% Cft		Rs:78570/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

3.	Pucca Brick work in foundation and plinth in cement sand mortor (1:6) (G.S.S.I.NO:      P/    )

Type – I   Drain

1725 Cft		@ Rs. 11948/36 	  	P:% Cft		Rs:206109/-

4.	Cement Plaster ½” thick upto 12”height in cement sand mortor (Ratio 1:4) (G.S.I.NO :     P/   51  )

Type – I   Drain

3243.00 Sft		@ Rs. 2283/93 	  	P:% Sft		Rs:74068/-

5. 	Construction of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profiles i/c cost of modules as pr drawing i/c supplying florating coast of cement 1/3"thick to the expensed surface finishing smooth curing etc as per detailed drawing (P.H.S.I.No: E P/44).

Type – I

1150 Rft 		@ Rs: 94/-			P/Rft			Rs: 108100/-

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (G.S.I.No: 6  P 18).

Type- I

63.88 Cft		@ Rs.  337/- 	 	 	P: Cft			Rs: 21528/-

7.	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from Tor bar. (G.S.I.No: 7  P19 ).

2.28 Cwt		@ Rs: 5001/70		P/Cwt			Rs:   11404/-

------------------

Total 	Rs: 508619/-

GROUP: “B” CEMENT CONCRETE PAVEMENT

1. 	Barrow pit excavation undressed lead upto 100ft in ordinary soil. (G.S.I.NO: 3  P/ 1 )

7567.00 Cft			@ Rs.  2117/50 	  P:%0Cft		Rs:16023/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

- Earth work compaction (Soft, Ordinary, Or hard Soil) laying earth in 6" layers including watering etc complete.               (G.S.I.NO: 2   P/ 3 )

10350 Cft			@ Rs.354/ 		  P%Cft		Rs: 3664/-

3.	Cement concrete brick or stone ballast Ratio (1:4:8) (G.S.I.No: 5 P/17)

2277 Cft			@ Rs. 9416/28 	  P%Cft		Rs: 214409/-

4.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:2:4 ) (G.S.I.No. 4   P/ 18  )

1725 Cft			  @ Rs:-14429/25	  P%Cft		Rs:- 248905/-

5. 	Erection & removal of centering (G.S.I.No.    P/   ).

114.00  Sft 			@ Rs: 3127/41	P%Sft			Rs: 3565/-													-----------------

Total	Rs:4,86,566/-

A  B  S   T   R   A   C   T

| Group ‘A’ Open Surface Drains Type-I,II & III |  | Rs: 5,08,619/- |
| --- | --- | --- |
| Group ‘B’ Cement Concrete Pavement |  | Rs: 4,86,566/- |
| Total |  | Rs: 9,95,185/- |

JUNGSHAHI CITY

GROUP: “A”  OPEN SURFACE DRAINS

1. 	Excavation in foundation of building and other structure i/c dig belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In Ordinary Soil) (G.S.I.NO: 18 P/ 18)

Type – I   Drain

2759 Cft		@ Rs.  3176/25 	  	P:%0Cft		Rs: 8763/-

2.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:4:8 ) (G.S.I.No.   P/    )

Type – I   Drain

690.00 Cft		@ Rs.  11288/75 	  	P:% Cft		Rs:77892/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

3.	Pucca Brick work in foundation and plinth in cement sand mortor (1:6) (G.S.S.I.NO:      P/    )

Type – I   Drain

1710.00 Cft		@ Rs. 11948/36 	  	P:% Cft		Rs:204317/-

4.	Cement Plaster ½” thick upto 12”height in cement sand mortor (Ratio 1:4) (G.S.I.NO :     P/     )

Type – I   Drain

3214.80 Sft		@ Rs. 2283/93 	  	P:% Sft		Rs:73424/-

5. 	Construction of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profiles i/c cost of modules as pr drawing i/c supplying florating coast of cement 1/3"thick to the expensed surface finishing smooth curing etc as per detailed drawing (P.H.S.I.No: E P/44).

Type – I

1140 Rft 		@ Rs: 94/-			P/Rft			Rs: 107160/-

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (G.S.I.No: 6  P 18).

Type- I

48.00 Cft		@ Rs.  337/- 	 	 	P: Cft			Rs: 16176/-

7.	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from bars. (G.S.I.No: 7  P19 ).

1.71 Cwt		@ Rs: 5001/70		P/Cwt			Rs:    8553/-

Total	Rs: 496285/-

GROUP: “B” CEMENT CONCRETE PAVEMENT

1. 	Barrow pit excavation undressed lead upto 100ft in ordinary soil. (G.S.I.NO: 3  P/ 1 )

- ft			@ Rs.  2117/50 	  P:%0Cft		Rs:15883/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

2,	Earth work compaction (Soft, Ordinary, Or hard Soil) laying earth in 6" layers including watering etc complete.               (G.S.I.NO: 2   P/ 3 )

10260 Cft			@ Rs.354/ 		  P%Cft		Rs: 3632/-

3.	Cement concrete brick or stone ballast Ratio (1:4:8) (G.S.I.No: 5 P/17)

2257.00 Cft			@ Rs. 9416/28 	  P%Cft		Rs: 212525/-

4.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:2:4 ) (G.S.I.No. 4   P/ 18  )

1710.00 Cft			  @ Rs:-14429/25	  P%Cft		Rs:- 246740/-

6. 	Erection & removal of centering (G.S.I.No.    P/   ).

114.00  Sft 			@ Rs: 3127/41	P%Sft			Rs: 3565/-

-------------------

Total	Rs:4,82,345/-

A  B  S   T   R   A   C   T

| Group ‘A’ Open Surface Drains Type-I,II & III |  | Rs: 4,96,285/- |
| --- | --- | --- |
| Group ‘B’ Cement Concrete Pavement |  | Rs: 4,82,345/- |
| Total |  | Rs: 9,78,630/- |

SONEHRI CITY

GROUP: “A”  OPEN SURFACE DRAINS

1. 	Excavation in foundation of building and other structure i/c dig belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In Ordinary Soil) (G.S.I.NO: 18 P/ 18)

Type – I   Drain

2686 Cft		@ Rs.  3176/25 	  	P:%0Cft		Rs: 8531/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

2.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:4:8 ) (G.S.I.No.   P/    )

Type – I   Drain

672.00 Cft		@ Rs.  11288/75 	  	P:% Cft		Rs:75860/-

3.	Pucca Brick work in foundation and plinth in cement sand mortor (1:6) (G.S.S.I.NO:      P/    )

Type – I   Drain

1665 Cft		@ Rs. 11948/36 	  	P:% Cft		Rs:198940/-

4.	Cement Plaster ½” thick upto 12”height in cement sand mortor (Ratio 1:4) (G.S.I.NO :     P/   51  )

Type – I   Drain

3130 Sft		@ Rs. 2283/93 	  	P:% Sft		Rs:71487/-

5. 	Construction of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profiles i/c cost of modules as pr drawing i/c supplying florating coast of cement 1/3"thick to the expensed surface finishing smooth curing etc as per detailed drawing (P.H.S.I.No: E P/44).

Type – I

1110 Rft 		@ Rs: 94/-			P/Rft			Rs: 104340/-

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (G.S.I.No: 6  P 18).

Type- I

63.88 Cft		@ Rs.  337/- 	 	 	P: Cft			Rs: 21528/-

7.	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from Tor bar. (G.S.I.No: 7  P19 ).

2.28 Cwt		@ Rs: 5001/70		P/Cwt			Rs: 11404/-

------------------

Total 	Rs: 492090/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “B” CEMENT CONCRETE PAVEMENT

1. 	Barrow pit excavation undressed lead upto 100ft in ordinary soil. (G.S.I.NO: 3  P/ 1 )

7304.00 Cft			@ Rs.  2117/50 	  P:%0Cft		Rs:15466/-

- Earth work compaction (Soft, Ordinary, Or hard Soil) laying earth in 6" layers including watering etc complete.               (G.S.I.NO: 2   P/ 3 )

9990 Cft			@ Rs.354/ 		  P%Cft		Rs: 3536/-

3.	Cement concrete brick or stone ballast Ratio (1:4:8) (G.S.I.No: 5 P/17)

2198 Cft			@ Rs. 9416/28 	  P%Cft		Rs: 206970/-

4.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:2:4 ) (G.S.I.No. 4   P/ 18  )

1665 Cft			  @ Rs:-14429/25	  P%Cft		Rs:- 240247/-

5. 	Erection & removal of centering (G.S.I.No.    P/   ).

111.00  Sft 			@ Rs: 2127/41	P%Sft			Rs:  3471/-

-----------------

Total	Rs: 4,69,690/

A  B  S   T   R   A   C   T

| Group ‘A’ Open Surface Drains Type-I,II & III |  | Rs: 4,92,090/- |
| --- | --- | --- |
| Group ‘B’ Cement Concrete Pavement |  | Rs: 4,69,690/- |
| Total |  | Rs: 9,61,780/- |

GUL MANDA CITY

GROUP: “A”  OPEN SURFACE DRAINS

1. 	Excavation in foundation of building and other structure i/c dig belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In Ordinary Soil) (G.S.I.NO: 18 P/ 18)

Type – I   Drain

2662 Cft		@ Rs.  3176/25 	  	P:%0Cft		Rs: 8455/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

2.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:4:8 ) (G.S.I.No.   P/    )

Type – I   Drain

665.50 Cft		@ Rs.  11288/75 	  	P:% Cft		Rs:75127/-

3.	Pucca Brick work in foundation and plinth in cement sand mortor (1:6) (G.S.S.I.NO:      P/    )

Type – I   Drain

1650 Cft		@ Rs. 11948/36 	  	P:% Cft		Rs:197148 /-

4.	Cement Plaster ½” thick upto 12”height in cement sand mortor (Ratio 1:4) (G.S.I.NO :     P/   51  )

Type – I   Drain

3102 Sft		@ Rs. 2283/93 	  	P:% Sft		Rs:70848/-

5. 	Construction of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profiles i/c cost of modules as pr drawing i/c supplying florating coast of cement 1/3"thick to the expensed surface finishing smooth curing etc as per detailed drawing (P.H.S.I.No: E P/44).

Type – I

1100 Rft 		@ Rs: 94/-			P/Rft			Rs: 103400/-

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (G.S.I.No: 6  P 18).

Type- I

63.88 Cft		@ Rs.  337/- 	 	 	P: Cft			Rs: 21528/-

7.	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from Tor bar. (G.S.I.No: 7  P19 ).

2.28 Cwt		@ Rs: 5001/70		P/Cwt			Rs:   11404/-

------------------

Total 	Rs: 488910/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “B” CEMENT CONCRETE PAVEMENT

1. 	Barrow pit excavation undressed lead upto 100ft in ordinary soil. (G.S.I.NO: 3  P/ 1 )

7238 Cft			@ Rs.  2117/50 	  P:%0Cft		Rs:15326/-

- Earth work compaction (Soft, Ordinary, Or hard Soil) laying earth in 6" layers including watering etc complete.               (G.S.I.NO: 2   P/ 3 )

9900 Cft			@ Rs.354/ 		  P%Cft		Rs: 3505/-

3.	Cement concrete brick or stone ballast Ratio (1:4:8) (G.S.I.No: 5 P/17)

2178 Cft			@ Rs. 9416/28 	  P%Cft		Rs: 205087/-

4.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:2:4 ) (G.S.I.No. 4   P/ 18  )

1650 Cft			  @ Rs:-14429/25	  P%Cft		Rs:- 238083/-

5. 	Erection & removal of centering (G.S.I.No.    P/   ).

110.00  Sft 			@ Rs: 2127/41	P%Sft			Rs:  3440/-

-----------------

Total	Rs:4,65,441/-

A  B  S   T   R   A   C   T

| Group ‘A’ Open Surface Drains Type-I,II & III |  | Rs: 4,88,910 /- |
| --- | --- | --- |
| Group ‘B’ Cement Concrete Pavement |  | Rs: 4,65,441/- |
| Total |  | Rs: 9,54,351/- |

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ Ghulamullah City |  | Rs: 10,37,572/- |
| --- | --- | --- |
| Group ‘B’ Gharo City |  | Rs: 9,74,243/- |
| Group ‘C’ Mirpur Sakro City |  | Rs: 9,28,421/- |
| Group ‘D’ Bauhara City |  | Rs: 9,95,185/- |
| Group ‘E’ Jungshahi City |  | Rs: 9,78,630/- |
| Group ‘F’ Sonehri City |  | Rs: 9,61,780/- |
| Group ‘G’ Gul Manda City |  | Rs: 9,54,351/- |
| Total |  | Rs: 68,30,182/- |

Amount Total (a) + (b) + (c) + (d) + (e) + (f)+(g) Rs:	68,30,182/-	.

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in works & Figures______________________________________________

| CONTRACTORS | ( NOOR AHMED JALBANI ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

SUMMARY OF BILL QUANTITIES

NAME OF WORK: -	CONSTRUCTION OF OPEN SURFACE DRAIN TYPE-I I/C C.C.PAVEMENT FOR GHULAMULLAH CITY, GHARO CITY, MIRPUR SAKRO CITY, BUHARA CITY, JUNGSHAHI CITY, SONEHRY CITY AND GUL MANDA CITY FOR RURAL DRAINAGE SCHEME CHATTO CHAND CITY, MIRPUR SAKRO, BUHARA CITY, JUNGSHAHI CITY, JHIMPIR CITY, SONEHRY CITY, GUL MANDA CITY, GHULAM MOHAMMAD BROHI CITY, DISTRICT THATTA

Cost of Bid	_________________				Amount __________________

1.	(A) Cost based on Composite Schedule of Rates	   	_______________

2.	(B) Cost based on Offered Schedule of Rates 		_______________

3.	(C) Amount of Item based on Market (Offer Rates) 	 _______________

4.	(D) Amount of Expected Escalation Rates		 _______________

TOTAL COST OF BID = TOTAL OF (A) + (B) + (C) + (D) 	_______________

CONTRACTOR

(QARAR RAZA)

DIVISIONAL ACCOUNTS OFFICER

PUBLIC HEALTH ENGG: DIVISION THATTA

(NOOR AHMED JALBANI)

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION THATTA

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/975 Dated 23-12-2016 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF PUMP HOUSE AND COMPOUND WALL FOR VILLAGE USMAN KHASKHELI FOR RURAL WATER SUPPLY SCHEME U.C DHABEJI TALUKA MIRPUR SAKRO AND U.C TANDO HAFIZ SHAH AND ONGAR TALUKA & DISTRICT THATTA (Work No.3) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1500/- |
| --- | --- |

| Date of Issue _18/01/2017__ | Date of Opening _19/01/2017_ |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Pump House and Compound Wall for Village Usman Khaskheli for Rural Water Supply Scheme U.C Dhabeji Taluka Mirpur Sakro and U.C Tando Hafiz Shah and Ongar Taluka & District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 3.289 Million |
| (e) | Amount of Bid Security:- | Rs:66000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 19-01-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 19-01-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 04 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF PUMP HOUSE AND COMPOUND WALL FOR VILLAGE USMAN KHASKHELI FOR RURAL WATER SUPPLY SCHEME U.C DHABEJI TALUKA MIRPUR SAKRO AND U.C TANDO HAFIZ SHAH AND ONGAR TALUKA & DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  PUMP HOUSE (10’x12’)

1,	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)  (G.S.I.No: 18   P/ 4).

###### 230.00 Cft:   	 	@ Rs. 3176/25		P%0Cft		Rs. 731/-

2,	Cement concrete brick or stone ballast 1 ½” to 2” guage ratio (1:4: 8) .  (G.S.I.No 4  : P:  14  )

###### 96.00 Cft:   	 	@ Rs. 9416/28		P%0 Cft		Rs. 9040/-

3,	Random Rubble Masonary (incoursed) (G.S.I.No 1  : P:  27 )

###### 138.00 Cft:   	 	@ Rs.17723/-			P% Cft			Rs. 24458/-

4,	Coursed rubble masonary i/c hammer dressing in cement sand mortor 1: 6 in foundation and plinth.                   (GSINo: 2d (iii) P/ 26 ).

###### 104.00 Cft:   	 	@ Rs. 25321/-			P%Cft			Rs. 26334/-

5,	D.P.C with cement sand and shingle concrete 1:2:4 including 2 coats of asphaltic mixture (b) 3” thick. (GSINo: 28: P:19 ).

3” Thick

69.00 Sft			@ Rs. 4982/18 		P% Sft			Rs.3438/-

6,	Providing & Laying (1:3:6) Cement Concrete Solid Block Masonary (GSINo.22 P/19)

###### 184.00 Cft:   	 	@ Rs. 14621/44		P% Cft			Rs. 26903/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

7,	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid seperatley. This rats also i/c all kinds of forms moduls lifittings shuttering curring rendering and finishing the exposed surface i/c screening and waching of shingle (a) R.C work in r-cf slab beams columns rafts lintels and other structural member laid in situ or cement 2 cft sand 4 cft shingle ¼” to 1/8” guage etc complete.

(G.S.I.No  6-1 : P: 18 )

###### 97.33 Cft:   	 	@ Rs. 337/-			P/Cft			Rs. 32800/-

8,	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/cost of binding wire also i/c removal of rust from bars.

(G.S.I.No:  7 (ii)  : P/ 16 ).

3.91 Cwt			@ Rs. 5001/70	 	P/Cwt			Rs. 19557/-

9,	Making and fixing steel grated door with 1/16”thick sheeting i/c angle iron frame 2”x2”x3/8” and ¾” square bars 4” center to center with looking arragement.

(G.S.I.No: 24 : P : 9 ).

28.00 Sft			@ Rs. 726/72	 		P/Sft			Rs. 20348/-

10,	Fabrication of heavy steel work with angle iron and steel for making trusses girders tank including cutting reverting handling assembling and fixing but excluding errection in position (GSINo.2 P/92).

###### 2.03 Cwt:   	 	@ Rs. 4928/48		P: Cwt			Rs. 10005/-

11,	Errection and Fitting in position of iron trusses staging of water tank etc (GSINo.3 P/92).

###### 2.03 Cwt:   	 	@ Rs. 271/04			P: Cwt			Rs. 550/-

12,	Supplying and fixing in position iron steel grill of ¼”x1/4” size flate iron of approved design i/c painting 3 coats etc complete weight net to be less than 3.7 Ibs/sq foot of finished grill  (G.S.I.No. 26 : P: 97 )

###### 24.00 Sft:   	 	@ Rs. 180/50			P/Sft			Rs. 4332/-

13,	Painting New Surface:-

c) Preparing surface and painting of doors and windows only type i/c edges (3 costs) (G.S.I.No: 5 : P : 76  ).

104.00 Sft		@ Rs. 2116/41		P%Sft			Rs. 2201/-

14,	Cement plaster 1:6 upto 12’ft height ½”thick.

(G.S.I.No: 11 : P : 52 ).

- 399.0 Sft		@ Rs. 2206/60	 	P% Sft			Rs. 8804/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

(b),	Cement plaster 1:4 upto 12’ft height 3/8”thick.

(G.S.I.No: 11 : P : 52 ).

399.0 Sft			@ Rs. 2197/52	 	P% Sft			Rs. 8768/-

15,	Spring White Marble Flooring fine dressed on the suction .

(G.S.I.No: 28 : P : 43 ).(a) ¾” thick flooring.

120.00 Sft		@ Rs. 567/48		 	P: Sft			Rs. 68098/-

17,	Primary Coat of Chalk distemper (S.S.I.No.23 P/54) .

1196.00 Sft		@ Rs. 442/75		 	P:% Sft		Rs. 5295/-

18,	Distemper (2 Coats) (S.S.I.No.24 P/54) (2 Coats) .

600.00 Sft		@ Rs. 1043/90	 	P:% Sft		Rs. 6263/-

19,	Providing the surface and painting with weather coat i/c            (3 Coats) (S.S.I.No.38 (a) P/56).

544.00 Sft		@ Rs. 1948/10	 	P:% Sft		Rs. 10598/-

20,	Pointing flush on stone work in cement sand mortor (1:3)

(G.S.I.No. 20 : P: 53 )

###### 104.00 Sft:   	 	@ Rs. 1758/08		P%Sft			Rs. 1828/-

------------------

Total	Rs.2,90,351/-

GROUP: “B”  COMPOUND WALL

- Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated earth watering ramming lift upto 5 ft and lead upto one chain (In ordinary soil) etc (GS INo : 18 P-4)

4830.00 Cft		@Rs: 3176/25  		P %0 Cft		Rs. 15341/-

2.	Cement Concrete brick or stone blast 1 ½” to 2” gauge ratio (1:4:8)

1203.00 Cft		@Rs: 9416/28 		 P % Cft		Rs.113278/-

3.	Coursed Rubble masonry I/c hammer dressing in cement sand mortor

(1:6) in foundation & Plinth etc. (G.S.I No. 20 P/31)

3582.00 Cft		@Rs: 25321/-	 		P% Cft		          Rs: 906998/-

4.	D.P.C with cement sand shingle concrete ratio (1:2:4) and cost of asphaltic mixture (G.S.I No. 28 P/19) 3” Thick

1791.00 Sft		@Rs: 4782/18 		P% Sft			Rs.85649/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

5.	Random Rubble Masonary (Un-Coursed) (S.S.I.No.1 P/27).

2687.00 Sft		@Rs: 17723/- 			P% Sft			Rs.476217/-

6.	Providing and Laying (1:3:6) Cement Concrete Block Masonary Suction (1:6) Cement Sand Mortor in Plinth and foundation i/c rocking out joints and curing complete (GSINo.22 P/18)

2710.00 Cft		@ Rs: 14621/44		P%Cft			Rs: 396241/-

7.	R.c.c work i/c all labor and material except the cost of steel; reinforcement and its labor for bending and binding which will be paid separately. This rates also i/c all kinds form modules lifting shuttering; curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RC work in roof slab beam coloums raft lintels and other structural members laid in situ or precast laid in position in all respect ratio (1 : 2 : 4) et (GSINO: 5 P/19)

78.00 Cft		@Rs: 337/-  			P: Cft			Rs.26286/-

8.	Fabrication of mild steel reinforcement for c.c i/c cutting bending laying in position making joints and fastening i.c cost of binding wire also i/c removal of rust from bars etc (GSINO: 7(ii) P-20)

3.13 Cwt		@Rs: 5001/70  		P: Cwt		           Rs.15655/-

9.	Making & fixing steel grated doors with 1/16” thick sheeting including angle iron frame 2” x 2” 3/8” and ¾ “ sq: bars 4” centre to centre with locking arrangement (G.S.I No. 24 P/97)

72.00 Sft		@Rs: 726/72 			  P:/Sft			Rs.52324/-

10.	Painting New surface.

Preparing surface and painting of doors and windows in any type           i/c edges (2 coats) (G.S.I No. P)

144.00 Sft		@Rs: 2116/41  		  P%Sft		Rs.3048/-

11.	Cement plaster ½”  thick upto 12’ft height in cement sand mortor (1:4)

(G.S.I No. 11/C P/52)

10753.00 Sft		@Rs: 2283/93  		 P% Sft		Rs. 245591/-

12.	Pointing flush on stone work (raised) i/c cement sand mortar (1:3)

(G.S.I No: 20 P/54)

3555.00 Sft		@Rs.1758/08 			P% Sft			Rs. 62500/-

13.	Primary Coat of Chalk distemper (GSINo.23 P/54).

14307.50 Sft		@Rs: 442/75 			  P:% Sft		Rs.63346/-

14.	Distemper (GSINo.24 P/54)

745.00 Sft		@Rs: 1043/90 		  P:% Sft		Rs. 77771/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

15.	Providing the surface and painting with weather coats (GSINo.38 (A) P/56)

6857.50 Sft		@Rs: 1948/10 		P% Sft			Rs.133591/-

----------------

Total	Rs:2611336/-

A  B  S   T   R   A   C   T

| Group ‘A’ Pump House (10’x12’) |  | Rs: 2,90,351/- |
| --- | --- | --- |
| Group ‘B’ Compound Wall |  | Rs: 26,11,336/- |
| Total |  | Rs: 29,01,687/- |

Amount Total (a) + (b)  Rs:_	29,01,687/-___

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in works & Figures______________________________________________

| CONTRACTORS | ( NOOR AHMED JALBANI ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

SUMMARY OF BILL QUANTITIES

NAME OF WORK: -	CONSTRUCTION OF PUMP HOUSE AND COMPOUND WALL FOR VILLAGE USMAN KHASKHELI FOR RURAL WATER SUPPLY SCHEME U.C DHABEJI TALUKA MIRPUR SAKRO AND U.C TANDO HAFIZ SHAH AND ONGAR TALUKA & DISTRICT THATTA

Cost of Bid	_________________				Amount __________________

1.	(A) Cost based on Composite Schedule of Rates	   	_______________

2.	(B) Cost based on Offered Schedule of Rates 		_______________

3.	(C) Amount of Item based on Market (Offer Rates) 	 _______________

4.	(D) Amount of Expected Escalation Rates		 _______________

TOTAL COST OF BID = TOTAL OF (A) + (B) + (C) + (D) 	_______________

CONTRACTOR

(QARAR RAZA)

DIVISIONAL ACCOUNTS OFFICER

PUBLIC HEALTH ENGG: DIVISION THATTA

(NOOR AHMED JALBANI)

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION THATTA

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/975 Dated 23-12-2016 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF CIVIL STRUCTURE FOR DRINKING WATER FACILITIES FOR GOTH HAJI YOUSUF KATIYAR TALUKA KHAROCHAN DISTRICT THATTA. (Work No.4) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1500/- |
| --- | --- |

| Date of Issue _18/01/2017__ | Date of Opening _19/01/2017_ |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Civil Structure for Drinking Water Facilities for Goth Haji Yousuf Katiyar Taluka Kharochan District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 3.960 Million |
| (e) | Amount of Bid Security:- | Rs:-80,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 19-01-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 19-01-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 04 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF CIVIL STRUCTURE FOR DRINKING WATER FACILITIES FOR GOTH HAJI YOUSUF KATIYAR TALUKA KHAROCHAN DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A” PUMP HOUSE (10’x12’)

1.	Excavation in foundation of building bridges and others structure i/c                 Dag Belling Dressing refilling around the structure with excavated earth watering ramming lift upto 5 Ft and lead upto one chain (ordinary Soil)     (G.S.I No: 18/B P/5).

230.00 Cft 		@ Rs. 3176/25 		P% 0 Cft		Rs. 731/-

2.	Cement Concrete brick or stone ballast 1.1/2” to 2” Gauge Ratio 1:4:8 etc (G.S.I No: 4/B P/16)

96.00 Cft 		@ Rs.9416/28 		  P %  Cft 		Rs.9040/-

3,	Random Rubble Masonary i/c hammer dressing in cement sand mortor (1:6) in foundation and plinth (GSINo.1 P/27).

###### 138.00 Cft:   	 	@ Rs. 17723/-			P% Cft			Rs. 24458/-

4. 	Coursed Ruble Masonry including hammer dressing with cement sand mortor sand Ratio 1:6. (G.S.I.NO: 2 P/32)

104.00 Cft 		@ Rs.25321/-	 		  P%  Cft 		Rs. 26334/-

5.	D.P.C with cement sand shingle concrete ratio 1:2:4 and cost of asphaltic mixture (G.S.I No. 28 P/19) 3” Thick.

69.00 Sft 		@ Rs. 4982/18		P%  Sft 		Rs. 3438/-

6. 	Providing & Laying (1:3:6) Cement Concrete Solid Block Masonary (S.S.I.No.22 P/19)

184.00 Cft 		@ Rs.14621/44	 	P%  Cft 		Rs.26903/-

7.	R.C.C work i.e. all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i.e. all kinds forms modules lifting shutting curing remarking and finishing the exposed surface i.e. screening and washing of shingle (a) R.C. work in roof slab beams columns rafts lintel and other structural member laid in Situ or pre-cast laid in position in the respect ratio 1:2:4 etc complete (G.S.I No. 6/a P/18)

97.33 Cft	 	@ Rs. 337/- 			P: Cft 			Rs. 32800/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

7.	Fabrication of mild steel reinforcement for cement concrete i.e. cutting bending laying in position making joints & fastening i.e. cost of binding wire also i.e. removal of rust from bars (G.S.I No. 7 ii(a) P/19). (Using Bors)

3.91 Cwt 		@ Rs. 5001/70		P: Cwt			Rs.19557/-

8.	Making and fixing steel door with 1/16” thick sheeting i/e. angle iron                 frame 2” x 2” x 3/8” and ¾” square bars 4” center to center with looking arrangement (G.S.I No. 24 P/97)

28.00 Sft		@ Rs.726/72 			P: Sft			Rs. 20348/-

9.	Fabrication of heavy steel work with angles tees flate iron round iron and steel iron for making tresses girders concrete i/c cutting revorting handling assembling (G.S.I.No. 2 P/96)

2.03 Cwt		@ Rs: 4928/48		P:Cwt			Rs:10005/-

10.	Supplying and fixing iron steel grill of 3/4" to 1/4" flat iron of approved desion i/c painting 3 coats etc complete weight not less them 3:7 P: & foot of fen steel girds. (G.S.I.No. 24 P: 97)

24 Sft			@ Rs: 180/50			P:Sft			Rs: 4332/-

11.	Cement plaster (1:6) upto 12’ft height ½” thick (G.S.I.NO: 13/b P/57)

399.00 Sft		@ Rs: 2206/60		P%Sft			Rs:8804/-

Cement Plaster (1:4) 3/8” Thick

399.00 Sft		@ Rs: 2197/52		P%Sft			Rs:8768/-

12.	Pointing flush on stone work in (Raised) cement mortor (1:3)

104.00 Sft		@ Rs: 1758/08		P%Sft			Rs: 1828/-

13.	Errection and fitting in position of iron trusses staging of water tanks etc (S.S.I.No.3 P/92).

2.03 Cwt		@ Rs:271/04			P: Cwt			Rs: 550/-

14.	Pointing New Surface

Preparing surface and painting doors and windows and any type (i/c edges) (G.S.I No. 5/C P/76)

104.00 Sft 		@ Rs. 2116/45		P% Sft			Rs. 2201/-

15.	Laying White Marble flooring fine dressed on the structure (S.S.I.No.28 P/43) (a) ¾” Thick Flooring.

120.00 Sft 		@ Rs. 567/48			 P: Sft	 		Rs. 68098/-

16.	Primary Coat of Chalk distemper (S.S.I.No.23 P/54)

1196.00 Sft 		@ Rs. 442/75			 P% Sft 		Rs. 5295/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

17.	Distemper (2 Coats) (S.S.I.No.24 P/54) (2 Coats)

600.00 Sft		@ RS: 1043/90		P%Sft			Rs: 6263/-

18.	Providing the Surface painting with weather coat i/c (S.S.I.No.38 (A) P/56) (3 Coats)

544.00 Sft		@ RS: 1948/10		P%Sft			Rs: 10598/

-----------------

Total 	Rs:2,88,150/-

For 2 Nos Pump House 2 x 288150	=	Rs:5,76,300/-

GROUP: “B” COMPOUND WALL

1.	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated earth watering ramming lift upto 5 ft and lead upto one chain (In ordinary soil) etc (GS INo : 18 P-4)

3598.00 Cft		@Rs: 3176/25  		P %0 Cft		Rs. 11428/-

2.	Cement Concrete brick or stone blast 1 ½” to 2” gauge ratio (1:4:8)

895.00 Cft		@Rs: 9416/28 		 P % Cft		Rs. 84276

3,	Random Rubble Masonary i/c hammer dressing in cement sand mortor (1:6) in foundation and plinth (GSINo.1 P/27).

###### 1993.50 Cft:   	 	@ Rs. 17723/-			P% Cft			Rs. 353308/-

4.	Coursed Rubble masonry I/c hammer dressing in cement sand mortor

(1:6) in foundation & Plinth etc. (G.S.I No. 20 P/31)

2658.00 Cft		@Rs: 25321/-	 		P% Cft		          Rs: 673032/-

5.	D.P.C with cement sand shingle concrete ratio (1:2:4) and cost of asphaltic mixture (G.S.I No. 28 P/19) 2”Thick.

1329 Sft		@Rs: 3912/85 		P% Sft			Rs. 52000/-

6.	Providing & Laying (1:3:6) Cement Concrete Solid Block Masonry wall 6" and below in thickness set in (1:6) cement mortar in ground floor super – structure including making out joints & curing etc complete (G.S.I.No. 23 P-19)

1899.00 Cft		@ Rs: 14621/44		P%Cft			Rs: 277661/-

7.	R.c.c work i/c all labor and material except the cost of steel; reinforcement and its labor for bending and binding which will be paid separately. This rates also i/c all kinds form modules lifting shuttering; curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RC work in roof slab beam coloums raft lintels and other structural members laid in situ or precast laid in position in all respect ratio (1 : 2 : 4) et (GSINO: 5 P/19)

60.50 Cft		@Rs: 337/-  			P: Cft			Rs.20389/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

8.	Fabrication of mild steel reinforcement for c.c i/c cutting bending laying in position making joints and fastening i.c cost of binding wire also i/c removal of rust from bars etc (GSINO: 7(ii) P-20)

2.43 Cwt		@Rs: 5001/70  		P: Cwt		           Rs.12154/-

9.	Making & fixing steel grated doors with 1/16” thick sheeting including angle iron frame 2” x 2” 3/8” and ¾ “ sq: bars 4” centre to centre with locking arrangement (G.S.I No. 24 P/97)

60.00 Sft		@Rs: 726/72 			  P:/Sft			Rs.43603/-

10.	Painting New surface.

Preparing surface and painting of doors and windows in any type           i/c edges (2 coats) (G.S.I No. (c) P/69)

120.00 Sft		@Rs: 2116/41  		  P%Sft		Rs.2540/-

11.	Cement plaster ½”  thick upto 12’ft height in cement sand mortor (1:4)

(G.S.I No. 11/C P/57)

8039.00 Sft		@Rs: 2283/93  		 P% Sft		Rs. 183605/-

12.	Pointing flush on stone work (raised) i/c cement sand mortar (1:3)

(G.S.I No: 20 P/58)

3544.00 Sft		@Rs.1758/08 			P% Sft			Rs. 62306/-

13.	Primary Coat of Chalk distemper (GSINo.14 P/54)

11583.00 Sft		@Rs: 442/75 			  P:% Sft		Rs.51284/-

14.	Distemper (GSINo.14 P/54) (2 Coats)

6013.00 Sft		@Rs: 1043/90 		  P:% Sft		Rs.62770/-

15.	Providing the Surface and painting with weather coats (GSINo.38 (a) P/56)

5570.00 Sft		@Rs: 1948/10			  P:% Sft		Rs. 108509/-

-------------------

Total	Rs:19,98,867/-

GROUP: “C” LOW SERVICES RESERVOIR  (3000 Gallons Capacity)

1.	Excavation in foundation of building brides and others structure i/c deg belling dressing refilling around the structure with excavated earth water and remaining lift upto 5 ft and lead upto one chain (in ordinary soil)  (G.I.S No. 18 P-6)

268.00 Cft 		@ Rs. 3176/25		P%0 Cft 		Rs. 851/-

2.	Cement concrete or stone Ballast 1 ½” gauge ratio (1:4:8)                                       (GSI No. 5 	P-15)

33.00 Cft		@ Rs. 9416/28		P% Cft			Rs: 3107/-

Ratio 1:4:8

86.00 Cft		@ Rs. 9416/28		P% Cft			Rs: 8098/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

3.	Coursed rubble masonry i/c harmer dressing in cement sand motor (1:6) in foundation and plinth (GSI No. 2/D P-28)

138.44 Cft 		@ Rs. 25321/-			P% Cft 		Rs. 35054/-

4.	RCC work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structure member laid in situ or precast laid in position in all respect ratio (1:2:4) cement 2 sft and 4 cft single ¼” to

262.76 Cft 		@ Rs.337/- 			P:% Cft 		Rs. 88550/-

5.	Fabrication of mild steel reinforcement for cement concrete                  i/c cutting bending laying in position making joints and fastening             i/c cost of binding wire else i/c removal of rest from bars                     (G.S. I No. 7 P/18).

10.55 Cwt 		@ Rs.5001/70			P: Cwt 			Rs. 52768/-

6.	Providing and laying (1:3:6) cement concrete solid block masonry set (1:6) cement mortar in plinth and foundation i/c raking out joints and curing etc. complete. (G.S.I No. 22 P/19).

51.00 Cft 		@ Rs.14268/53 		P% Cft 		Rs. 7277/-

7.	Providing construction joint in concrete work of 9” wide (1:6) corrugated PVC water stopper with bulbs i/c cutting costs of material and labour.  (G.S.I No. 5 P/45)

33.00 Rft		@ Rs.86/-			P/Rft			Rs. 2838/-

8.	Cement Plaster ½”  thick in cement sand mortor (1:4) upto 12’ ft height.    (G.S.I No. 11 P/52)

½” Thick

298.44 Cft 		@ Rs.2283/93 		P% Sft	 		Rs.6815/-

¾” Thick

126.00 Cft 		@ Rs.2283/93 		P% Sft	 		Rs.2879/-

9.	Supplying of Dampoo (P.S 1 No. 46 P /4)

8.64 Lbs	 	@ Rs. 56/82 			P: Lbs			Rs.491/-

10.	Supplying and fixing C.I main holes cover with frame i/c cost of material etc (P.S. I No. 11 P/23).

1.00 Cwt	 	@ Rs. 6985/-	 		P: Cwt			Rs. 6985/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

11.	Providing G.I Pipes and special and climbs, etc i/c fixing cutting and fitting complete with an i/c the cost of breaking through walls and roof making good etc painting 2 coat after cleaning the pipe etc with white / zine paint with pigment to match the color and testing with water to a pressure head of 200 ft and handing              (R.A Approved) S.S. No. 1 P-12).

3”dia

27.00 Rft 		@ Rs. 360/40			P/Rft  			Rs. 9731/-

12.	Manufacturing and supplying M.S Flanges of different dia made out of M.s Sheet of ½” thickness i/c cutting welding holes and welding of flange with M.S Pipe etc complete. (R.A Approved)

3”dia

12.0 Rft 		@ Rs. 500/89 		 	P:Rft			Rs. 6011/-

13.	C.I Tail Piece with one flanged and spigot of the other end all sizes (S.S.I.No.5 P/15)

3”dia

26.72 Kg.	 	@ Rs. 120/- 			P/Kg			Rs. 3206/-

14.	C.I Bend with one flanged and with holes i/c trimming and facing of flanges for all sizes (S.M. No. 8 P-11)

C.I Bend 3”dia 900

26.72 Kg.	 	@ Rs. 120/- 			P/Kg			Rs. 3206/-

15.	Providing and fixing C.I Ventilator (weight not be less than 80 lbs / each in tank of roof or approved design with water light joint i/c painting etc complete  (PHSI.No. 4 P/55).

1 Nos. 			@ Rs. 4870/-			Each 			Rs. 4870/-

16.	Jointing C.I M/S Flanged pipes and special flanged and                  inside a trenches i/c supplying rubber packing of the required thickness nuts and bolts with washer etc and other tools required for jointing and testing the joint to the specified pressure etc complete. (PHS 1 No. 1 P/27).

3”dia inlet Pipe

22 Joint 		@ Rs. 499/- 	 		P/Joint 		Rs. 10978/-

17.	Providing G.I Pipe Special & clamps etc including cutting & fixing etc complete  (G.S.I No. 1 P/11)

G.I Pipe 1 ¾”dia

8.00 Rft 		@  Rs.188/97 			P/ Rft 			Rs.1512/-

18.	Bib Cock bar standard pattern (SS V No. 16 P/13)

¾” dia

4.00 Nos. 		@ Rs. 348/92			Each 			Rs. 1396/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

19.	C.I Sluice Valve heavy pattern (S.M.I.No.2 P:No. 9)

3”dia

1 No. 			@ Rs. 4290/-			Each			Rs. 4290/-

20.	Cement concrete plain I/c pacing compacting finishing and currying complete i/c screening and washing of stone aggregate without shuttering ratio (1:2:4)  (G.S.I No. 5 P/17)

27.25 Cft 		@ Rs. 14429/25 		P% Cft 		Rs. 3932/-

---------------

Total	Rs:2,64,840/-

For 3 Nos L.S.R	=	3 x 264840	=	Rs:7,94,520/-

A  B  S   T   R   A   C   T

| Group ‘A’ Pump House |  | Rs: 5,76,300/- |
| --- | --- | --- |
| Group ‘B’ Compound Wall |  | Rs: 19,98,867/- |
| Group ‘C’ Low Service Reservoir |  | Rs: 7,94,520/- |
| Total |  | Rs: 33,69,687/- |

Amount Total (a) + (b) + (c) Rs:_	33,69,687/-___

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b + c in works & Figures____________________________________________

| CONTRACTORS | ( NOOR AHMED JALBANI ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

SUMMARY OF BILL QUANTITIES

NAME OF WORK: -	CONSTRUCTION OF CIVIL STRUCTURE FOR DRINKING WATER FACILITIES FOR GOTH HAJI YOUSUF KATIYAR TALUKA KHAROCHAN DISTRICT THATTA.

Cost of Bid	_________________				Amount __________________

1.	(A) Cost based on Composite Schedule of Rates	   	_______________

2.	(B) Cost based on Offered Schedule of Rates 		_______________

3.	(C) Amount of Item based on Market (Offer Rates) 	 _______________

4.	(D) Amount of Expected Escalation Rates		 _______________

TOTAL COST OF BID = TOTAL OF (A) + (B) + (C) + (D) 	_______________

CONTRACTOR

(QARAR RAZA)

DIVISIONAL ACCOUNTS OFFICER

PUBLIC HEALTH ENGG: DIVISION THATTA

(NOOR AHMED JALBANI)

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION THATTA

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/975 Dated 23-12-2016 |
| --- | --- |

| Name of Work:- | PROVIDING & INSTALLING 16 BHP & 12 BHP DIESEL ENGINE I/C SUCTION & DELIVERY PUMPING MACHINERY FOR DRINKING WATER FACILITIES FOR GOTH HAJI YOUSUF KATIYAR TALUKA KHAROCHAN DISTRICT THATTA.. (Work No.5) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1500/- |
| --- | --- |

| Date of Issue _18/01/2017__ | Date of Opening _19/01/2017_ |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Providing & Installing 16 BHP & 12 BHP Diesel Engine i/c Suction & Delivery Pumping Machinery for Drinking Water Facilities for Goth Haji Yousuf Katiyar Taluka Kharochan District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 0.974 Million |
| (e) | Amount of Bid Security:- | Rs:-20,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 19-01-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 19-01-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 02 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	PROVIDING & INSTALLING 16 BHP & 12 BHP DIESEL ENGINE I/C SUCTION & DELIVERY PUMPING MACHINERY FOR  DRINKING WATER FACILITIES FOR GOTH HAJI YOUSUF KATIYAR TALUKA KHAROCHAN DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  Pumping Machinery 16 BHP Electric & 12 BHP Diesel

1.	Providing & Installing in Position i/c transportation to site of work Rural Water Supply Scheme Haji Yousif Katiyar Diesel Engine Pumping Set             16 BHP coupled with Centrifugal Pump (KSB) ETA Norm 40-200 Size 2”x1 ½” mounted on common steel base plate capable of discharging of 5/8” dia to be embedded in the C.C.Foundation i/c testing the pumping set of 72 hours etc complete (R.A Attached).

16 BHP

2.0 Sets		@Rs: 				P:Set			Rs:

2.	Supplying C.I Sluice Valve heavy pattern test pressure 21 KG/sq cam or 300 Ibs/Inch. (P.H.S.I.NO: 2 P/12)

3”dia

2 Nos.		 	 @ Rs.				Each			Rs.

3.	Supplying Reflex valve heavy pattern test pressure 21 Kg/Sq cum or 300 Ibs/inch (P.H.S.I.NO:6 P/12)

3”dia

2.0 Nos	 	@ Rs.				 Each.  	         	Rs

4.	Supplying C.I foot valve heavy pattern with cone type gate (M.S.I.No. 4 P/12)

3”dia

2.0 Nos	 	@ Rs.				 Each.  	         	Rs.

5.	Supplying C.I Bend with flanged end with holes i/c trimming etc complete (M.S.I.NO:2 P/13)

3’dia

42.01 Kg 		@ Rs.				 P:Kg	 		Rs.

6.	Supplying C.I Tee with flanged end with holes i/c trimming & facing of flanged (for all size) (SMINO.9 P/11).

4”x4”x3”

11.45 Kg 		@ Rs.				P:Kg	 		Rs.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

7.	C.I Tapered flat  with bottoms or central tapered flanged ends with holes i/c trimming and facing of flanged for al sizes (Rate Approved)

2” x 3” 1 ½” x 3”

21.00 Kg 		@ Rs.				 P:Kg	 		Rs.

8.	Supplying instlaling M.S Pipe of various dia made out of M.S Sheet 3/16” thick cutting of olding to curvature and shape i/c welding etc complete              (R.A Approved Based on Schedule)

3” dia

44.00 Rft 		@ Rs.				 P:Rft	 		Rs.

4” dia

19.00 Rft 		@ Rs.				 P:Rft	 		Rs.

9.	Manufacturing and furnishing M.S Flanged pipe 6”dia madeout of M.S Sheet 3/8” thick including dilling holes and welding etc complete              (Rate Approved Based on Schedule)

3”dia

12.00  Nos.		  @ Rs.	 		Each			Rs.

4”dia

6.00  Nos.		  @ Rs.	 		Each			Rs.

10.	Jointing C.I M.S Flanged Pipes and Specials flanged and inside a trenches i/c supplying rubber rings and testing washer etc and other tools required for joining and testing joints pressure etc complete (P.H.S.I.NO: 1 P/27)

3”dia

18.00 Joints		@ Rs. 				P: Joint		Rs.

4”dia

7.00 Joints		@ Rs. 				P: Joint		Rs.

---------------------									Total	Rs:

GROUP: “B”  Pumping Machinery 12 BHP Electric & 12 BHP Diesel

1.	Providing & Installing in Position i/c transportation to site of work Rural Water Supply Scheme Haji Yousif Katiyar Diesel Engine Pumping Set           12 BHP coupled with Centrifugal Pump (KSB) ETA Norm 80-200 Size 3”x2.5” mounted on common steel base plate capable of discharging of 5/8” dia to be embedded in the C.C.Foundation i/c testing the pumping set of 72 hours etc complete (R.A Attached).

12 BHP

2.0 Sets		@Rs: 				P:Set			Rs:

2.	Supplying C.I Sluice Valve heavy pattern test pressure 21 KG/sq cam or 300 Ibs/Inch. (P.H.S.I.NO: 2 P/9)

3”dia

2 Nos.		 	 @ Rs. 			Each			Rs.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

3.	Supplying Reflex valve heavy pattern test pressure 21 Kg/Sq cum or 300 Ibs/inch (P.H.S.I.NO:         P/9)

3”dia

2.0 Nos	 	@ Rs. 				 Each.  	         	Rs.

4.	Supplying C.I foot valve heavy pattern with cone type gate (M.S.I.No. 4 P/12)

3”dia

2.0 Nos	 	@ Rs. 				 Each.  	         	Rs.

5.	Supplying C.I Bend with flanged end with holes i/c trimming etc complete (M.S.I.NO:2 P/10)

3’dia

42.01 Kg 		@ Rs. 				 P:Kg	 		Rs.

6.	Supplying C.I Tee with flanged end with holes i/c trimming & facing of flanged (for all size) (SMINO.9 P/11).

4”x4”x3”

11.45 Kg 		@ Rs. 				P:Kg	 		Rs.

7.	C.I Tapered flat  with bottoms or central tapered flanged ends with holes i/c trimming and facing of flanged for al sizes (PHSINo.4 P/13)

2” x 3” 1 x  ½” x 3”

21.00 Kg 		@ Rs.				 P:Kg	 		Rs.

8.	Supplying instlaling M.S Pipe of various dia made out of M.S Sheet 3/16” thick cutting of olding to curvature and shape i/c welding etc complete              (R.A Approved Based on Schedule)

3” dia

44.00 Rft 		@ Rs.				 P:Rft	 		Rs.

4” dia

19.00 Rft 		@ Rs.				 P:Rft	 		Rs.

9.	Manufacturing and furnishing M.S Flanged pipe 6”dia madeout of M.S Sheet 3/8” thick including dilling holes and welding etc complete              (Rate Approved Based on Schedule)

3”dia

12.00  Nos.		  @ Rs. 			Each			Rs.

4”dia

6.00  Nos.		  @ Rs. 			Each			Rs.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

10.	Jointing C.I M.S Flanged Pipes and Specials flanged and inside a trenches i/c supplying rubber rings and testing washer etc and other tools required for joining and testing joints pressure etc complete (P.H.S.I.NO: 1 P/27)

3”dia

18.00  Nos.		  @ Rs. 			Each			Rs.

4”dia

7.00  Nos.		  @ Rs. 			Each			Rs.

----------------------

Total	Rs:

A  B  S   T   R   A   C   T

| Group ‘A’ Pumping Machinery 16 BHP Electric 12 BHP Diesel |  | Rs: |
| --- | --- | --- |
| Group ‘B’ Pumping Machinery 12 BHP Electric 12 BHP Diesel |  | Rs: |
| Total |  | Rs: |

Amount Total (a) + (b) Rs:_			/-___

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in works & Figures______________________________________________

| CONTRACTORS | ( NOOR AHMED JALBANI ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

SUMMARY OF BILL QUANTITIES

NAME OF WORK: -	PROVIDING & INSTALLING 16 BHP & 12 BHP DIESEL ENGINE I/C SUCTION & DELIVERY PUMPING MACHINERY FOR  DRINKING WATER FACILITIES FOR GOTH HAJI YOUSUF KATIYAR TALUKA KHAROCHAN DISTRICT THATTA

Cost of Bid	_________________				Amount __________________

1.	(A) Cost based on Composite Schedule of Rates	   	_______________

2.	(B) Cost based on Offered Schedule of Rates 		_______________

3.	(C) Amount of Item based on Market (Offer Rates) 	 _______________

4.	(D) Amount of Expected Escalation Rates		 _______________

TOTAL COST OF BID = TOTAL OF (A) + (B) + (C) + (D) 	_______________

CONTRACTOR

(QARAR RAZA)

DIVISIONAL ACCOUNTS OFFICER

PUBLIC HEALTH ENGG: DIVISION THATTA

(NOOR AHMED JALBANI)

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION THATTA

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/ 975 Dated 23-12-2016 |
| --- | --- |

| Name of Work:- | RENOVATION OF EXISTING STRUCTURE FOR DRAINAGE SCHEME FOR BUHARA TALUKA MIRPUR SAKRO DISTRICT THATTA (Work No.6) |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1500/- |
| --- | --- |

| Date of Issue _18/01/2017__ | Date of Opening _19/01/2017_ |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Renovation of Existing Structure for Drainage Scheme for Buhara Taluka Mirpur Sakro District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 3.164 Million |
| (e) | Amount of Bid Security:- | Rs:-64,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 19-01-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 19-01-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 04 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	RENOVATION OF EXISTING STRUCTURE FOR DRAINAGE SCHEME FOR BUHARA TALUKA MIRPUR SAKRO DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

“GROUP: “A”  COLLECTING TANK (1 NO) (15’ DIA)

1.	Cleaning of Collecting Tank/ Sump below ground level i/c dewatering of sludge water & disposal of garbage solid west etc out side the tank etc complete. (PHSI No: I P/59)

1060.00 Cft 		@ Rs.11900/- 			P%0 Cft 		Rs. 12614/-

2.	Removing of Cement or lime plaster (G.S.I.No: 53 P/13)

565.56 Cft 		@ Rs. 121/- 			P% Cft 		Rs.684/-

3.	Cement Plaster 1:6 upto to 12’ height ½” thick                (G.S.I.No: 13 (b) P/52)

565.56 Sft 		@ Rs. 2206/60		 P%  Sft 		Rs.12480/-

4.	Cement Plaster 1:4 upto 12’ height 3/8” thick                    (G.S.I.No: 11 (a) P/52)

565.56 Cft 		@ Rs. 2197/52		 P%  Sft 		Rs. 12428/-

------------------

Total	Rs:38206/-

“GROUP: “B”  SCREENING CHAMBER

1.	Cleaning of Collecting Tank/ Sump below ground level i/c dewatering of sludge water & disposal of garbage solid west etc out side the tank etc complete. (PHSI No: I P/59)

240.00 Cft 		@ Rs. 11900/- 		P%0 Cft 		Rs. 2856/-

2.	Removing of Cement or lime plaster (G.S.I.No: 53 P/13)

208.00 Cft 		@ Rs. 121/- 			P% Cft 		Rs. 252/-

3.	Cement Plaster 1:6 upto 12’ height ½” thick                   (G.S.I.No: 13 (b) P/52)

208.00 Sft 		@ Rs. 2206/60		 P%  Sft 		Rs. 4590/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4.	Cement Plaster 1:4 upto 12’ height 3/8” thick                 (G.S.I.No: 11 (a) P/52)

208.00 Sft 		@ Rs. 2197/52		 P%  Sft 		Rs. 4571/-

5.	Fabrication of Heavy Steel work with angle tees, flat iron, round iron and sheet iron for making trusses, girder , tanks etc i/c cutting tank etc i/c cutting drilling riveting handling assembling and fixing but excluding erection in position (G.S.I.No: 2 P/91)

2.53 Cwt 		@ Rs. 4928/49 		P: Cwt 			Rs. 12469/-

6.	Errection and Fitting in position iron trusses staging of water tank etc (G.S.I.No: 3 P/91).

2.53 Cwt 		@ Rs. 271/04 			P: Cwt 			Rs.    686/-

---------------

Total	Rs: 25424/-

“GROUP: “C”  COMPOUND WALL

1,	Coursed rubble masonry i/c harmer dressing in cement sand motor (1:6) (G.S.I No. 2  P- 27  )

620.00 Cft 			@ Rs. 25321/-	P% Cft 		Rs. 156990/-

2,	Pointing Flush on Stone work (Raised) i/c cement sand mortar (1:3)  G.S.I No. 20  P- 53 )

7580.00 Sft 			@ Rs. 1758/08	P% Sft 		Rs. 133262/-

3,	Barrow pit excavation undressed lead upto 100’ft (GSINo.3 P/   ).

1600.00 Sft 			@ Rs. 2117/50	P% Sft 		Rs.3388/-

4,	Earth work compaction Soft ordinary or Hard Soil) (a) Laying earth 6” layers levelling dressing and watering for compaction etc complete (GSINo.13 P/3)

1600.00 Cft 			@ Rs. 354/-		P%0 Cft 		Rs. 566/-

5.	Cement concrete or stone Ballast 1 ½” to 2” gauge ratio (1:4:8)  (GSI No. 04 P- 15 )

528.00 Cft 			@ Rs. 9416/28	P% Cft 		Rs. 49718/-

6.	Cement concrete Plain i/c placing compacting finishing and curing complete including screening and washing at stone aggregate without shuttering Ratio: 1:2:4 (G.S.I.No: 05 P/16)

400.00 Sft 			@ Rs. 14429/25	P% Sft 		Rs. 57717/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

7,	Errection & Removal of centering for RCC or Plain Cement Concrete work 2nd Class Vertical (GSINo.19 P/18).

27.50 Sft 			@ Rs. 3127/41	P:% Sft 		Rs. 860/-

8,	Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated eath watering and ramming lift upto 5ft and load upto one chain (in ordinary soil)  (GSINo:  18   P/ 4   ).

###### 45.00 Cft:   	 	@ Rs. 3176/25		P%0 Cft		Rs. 143/-

9,	Cement Concrete brick or stone ballast 1 ½” to 2” guage  (GSINo.4 P/15).

###### 9.00 Cft:   	 	@ Rs. 9416/28		P% Cft			Rs. 847/-

10,	Reinforced Cement Concrete work (GSINO.6 (b) P/16).

###### 61.25 Cft:   	 	@ Rs. 337/-			P% Cft			Rs. 20641/-

11,	Fabrication of mild steel reinforcement for C.C.including cutting bending laying in position making joints and fastening including cost of binding wire (also includes removal of rust using tore barrs (GSINo.8 P/17).

###### 2.46 Cwt:   	 	@ Rs. 5001/70		P: Cwt			Rs. 12304/-

12,	 Making & Fixing Steel Grated Doors with 1/16” thick shuttering including angle iron frame 2” x 2” 3/8” and 3/4” sq bars 4” centre to centre with locking arrangement  G.S.I No. 24  P- 92)

72.00 Sft 			@ Rs. 726/72	P: Sft 			Rs. 52324/-

13.	 Painting New Surface

Preparing Surface and Painting of doors and  windows in any type i/c edges (03 Coats)                 (G.S.I No.  5   P- 69)

144.00 Sft 			@ Rs. 2116/41	P% Sft 		Rs.   3048/-

13.	Earth work lead 1 Miles (Sch: of Carriage)

1600.00 Cft 			@ Rs. 407/-		P% Cft 		Rs. 6512/-

---------------

Total	Rs: 498320/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

“GROUP:”D”  PUMP HOUSE @ ZONE “A” DISPOSAL WORK.

1.	Dismantling Cement Concrete reinforced separating reinforcement from concrete cleaning and straightening the same (G.S.I.No.20 P/10)

158.76 Cft  		@ Rs. 5445/-			P%Cft			Rs. 8644/-

2.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid seperatley. This rats also i/c all kinds of forms moduls lifittings shuttering curring rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C work in roof slab beams columns rafts lintels and other structural member laid in situ or precast cement 2 cft sand 4 cft shingle ¼” to 1/8” guage etc complete. (G.S.I.No  6-1 : P: 17 )

158.76 Cft  		@ Rs. 337/-	 		P: Cft			Rs. 53502/-

3.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/cost of binding wire also i/c removal of rust from bars.(G.S.I.No:  8 (ii)  : P/ 17 ).

6.38 Cwt 		@ Rs. 5001/70	 	P: Cwt.			Rs. 31911/-

4.	Removing Cement or lime Plaster (G.S.I.No.53 P-13)

488.00 Sft 		@ Rs. 121/- 	 		P%Sft.			Rs. 590/-

5.	Cement Plaster ½” thick upto 12ft height in cement sand mortor (1:4) (G.S.I.No. 11/b P/52)

488.00 Sft 		@ Rs. 2283/93 	 	P%Sft.			Rs.11146/-

6.	Pointing Flush on stone work raised in cement mortor (1:3)                     (G.S.I.No. 20 P-53)

660.0 Sft  		@ Rs.1758/08 		P%Sft			Rs. 11603/-

7.	Providing and Laying 1”thick topping cement concrete (1:2:4) i/c surface finishing and dividing in to panels 2”thick etc (G.S.I.No. 16/c P/42)

180.0 Sft  		@ Rs.3275/50			P%Sft			Rs.5896/-

7.	Primary of Chalk distemper (GSINo.23 P/54).

668.00 Sft  		@ Rs.442/75	 		P% Sft			Rs. 2958/-

8.	White Washing (G.S.I.No.26 (c) P/54)

a)	THREE COATS:

668  Sft  		@ Rs. 1079/65		P%Sft			Rs. 7212/-

----------------

TOTAL      Rs:133462/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

“GROUP: “E” SURFACE DRAINS”

1.	Dismantling Cement Concrete plain (1:3:6) etc complete (GSINO.19/b P/10)

125.00 Cft  		@ Rs. 1306/80		P% Cft			Rs. 1634/-

2.	Cement Concrete Plain i/c placing compacting finishing and curing completei/c screening and washing of stone aggregate without shuttering Ratio (1:3:6) etc complete (GSINO.5 P/16)

3500.00 Cft  		@ Rs. 12595/-	 		P:% Cft		Rs.188925/-

3.	Errection and Removal of centering for RCC or plain cement concrete work of Deodar work 2nd vertical for partal wood.(GSINO.19 b P/18 )

14000.00 Sft  		@ Rs. 3127/41		P:% Sft		Rs.437837/-

4.	Cement Plaster ½” thick upto 12’ft height in cement sand mortor (1:4) etc (GSINO.11 (b) P/52)

17280.00 Sft  		@ Rs. 2283/93		P:% Sft		Rs. 394663/-

-------------------

Total	Rs: 1023059/-

GROUP:”f”  RISING MAIN 6”DIA

1.	Excavation for Pipe Line.in trenches and pits in Soft Soil by hammering and chiseling where blasting is not practicable or prohibited i/c trimming and dressing sides to true alignment and shape leveling of  trencher to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards. Lift. Flags and temporary crossing for non vehicular traffic wherever required lift upto 5 ft (1.52) and lead upto one chain (30.5m) (PHSINo. A (I) P/60)

6” dia

31500 Cft			@Rs: 3600/-			P:%0 Cft		Rs: 113400/-

2.	Providing Laying P.V.C Pipe pressure pipe of Class B (equivalent make) i/c Fixing in Trencher i/c Cutting Fitting Jointing i/c Testing Water etc complete (P.H.SI.No.6-1 P/22).

6” dia

4000 Rft			@Rs: 262/-			P: Rft			Rs:1048000/-

3.	Supplying PVC Special for PVC pressure pipe billers.

6”dia Bend 900 (PHSINo.ii P/27)

6.00 Nos			@ Rs. 1913/-		 	Each	 		Rs.11478/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4.	Reffling excavated the stuff in trenches 6” thick layers i/c watering ramming to full compaction etc complete (P.H.S.NO: 324/ P/77)

6”dia

28350 Cft			@ Rs.2760/-			 P%0 Cft.  	         	Rs.78246/-

--------------------

Total 	Rs:1251124/-

A  B  S   T   R   A   C   T

| Group ‘A’ Repair of Collecting Tank |  | Rs: 38,206/- |
| --- | --- | --- |
| Group ‘B’ Repair of Screening Chamber |  | Rs: 25,424/- |
| Group ‘C’ Repair of Compound Wall |  | Rs: 4,98,320/- |
| Group ‘D’ Repair of Pump House |  | Rs: 1,33,462/- |
| Group ‘E’ Repair of Type-I,II,III Drains |  | Rs: 10,23,059/- |
| Group ‘F” Repair of Rising Main |  | Rs: 12,51,124/- |
| Total |  | Rs 29,69,595/- |

Amount Total (a) + (b) + (c) + (d) + (e) + (f) Rs:_	29,69,595/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b +c + d + e + f in works & Figures___________________________________

| CONTRACTORS | ( NOOR AHMED JALBANI ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

SUMMARY OF BILL QUANTITIES

NAME OF WORK: -	RENOVATION OF EXISTING STRUCTURE FOR DRAINAGE SCHEME FOR BUHARA TALUKA MIRPUR SAKRO DISTRICT THATTA

Cost of Bid	_________________				Amount __________________

1.	(A) Cost based on Composite Schedule of Rates	   	_______________

2.	(B) Cost based on Offered Schedule of Rates 		_______________

3.	(C) Amount of Item based on Market (Offer Rates) 	 _______________

4.	(D) Amount of Expected Escalation Rates		 _______________

TOTAL COST OF BID = TOTAL OF (A) + (B) + (C) + (D) 	_______________

CONTRACTOR

(QARAR RAZA)

DIVISIONAL ACCOUNTS OFFICER

PUBLIC HEALTH ENGG: DIVISION THATTA

(NOOR AHMED JALBANI)

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION THATTA

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/ 975 Dated 23-12-2016 |
| --- | --- |

| Name of Work:- | SUPPLYING AND INSTALLING PUMPING MACHINERY 7.50 BHP ELECTRIC AND 16 BHP DIESEL I/C SUCTION / DELIVERY PIPE LINE FOR REHABILITATION OF DRAINAGE SCHEME GHULAMULLAH DISTRICT THATTA. (Work No.7). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1500/- |
| --- | --- |

| Date of Issue _18/01/2017__ | Date of Opening _19/01/2017_ |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Supplying and Installing Pumping Machinery 7.50 BHP Electric and 16 BHP Diesel i/c Suction / Delivery Pipe Line for Rehabilitation of Drainage Scheme Ghulamullah District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 2.092 Million |
| (e) | Amount of Bid Security:- | Rs:-42,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 19-01-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 19-01-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 03 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost) Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	SUPPLYING AND INSTALLING PUMPING MACHINERY 7.50 BHP ELECTRIC AND 16 BHP DIESEL I/C SUCTION / DELIVERY PIPE LINE FOR REHABILITATION OF DRAINAGE SCHEME GHULAMULLAH DISTRICT THATTA.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A” Pumping Machinery 12 BHP Diesel & 7.50 BHP Electric

1.	Providing & Installing in Position i/c transportation to site of work Drainage Scheme Ghulamullah Diesel Engine Pumping Set consisting of 12 BHP (2200 RPM) Diesel Engine (Non-Clogging) coupled with centrifugal pump to (KSB) Size (3 x 2 ½ ) mounted on common steel base plate capable of (KWPZ 65-315 ) 170 discharging to a head of  55 ft i/c fixing on cement concrete 5/8” dia to be embedded in the C.C. foundation i/c testing the pumping set against required head of 72 hours etc complete  (R.A. Attached).

1.00 Set		@Rs: 				P:Set			Rs:

7.50 BHP ELECTRIC (DISPOSAL WORK)

1.	Providing & Installing in Position i/c transportation to site of work Drainage Scheme Ghulamullah Electric Motor  Pumping Set consisting of 7.50 BHP (1450 RPM) Diesel Engine (Siemens Made) coupled with non-clogging pump to KWPZ 65-315(KSB) Size (3 x 2 1/2) mounted on common steel base plate capable of discharging to a head of  55’ ft i/c fixing on cement concrete 5/8” dia to be 356 embedded in the C.C. foundation i/c testing the pumping set against required head of 72 hours etc complete  (R.A. Attached).

2.0 Sets		@Rs: 				P:Set			Rs:

2.	Supplying C.I Sluice Valve heavy pattern test pressure 21 KG/sq cam or 300 Ibs/Inch etc complete. (P.H.S.I.NO: 2 P/12)

3”dia

3 Nos.		 	 @ Rs. 			Each			Rs.

3.	Supplying Reflex valve heavy pattern test pressure 21 Kg/Sq cum or 300 Ibs/inch (P.H.S.I.NO:6    P/12)

3”dia

3.0 Nos 		@ Rs. 				 Each.  	         	Rs.

4.	Supplying C.I foot valve heavy pattern with cone type gate (M.S.I.No. 4 P/12) (Imported)

3”dia

3.0 Nos 		@ Rs. 1381/25		 Each.  	         	Rs. 4143/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

5.	Supplying C.I Bend with flanged end with holes i/c trimming etc complete (P.H.S.I.NO:8 P/13)

3” dia

0.956 Cwt 		@ Rs. 				 P:Cwt	 		Rs.

6.	Supplying C.I Tee with flanged end with holes i/c trimming & facing of flanged (for all size) (Rate Approved).

4” x 4” x 3”

0.45 Cwt 		@ Rs. 				P: Cwt	 		Rs.

7.	C.I Tapered flat  with bottoms or central tapered flanged ends with holes i/c trimming and facing of flanged for al sizes (PHSINo.9 P/12)

3” x 2”  ½”

0.309 Cwt 		@ Rs.				 P:Cwt	 		Rs.

8.	Manufacturing Supplying M.S made out of M.S Sheet “B” 3/8” thick i/c cutting folding out welding etc complete (R.A.A.Based on Schedule)

M.S Pipe 4”dia

22.00 Rft 		@ Rs.				 P:Rft	 		Rs.

Suction Line 3”dia

72.00 Rft 		@ Rs.				 P:Rft	 		Rs.

9.	Manufacturing & Furnishign M.S Flanges dia made out of M.S Sheet 3/8” thick i/c drilling holes and welding etc complete (R.A.A Based on Schedule)

4”dia

8.00 Nos.		  @ Rs.			P: Kg			Rs.

3”dia

18.00 Nos.		  @ Rs.			P: Kg			Rs.

10.	Jointing C.I M.S Flanged Pipes and Specials flanged and inside a trenches i/c supplying rubber rings and testing washer etc and other tools required for joining and testing joints pressure etc complete (P.H.S.I.NO: 1 P/27)

4”dia

9.00 Joints		@ Rs. 				P: Joint		Rs.

3”dia

27.00 Joints		@ Rs. 				P: Joint		Rs.

-----------------------

Total	Rs:

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ Pumping Machinery 12 BHP Diesel 7.50 BHP Electric |  | Rs: |
| --- | --- | --- |
| Total |  | Rs: |

Amount Total (a) Rs:_

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in works & Figures______________________________________________

| CONTRACTORS | ( NOOR AHMED JALBANI ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

SUMMARY OF BILL QUANTITIES

NAME OF WORK: -	SUPPLYING AND INSTALLING PUMPING MACHINERY 7.50 BHP ELECTRIC AND 16 BHP DIESEL I/C SUCTION / DELIVERY PIPE LINE FOR REHABILITATION OF DRAINAGE SCHEME GHULAMULLAH DISTRICT THATTA.

Cost of Bid	_________________				Amount __________________

1.	(A) Cost based on Composite Schedule of Rates	   	_______________

2.	(B) Cost based on Offered Schedule of Rates 		_______________

3.	(C) Amount of Item based on Market (Offer Rates) 	 _______________

4.	(D) Amount of Expected Escalation Rates		 _______________

TOTAL COST OF BID = TOTAL OF (A) + (B) + (C) + (D) 	_______________

CONTRACTOR

(QARAR RAZA)

DIVISIONAL ACCOUNTS OFFICER

PUBLIC HEALTH ENGG: DIVISION THATTA

(NOOR AHMED JALBANI)

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION THATTA

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/ 975, Dated 23-12-2016 |
| --- | --- |

| Name of Work:- | PROVIDING & INSTALLING 12 BHP DIESEL ENGINE 7.50 BHP ELECTRIC MOTOR I/C SUCTION & DELIVERY PIPE LINE 4” DIA PUMPING MACHINERY FOR SEWERAGE FACILITIES AT PMA NUR GOTH VILLAGE AT GUJJO DISTRICT THATTA (Work No.8). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1500/- |
| --- | --- |

| Date of Issue _18/01/2017__ | Date of Opening _19/01/2017_ |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Providing & Installing 12 BHP Diesel Engine 7.50 BHP Electric Motor i/c Suction & Delivery Pipe Line 4” dia Pumping Machinery For Sewerage Facilities at PMA Nur Goth Village at Gujjo District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 1.343 Million |
| (e) | Amount of Bid Security:- | Rs:-27,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 19-01-2016 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 19-01-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 03 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	PROVIDING & INSTALLING 12 BHP DIESEL ENGINE 7.50 BHP ELECTRIC MOTOR I/C SUCTION & DELIVERY PIPE LINE 4” DIA PUMPING MACHINERY FOR SEWERAGE FACILITIES AT PMA NUR GOTH VILLAGE AT GUJJO DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  PUMPING MACHINERY 12 BHP Diesel & 7.50 BHP Electric

Group: 12 BHP Diesel Engine

1.	Providing & Installing in Position i/c transportation to site of work Drainage Scheme NUR Goth Diesel Engine Pumping Set consisting of 12 BHP (2200 RPM) Diesel Engine (Non-Clogging) coupled with centrifugal pump to (KSB) Size (3 x 2 ½ ) mounted on common steel base plate capable of (KWPZ 66-315 ) 70 discharging to a head of  90 ft i/c fixing on cement concrete 5/8” dia to be embedded in the C.C. foundation i/c testing the pumping set against required head of 72 hours etc complete  (R.A. Approved).

1.00 Set		@Rs: 				P:Set			Rs:

7.50 BHP ELECTRIC

1.	Providing & Installing in Position i/c transportation to site of work Drainage Scheme  NUR Goth Electric Motor  Pumping Set consisting of 7.50 BHP (1450 RPM) (Siemens Made) coupled with non-clogging pump to KWPZ 65-315(KSB) Size (3 x 2 1/2) mounted on common steel base plate capable of discharging to a head of  90’ ft i/c fixing on cement concrete 5/8” dia to be 356 embedded in the C.C. foundation i/c testing the pumping set against required head of 72 hours etc complete  (R.A. Approved).

1.0 Set			@Rs: 				P:Set			Rs:

2.	Supplying C.I Sluice Valve heavy pattern test pressure 21 KG/sq cam or 300 Ibs/Inch etc complete. (P.H.S.I.NO: 2 P/9)

3”dia

2 Nos.		 	 @ Rs.  			Each			Rs.

3.	Supplying Reflex valve heavy pattern test pressure 21 Kg/Sq cum or 300 Ibs/inch (P.H.S.I.NO: 6  P/12)

3”dia

2.0 Nos 		@ Rs.				 Each.  	         	Rs.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

4.	Supplying C.I foot valve heavy pattern with cone type gate (M.S.I.No. 4 P/12) (Imported)

3”dia	.

2.0 Nos 		@ Rs. 				 Each.  	         	Rs.

5.	Supplying C.I Bend with flanged end with holes i/c trimming etc complete (P.H.S.I.NO:8 P/13)

3’dia

0.825 Cwt 		@ Rs.				 P:Cwt	 		Rs.

6.	Supplying C.I Tee with flanged end with holes i/c trimming & facing of flanged (for all size) (PHSMINo.9 P/13).

4” x 4” x 3”

0.225 Cwt 		@ Rs. 				P: Cwt	 		Rs.

7.	C.I Tapered flat  with bottoms or central tapered flanged ends with holes i/c trimming and facing of flanged for al sizes (PHSMINo.9 P/12)

3” x 2” x ½”

0.206 Cwt 		@ Rs.				 P:Cwt	 		Rs.

8.	Providing G.I Pipes, specials and clamps etc including fixing cutting, & fitting complete with and i/c the cost of breaking through walls and roof, making good etc painting two coats after cleaning the pipe etc with white sink paint with pigment to match the colour of the building and testing with water to pressure head of 200ft and handling (S.S.I.No.   P/    )

G.I Pipe 4”dia

19.00 Rft 		@ Rs.				 P:Rft	 		Rs.

Suction Line 3”dia

48.00 Rft 		@ Rs.				 P:Rft	 		Rs.

9.	Manufacturing and furnishing M.S Flanged dia madeout of M.S               Sheet 3/8” thick including dilling holes and welding etc complete              (Rate Approved Based on Schedule)

4”dia

6.00 No.		  @ Rs. 			Each			Rs.

3”dia

12.00 No.		  @ Rs. 			Each			Rs.

10.	Jointing C.I M.S Flanged Pipes and Specials flanged and inside a trenches i/c supplying rubber rings and testing washer etc and other tools required for joining and testing joints pressure etc complete (P.H.S.I.NO: 1 P/90)

4”dia

7 Joints		@ Rs.				P: Joint		Rs:

3”dia

18 Joints		@ Rs.				P: Joint		Rs:

------------------------									Total	Rs:

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ Pumping Machinery 12 BHP Diesel 7.50 BHP Electric |  | Rs: |
| --- | --- | --- |
| Total |  | Rs: |

Amount Total (a) Rs:_

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in works & Figures______________________________________________

| CONTRACTORS | ( NOOR AHMED JALBANI ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

SUMMARY OF BILL QUANTITIES

NAME OF WORK: -	PROVIDING & INSTALLING 12 BHP DIESEL ENGINE 7.50 BHP ELECTRIC MOTOR I/C SUCTION & DELIVERY PIPE LINE 4” DIA PUMPING MACHINERY FOR SEWERAGE FACILITIES AT PMA NUR GOTH VILLAGE AT GUJJO DISTRICT THATTA

Cost of Bid	_________________				Amount __________________

1.	(A) Cost based on Composite Schedule of Rates	   	_______________

2.	(B) Cost based on Offered Schedule of Rates 		_______________

3.	(C) Amount of Item based on Market (Offer Rates) 	 _______________

4.	(D) Amount of Expected Escalation Rates		 _______________

TOTAL COST OF BID = TOTAL OF (A) + (B) + (C) + (D) 	_______________

CONTRACTOR

(QARAR RAZA)

DIVISIONAL ACCOUNTS OFFICER

PUBLIC HEALTH ENGG: DIVISION THATTA

(NOOR AHMED JALBANI)

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION THATTA

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/ 975, Dated 23-12-2016 |
| --- | --- |

| Name of Work:- | SUPPLYING AND INSTALLING PUMPING MACHINERY 7.50 BHP ELECTRIC AND 16 BHP DIESEL I/C SUCTION / DELIVERY PIPE LINE FOR CONSTRUCTION OF DRAINAGE SYSTEM BAGHAN CITY U.C KETI BUNDAR DISTRICT THATTA. (Work No.9). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-1500/- |
| --- | --- |

| Date of Issue _18/01/2017__ | Date of Opening _19/01/2017_ |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Supplying and Installing Pumping Machinery 7.50 BHP Electric and 16 BHP Diesel i/c Suction / Delivery Pipe Line for Construction of Drainage System Baghan City U.C Keti Bundar District Thatta. |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 1.330 Million |
| (e) | Amount of Bid Security:- | Rs:-27,000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 19-01-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 19-01-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 03 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	SUPPLYING AND INSTALLING PUMPING MACHINERY 7.50 BHP ELECTRIC AND 16 BHP DIESEL I/C SUCTION / DELIVERY PIPE LINE FOR CONSTRUCTION OF DRAINAGE SYSTEM BAGHAN CITY U.C KETI BUNDAR DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  PUMPING MACHINERY 7.50 BHP Electric  & 12 BHP Diesel

1.	Providing & Installing in Position i/c transportation to site of work Drainage Scheme Baghan City Electric Motor  Pumping Set consisting of 7.50 BHP (1450 RPM) (Siemens Made) coupled with non-clogging pump KWPZ 65-315(KSB) Size (3 x 2 1/2) mounted on common steel base plate capable of 220 discharging to a head of  50’ ft i/c fixing on cement concrete 5/8” dia to be 356 embedded in the C.C. foundation i/c testing the pumping set against required head of 72 hours etc complete  (R.A. Approved).

1.0 Set			@Rs: 				P:Set			Rs:

2.	Providing & Installing in Position i/c transportation to site of work Drainage Scheme Baghan City Diesel Engine Pumping Set consisting of 12 BHP (2200 RPM) Diesel Engine (Non-Clogging) coupled with non-clogging pump  (KSB) Size (3 x 2 ½ ) mounted on common steel base plate capable of (KWPZ 65-315 ) 220 discharging to a head of  50 ft i/c fixing on cement concrete 5/8” dia to be embedded in the C.C. foundation i/c testing the pumping set against required head of 72 hours etc complete   (R.A. Approved).

1.0 Set			@Rs:				P:Set			Rs:

3.	Manufacturing & Installing M.S Pipe 3” dia M.S Sheet 3/16” thick i/c Carvature folding & sheep etc complete (R.A.Approved Based on Schedule)

3”dia pipe for suction

60.00 Rft		@Rs: 				P:Rft			Rs:

4.	Manufacturing and Fixing M.S flange made out of M.S Steel 3/8” thickness and making holes, facings, welding, nuts and bolts, rubber packing white lead, filter, earthing, etc complete (R.A.A.Based on Schedule).

3”dia

18.00 Nos		@Rs: 				Each			Rs:

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

5.	Supplying C.I Sluice Valve heavy pattern test pressure 21 KG/sq cam or 300 Ibs/Inch. (P.H.S.I.NO: 2 P/9)

3”dia

2 Nos.		 	 @ Rs.	 			Each			Rs.

6.	Foot valve heavy pattern with cone type gate (Imported)                    (PHSMINo.4 P/12)

3”dia

2.00 Nos.		@ Rs. 				 Each	 		Rs.

7.	Reflex valve heavy pattern test pressure (Imported) (PHSMINo.1 P/6 to12)

3”dia

2.00 Nos.		@ Rs. 				 Each	 		Rs.

8.	C.I Bend with flanged ends with holes i/c trimming and facing of flanges    for all sizes (PHSMINo.8 P/13).

3”dia  900

33.40 Kg.		@ Rs. 				 P: Kg	 		Rs.

9.	C.I Tee flanged ends with holes i/c triming and facing of flanged for all size (PHSMINo.9 P/13)

3” x 3” x 3”

11.45 Kg.	 	@ Rs. 				 P: Kg		 	Rs.

10.	C.I Tapared flate with bottom (PHSMINo.10 P/13).

3” x 2” x ½”

10.50 Kg.	 	@ Rs. 				 P: Kg		 	Rs.

11.	Jointing C.I/M.S Flange pipe and Specials flanged and inside a trenches i/c Suppying rubber packing of the required thickness nuts bolts with etc complete (PHSINo.1 P/40)

25.00 Joints.		@ Rs. 				 P: Joint		Rs.

------------------------

Total 	Rs:

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ Pumping Machinery 12 BHP Diesel 7.50 BHP Electric |  | Rs: |
| --- | --- | --- |
| Total |  | Rs: |

Amount Total (a) Rs:_

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in works & Figures______________________________________________

| CONTRACTORS | ( NOOR AHMED JALBANI ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

SUMMARY OF BILL QUANTITIES

NAME OF WORK: -	SUPPLYING AND INSTALLING PUMPING MACHINERY 7.50 BHP ELECTRIC AND 16 BHP DIESEL I/C SUCTION / DELIVERY PIPE LINE FOR CONSTRUCTION OF DRAINAGE SYSTEM BAGHAN CITY U.C KETI BUNDAR DISTRICT THATTA.

Cost of Bid	_________________				Amount __________________

1.	(A) Cost based on Composite Schedule of Rates	   	_______________

2.	(B) Cost based on Offered Schedule of Rates 		_______________

3.	(C) Amount of Item based on Market (Offer Rates) 	 _______________

4.	(D) Amount of Expected Escalation Rates		 _______________

TOTAL COST OF BID = TOTAL OF (A) + (B) + (C) + (D) 	_______________

CONTRACTOR

(QARAR RAZA)

DIVISIONAL ACCOUNTS OFFICER

PUBLIC HEALTH ENGG: DIVISION THATTA

(NOOR AHMED JALBANI)

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION THATTA

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/ 975, Dated 23-12-2016 |
| --- | --- |

| Name of Work:- | CONSTRUCTION OF OPEN SURFACE DRAINS TYPE-I,II,III & C.C.PAVEMENT FOR DRAINAGE SCHEME ABDUL MAJEED COLONY DISTRICT THATTA. (Work No.10). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-3000/- |
| --- | --- |

| Date of Issue _18/01/2017__ | Date of Opening _19/01/2017_ |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Construction of Open Surface Drains Type-I,II,III & C.C.Pavement for Drainage Scheme Abdul Majeed Colony District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 14.038 Million |
| (e) | Amount of Bid Security:- | Rs:-28,1000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 19-01-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 19-01-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 08 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	CONSTRUCTION OF OPEN SURFACE DRAINS TYPE-I,II,III & C.C.PAVEMENT FOR DRAINAGE SCHEME ABDUL MAJEED COLONY DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”  OPEN SURFACE DRAINS

1. 	Excavation in foundation of building and other structure i/c dig belling dressing refilling around the structure with excavated earth watering and ramming lift upto 5ft and lead upto one chain (In Ordinary Soil) (G.S.I.NO: 18 P/ 18)

28840 Cft		@ Rs.  3176/25 	  	P:%0Cft		Rs: 91603/-

2.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:4:8 ) (G.S.I.No.   P/    )

6980.00 Cft		@ Rs.  11288/75 	  	P:% Cft		Rs:787955/-

3.	Pucca Brick work in foundation and plinth in cement sand mortor (1:6) (G.S.S.I.NO:      P/    )

15225 Cft		@ Rs. 11948/36 	  	P:% Cft		Rs:1819138/-

4.	Cement Plaster ½” thick upto 20”height in cement sand mortor (Ratio 1:6) (G.S.I.NO : 13/ b    P/57  )

24120 Cft		@ Rs. 2283/93 	  	P:% Cft		Rs:550884/-

5. 	Construction of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profiles i/c cost of modules as pr drawing i/c supplying florating coast of cement 1/3"thick to the expensed surface finishing smooth curing etc as per detailed drawing (P.H.S.I.No: E P/44).

Type – I

4000 Rft 		@ Rs: 94/-			P/Rft			Rs: 376000/-

Type – II

3000 Rft		@ Rs: 174/-			P/Rft			Rs: 522000/-

Type – III

2000 Rft		@ Rs: 309/-			P/Rft			Rs: 618000/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds of forms modules lifting shuttering shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) R.C.C work in roof slab beams columns rafts lintels and other structural member laid in situ or pre cast laid in position in all respect ratio (1:2:4) cement 2Sft send 4Cft shingle 1/4" to 1/8" gauge etc complete. (G.S.I.No: 6  P 18).

205.00 Cft		@ Rs.  337/- 	 	 	P: Cft			Rs: 69085/-

7.	Fabrication of mild steel reinforcement for cement concrete          i/c cutting bending laying in position making joints and fastening i/c cost of binding wire i/c removal of rust from bars. (G.S.I.No: 7  P19 ).

7.32 Cwt		@ Rs: 5001/70		P/Cwt			Rs:    36612/-

-------------------

TOTAL	Rs: 4871277/-

GROUP: “B”  CEMENT CONCRETE PAVEMENT

1. 	Barrow pit excavation undressed lead upto 100ft in ordinary soil. (G.S.I.NO: 3  P/ 1 )

79660.00 Cft			@ Rs.  2117/50 	  P:%0Cft		Rs:168680/-

- Dressing & levelling of earth work designed section etc complete (b) Ordinary or Hard Soil) (GSINo.11 (b) P/3).

108500 Cft			@ Rs.354/ 		  P%Cft		Rs: 38409/-

3.	Cement concrete brick or stone ballast Ratio (1:4:8) (G.S.I.No: 5 P/17)

21700.00 Cft			@ Rs. 9416/28 	  P%Cft		Rs: 2697199/-

4.	Cement concrete plan i/c placing compacting finishing                      and during complete / ic screening and washing of stone aggregate without shuttering etc complete (Ratio: 1:2:4 ) (G.S.I.No. 4   P/ 18  )

21700 Cft			  @ Rs:-14429/25	  P%Cft		Rs:- 3131147/-

6. 	Erection & removal of centering (G.S.I.No.    P/   ).

1446.00  Sft 			@ Rs: 3127/41	P% Sft		Rs:  45222/-

----------------

Total	Rs: 60,80,657/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ Open Surface Drains |  | Rs: 48,71,277/- |
| --- | --- | --- |
| Group ‘B’ Cement Concrete Pavement |  | Rs:60,80,657/- |
| Total |  | Rs: 1,09,51,934/- |

Amount Total (a) + (b)  Rs:_1,09,51,934/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in works & Figures______________________________________________

| CONTRACTORS | ( NOOR AHMED JALBANI ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

SUMMARY OF BILL QUANTITIES

NAME OF WORK: -	CONSTRUCTION OF OPEN SURFACE DRAINS TYPE-I,II,III & C.C.PAVEMENT FOR DRAINAGE SCHEME ABDUL MAJEED COLONY DISTRICT THATTA.

Cost of Bid	_________________				Amount __________________

1.	(A) Cost based on Composite Schedule of Rates	   	_______________

2.	(B) Cost based on Offered Schedule of Rates 		_______________

3.	(C) Amount of Item based on Market (Offer Rates) 	 _______________

4.	(D) Amount of Expected Escalation Rates		 _______________

TOTAL COST OF BID = TOTAL OF (A) + (B) + (C) + (D) 	_______________

CONTRACTOR

(QARAR RAZA)

DIVISIONAL ACCOUNTS OFFICER

PUBLIC HEALTH ENGG: DIVISION THATTA

(NOOR AHMED JALBANI)

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION THATTA

PUBLIC HEALTH ENGG: DIVISION THATTA

STANDARD BIDDING DOCUMENTS

PROCUREMENT OF WORKS (SPPRA BIDDING DOCUMENTS)

For Contracts (Small) amounting between Rs.2.5 (M) to Rs.50 (M)

| Reference | N.I.T. No.PHE/TC/ 975, Dated 23-12-2016 |
| --- | --- |

| Name of Work:- | REPAIR OF EXISTING STORAGE TANK & REPAIR OF PUMP HOUSE FOR IMPROVEMENT OF WATER SUPPLY SCHEME WARD-II MIRPUR SAKRO CITY DISTRICT THATTA. (Work No.11). |
| --- | --- |

| Issued to | M/s______________________________Government Contractor D.R. No.________ Dated______________Tender Fee Rs:-3000/- |
| --- | --- |

| Date of Issue _18/01/2017__ | Date of Opening _19/01/2017_ |
| --- | --- |

STANDARD BIDDING DOCUMENT IS INTENDED AS A MODEL FOR ADMEASUREMENTS (PERCENTAGE RATE FOR UNIT RATES IN A BILL OF QUANTITIES TYPES OF CONTRACT THE MAIN TEXT REFERS TO ADMEASUREMENTS CONTRACTS.

EXECUTIVE ENGINEER PUUBLIC HEALTH ENGG:DIVISION THATTA

BIDDING DATA

(This section should be filled in by the Office of the Executive Engineer Public

Health Engg: Division, Thatta before issuance of the bidding documents).

| (a) | Name of Procuring Agency:- | The Executive Engineer Public Health Engineering Division Thatta |
| --- | --- | --- |
| (b) | Brief Description of Works:- | Repair of Existing Storage Tank & Repair of Pump House for Improvement of Water Supply Scheme Ward-II Mirpur Sakro City District Thatta |
| (c) | Procuring Agency Address:- | The Executive Engineer Public Health Engg: DivisionThatta Near Session Court & S.P office Thatta at Makli.. |
| (d) | Estimated Cost:- | Rs: 5.390 Million |
| (e) | Amount of Bid Security:- | Rs:-10,8000/- |
| (f) | Period of Bid Validity (Days):- | (90 Days) |
| (g) | Security Deposit (i/c Bid Security):- | (10 %) |
| (h) | Percentage, if any, to be deducted from bills:- | (07.50% Income Tax Deduction & 08% Security Deposit) |
| (i) | Deadline for submission of Bids along with time:- | 19-01-2017 2.:00 PM |
| (j) | Venue, Time, and Date of Bid Opening:- | PHE Division Thatta on 19-01-2017 at 3.00 P:M |
| (k) | Time for completion from written order of Commence:- | 05 Months |
| (l) | Liquidity Damages:- | (01% On Estimated Cost)Per day subject to Minimum of 08%. |
| (m) | Deposit Receipt No. Date & Amount (in words and figure) | CD NO:______________________ dated:_______________ Amount Rs:____________ Bank_______________________ ________________________________________________ M/s _____________________________________________ |

EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THATTA.

BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

NAME OF WORK:	REPAIR OF EXISTING STORAGE TANK & REPAIR OF PUMP HOUSE FOR IMPROVEMENT OF WATER SUPPLY SCHEME WARD-II MIRPUR SAKRO CITY DISTRICT THATTA

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

GROUP: “A”	 STORAGE TANK:

1,	Full Hire Charges of the Pumping Set per day i/c of wages of driver and Assistant Fuel or electric energy plate frame required for placing pump etc at lower depth with sanction and deliveyr pipe for pumping machinery at water found at various depth from frenches i/c the cost of errection and dismetalling after completion of the jobs.

15.00 days			@ Rs: 1500/-		P: Day			Rs: 22500/-

2.	Earth work excavation un ashes sand soft soil of silt clearance	undressed lead upto 50’ft (G.S.I.No. 2 P/1).

99683.50 Cft 			@ Rs. 1663/75	 P%0 Cft 		Rs. 165848/-

3.	Earth for every 50ft Additional lead part there of for earth work (50ft ordinary hard or very hard) (G.S.I.No.8 (a) P-2).

99683.50 Cft 			@ Rs. 604/68		 P%0 Cft 		Rs. 60277/-

4.	Coursed rubble masonry i/c hammer dressing in            cement sand mortor (1:4) in foundation and plinth.  (G.S.I No: 2/d P/27).

9548.50 Cft 			@ Rs. 25321/-		P% Cft	 		Rs.2417776/-

5.	Cement Concrete plain i/c placing compacting finishing and during complete i/c screening and washing of stone aggregate without shuttering etc complete  (Ratio: 1:2:4) (G.S.I No: 5/F P/16).

147.87 Cft 			@ Rs. 14429/25	P% Cft	 		Rs. 21337/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

6.	Erection and Removal of centering for RCC work Cement Concrete plain for partial wood (G.S.I No: 19 b P/18).

169.0 Sft 			@ Rs. 3127/41	P% Sft	 		Rs.5285/-

7.	Removing of Cement or lime plaster  (G.S.I No: 53  P/14).

4778.18 Sft 			@ Rs. 121/- 		P% Sft	 		Rs. 5782/-

8.	Cement Plaster ½” thick in cement sand mortor (1:6) upto 12’ft height  (G.S.I No: 13  b P/52).

8496.00 Sft 			@ Rs. 2206/60 	P% Sft	 		Rs.187473/-

9.	Cement Plaster 3/8” thick in cement sand mortor (1:4) upto 12’ft height (G.S.I No: 11 (a) P/52).

8496.00 Sft 			@ Rs. 2197/52	P% Sft	 		Rs.186701/-

10.	Supplying of Dampo  (S.M.I.No.   P/ 27).

169.49 Lbs 			@ Rs. 56/81 		P: Lbs	 		Rs. 9624/-

11.	Pointing Flush on Stone work (Raised) in cement sand              Ratio: 1:3   (G.S.I No: 20  P/53).

2286.64 Sft 			@ Rs. 1758/08 	P% Sft	 		Rs. 40201/-

12.	Cement Concrete plain i/c placing compacting finishing and during complete i/c screening and washing of stone aggregate without shuttering etc complete  Ratio: 1:2:4                              (G.S.I No: 5  P/16).

9062.13 Cft 			@ Rs. 14429/25 	P% Cft	 		Rs. 1307597/-

----------------------

Grand Total	Rs:4430401/-

“GROUP: “B” PUMP HOUSE”

- Dismantling Cement Concrete reinforced separating supported from concrete cleaning and straightening the same (G.S.I.No.20 P/10)

273.00 Cft  		@ Rs. 5445/-		P% Cft			Rs. 14865/-

2.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid seperatley. This rats also i/c all kinds of forms moduls lifittings shuttering curring rendering and finishing the exposed surface i/c screening and waching of shingle (a) R.C work in r-cf slab beams columns rafts lintels and other structural member laid in situ or cement 2 cft sand 4 cft shingle ¼” to 1/8” guage etc complete.          (G.S.I.No  6-1 : P: 18 )

202.00 Cft  		@ Rs. 337/-	 	P: Cft			Rs. 68074/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

3.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/cost of binding wire also i/c removal of rust from bars.   (G.S.I.No:  8 (ii)  : P/ 17 ).

8.11 Cwt 		@ Rs. 5001/70	 P: Cwt.		Rs. 40564/-

4.	Removing Cement or lime Plaster (G.S.I.No.53 P-13)

613.00 Sft 		@ Rs. 121/- 	 	P% Sft.		Rs. 7623/-

5.	Cement Plaster ½” thick upto 12ft height in cement sand mortor (1:6) (G.S.I.No. 13 P/52)

613.00 Sft 		@ Rs. 2206/60  	P%Sft.			Rs.13526/-

6.	Cement Plaster 3/8” thick upto 12ft height in cement sand mortor (1:4) (G.S.I.No. 11/C P/52)

613.00 Sft 		@ Rs. 2197/52  	P% Sft.		Rs.13470/-

7.	Pointing Flush on stone work in cement mortor (1:3)                     (G.S.I.No. 20 P-53)

809.00 Sft  		@ Rs.1758/08 		P%Sft		Rs. 14223/-

8.	Marble

(a)	2” Thick Inside P/House

300.0 Sft  		@ Rs.3275/50			P%Sft		Rs.1126/-

(b)	1/2” Thick Over Roof

546.0 Sft  		@ Rs.2548/29			P%Sft		Rs.13914/-

9.	One Coat of Chalk (GSINo.26 (c) P/54)

1618.00  Sft  		@ Rs. 442/75 			P%Sft		Rs. 7164/-

10.	Distempering of 2 Coats (GSINo.24 P/54)

1618.00  Sft  		@ Rs. 1043/90 		P%Sft		Rs. 16890/-

------------------

Total	Rs:211439/-

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A  B  S   T   R   A   C   T

| Group ‘A’ Repair of Storage Tank |  | Rs: 44,30,401/- |
| --- | --- | --- |
| Group ‘B’ Repair of Pump House |  | Rs: 2,11,439/- |
| Total |  | Rs: 46,41,840/- |

Amount Total (a) + (b) Rs:_	46,41,840/-

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (A) = a + b in works & Figures______________________________________________

| CONTRACTORS | ( NOOR AHMED JALBANI ) EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |
| --- | --- |

SUMMARY OF BILL QUANTITIES

NAME OF WORK: -	REPAIR OF EXISTING STORAGE TANK & REPAIR OF PUMP HOUSE FOR IMPROVEMENT OF WATER SUPPLY SCHEME WARD-II MIRPUR SAKRO CITY DISTRICT THATTA.

Cost of Bid	_________________				Amount __________________

1.	(A) Cost based on Composite Schedule of Rates	   	_______________

2.	(B) Cost based on Offered Schedule of Rates 		_______________

3.	(C) Amount of Item based on Market (Offer Rates) 	 _______________

4.	(D) Amount of Expected Escalation Rates		 _______________

TOTAL COST OF BID = TOTAL OF (A) + (B) + (C) + (D) 	_______________

CONTRACTOR

(QARAR RAZA)

DIVISIONAL ACCOUNTS OFFICER

PUBLIC HEALTH ENGG: DIVISION THATTA

(NOOR AHMED JALBANI)

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION THATTA