### Total No. of Sheets: 21

### TERMS & CONDITIONS

Tender No. 5-D/2016 dated 14.01.2017

###### FOR THE YEAR 2016-2017 & 2017-2018

Medical/Hospital Equipments

- Cardiac Output Bed Side Monitor

- Portable Ultrasound Machine

- C-PAP Machine

- Anesthesia Machine

- Heart Lung Machine

- Diathermia Machine

- Hypothermia Machine with Blanket

- De-Humidifier

- Ergo Meter Bicycle Complete Set for ETT

- Cost of Tender is Rs. 1000/- (Rupees One Thousand only) [Not refundable].

- Tender Selling Date from 28-12-2016 to 12-01-2017.

- Tender Submission Date 14-01-2017 before 11:30 a.m (in Procurement Department)

- Tender will be opened on 14-01-2017 at 12:00 Noon in Conference Hall/Nursing Hostel Building of NICVD, Karachi.

NOTE:

Read the Terms & Conditions carefully.

Tenderers are required to comply all the clauses mentioned in the Terms and Conditions of the tender and any deviation will forbid them in competing the tender.

1.	In this tender TWO Envelopes procedure of SPPRA-2010 46(2,a) will be followed i.e. (i) The bid shall comprise two separate envelopes. Each envelope shall contain separately the financial proposal and the technical proposal (ii) The envelopes shall be marked as “Financial Proposal” and “Technical Proposal” in bold and legible letters to avoid confusion each envelope should be dropped in separate box (iii) initially, only the envelope marked “Technical Proposal” shall be opened (iv) The financial proposals of bids will opened publicly, time date and venue will be announced later.

- In Technical Bid, the bidder must provide original data sheet and technical brochure and all other documents; otherwise, the bid will be ignored. The technical evaluation will be done on the basis of data sheet provided by the vendor as per technical bid.

- In Financial Bid, the vendor should mention financial offer along with a Bank Draft/Pay Order of 3% value of the quoted item, in the name of Executive Director, NICVD, Karachi, as Bid security and it will not be released till complete supply of items of the tender. In case the tender is accepted by competent authority and the supplies are not made according to samples/specification within stipulated time (i.e. 20days) the bid security for the tender would be forfeited to the NICVD account. In case of default the firm may be black listed or financial penalties may be imposed depending upon the gravity of defaults/circumstances in each case as mentioned in Ministry of Health letter No. F.11.9/96-PHC of June 04, 1996. In-time supply must be assured

- The disclosure of firm’s equipment price at the time of opening of technical bid will result in the rejection of the bid.

- No tender will be entertained without bid security, The bid security will be forfeited to Government Accounts in case of non-submission of security money within seven (7) days of receipt of the other letter.

- No tender will be entertained without bid security. Conditional Tender(s)will not be accepted.

- The previous bid security or security money will not be carried forward. If any tenderer encloses a cheque with the tender their tender will be rejected out rightly. In case it is found at tender opening or at later stage that pay order is fake tender/contract will be cancelled and firm will be black listed from future participation in tender security money will be forfeited and their name will also be circulated in other Fed. Govt./Semi Govt. Autonomous/Semi Autonomous Deptt. For severe action.

- In case any tenderer after the tender is awarded, failed to deposit security money or refuses to execute the contract after tender awarding within the given period not only his bid security (pay order) or security money will be forfeited but the differences between the Ist & 2nd lowest will also be recovered from the Ist lowest tenderer by cancellation of his tender, failing which he will be black listed in future participation in tender. His name will also be circulated in Govt./Semi Govt. Autonomous/Semi Autonomous etc. for similar action.

- Only Manufacturer, Sole Agent can participate in the tender.

- The rates once mentioned in tender will be final and no change therein will be accepted after the tender opening. Rates should be inclusive with sales tax on taxable articles. In case of any inconvenience the Executive Director NICVD Karachi reserves the right not to announce the tender rates or otherwise. If any scheme regarding discount in price or given any product free with the items whatever which benefit will go to this Institute.

- The rate should be quoted on FOR and C&F Basis.

- First Scrutiny of technical bids will be performed by the technical committee. Financial Bids of those firms will be opened which qualify technically.

- The equipment offered must be of latest version/generation and in case the old model is offered, it will not be considered, even though it is as per the tender specifications.

- Quality Assurance Tools/lest equipment availability with local tenderer for PPM (Periodic Preventive Maintenance) and periodic calibration along with list of test tools with calibration validity be provided by firms before entering in the agreement.

- Certificate from the Sole Agent/Manufacturer that the vendor has fully equipped workshop, along with the list of Trained Personnel/Engineers and Equipment should be provided with technical bid and it can be physically verified by the Technical committee of NICVD, Karachi.

- The successful bidder will be required to submit security money in shape of pay order/ deposit at call @ 5% of the total value of order in the name of NICVD, Karachi within Seven (7) days which will be kept with NICVD till the end of the Warrantee period of Three (3) years.

- Firm must provide complete details of their financial standing, listing of similar equipment supplied in Pakistan, bio-data of engineers with training certificates/test equipment, details of local stock of spare parts for similar equipment and details of office with number of personals.

- The vendor will provide technical / operational training to electro-medical engineer / end user from factory trained engineers. The supplier should provide detail of training program.

- All equipment to be supplied should be accompanied with Three (3) original copies of the operation, service / maintenance and schematic diagram and spare parts list manual in the English language.

- The vendor has to quote only one rate for each item as per tender specifications. No alternate model will be accepted, only first offer will be considered. Hand written tenders or any over writing, cutting, erasing will liable to be ignored.

- Bid validity period will remain for 90 days as per SPPRA rules 2010.

- The bidder shall submit with the bid, an Undertaking on judicial paper, stating that the equipment to be supplied is brand new and of latest generation, free from detects in design material and workmanship and will bind himself for availability of spares for a period of 10 years from the date of supply. In case of winding up of his business, the supplier shall be bound to make an alternate arrangement of spares and maintenance of equipment. In case of default, depreciated cost of equipment will be recoverable from him.

- Vendor will be responsible for pre-requisition installation, free of cost and also responsible for pre-installation work, if required.

- Equipment/Instrument will be handed over to the Stores Department, NICVD, Karachi, with a copy of Delivery Challan.

- Price escalation will not be allowed.

- The original tender purchase receipt issued by the NICVD should be submitted along with Technical Bid.

- If vendor doesn’t supply equipment in accordance with the supply order or fails to supply according to terms and conditions or incase of any other default, it will be black listed and the bid security will be forfeited.

- If the supplier fails to give supply and install within the stipulated period, penalty will be imposed @ 0.1% of the total value of equipment per day, subject to a maximum of 10%.

- The decision once taken will be final and will not be challenged in any court of law.

- Up-gradation of Software(s) as well as FMIS for the life of system should be provided from the manufacturer if required.

- The payment will be made after getting the Satisfactory Report of the Incharge of User Department and Electro-medical Department, countersigned by the Physical Verification Committee of NICVD, Karachi.

- Income tax will be deducted according to Government Rules. A Copy of income Tax and GST Registration Certificate should be submitted along with Technical Bid.

- Conditional tender(s) and Hand written tender(s) will not be entertained.

- All equipment should be Dicom Compatible, if applicable, and must be FDA or CE marked.

- The Vendor should submit a Data Sheet according to the Tender Specifications Format mentioned in the tender and highlight the tender specifications in their Technical Data Sheet. Additional Feature can be mentioned separately.

- The vendor should attach copy of last three year Income Tax return. Original copy should be provided on request.

- The attached questioner Performa must be properly filled and should be complete in all respect. In case questioner Performa is incomplete or information formations provided are incorrect, the tender shall be rejected.

- The Executive Director NICVD reserves the right to reject or accept any / all tender(s)without assigning reason thereof and the decision of the competent Authority will be final.

- Tender which does not fulfill the prescribed conditions in the tender is liable to be ignored.

- The Executive Director, NICVD, Karachi, reserve the right to increase or decrease the quantity mentioned in the tender.

- All amendments charges in the L/C will be bear  by the tenderer/tender winner.

- Certification that no Government servant has directly or indirectly has a share or interest with our firm.

- Providing of Sample is Mandatory.

- Criteria for Evaluation of Bid (as per annexure)

All Mandatory requirement as per annexure ”A”  must be submitted otherwise  bid would not be consider. Evaluation will be done on  Marking basis. Marks distribution will be as follows.

EVALUATION OF CRITERIA

| S.NO | Description | MARKS |
| --- | --- | --- |
| 01 | Documents Evaluation | 20 Marks |
| 02 | Technical Specification Report | 50 Marks |
| 03 | Financial Evaluation | 30 Marks |

Distribution Of Marks

- Documents Criteria (As per Data Sheet total marks-20)

- Technical Specification Report compliance (As per Data Sheet total marks-50)

- Financial Evaluation (As per Data Sheet total marks-30)

- Compliance of Terms & Conditions and additional terms & conditions of the Bid form.

- Passing Marks 70% must be obtain in technical bid.

INSTRUCTION FOR PURCHASE ON C&F BASIS.

If contract / purchase order place on C&F basis following instructions / terms and conditions will also be followed:

- NICVD will issue contract / purchase order. The vendor will carry out all works regarding the import of equipment i.e. from opening of L/C to delivery and installation.

- The vendor has to open Letter of Credit in the name of Director, NICVD, Karachi. For items as per purchase order. A copy of all documents should be submitted to NICVD time to time, NICVD is also the consignee of the equipment or NICVD will open L/C after getting the Performa Invoice from Vendor as per agreed rates/quotation/approved rates.

- NICVD will assist the vendor in clearing the consignment. NICVD will provide UNDERTAKING and other letter for the exemption of the payment of Sale Tax, Customs Charges, Income Tax and Other Taxes applicable on such import.

- NICVD will not be responsible for escalation of currency rate after opening the tender.

- Vendor should mention / Include all expenses related to the import until clearance.

I / We agreed above mentioned terms & conditions:

Note:	Only one representative of a firm who has been authorized will be present at the time of opening of tender.

Name of Contractor ______________________________ Signature______________

Full Address__________________________________________________________.

Contact person Name:	___________________________

CNIC #			___________________________

Postal Address		___________________________

E-mail Address		___________________________

Stamp			___________________________

Phone No.		___________________________

Fax No.			___________________________

Mobile No.		___________________________

WITNESSES

1. __________________________________

2.__________________________________

### ANNEXURE- “A”

### DATA SHEET

Tender No. 5-D/2016 dated 14.01.2017

###### FOR THE YEAR 2016-2017 & 2017-2018

Medical/Hospital Equipments

- Cardiac Output Bed Side Monitor

- Portable Ultrasound Machine

- C-PAP Machine

- Anesthesia Machine

- Heart Lung Machine

- Diathermia Machine

- Hypothermia Machine with Blanket

- De-Humidifier

- Ergo Meter Bicycle Complete Set for ETT

| S.NO | A- MANDATORY | Tick relevant box |
| --- | --- | --- |
| 1 | Name, Address, Tel, Fax# E-mail Address |  |
| 2 | National tax Number(NTN) |  |
| 3 | Latest Income Tax Certificate or Income Tax exemption certificate. |  |
| 4 | Copy of Sales Tax Registration. |  |
| 5 | Latest Sales Tax Certificate or exemption certificate. |  |
| 6 | Name of Banker with Current Bank statement. |  |
| 7 | Bid Security (3% of Bid Value of the quoted items) As per clause no 1-b with commercial bid. |  |
| 8 | A copy of valid agency certificate/agreement valid for till next financial year, against tender no. 5-D/2016 |  |

| S.NO | B- DOCUMENTS | Total Points 20 | Obtain Points |
| --- | --- | --- | --- |
| 1 | Bio Data of key personnel with designation, education & experience and details of man power, | 2 |  |
| 2 | - Literature and catalogue of quoted items in English. - Demonstration (if required end-user) | 2 |  |
| 3 | List of litigation with clients(if any) and nature of litigations | 2 |  |
| 4 | Affidavit that the firm has never been black Listed. | 2 |  |
| 5 | Original tender purchase receipt. | 2 |  |
| 6 | Original terms and conditions duly signed and stamped including all papers should be signed and stamped by competent authority. | 2 |  |
| 7 | Undertaking that the firm will supply the stock as per agreed time period & items will be stamped(As per class No.16) | 2 |  |
| 8 | A certificate that the firm will abide all terms and conditions of the tender infringement for consequence as recommended by the competent authority. | 2 |  |
| 9 | A certificate that the Quoted price will remain unchanged till the completion of the tender period. | 2 |  |
| 10 | A Certificate that the items has registered by country of origin and they are using for local population | 2 |  |
| TOTAL MARKS |  | 20 |  |

Technical Report							(Max 50 Marks)

Tick the Relevant Box

- Specification  Of Machine  							      (Max: 10 Marks)

The Marks of Specification of Machine will be given according to criteria as follow.

| A | 100% Compliance for Specification | 10 Marks |
| --- | --- | --- |
| B | 80 % Compliance for Specification | 7 Marks |
| C | 60 % Compliance for Specification | 5 Marks |

Note: Compliance to mandatory specification parameter is necessary Equipment will not be consider if its fails to meet mandatory specification parameters.

Marks obtained by Bidder

(2)Previous Experience of Vendor    					 (Max: 10 Marks)

The marks regarding previous Experience of vendor will be awarded as follow

| A | Very Good | Highly Satisfied by NICVD | 10 Marks |
| --- | --- | --- | --- |
| B | Fair | Acceptable/New Vendor | 5 Marks |
| C | Bad | End User & Bio-Medical Department Not Satisfied | 0 Marks |

Marks obtained by Bidder

- Warranty of Machine (with service & parts)            		    (Max :10 Marks)

The marks will be awarded on the following pattern

Tick the Relevant Box

| A | Warranty is One year above | 10 Marks |
| --- | --- | --- |
| B | Warranty is as Per Tender | 7 Marks |
| C | Warranty does not complies to Tender Requirement | 0 Marks |

Marks obtained by Bidder

- End user Recommendation                                              (Max :10 Marks)

| 1st Recommendation | 10 Marks |
| --- | --- |
| 2nd Recommendation | 6 Marks |
| 3rd Recommendation | 3 Marks |

Marks obtained by Bidder

Equipment not recommendation by the End user will not be consider for the further process.

(Max 10 Marks)

- Technical Strength of vendor

| A | All three requirements met by Vendor | 10 Marks |
| --- | --- | --- |
| B | If any 2 requirement met by vendor | 6 Marks |
| C | If any 1 requirement met by vendor | 3 Marks |
| D | None of the requirement met by Vendor | 0 Marks |

Marks obtained by Bidder

Vendor strength will be evaluated both by Bio Medical Department and Procurement on the following basis.

- Vender Staff list shall contains at least ‘5’ Bio Medical / Electronic Engineers.

- Vendor shall be in Hospital business since at least last 5 years.

- Vendor client list shall contains prestigious  200 Beds plus Hospitals like AKUH, LNH,      Tabba, Indus, Jinnah or equivalent in all our Pakistan.

The Marks will be awarded as following pattern:

- 10 Marks awarded if all ‘3’ above mentioned criteria meet by vendor.

- 6 Marks awarded If vendor met to any 2 above point

- 3 Marks awarded If vendor met to any 1 above point

- 0 Mark awarded if vendor does not met non above point.

| S.NO | D- FINANCIAL EVALUATION | Total Points 30 | Obtain Points |
| --- | --- | --- | --- |
| 1 | Ist Lowest | 30 |  |
| 2 | 2nd Lowest | 25 |  |
| 3 | 3rd Lowest | 20 |  |
| 4 | 4th Lowest | 15 |  |
| 5 | 5th Lowest | 10 |  |
| 6 | 6th Lowest | 5 |  |
|  | TOTAL MARKS | 30 |  |

TENDER LIST

Tender No. 05 D/2016

###### FOR THE YEAR 2016-2017 & 2017-2018

Medical/Hospital Equipments

- Cardiac Output Bed Side Monitor

- Portable Ultrasound Machine

- C-PAP Machine

- Anesthesia Machine

- Heart Lung Machine

- Diathermia Machine

- Hypothermia Machine with Blanket

- De-Humidifier

- Ergo Meter Bicycle Complete Set for ETT

Note: All related items should be FDA approved.

| S.NO | DESCRIPTION | QTY |
| --- | --- | --- |
| A. | CARDIAC OUTPUT MONITORING SYSTEM BEAT TO BEAT HEMODYNAMIC FUNCTION Expanded patient database includes more diverse clinical situations and procedures in moderate to high-risk patients. Cardiac Output (CO) tracks more closely with patient physiology. Enhanced Stroke Volume Variation (SVV) filters out irregular heartbeats found in patients with most arrhythmias. High signal fidelity and secure authentication between sensor and monitoring platform supports patient safety. Enhance Surgical Recovery through Hemodynamic Optimization. Addition of SVR parameter by entering a CVP. Parameter Display: CO -Cardiac Output, SVI - Stroke Volume Index. FTc-Flow Time Corrected, SV – Stoke Volume. SD–Stroke Distance, HR- Heart Rate. PV- Peak Velocity, CI – Cardiac Index. Other Available Parameter: MA- Mean Acceleration, MD- Minute Distance. FTc- Flow Time To Peak, DO2Delivered Oxygen. DO2I-Delivered Oxygen Index. SVR- Systemic Vascular Resistance. SVRI-Systemic Vascular Resistance Index NOTE: CO method will be decide after the satisfaction of end user, Demonstration will be mandatory for approval and produce the unit within one week after the call by competent authority. Country of Manufacturer &amp; Origin of The Product Should be, USA-UK- JAPAN-EEC. | 02 |

| S.NO | DESCRIPTION | QTY |
| --- | --- | --- |
| B. | Specification: Portable Ultrasound Machine - Unit should be light weight, compact and portable. - Should be compatible for cardiac and vascular applications. - Imaging modes: real time 2D, color Doppler and power Doppler should be available. - Advanced features such as tissue harmonic imaging and contrast media should be available. - Cine loop memory at least 30 seconds on all modes. - Integrated color display screen of at least 17 inches. - At least 03 active universal probe ports. - Standard measurements, calculations and reporting formats should be available. - USB port connectivity to printer and / or computer. - Facility for storage on CD / DVD should be available. - System should be DICOM compatible. - In built battery backup for at least 60 min. - Essential accessories: thermal printer, mobile cart which is light weight , compact with lockable castors with provision for transducer holder, jelly bottle holder and space for the printer. - Paper and cartridges for 2000 images to be provided. - Price of main unit and accessories to be quotes separately. Country of origin: USA/EUROPE/JAPAN | 01 |

| S.NO | DESCRIPTION | QTY |
| --- | --- | --- |
| C. | Specification of CPAP Machine Therapy modes:; CPAP. Auto Set. Advanced event detection:; Cheyne–Stokes respiration detection. Central apnea detection. Comfort features:; Auto Ramp. Climate Control. Expiratory pressure relief (EPR™). Smart Start. Country of origin: UK / USA / EU | 10 |

| S.NO | DESCRIPTION | QTY |
| --- | --- | --- |
| D. | Anesthesia Machine Microprocessor Integrated Anesthesia Machine. Integrated Anesthesia Machine Trolley: Anesthesia Trolley, Trolley with anti-castors, extra-large wok surface area and 3 large drawers. Vaporizer: Isoflourene - Maximum versatility for wide patient range - Ventilation Modes: Volume Control ,Pressure Control - Electronic PEEP - Automatic fresh gas flow compensation - Smart alarm notification during alarm situations - Pressure and volume waveforms on a breath-by-breath basis - Inspired oxygen monitoring - Standby-mode Advanced Breathing Circuit & Circle System with Bellows - Easy to clean, fully autoclavable, latex-free - No tools required - Integrated design - fewer parts and connections reduces potential for leaks and misconnects. - One step bag/vent switch turns ventilator on/off Physical Specifications: - 3 Drawers (at least) - Casters - Brakes: Individual locking - Ventilator screen Display size not less the 7 inches Ventilator Operating Specifications: Ventilation Modes: Volume Control, Pressure Control Ventilator parameter ranges Tidal Volume: less or 30 to 1500 mL(Volume Control mode) Minute volume range: 0 to 60 L/min - Pressure (PInspired) range: less or 5 to 50 cm H2O (increments of 1 cm H2O) - Pressure (Pmax) range: less or 10 to 99 cm H2O (increments of 1 cm H2O) - Rate: less or 4 to 99 breaths per minute (increments of 1 breath per minute) - Inspiratory/expiratory ratio: 2:1 to 1:8 (increments of 0.5) - Positive End Expiratory Pressure (PEEP) - Type: Integrated, electronically controlled - Range: OFF, 4 to 25 cm H2O (increments of 1 cm H2O) Ventilator performance - Pressure range at inlet:less or 280 kPa to 600 kPa/ 41 psig to 87 psig - Peak gas flow: 120 L/min + fresh gas flow - Flow valve range: 0 to 120 L/min Fresh gas flow compensation - Ventilator monitoring - Expiratory minute volume range: 0 to 60L/min (increments of 0.1L/min) - Expiratory tidal volume range: 0 to 2000 mL (increments of 1 mL) - O2%: 0 to 100% (increments of 1%) - Peak pressure: – 0 to 120 cm H2O (increments of 1 cm H2O) - Mean pressure: – 20 to 120 cm H2O (increments of 1 cm H2O) - PEEP pressure: 0 to 120 cm H2O (increments of 1 cm H2O) - Pressure waveforms sweep speed: 0 to 20 seconds - Power input: 220-240 Vac, 50/60 Hz - Backup power: Demonstrated battery backup time under typical operating conditions is 90 minutes when fully charged - Communication port - USB port: USB 2.0 for upgrade Pneumatic specifications: - Auxiliary common gas outlet - Connector: ISO 22 mm OD and 15 mm ID - Gas supply Pipeline input range: 280 kPa to 600 kPa/41 psi to 87 psi - Cylinder input each for O2 & N20: Pin indexed in accordance with CGA-V-1; contains input filter and check valve. - O2 flush: Range: 25 to 75 L/min Flow meters: - O2, N2O , Air ranges: 0.1 to 1.0 L/min and 1.0 to 10.0 L/min Hypoxic Guard System: - Type: Mechanical gear™ - Range: Provides a nominal minimum 25% concentration of oxygen in O2/N2O mixture - Carbon dioxide absorbent canister - Absorbent capacity: 950 mL Country of manufacturer: USA, Europe and Japan, with standardized Certification (FDA/CE/JIS). | 1 |

| S.NO | DESCRIPTION | QTY |
| --- | --- | --- |
| E. | Heart Lung Machine Description of Function Heart Lung Machine is an apparatus through which blood is temporarily diverted during heart surgery to oxygenate and pump through the thus maintaining circulation till the heart and lungs are able to return. Basic Equipment will consist of the following unit. 05 Complete modular pumps console with all modular parameter - 04 pumps complete modular pumps console with all modular parameter. - 3 Roller pumps, 1 twin head roller pump and 1 mast mounted pump. - 1 centrifugal pump with complete display - Dual pressure module - Venous saturation sensor module. - Quad temperature module with 2 probes. - System Module. - DC/DC Module. - Power supply module - UPS module - Level Sensor Module - Bubble Sensor module - Flexible LED arm (Works on battery backup) - Mechanical Gas Blender - Cardioplegia monitoring unit. - System Control Panel Monitoring - Pressure monitor arterial and Cardioplegia and transducers - Time-Timers at least four with one reverse timer - Temperature monitor with at least 2 Probes 1 Esophageal and 1 oxygenator - Level Director with 100 Level sensor Pads. - Bubble Detector should be 3/8” should be able to detect small (4mm), medium (5mm) size and large size (6mm) bubbles. - Cardioplegia delivery system should have manual and automatic mode. It should give automatic drugs by selecting automatic mode and then stop the pump when the drug is delivered. Sechrist Mechanical Gas Blender LED Lamp. - Led Lamp should be moveable and should work on battery backup Centrifugal Pump Heads. - The Centrifugal pump heads should be given with the LCD display and should be rotatable at the speed of 3500 RPM Max. - There should be outer flow sensor with the machines - There should be separate bubble detector with the machine. 05 Pumps Configuration. - The unit should have 4 pumps compactly arranged with Belt free system. - Should have TFT-Touch system in all pumps and all touch screens. - Should have Neonate and peads mode. - Each individual roller pump should be capable of running independently. - Should have spill proof base. - The unit should be supplied with a battery backup for the whole system, safety and accessories for a minimum of 90 minutes or better. Switch over from main power to battery back-up be automatic and immediate. - The battery unit should be built into the pump base and it should be recharge automatically when the system is operating with main power supply. - The system should be fully made up of stainless steel. - Individual pump heads should accommodate all tube sizes by easily changeable mechanism. - Monitoring flow rates in LPM&RPM should be digitally display on the pump. - Each pump should have easy mechanism for occlusion setting for different thickness of tubes. - Should have hand crank facility as a safety feature. - The console should have a compact base place / mount for the entire pump head. - Roller pump should have a self diagnostic circuit with provision to detect and display critical alarm conditions. - All the pumps should have the facility of pulsatile mode. - Pump console should have single cable connection from external power supply. - The pumps should have master follower and pump to stop link function - There should be rotatable pump heads - The pump should stop of pump cover is open. Pressure monitors (Dual Pressure Module) - Facility to monitor pressure range:-200 to +800 or Equivalent. - Facility to monitor pressure; along with necessary pressure transducers, with accurate LCD display and alarm facilities audio and visual. Time Monitor - Facility for 4 time display with stop, reset and start function Temperature - 4 channel temperature displays for patient monitoring and for Cardioplegia monitoring with digital display with 2 necessary compatible temperature probes. Bubble Detector - Should be able to detect small, Medium and large size Bubbles. The pump should stop in all of these bubble detection Level Sensor System - Lever Detector system should have a level sensor pads to detect. Should be able to detect the lower detection system and to stop the pump. Sole agent certificate must be provided - FDA Approved and CE Mark. Country of Origin: EU / USA / Japan | 01 |

| S.NO | DESCRIPTION | QTY |
| --- | --- | --- |
| F. | Specification of Diathermy Machine - Instant Response Technology. - Improved Performance at lower power settings. - Three Internal microcontrollers. - A power Efficiency Rating (PER). - Three cut modes:- - Low cut - Pure cut - Blend cut - Four Coag Modes:- - Desiccate for low - Fulgurate(high crest factor) - Fulgurate (Low crest factor) - Spray - Output power changes by less than 15% or 5 watts whichever is greater as the line voltage varies from 104-132 volts & 208-264 volts. - Three Bipolar Modes:- - Precise - Standard - Macro bipolar - REM Mode - Trip is baseline impedance plus 40%, if the baseline impedance is 30 Ohm, The upper level trip is approximately 42 Ohm. Country of origin: USA / UK / JAPAN | 02 |

| S.NO | DESCRIPTION | QTY |
| --- | --- | --- |
| G. | Specification of Hypothermia Machine With Blanket - The heater Cooler unit should be remotely controlled with the heart lung Machine. - There should be 3 separate water want in the heater cooler. - Two water tank for Cardioplegia delivery system for giving immediate hot and cold shot to the patient. - 1 Water tank for the oxygenator and for the thermal blanket - The temperature range should be 2 degrees till 40 degree celsius - The water tank should be of 10 Litres - There should be 1 adult blanket and 1 peads blanket for heater cooler unit. - Three ports should be given at the back. 1 for cardioplegia 1 for blanket and 1 for oxygenator. - The unit should be sound proof and noise should not be more than 98db - The unit should not take more than 10 mins to go from highest temperature to lowest temperature. - 1 adult blanket and 1 peads blanket should be given. Sole agent certificate must be provided FDA approved and CE Mark Country of origin: USA / Japan / Western Europe | 01 |

| S.NO | DESCRIPTION | QTY |
| --- | --- | --- |
| H. | Specification of De Humidifier Certificate; CCC,CE. Moisture capacity (30’c,80%RH) or More; 90L/D. Voltage/Cycle; 220-240V/50HZ. Noise level; Less than decibel. Fan speed; 1. Air Flow m3/h; 900. Air filter; Filter net / Activated carbon filter. Cryogen/refrigerant gas; R22/R134a(client requirement). Applied Area (2.6 high)sq.m.; 100-150. Operating Temp. Range C; 5-38. Control Type; Micro-computer. Sensor; Humidity Sensor. Compressor; Rotary. Safety; Delayed for protecting. Timer; 1-24h. Auto defrost; Yes. | 01 |

| S.NO | DESCRIPTION | Marks | QTY |
| --- | --- | --- | --- |
| I | Ergo meter bicycle complete set for ETT Specification:- Complete E.T.T System with ergo meter bicycle. • Compatible will tread mill ETT Stress Echo. • Branded computer with H.P Laser Printer (core I five) •Compatible with all exercise ECG devices • Ergo meters are equipped with large graphical displays. • Standardized saddle fixation for flexible use • Automatic computer control. • Noiseless drive • Strong and modern design • Load Capacity 160 kg or more. • Speed-independent load • Extremely safe • Maintenance-free drive • Pleasant pedaling sensation • Easy to use even for elderly or handicapped patients • Easily programmable ergometry parameters Country of Origin. Europe, USA, JAPAN | 10 10 10 10 | 01 Nos |

SUPPLIERS QUESTIONNAIRE / PERFORMA

(To be filled in by the vendor)

Equipment _______________________________ Model ______________________

Manufacturer _____________________________ Supplier ____________________

1-  Year of Introduction of the offered model:			_______________

Version (if same model revised):				_______________

- Number of equipment installed (Please pro

- vide Names of institution for

Pakistan / Islamabad).

-	World wide.					________________

-	In Pakistan.					________________

-	In Islamabad/Rawalpindi.				________________

3-	Manuals to be provided:					Yes		No

-	Service.						_____		_____

-	Parts List					_____		_____

-	Electrical Drawing / Schematics			_____		_____

-	Operational / Application				_____		_____

4-	Spare parts Availability Guarantee (No of years)		______________

5-	Source of spares availability				Lead time

-	Local						________

-	Overseas					________

6-	Equipment life period (number of years)			________

7-	Do you hold specialized tools/test equipment required for.

-	Maintenance					Yes	No	N/A

-	Calibration					____	____	____

Please provide list of tools / test equipment including their calibration status on a separate sheet.

8-	Annual Maintenance contract Price:

-	Parts and Labor:			_____________

-	Labor without parts:		_____________

- On call service charges:

-	Minimum			_____________

-	Per day				_____________

- In case of in house maintenance by NICVD engineers are you willing to

Provide following during post warranty period.

-	Back up engineer support whenever requested	Yes		No

-	Prompt supply of spares/consumables		______		______

11	Are you authorized representative of manufacturer	   	__________             __________

12	No of Factory trained engineer available locally

Locally on offered equipment(provide training

Certificate & years of experience).			  _______________________

13-	Total number of years in business:			  ________________________

- Warranty period (Please provide following details):

-	Uptime Guarantee:				_______________%

-	Response time to maintenance requested		_______________Hrs.

-	No of PPM/Year:					_______________

-	Any other:					_______________

- Do you have any objection/concerns to use similar		Yes		No

Specification spares of alternate/other manufacturer	   	________               ________

during warranty of maintenance contract(if available)

16-	Comprehensive NICVD Engineer Training			Yes		No

if yes state what included					_____		______

-	Training Fees					_____		______

-	Airfare						_____		______

-	Boarding/Lodging				_____		______

-	Free of charge					_____		______

-	None of the above				_____		______

- Up-gradation possibility.

-	Hardware					______		______

-	Software					______		______

If above has any cost please provide the details of up-gradation with estimated price.

________________________________________________________________________

________________________________________________________________________

Please state safety standard conformance (e.g IEO 601,FDA, AAMI etc):

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

- Pre-Installation services requirements:

Power:	__________________________ KW

Voltage:	__________________________ Single/Three phase

Gas:	__________________________ Cuft/hr

Water:	__________________________ Galleons/Liter/Hour

__________________________ PSI (Pascal)

(If pre-treated water required, please provide details)

Air _________________PSI		Vacuum ______________mmgh

Other:__________________________________________________

(e.g. Drain, Exhaust, Physical facility change etc)

Installation time:						_____________________

Installation/commissioning by whom:				_____________________

- Environmental Parameters Limits:

  - Temperature ____________ to _______________ centigrade / Fahrenheit

  - Humidity _______________ to _______________ %RH

IEC 601- International Electro Technical Commission (Code 601)

AAMI	- American Association for medical instrumentation.

- Any other specific requirement (e.g. UPS. Voltage Stabilizer etc. provide details):

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

- Briefly state facilities and benefits provided during warranty period.

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

22-	Please give the rates of consumable, Disposable items and parts required for proper functioning of Machine/equipment life period of each item (in days/months).

______________________________________________________________________

______________________________________________________________________

### TENDER PROFORMA FOR COMMERICAL BID

Tender No. 5-D/2016, Dated 14-01-2017

###### FOR THE YEAR 2016-2017 & 2017-2018

- Cardiac Modular Bed Side Monitor

- Portable Ultrasound Machine

- C-PAP Machine

- Anesthesia Machine

- Heart Lung Machine

- Diathermia Machine

- Hypothermia Machine with Blanket

- De-Humidifier

- Ergo Meter Bicycle Complete Set for ETT

| Sr.# | Description | Specification of Quoted items | Qty. | Unit | Reg # | Make | Country of Origin. | C & F Price | Rate per Unit F.O.R. Price | Delivery Period | With or Without Sales Tax. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Signature															                                                               Official Seal

### TENDER PROFORMA FOR TECHNICAL BID

Tender No. 5-D/2016, Dated 14-01-2017

###### FOR THE YEAR 2016-2017 & 2017-2018

Medical/Hospital Equipments

- Cardiac Output Bed Side Monitor

- Portable Ultrasound Machine

- C-PAP Machine

- Anesthesia Machine

- Heart Lung Machine

- Diathermia Machine

- Hypothermia Machine with Blanket

- De-Humidifier

- Ergo Meter Bicycle Complete Set for ETT

| Sr.# | Description | Specification of Quoted items | Qty. | Unit | Model # | Make | Country of Origin. | Warranty | Delivery Period |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Signature															                          Official Seal