KARACHI WATER AND SEWERAGE BOARD

NOTICE FOR INVITING TENDER

THROUGH WEB SITE (ON ITEM RATE BASIS).

Sealed Tender Is Invited Signal Stage One Envelope System As Per SPPRA  Rules-2010 For The Work Mentioned Below:-

| S.NO | DETAIL |  |
| --- | --- | --- |
| 1 | Name Of Work | PROVIDING AND LAYING 110MM P.E PIPE & INTER CONNECTION FROM 24”DIA MAIN EXISTING LINE TO IMPROVEMENT THE WATER SUPPLY SYSTEM IN 33-D AREA KORANGI DIVISION.ESTIMATED COST(RS:9,81,465) |
| 2 | Name, Address & phone no of D.D.O. | EXECUTIVE ENGINEER (W) KORANGI TOWN KW&SB FIRST FLOOR,OLD KDA ZONAL OFFICE BUILDING NEAR AWAMI POLICE STATION KORANGI NO:04KORANGI ,KARACHI.CELL NO: 0321-2595554 |
| 3 | Eligibility of Firm/Bidder | - NTN certifiacte. - Valid professinonal tax. - S.R.B Certificate. - Relevent Experience work in specilaization field. - Minimum turnover last three years at least Rs:8,00,000/- |
| 4 | Tender can be purchased | In charge revenue accounts section finance department KW&SB head Office annexy building of KBCA at civic centre Karachi from 9:00AM to 01:00P.M in any working day except the date opening of the tender. |
| 5 | Bid Security | 2% quoted amount in shape of pay order /Bank draft from any schedule bank of Pakistan in the favor of KW&SB must be accompanied with the tender otherwise the tenders shall be treated as invalid & rejected |
| 6 | Tender Fee | RS:1000/- in shape of Pay Order in the name of KW&SB. (non Refundable) |
| 7 | Start Date of issuance of Tenders / last date of issuance of tenders. | w.e.f date________________ to date_____________ of opening tender. |
| 8 | Date of opening & submission of tenders. | Tender will be submitted on __________,at 2:00Pm and will be opened on the same date at 2:30 Pm. |
| 9 | Un-responced Tender will be again issued/submitted/opened on (2nd attempt). | 2nd attempt tender will be issue from date_____________to ___________ |
|  |  | Submissison on __________________at 2:00PM and will be opened at 2:30PM. |
| 10 | Submission / Opening Venue: | Tenders will be opened by the Procurement Committee-I,at the office of the Director Design KW&SB situated at block-17,Gulshan-e-eIqbal ,COD filter plant,Karachi. |
| 11 | Scope of work | For Improvement of Water supply system. |
| 12 | Estimated Cost | Rs:9,81,465/- |
| 13 | Source of funding | Own funds of KW&SB |

Note:

- Tender and biding documents can be seen & download from SPPRA website www.spprasindh.gov.pk

- The participants must quote the rates both in words & figures along with telephone numbers, mobile numbers, postal address fax number must be mentioned in bids.

- If any inconvenient situation created in the city, or Govt will announce any holiday on opening date of tender, tender shall be submitted / opened on next working day at same time & venue.

- The procuring Agency may reject any bid subjected to relevant provision of SPP Rules,2010 and may cancel the bidding process at any time prior to acceptance of bid or proposal as per Rule-25 of SPPRA -2010.

- Conditional tender or tenders from debarred contractor shall not be accepted and shall be treated as rejected and invalid then &  there..

- Offers should be received in seal cover .

- Bid must be in sealed cover and experience certification for 03year of similar nature of job turnover of at least last there years must be attached with the bid along with electric lincence of GOS.

- In case of any required information regarding work to the concerned officer as per item No:01 may be contacted or his office may be visited.

EXECUTIVE ENGINEER (W)

KORANGI TOWN, KW&SB

KARACHI WATER AND SEWERAGE BOARD

OFFICE OF THE EXECUTIVE ENGINEER

KORANGI TOWN

WATER DISTRIBUTION WING

FIRST FLOOR KDA BUILDING KORANGI NO: 4 KARACHI CELL NO: 0321-2595554

NO: E.E (W)/K.T/KW&SB/2016/	                                                         DATE: _______2016

THE DIRECTOR (C.B)

SINDH PUBLIC PROCUREMENT REGULATORY AUTHORITY

KARACHI,

SUBJECT: PROVIDING AND LAYING 110MM P.E PIPE & INTER CONNECTION FROM 24”DIA

MAIN  EXISTING LINE TO IMPROVEMENT THE WATER SUPPLY SYSTEM IN 33-D

AREA KORANGI DIVISION.ESTIMATED COST(RS:9,81,465)

Enclosed please find herewith a pay order for amounting to Rs: 2000/-(Two thousand Rupees only)pay order no:12368446, UBL,Korangi K-area.Branch ,Karachi in favour of SPPRA for hoisting notice inviting tender for uploading on website of SPPRA. Further one set Bidding document and NIT is also forwarded for hoisting on your website.The estimate cost Below 1.00Million.

Serial No. _________

Encl:	(1) Pay Order of Rs. 2000/=.(1No)

(2) N.I.T(1 page).

(3) ATTESTED PHOTO COPY OF NOTE SHEET OF MD, KW&SB APPROVAL .(1 PAGE)

(4) Procurement Committee-I Letter

(5) CRC Letter

(5) Bidding Documents (         ).

(7) Procurement Plan F.Y. 2016-17 (1 page)

(8) Evaluation Criteria.(1 page).

TOTAL ENCLOSURE:- _____NOS.

EXECUTIVE ENGINEER (W)

KORANGI TOWN, KW&SB

COPY TO:-

- The Director Design & Estimate KW&SB.convenor/chairman.

- The Superintending Engineer, L/K, District Korangi, KW&SB.

- Representative of D.G (TS) KMC / Member.

- Representative of Finance Advisor (KMC) / Member.

- The Accounts Officer, (D/K), KW&SB / Member / Secretary

- The Accounts Officer (Revenue), KW&SB.

- Office Copy.

SUBJECT: PROVIDING AND LAYING 110MM P.E PIPE & INTER CONNECTION

FROM 24”DIA MAIN  EXISTING LINE TO IMPROVEMENT THE WATER SUPPLY

SYSTEM IN 33-D AREA KORANGI DIVISION.

Description and rate of items based on market (offered rates)

| S.NO | DESCRIPTION | QUANTITY | RATE | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Scarifying the existing road surface. | 200 Sft |  | %Sft |  |
| 2 | Excavation for pipe line in trenches and pits in wet soil clay or mud and i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by engineer incharge. providing frame guards. light flags and temporary croswsings for non-vehicular traffic where ever requires lift upto 5ft (1.25m) and lead upto one chain (30.5m). 0’-5’ 5’ to 8’ | 12000 Cft 2400 Cft |  | %0Cft %0Cft |  |
| 3 | Providing laying & fixing in trench i/c fitting ,jointing & testing etc.complete in all respect the high density polyethylene PE pipes (HDPE-100) for W/S confirming ISO 4427/DIN8074/8075 B.S 3580 & PSI 3051 (PN-10) 110MM | 1200 Rft |  | P/Rft |  |
| 4 | Providing & fixing M.S split collar tee on PRCC pipe of different sizes having width as mentioned against each fabricated with 3/8" thick M.S plate excluding the cost of the neck. It includes the cost of 3/4" thick M.S square bars on both ends,4nos 3/4"M.S square bars on both end 4 nos ¾”thick M.S i/c the cost of nuts, & bolts,labour,sealing material etc. with a total weight as mentioned. Wide 2’-6’ net weight 198.16Kg 24”x24” | 1 Nos |  | Each |  |
| 5 | Providing & fixing 0-9” long 3/8” thick M.S neck to existing M.S pipie to a split collar tee having a total weight as mentioned against each item it include the cost of fabrication and welding to the split collar tee. Net Weight 6.666Kgs 4”Dia | 1 Nos |  | Each |  |
| 6 | C.I sluice Valve heavy pattern (Test pressure 21.0Kg/Sq. com.or 300Lbs/sq. inch)(imported). 4”Dia | 1 Nos |  | Each |  |
| 7 | Fixing of sluice valves with 2-cast iron tailpieces, one end flanged and other woith socket including the cost of nuts bolts and rubber paking labour etc complete. 4”Dia | 1 Nos |  | Each |  |
| 8 | Full hair Charges of pumping set i/c wages of driver and asstt:fule on electric energy platform required for placing pump and delivery pipe for pumping out water found at lower depth with suction various depth from trenches including the cost of erection and dismantling after completion of the job. | 15 Days |  | P/Day |  |
| 9 | Repairing of leaking joint (External Vatta) on PRCC pipe of various diameter it i/c the cost of Excavation, labor sealing gunny bags, dewatering and refilling of the excavated stuff etc complete. 15”Dia 18”Dia | 25Nos 15 Nos |  | Each Each |  |
| 10 | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc.complete . | 14273.36 Cft |  | %0Cft |  |
|  |  |  |  | Total |  |

EXECUTIVE ENGINEER (W)

KORANGI TOWN, KW&SB

I we hereby quoted bid amount of Rs ________________/-

Rupees________________________________________

_____________________________________________)

Signature of Contractor _________________________

KARACHI WATER AND SEWERAGE BOARD

NAME OF WORKS

PROVIDING AND LAYING 110MM P.E PIPE & INTER CONNECTION FROM 24”DIA MAIN EXISTING LINE TOIMPROVEMENT THE WATER SUPPLYSYSTEM IN 33-D AREA KORANGI DIVISION.

KORANGI TOWN (WATER)

BIDDING DATA

| 1 | Name of procuring agency: | EXECUTIVE ENGINEER (WATER) KORANGI TOWN KW&SB. |
| --- | --- | --- |
| 2 | Brief description of work: | PROVIDING AND LAYING 110MM P.E PIPE & INTER CONNECTION FROM 24”DIA MAIN EXISTING LINE TOIMPROVEMENT THE WATER SUPPLYSYSTEM IN 33-D AREA KORANGI DIVISION. |
| 3 | Procuring Agency Address: | EXECUTIVE ENGINEER (WATER) KORANGI TOWN KW&SB FIRST FLOOR,OLD KDA ZONAL OFFICE BUILDING NEAR AWAMI POLICE STATION KORANGI NO:04KORANGI ,KARACHI. CELL NO: 0321-2595554 |
| 4 | Estimate Cost: | On item rate Basis. |
| 5 | Amount of Bid Security: | 2% of Bid Amount. |
| 6 | Period of bid validity: | 90 Days |
| 7 | Security Deposit (Including Bid Security) | 10%. |
| 8 | Venue, Time and date of Bid Opening: | - Tenders will be opened by the Procurement Committee-I,at the office of the Director Design KW&SB situated at block-17,Gulshan-e-eIqbal ,COD filter plant,Karachi. - Tender will be submitted on________________ ,at 2:00Pm and will be opened on the same date at 2:30 Pm. |
| 9 | Deadline for submission of Bid along with time. | Tender will be submitted on ,at 2:00Pm and will be opened on the same date |
| 10 | Time for completion from written order commence: | 100 Days |
| 11 | Liquidity Damage: | 0.5% of bid cost per day of delay. |
| 12 | Bid issued to firm | M/s____________________________________ |
| 13 | Deposit Receipt No & Dak Amount | ________________________________________ Rs:500/- |

EXECUTIVE ENGINEER (W)                                                       AUTHORITY ISSUING BIDDING DOCUMENTS

KORANGI DIVISION,KW&SB