## Schedule B
SCHEDULE "B"
| Name of work:- | Strengthening of PITE & Capacity Building of Teachers at N'Shah 2011-12 ADP No. 237 Flate Staff Residence of BPS-1 to 11 (12 Nos) (Electric Work)
S.No | Description |  | Quantity |  |  | Rate | Unit | Amount
PART "A"SCHEDULE ITEMS ELECTRICAL
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm
(3/4") PVC conduct recessed in the wall or columns as required(SINO: 124/P-15)
|  |  | = | 204 | Points | 1130 | P.Point | Rs: | 230520
2 | Wiring for Plug point with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 126/P-15)
|  |  | = | 48 | Points | 985 | P.Point | Rs: | 47280
3 | Wiring for Call bel point with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 128/P-15)
|  |  | = | 12 | Points | 1764 | P.Point | Rs: | 21168
4 | Providing and laying (Main or Sub-Main) PVC insulated with size
(2-7/.036) copper conductor in 3/4" dia PVC conduct
in the wall or coumns as required (SINO: 11/P-02)
|  |  | = | 480 | Meter | 222 | P.Meter | Rs: | 106560
5 | Providing and laying (Main or Sub- Main ) PVC insulated with size
2-7/.036(6mm2) copper conductor 3/4" dia PVC coper conduit recessed
in the wall or column as required (SINO: 11/P-N0: 2)
|  |  | = | 300 | Meter | 252 | P.Meter | Rs: | 75600
6 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted
with two core coper copper conductor 300/500 volts size 10mm2
(SINO: 63/P.No: 08)
|  |  | = | 360 | Meter | 375 | P.Meter | Rs: | 135000
7 | Providing and fixing one way 5 amps switch flush type (SINO: 219/P-33)
|  |  | = | 204 | Nos | 54 | P.Nos | Rs: | 11016
8 | Providing and fixing Brass pendant lamp holder (SINO: 229/P-33)
|  |  | = | 132 | Nos | 74 | P.Nos | Rs: | 9768
8 | Providing and fixing two pin 5 amp plug and socket (SINO: 222/P-33)
|  |  | = | 48 | Nos | 80 | P.Nos | Rs: | 3840
9 | Providing and fixing three pin 5amps plug and sockets flush type (SINO: 226/P-33)
|  |  | = | 12 | Nos | 151 | P.No | Rs: | 1812
10 | Providin and fixing Baklite ceiling Rose with two terminals (SINO: 228,P-33)
|  |  | = | 48 | Nos | 72 | P.No | Rs: | 3456
11 | Providing and fixing cercuit breacker 6,10,15,20,30,40,50 & 63 amps
(TB-55) on prepared board as required. (SINO: 203, /Page No: 31)
|  |  | = | 48 | Nos | 916 | P.No | Rs: | 43968
12 | Providing and fixing cercuit breaker 6,10,15,20,30,40,50 & 63 amp SP (TB+SS)
on prepared board as required (SINO: 204-P-31)
|  |  | = | 12 | Nos | 2456 | P.No | Rs: | 29472
13 | Supplying of ceiling fan 56" sweep good quality (SINO: 235/P-34)
|  |  | = | 48 | No | 3185 | P.No | Rs: | 152880
[7 empty] | Total | Rs: | 872340
PART ( B ) Non -Schedule Items)
1 | Providing and fixing Energy Saver 24 Watts Superior quality
including fixing on existing holder etc complete. (R.A)
|  |  | = | 132 | Nos |  | P.No | Rs:
2 | Providing and fixing Energy wall bracket light fancy type Superior quality
including necessary electric connection and fixing on wall or ceiling etc
completed.
|  |  | = | 3 | Nos |  | P.No | Rs:
3 | Providing and fixing Midl steel bar fan clamps 15.8 mm (5/8") dia suitable
for RCC roof (R.A)
|  |  | = | 48 | Nos |  | P.No | Rs:
4 | Providin and fixing A/C ceiling fac regulator on metal board
recessed in the walls columns and covered with plastic sheet.
|  |  | = | 48 | Nos |  | P.No | Rs:
5 | P/F Pannal Board double shutter to accommodate heavy duty
circuit breacker bush bar i/c painting with enamelled paint and for other
similar jobs on surface (R.A)
|  |  | = | 12 | Sft |  | P.Set | Rs:
[7 empty] | Total (B) | Rs: | 0
| Contractor |  |  |  |  | Executive Engineer Education Works Division Shaheed Benazirabad