## Bakhsho Jamali
SCHEDULE 'B'
| Name of work:- | Rehabilitation of Existing Elementary Schools of Taluka Sakrand District Shaheed Benazirabad 2015-16 Programme at GBMS Bakhsho Jamali Taluka Sakrand (Electric Work) ADP No. 150.
S.No | Description |  | Quantity |  |  | Rate | Unit | Amount
PART "A"SCHEDULE ITEMS ELECTRICAL
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm
(3/4") PVC conduct recessed in the wall or columns as required(SINO: 124/P-15)
|  |  | = | 53 | Points | 1130 | P.Point | Rs: | 59890
2 | Wiring for Plug point with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 126/P-15)
|  |  | = | 11 | Point | 985 | P.Point | Rs: | 10835
3 | Wiring for Call Bell point with 3/.029 PVC insulated wire 20mm(3/4") PVCconduit
recessed in the wall or columns as required (SINO: 128/P-15)
| Ofice |  | = | 2 | Point | 1764 | P.Point | Rs: | 3528
4 | Providing and laying (Main or Sub-Main) PVC insulated with size
(2-7/.029) copper conductor in 3/4" dia PVC conduct
in the wall or coumns as required (SINO: 10/P-02)
|  |  | = | 200 | Meter | 222 | P.Meter | Rs: | 44400
5 | Providing and laying (Main or Sub- Main ) PVC insulated with size
2-7/.044(6mm2) copper conductor 3/4" dia PVC coper conduit recessed
in the wall or column as required (SINO: 11/P-N0: 2)
|  |  | = | 90 | Meter | 252 | P.Meter | Rs: | 22680
6 | Providing and laying (Main or Sub- Main ) PVC sheeted & PVC sheeted
with two core copper cunductor 300/500 volts size 10mm2 (SINO: 63/P-8)
|  |  |  | 55 | Meter | 375 | P.Meter | Rs: | 20625
7 | Providing and fixing one way SP 5 amps switch flush type (SINO: 219/P-33)
|  |  |  | 53 | Nos | 54 | P.Nos | Rs: | 2862
8 | Providing and fixing Brass pendant lamp holder (B) ceiling Roase
(SINO: 229/P-33)
|  |  | = | 31 | Nos | 74 | P.Nos | Rs: | 2294
9 | Providing and fixing two pin SP 5 amp plug and socket.
(SINO: 222/P-33)
|  |  | = | 11 | Nos | 80 | P.Nos | Rs: | 880
10 | Providing and fixing three pin 5amps plug and sockets
(SINO: 224/P-33)
|  |  | = | 3 | Nos | 151 | P.No | Rs: | 453
11 | Providin and fixing Baklite ceiling Rose with two terminals
(SINO: 228,P-33)
|  |  | = | 16 | Nos | 72 | P.No | Rs: | 1152
12 | Providing and fixing cercuit breacker 6,10,15,20,30,40,50 & 63 amps
(TB-55) on prepared board as required. (SINO: 203, /Page No: 31)
|  |  | = | 10 | Nos | 916 | P.No | Rs: | 9160
13 | Providing and fixing cercuit breaker 6,10,15,20,30,40,50 & 63 amp SP (TB)
on prepared board as required (SINO: 204-P-31)
|  |  | = | 1 | Nos | 2456 | P.No | Rs: | 2456
14 | Providin and fixing Brass ceiling fan 56" (good quality)
(SINO: 234,Page No: 34)
|  |  | = | 16 | Nos | 3185 | P.No | Rs: | 50960
[7 empty] | Total | Rs: | 232175
PART ( B ) Non -Schedule Items)
1 | Providing and fixing Energy Saver 24 Watts Superior quality
including fixing on existing holder etc complete. (R.A)
|  |  | = | 38 | Nos |  | P.No | Rs:
2 | Providing and fixing wall bracket light fancy type Superior quality
including Electric connectionon wall ceiling etc complete (R.A)
|  |  | = | 7 | Nos |  | P.No | Rs:
3 | Providin and fixing A/C ceiling fac regulator on metal board
recessed in the walls columns and covered with plastic sheet.
|  |  | = | 16 | Nos |  | P.No | Rs:
3 | Providing and fixing Midl steel bar fan clamps 15.8 mm (5/8") dia suitable
for RCC roof (R.A)
|  |  | = | 16 | Nos |  | P.No | Rs:
4 | P/F Pannal Board double shutter to accommodate heavy duty
circuit breacker bush bar i/c painting with enamelled paint and for other
similar jobs on surface (R.A)
|  |  | = | 2.62 | Sft |  | P.Sft | Rs:
[7 empty] | Total (B) | Rs:
| Contractor |  |  | Executive Engineer Education Works Division Shaheed Benazirabad.