## Sheet1
SCHEDULE 'B'
| Name of work:- | Rehabilitation of Mosque Library. Research Centre and Hamal Fakir Dargah
Taluka Sakrand District Shaheed Benazirabad 2015-16 Programme
(Electric Work) afp No: 154.
S.No | Description |  | Quantity |  |  | Rate | Unit | Amount
PART "A"SCHEDULE ITEMS ELECTRICAL
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm
(3/4") PVC conduct recessed in the wall or columns as required(SINO: 124/P-15)
|  |  | = | 17 | Points | 1130 | P.Point | Rs: | 19210
2 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm
(3/4") channel patti on surface as required (SINO: 129/P-15)
|  |  | = | 45 | Points | 910 | P.Point | Rs: | 40950
3 | Wiring for Plug point with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 126/P-15)
| Dargah |  | = | 2 | Point | 985 | P.Point | Rs: | 1970
4 | Wiring for Plug point with 3/.029 PVC insulated wire
20mm(3/4") channel patti on surface require(SINO: 130/P-15)
|  |  | = | 7 | Points | 742 | P.Point | Rs: | 5194
5 | Providing and laying (Main or Sub-Main) PVC insulated with size
(2-7/.029) copper conductor in 3/4" dia PVC conduct
in the wall or coumns as required (SINO: 10/P-02)
|  |  | = | 25 | Meter | 222 | P.Meter | Rs: | 5550
6 | Providing and laying (Main or Sub-Main) PVC insulated with single
core copper conductar 250/440volts size 2-7/.029.(SINO: 45/P.No: 06)
|  |  | = | 150 | Meter | 118 | P.Meter | Rs: | 17700
7 | Providing and laying (Main or Sub- Main ) PVC & PVC sheeted
with single core copper conductor 300/500 volts size 2-7/0,44
(SINO: 55/P-N0: 7)
|  |  |  | 200 | Meter | 213 | P.Meter | Rs: | 42600
8 | Providing and fixing one way SP 5 amps switch flush type (SINO: 219/P-33)
|  |  |  | 62 | Nos | 54 | P.Nos | Rs: | 3348
9 | Providing and fixing Brass pendant lamp holder (B) ceiling Roase (SINO: 229/P-33)
|  |  | = | 28 | Nos | 74 | P.Nos | Rs: | 2072
10 | Providing and fixing two pin SP 5 amp plug and socket (SINO: 222/P-33)
|  |  | = | 9 | Nos | 80 | P.Nos | Rs: | 720
11 | Providin and fixing Baklite ceiling Rose with two terminals (SINO: 228,P-33)
|  |  | = | 16 | Nos | 72 | P.No | Rs: | 1152
12 | Providing and fixing cercuit breacker 6,10,15,20,30,40,50 & 63 amps
(TB-55) on prepared board as required. (SINO: 203, /Page No: 31)
|  |  | = | 13 | Nos | 916 | P.No | Rs: | 11908
13 | Providing and fixing cercuit breaker 6,10,15,20,30,40,50 & 63 amp SP (TB)
on prepared board as required (SINO: 204-P-31)
|  |  | = | 3 | Nos | 2456 | P.No | Rs: | 7368
14 | Providin and fixing Brass ceiling fan 56" (good quality)
(SINO: 235,Page No: 34)
|  |  | = | 12 | Nos | 3185 | P.No | Rs: | 38220
[7 empty] | Total | Rs: | 197962
PART ( B ) Non -Schedule Items)
1 | Providing and fixing Energy Saver 24 Watts Superior quality
including fixing on existing holder etc complete. (R.A)
|  |  | = | 46 | Nos |  | P.No | Rs:
2 | Providing and fixing Energy wall bracket light fancy type Superior quality
including necessary electric connection and fixing on wall or ceiling etc
completed.
|  |  | = | 18 | Nos |  | P.No | Rs:
3 | Providin and fixing A/C ceiling fac regulator on metal board
recessed in the walls columns and covered with plastic sheet.
|  |  | = | 12 | Nos |  | P.No | Rs:
4 | Providing and fixing Midl steel bar fan clamps 15.8 mm (5/8") dia suitable
for RCC roof (R.A)
|  |  | = | 12 | Nos |  | P.No | Rs:
5 | P/F Pannal Board double shutter to accommodate heavy duty
circuit breacker bush bar i/c painting with enamelled paint and for other
similar jobs on surface (R.A)
|  |  | = | 3 | Sft |  | P.Sft | Rs:
[7 empty] | Total (B) | Rs:
| Contractor |  |  | Executive Engineer Education Works Division Shaheed Benazirabad.