## Schedule B
SCHEDULE "B"
| Name of work:- | Improvement of Existing Public School in Shaheed Benazirabad Division @ Shaheed Benazir Bhutto Public Shool for Girls N'Shah ADP No: 207 2015-16 Programme (Electric work)
S.No | Description |  | Quantity |  |  | Rate | Unit | Amount
PART "A"SCHEDULE ITEMS ELECTRICAL
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm
(3/4") PVC conduct recessed in the wall or columns as required(SINO: 124/P-15)
|  |  | = | 84 | Points | 1130 | P.Point | Rs: | 94920
2 | Wiring for Plug point with 3/.029 PVC insulated wire 20mm(3/4") conduit
recessed in the wall or columns as required (SINO: 126/P-15)
|  |  | = | 21 | Point | 985 | P.Point | Rs: | 20685
3 | Providing and laying (Main or Sub-Main) PVC insulated with size
(2-7/.036) copper conductor in 3/4" dia PVC conduct
in the wall or coumns as required (SINO: 11/P-02)
|  |  | = | 500 | Meter | 222 | P.Meter | Rs: | 111000
4 | Providing and laying (Main or Sub- Main ) PVC insulated with size
2-7/.036(6mm2) copper conductor 3/4" dia PVC coper conduit recessed
in the wall or column as required (SINO: 11/P-N0: 2)
|  |  | = | 200 | Meter | 252 | P.Meter | Rs: | 50400
5 | Providing and laying (Main or Sub- Main ) PVC insulated with size
2-7/.044(6mm2) copper conductor 3/4" dia PVC coper conduit recessed
in the wall or column as required (SINO: 12/P-N0: 2)
|  |  |  | 100 | Meter | 341 | P.Meter | Rs: | 34100
6 | Providing and laying (Main or Sub- Main ) PVC insulated with size
2-7/.064(16mm2) copper conductor 3/4" dia PVC conduit
on surface as required (SINO: 7/P-1)
|  |  |  | 350 | Meter | 605 | P.Meter | Rs: | 211750
7 | Providing and fixing one way 5 amps switch flush type (SINO: 219/P-33)
|  |  |  | 84 | Nos | 54 | P.Nos | Rs: | 4536
8 | Providing and fixing Brass pendant lamp holder (SINO: 229/P-33)
|  |  | = | 47 | Nos | 74 | P.Nos | Rs: | 3478
9 | Providing and fixing two pin 5 amp plug and socket.
(SINO: 222/P-33)
|  |  | = | 21 | Nos | 80 | P.Nos | Rs: | 1680
10 | Providing and fixing three pin 5amps plug and sockets A flush type
switch (SINO: 226/P-33)
|  |  | = | 13 | Nos | 151 | P.No | Rs: | 1963
11 | Providin and fixing Baklite ceiling Rose with two terminals
(SINO: 228,P-33)
|  |  | = | 30 | Nos | 72 | P.No | Rs: | 2160
12 | Providing and fixing cercuit breacker 6,10,15,20,30,40,50 & 63 amps
(TB-55) on prepared board as required. (SINO: 203, /Page No: 31)
|  |  | = | 20 | Nos | 916 | P.No | Rs: | 18320
13 | Providing and fixing cercuit breaker 6,10,15,20,30,40,50 & 63 amp SP (TB+SS)
on prepared board as required (SINO: 204-P-31)
|  |  | = | 2 | Nos | 2456 | P.No | Rs: | 4912
14 | Providing and fixing circuit bracker 15,20,30,40,50 & 60 amo TP
(XE-100CS)(CB) on prepared board as required (SINO: 206/P-31)
|  |  | = | 2 | Nos | 5521 | P.No | Rs: | 11042
15 | Providing and fixing Circuit breacker 100 amps TP (XE 100 CS)
on prepared board as required (SINO: 207/P-No 31)
|  |  | = | 1 | No | 9261 | P.No | Rs: | 9261
16 | Providing and fixing voltmeter meters size 96/96 mm 500 volts , as
required and as per instruction of Engineer Incharge (SINO: 285/P-41)
|  |  | = | 2 | Nos | 999 | P.No | Rs: | 1998
17 | P/F ammeters size 96/96 mm Direct 15A,30A,50A,60A, & 100A as
required and as per instruction of Engineer Incharge (SINO: 284/P-41)
|  |  | = | 2 | Nos | 1054 | P.No | Rs: | 2108
18 | Supplying of ceiling fan 56" sweep good quality (SINO 235/P-34)
|  |  | = | 30 | No | 3185 | P.No | Rs: | 95550
19 | Providing and fixing of street light 250 wattts (SON) having IP 54 clasification with
250 Watts lamp, chowk capacitor & internal wiring complete in all respect at the
Height Upto 31 feet as per site requirement and instruction of EI make of the
above light is as follow (SINO:161/P-25)
|  |  | = | 15 | Nos | 10105 | P.No | Rs: | 151575
[7 empty] | Total | Rs: | 831438
PART ( B ) Non -Schedule Items)
1 | Providing and fixing Energy Saver 24 Watts Superior quality
including fixing on existing holder etc complete. (R.A)
|  |  | = | 59 | Nos |  | P.No | Rs:
2 | Providing and fixing Energy wall bracket light fancy type Superior quality
including necessary electric connection and fixing on wall or ceiling etc
completed.
|  |  | = | 6 | Nos |  | P.No | Rs:
3 | Providing and fixing Midl steel bar fan clamps 15.8 mm (5/8") dia suitable
for RCC roof (R.A)
|  |  | = | 30 | Nos |  | P.No | Rs:
4 | Providin and fixing A/C ceiling fac regulator on metal board
recessed in the walls columns and covered with plastic sheet.
|  |  | = | 30 | Nos |  | P.No | Rs:
5 | P/F Pannal Board double shutter to accommodate heavy duty
circuit breacker bush bar i/c painting with enamelled paint and for other
similar jobs on surface (R.A)
|  |  | = | 6.25 | Sft |  | P.Set | Rs:
[7 empty] | Total (B) | Rs:
| Contractor |  |  |  |  | Executive Engineer Education Works Division Shaheed Benazirabad