SCHEDULE “B”

| NAME OF WORK | IMPROVEMENT & EXTENSION FOR RURAL WATER SUPPLY SCHEME SAHIB KHAN LUND. |
| --- | --- |

| A |  | SUB-WORK-III TUBE WELL 03 NOS: |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 01 |  | Boring for type for tube well in all water bearing soil from ground level upto 100ft of 30.30 meter depth i/c sinking and with drawing of costing pipe (PHSI No: 1 P/41) |  |  |  |
|  |  | 65.0RFT 12:Dia | RS:743/00 | P.RFT | RS: 48295/00 |
| 02 |  | Providing strong substantially build wooden locked box with compartment for preserving 2lbs (1kg) sample of per strata from bore holes (PSHI No: 5 P No: 43) |  |  |  |
|  |  | 01 No: | RS: 3530/00 | P No: | RS: 3530/00 |
| 03 |  | Taking & preserving in box 2lbs (1kg) P-samples of per strata from boreholes (PHSI No: 6 P No:43) |  |  |  |
|  |  | 05 Sample | RS: 101/00 | P. Sample | RS: 505/00 |
| 04 |  | Supplying and installing PVC strainer (B) class of approved design quality and making i/c necessary socket etc complete (PHSI No: 9 P No: 43) |  |  |  |
|  |  | 40.0RFT | RS: 554/05 | P.RFT | RS: 22160/00 |
| 05 |  | Supplying and installing PVC blind PVC blind pipe (B) class approved quality and make i/c necessary socket etc (PHSI No: 12 P No: 44) |  |  |  |
|  |  | 25.0RFT | RS: 516/80 | P.RFT | RS: 12920/00 |
| 06 |  | Shrouding with graded bajri 3/8”to 1/8” or 8 to 3mm in between bore and blind pipe for the following diameters of strainers (PHSI No: 13 P No:45) |  |  |  |
|  |  | 65.0RFT | RS: 105/00 | P.RFT | RS: 6825/00 |
| 07 |  | Supplying & fixing of and plugging PVC (PHSI No: 3 P No: 26) |  |  |  |
|  |  | 01 No: | RS: 1000/00 | EACH | RS: 1000/00 |
| 08 |  | Supplying & fixing M.S bail plug (PHSI No: 8b P No: 43) |  |  |  |
|  |  | 01 No: | RS: 2607/00 | EACH | RS: 2607/00 |
| 09 |  | Development of tube well testing charges of sample from laboratory (PHSI No: 8n P No: 43) |  |  |  |
|  |  | 65.00RFT | RS: 200/00 | P. RFT | RS: 13000/00 |
|  |  |  |  | TOTAL | RS: 110844/00 |
|  |  |  | 110844x3=332532/00 |  | RS: 332532/00 |
| B |  | PUMP HOUSE 04 NOS: |  |  |  |
| 01 |  | Excavation in foundation of buildings bridges &other structures i/c dag belling dressing& refilling around the structures with excavated earth lead up to one chain &lift up to 5 ft (c.s.i no 18 p no 4) |  |  |  |
|  |  | 193.50CFT | RS: 3176/25 | P-%0 CFT | RS: 615/00 |
| 02 |  | Cement concrete brick or stone ballast 1 ½”--2” guage (c.s.i no 4 p no:17) |  |  |  |
|  |  | 93.58 CFT | RS: 9416/28 | P % CFT | RS: 8812/00 |
| 03 |  | Random Rubble masonry (Un coursed) in foundation (1:6) (c.s.i no- p-32) |  |  |  |
|  |  | 105.74CFT | RS: 17723/00 | P-% CFT | RS: 18741/00 |
| 04 |  | Coursed Rubble masonry i/c hammer dressing ( c.s.i no-1 p-32) |  |  |  |
|  |  | 205.62 CFT | RS:25321/00 | P-% CFT | RS: 50265/00 |
| 05 |  | Damp proof coarse with cement sand & shingle concrete (1:2:4) i/c two coats Maxphalt mixture |  |  |  |
|  |  | 58.75 SFT | RS: 4982/18 | P-% SFT | RS: 2927/00 |
| 06 |  | Painting on stone work raised (CSI No: 20 P No: 53) Ratio 1:3 |  |  |  |
|  |  | 195.00 SFT | RS: 1758/08 | P %SFT | RS: 3428/00 |
| 07 |  | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |
|  |  | 18.74 CFT | RS: 11948/36 | P %CFT | RS: 2239/00 |
| 08 |  | Pacca brick work in foundation ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |
|  |  | 305.50 CFT | RS: 12674/36 | P %CFT | RS: 38733/00 |
| 09 |  | Fabrication of heavy steel with angle iron flat iron round iron & sheet iron for Making truses girder tanks etc i/c cutting drilling reviting handling assembling & fixing but excluding errection in position (C.S.I no-02 p- 96) |  |  |  |
|  |  | 4.41 CWT | RS: 4928/49 | P- CWT | RS: 21734/00 |
| 10 |  | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |
|  |  | 102.89 CFT | RS: 337/00 | P- CFT | RS: 34674/00 |
| 11 |  | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |
|  |  | 4.13 CWT | RS: 5001/70 | P- CWT | RS: 20657/00 |
| 12 |  | Filling watering and remaining earth under floor with new earth excavated from out side lead upto one chain |  |  |  |
|  |  | 327.75CFT | RS: 1512/50 | P%0CFT | RS: 496/00 |
| 13 |  | Preparing surface painting doors & window any type i/c edge |  |  |  |
|  |  | 164.00SFT | RS: 2116/41 | P-%SFT | RS: 2201/00 |
| 14 |  | Cement painting strict joints on walls |  |  |  |
|  |  | 438.25SFT | RS: 1213/58 | P-%SFT | RS: 5319/00 |
| 15 |  | Cement plaster 1:6 upto 12ft height |  |  |  |
|  |  | 472.50 SFT | RS: 2206/60 | P-% SFT | RS: 10426/00 |
| 16 |  | Cement plaster 1:4 upto 11ft height |  |  |  |
|  |  | 440.00 SFT | RS: 2197/52 | P-% SFT | RS: 9669/00 |
| 17 |  | White washing one coat (c.s.i no- 26 p-60) |  |  |  |
|  |  | 440.00 SFT | RS: 416/63 | P-% SFT | RS: 1833/00 |
|  |  | Three Coat |  |  |  |
|  |  | 214.50SFT | RS: 829/95 | P.%SFT | RS: 1780/00 |
| 18 |  | Colour washing Two Coats |  |  |  |
|  |  | 668.00 SFT | RS: 859/90 | P-%SFT | RS: 7464/00 |
| 20 |  | Providing and laying 1”thick topping cement concrete (1:24) ic surface and deriding in to panels |  |  |  |
|  |  | 109.25SFT | RS: 4411/82 | P-%SFT | RS: 4820/00 |
|  |  |  |  | TOTAL | RS: 248633/00 |
| C |  | STAFF QUARTER. | 248633x4=994532/00 |  | RS: 994532/00 |
| 01 |  | Excavation in foundation of buildings bridges &other structures i/c dag belling dressing& refilling around the structures with excavated earth lead up to one chain &lift up to 5 ft (c.s.i no 18 p no 4) |  |  |  |
|  |  | 290.62CFT | RS: 3176/25 | P-%0 CFT | RS: 923/00 |
| 02 |  | Cement concrete brick or stone ballast 1 ½”--2” guage (c.s.i no 4 p no:17) |  |  |  |
|  |  | 141.54 CFT | RS: 9416/28 | P % CFT | RS: 13328/00 |
| 03 |  | Random Rubble masonry (Un coursed) in foundation (1:6) (c.s.i no- p-32) |  |  |  |
|  |  | 161.43CFT | RS: 17723/00 | P-% CFT | RS: 28612/00 |
| 04 |  | Coursed Rubble masonry i/c hammer dressing ( c.s.i no-1 p-32) |  |  |  |
|  |  | 314.89 CFT | RS:25321/00 | P-% CFT | RS: 79761/00 |
| 05 |  | Damp proof coarse with cement sand & shingle concrete (1:2:4) i/c two coats Maxphalt mixture |  |  |  |
|  |  | 90.00 SFT | RS: 4982/18 | P-% SFT | RS: 4484/00 |
| 06 |  | Painting on stone work raised (CSI No: 20 P No: 53) Ratio 1:3 |  |  |  |
|  |  | 229.25 SFT | RS: 1758/08 | P %SFT | RS: 4030/00 |
| 07 |  | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |
|  |  | 18.74 CFT | RS: 11948/36 | P %CFT | RS: 2239/00 |
| 08 |  | Pacca brick work in foundation ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |
|  |  | 350.80 CFT | RS: 12674/36 | P %CFT | RS: 44462/00 |
| 09 |  | Fabrication of heavy steel with angle iron flat iron round iron & sheet iron for Making truses girder tanks etc i/c cutting drilling reviting handling assembling & fixing but excluding errection in position (C.S.I no-02 p- 96) |  |  |  |
|  |  | 4.41 CWT | RS: 4928/49 | P- CWT | RS: 21734/00 |
| 10 |  | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |
|  |  | 176.27 CFT | RS: 337/00 | P- CFT | RS: 59403/00 |
| 11 |  | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |
|  |  | 7.08 CWT | RS: 5001/70 | P- CWT | RS: 35412/00 |
| 12 |  | Filling watering and remaining earth under floor with new earth excavated from out side lead upto one chain |  |  |  |
|  |  | 517.50CFT | RS: 1512/50 | P%0CFT | RS: 783/00 |
| 13 |  | Preparing surface painting doors & window any type i/c edge |  |  |  |
|  |  | 116.00SFT | RS: 2116/41 | P-%SFT | RS: 2455/00 |
| 14 |  | Cement painting strict joints on walls |  |  |  |
|  |  | 463.03SFT | RS: 1213/58 | P-%SFT | RS: 5619/00 |
| 15 |  | Cement plaster 1:6 upto 12ft height |  |  |  |
|  |  | 679.18 SFT | RS: 2206/60 | P-% SFT | RS: 14987/00 |
| 16 |  | Cement plaster 1:4 upto 11ft height |  |  |  |
|  |  | 679.18 SFT | RS: 2197/52 | P-% SFT | RS: 14928/00 |
| 17 |  | White washing one coat (c.s.i no- 26 p-60) |  |  |  |
|  |  | 679.18 SFT | RS: 416/63 | P-% SFT | RS: 2830/00 |
|  |  | Three Coat |  |  |  |
|  |  | 333.00SFT | RS: 829/95 | P.%SFT | RS: 2764/00 |
| 18 |  | Colour washing Two Coats |  |  |  |
|  |  | 1142.21 SFT | RS: 849/90 | P-%SFT | RS: 9822/00 |
| 19 |  | Providing and laying 1”thick topping cement concrete (1:24) ic surface and deriding in to panels |  |  |  |
|  |  | 172.50SFT | RS: 3275/50 | P-%SFT | RS: 7610/00 |
|  |  |  |  | TOTAL | RS: 356183/00 |
| D | P.E RISING MAIN 6”DIA |  |  |  |  |
| 01 | Excavation in foundation of building bridges and structure i/c dag belling dressing refilling around the structure executed earth watering and ramming lead upto one chain lift upto 5dt in ordinary soil |  |  |  |  |
|  | 45000.00CFT |  | RS: 3600/00 | P.%0CFT | RS: 162000/00 |
| 02 | Providing laying fixing testing i/c fitting jointing and testing etc complete in all respect the high density polyethylene P.E pipe (HDPE-100) for w/s confirming 1504427/DIN8074/8075 PS3580 & PSI 3051 (PHSI 1 No: P No: 25) (P N 08) |  |  |  |  |
|  | 7500.00RFT |  | RS: 440/00 | P.RFT | RS:3300000/00 |
| 03 | P.E Specials (HDPE-100) P.N8 |  |  |  |  |
| a) | P.E Elbow 45’ P.N8 |  |  |  |  |
|  | 1 No: |  | RS: 2784/00 | P.No: | RS: 2784/00 |
|  | P.E Elbow 90’ P.N8 |  |  |  |  |
|  | 04Nos: |  | RS: 3480/00 | P.No: | RS: 13920/00 |
| 04 | P.E Reading Tee 160mmx90 (R.A) |  |  |  |  |
|  | 03 Nos: |  | RS: 8690/00 | Each | RS: 26070 |
| b) | Butt Fusion 6”Dia |  |  |  |  |
|  | 8 Nos: |  | RS: 1000/00 | P.No: | RS: 8000/00 |
| 05 | Refilling the excavated stuff in trenches 6”thick layers i/c watering ramming to full compacting |  |  |  |  |
|  | 40500.00CFT |  | RS: 2760/00 | P.%0 | RS: 111780/00 |
|  |  |  |  | TOTAL | RS: 3624554/00 |
| E | P.E DISTRIBUTION SYSTEM |  |  |  |  |
| 01 |  | Excavation in foundation of building bridges and structure i/c dag belling dressing refilling around the structure executed earth watering and ramming lead upto one chain lift upto 5dt in ordinary soil |  |  |  |
|  |  | 41100.00CFT | RS: 3600/00 | P.%0CFT | RS: 147907/00 |
| 02 |  | Providing laying fixing testing i/c fitting jointing and testing etc complete in all respect the high density polyethylene P.E pipe (HDPE-100) for w/s confirming 1504427/DIN8074/8075 PS3580 & PSI 3051 (PHSI 1 No: P No: 25) (P N 08) |  |  |  |
|  |  | 1350.00RFT 160.MM | RS: 440/00 | P.RFT | RS: 594000/00 |
|  |  | 2000.00RFT 110.MM | RS: 224/00 | P.RFT | RS: 448000/00 |
|  |  | 3500.00RFT 90.MM | RS: 148/00 | P.RFT | RS: 518000/00 |
| 03 |  | P.E Tee equal |  |  |  |
|  |  | 01 No: 6”Dia | RS: 4175/00 | EACH | RS: 4175/00 |
|  |  | 01 No: 4”Dia | RS: 1986/00 | EACH | RS: 1986/00 |
|  |  | 04 No: 3”Dia | RS: 1341/00 | EACH | RS: 5364/00 |
| 04 |  | P.E Elbow |  |  |  |
|  |  | 05 Nos: 45C | RS: 894/00 | EACH | RS: 4470/00 |
| 05 |  | 02 Nos: 90C | RS: 1118/00 | EACH | RS: 2236/00 |
| 06 |  | P.E reading Tee 160mm+90mm (R.A) |  |  |  |
|  |  | 01 No: | RS: 9100/00 | EACH | RS: 9100/00 |
| 07 |  | P.E reading Tee 110mm+90mm (R.A) |  |  |  |
|  |  | 02 Nos: | RS: 8690/00 | EACH | RS: 17380/00 |
|  |  | 02 Nos: | RS: 4870/00 | EACH | RS: 9740/00 |
| 08 |  | Stab End place 110/90mm |  |  |  |
|  |  | 03 Nos: | RS: 1616/00 | EACH | RS: 4848/00 |
| 09 |  | But Fusion Joint 6”Dia |  |  |  |
|  |  | 04 Joints 6”Dia | RS: 1000/00 | EACH | RS: 4000/00 |
|  |  | 04 Joints 4”Dia | RS: 1000/00 | EACH | RS: 4000/00 |
|  |  | 22 Joints 3”Dia | RS: 600/00 | EACH | RS: 13200/00 |
| 10 |  | Refilling the excavated stuff in trenches 6”thick layers i/c watering ramming to full compacting |  |  |  |
|  |  | 36900.00CFT | RS: 2760/00 | P.%0 | RS: 102092/00 |
|  |  |  |  | TOTAL | RS: 1890551/00 |
| F | PUMPING MACHINERY |  |  |  |  |
| 01 | Supplying & installing in position i/c transportation to site of work at Sahib Khan Lund, Electric pumping consisting AC electric motor (Golden Made) 10.0 BHP 5/4 1450RPM (Type-I) LA73-113-2AA 60 frame 60 MM coupled with ETA NORMS 100-250 size 5’/4’ mounted local sell frame are base plate of discharge 410 PM against the head of 40:ft installation of pumping set on cement concrete foundation Ratio 1:2:4 & 1:4:8 with stone ballast with MS nuts and bolts of 5/8 to be embedded in cement concrete foundation . Providing fixing M.C.U ( MEECO made) all accessories consisting of ASD 10 BHP (Oil starter) circuit breaker MCCB over load relay timer, relay push button ,indicators & internal wiring & all those companies are fixed in a metallic cost smoke proof box, providing internal electric wiring MCU to electric motor 3-7/0.44 PVC insulated wire 660 volts grade in 50 mm (2”) PVC conduit on surface as required i/c providing & fixing earthling set with 0.6 mm 0.6 mm (2x2x1/4) copper plate buried out in the ground @ depth 3.7 m (12ft) as per P.W.D-PHE specification & testing pumping set against the required head for 72 hours etc complete (R.A Approved) |  |  |  |  |
|  | 04SETS |  | RS: 291000/00 | P-SET | RS: 1164000/00 |
|  | INTERCONNECTION |  |  |  |  |
| 01 | Providing laying GI pipe & clamps etc i/c fixing cutting & fitting i/c the cost of breaking walls & making good etc: painting 3 coats after cleaning the pipe with zink paint with pigment to match the pressure head of 200ft & handing (saint Sch: I No: 1 P No: 12) |  |  |  |  |
|  | 32.00RFT |  | RS: 304/02 | P.RFT | RS: 9728/00 |
| 02 | Providing & fixing M.S flanged 3”dia made out of M/S sheet 3/8” thick i/c cutting holes etc complete (R.A Approved) based on schedule rates. |  |  |  |  |
|  | 32 Nos: |  | RS: 500/89 | P.No: | RS: 16028/00 |
| 03 | Providing laying & Fixing in trench i/c fitting, jointing & testing etc complete in all respect the high Density Polythene P.E Pipe (HPD-100) PN-10for W/S confirming ISO 4427/DIN8074/8075 B.S 3580 & PSI 3051 (PHI No: F-1 P No: 25) |  |  |  |  |
|  | 248.00RFT |  | RS: 178/00 | P.RFT | RS: 44144/00 |
| 04 | Butt fussion Joints 3”Dia |  |  |  |  |
|  | 24.00 Joints |  | RS: 600/00 | P. Joint | RS: 14400/00 |
| 05 | Flange Adopter 3”Dia |  |  |  |  |
|  | 24.00 Joints |  | RS: 675/00 | P. Joint | RS: 16200/00 |
| 06 | CI supplying reflex valve heavy pattern (test pressure 21.00kg / sq cm or 300ibs inch) SM PHSI 6 P 11. |  |  |  |  |
|  | 04 Nos: 3” Dia |  | RS: 1543/75 | Each | RS: 6175/00 |
| 07 | Supplying CI Sluice valve heavy pattern SM PHSI 2 P 10. |  |  |  |  |
|  | 04 Nos: 3” Dia |  | RS: 4290/00 | Each | RS: 17160/00 |
| 08 | Supplying of Foot valve heavy pattern with one cone end type gate SM PHSI 2 P 10. |  |  |  |  |
|  | 04 Nos: 3” Dia |  | RS: 731/25 | Each | RS: 2925/00 |
| 09 | CI bends with flanges with holes i/c turning facing flanges for all size. SM PHSI 8 P 11. |  |  |  |  |
|  | 2.10CWT |  | RS: 6096/00 | P.CWT | RS: 12802/00 |
| 10 | CI tapered flat bottomed or central tapered flanged with holes i/c turning and facing of flanged of all size |  |  |  |  |
|  | 0.95CWT |  | RS: 6096/00 | P.CWT | RS: 5791/00 |
| 11 | Jointing C.I/M.S flanges pipes & specials flanged & inside trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc & tools required for jointing & the joints to the specified pressure etc complete (PHSI No: 1 P No:40) 6’Dia |  |  |  |  |
|  | 32 Joints 3”Dia |  | RS: 499/00 | P.JOINT | RS: 15968/00 |
|  |  |  |  | TOTAL | RS: 1325321/00 |
| G | COMMUNITY STORAGE TANK |  |  |  |  |
| 01 | Excavation in foundation of blinding brides and other structures i/c blind design riffling around structure with excavated earth watering and remaining level laid up to 5”ft (CSI 18 P 4) |  |  |  |  |
|  | 194.09 CFT |  | RS:3176/25 | P %0CFT | RS 616/00 |
| 02 | Cement concrete plain i/c placing compacting finishing and curing complete with washing are stone arrangement without shuttering Ratio 1:4:8(CSI 5 P 18) |  |  |  |  |
|  | 115.77 CFT Ratio 1:4:8 |  | RS:11288/75 | P% CFT | RS:13069/00 |
|  | 85.87 CFT Ratio 1:2:4 |  | RS:14429/25 | P% CFT | RS:12390/00 |
| 03 | Pacca brick work in foundation (CSI No: 04 P No: 20) |  |  |  |  |
|  | 206.11 SFT |  | RS:11948/36 | P% SFT | RS:24627/00 |
| 04 | Filling watering ramming earth under floor with surplus excavated earth from out side lead upto one chain and lift upto 5ft (GSI No: 21 P No:04) |  |  |  |  |
|  | 45.70 CFT |  | RS:1512/50 | P%0 CFT | RS:69/00 |
| 05 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |  |
|  | 271.54 CFT |  | RS: 337/00 | P- CFT | RS: 91509/00 |
| 06 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |  |
|  | 13.33 CWT |  | RS: 5001/70 | P- CWT | RS: 66673/00 |
| 07 | Providing construction joints in concrete work of 9” (225mm) made corrugate P.V.C water stop (with bulb) soldering cost of material and labour (PHSI No: 02 P No: 56) |  |  |  |  |
|  | 54.95 RFT |  | RS: 86/00 | P- RFT | RS: 4726/00 |
| 08 | Cement plaster (1:4) upto 12’ height ½ thick (GSI No: 11 P No: 51) |  |  |  |  |
|  | 343.22 SFT |  | RS: 2283/93 | P%SFT | RS: 7839/00 |
| 09 | Cement plaster (1:4) upto 12’ height ¾ thick (GSI No: 11 P No: 51) |  |  |  |  |
|  | 599.74 SFT |  | RS: 3015/76 | P%SFT | RS: 18087/00 |
| 10 | Supply of Dampo (Schedule of Material No: 1-46 P No: 04 ) |  |  |  |  |
|  | 5.44 KG |  | RS: 125/00 | P.KG | RS: 680/00 |
| 11 | Providing G.I standard approved quality to tested with pressure head 200ft (CSI No: 1 P No: 03) |  |  |  |  |
|  | 5.00 RFT ¾ :Dia |  | RS: 62/38 | P- RFT | RS: 312/00 |
|  | 25.00 RFT 3Dia |  | RS: 304/02 | P- RFT | RS: 7601/00 |
| 12 | Providing and fixing M.S 3:dia flanged out of M.S steel 3/8”thick (Based on Sch: rate) |  |  |  |  |
|  | 8 Nos: |  | RS: 500/89 | EACH | RS: 4007/00 |
| 13 | Supplying and fixing in position brass bib cock ¾ “dia standard pattern (Sant: 1-13 P No: 18) |  |  |  |  |
|  | 5.00 Nos: |  | RS: 300/00 | EACH | RS: 1500/00 |
| 14 | C.I Bend with flanged ends with holes i/c turning facing flanged for all size (PHSI (M) 1-8 P-11 ) |  |  |  |  |
|  | 0.58 CWT |  | RS: 6096/00 | P.CWT | RS: 3520/00 |
| 15 | Cost iron specials for AC pressure pipes of class B ACIL (PHSI P No: 15) |  |  |  |  |
|  | 01 No: |  | RS: 375/00 | EACH | RS: 375/00 |
| 16 | CI Sluice valve 3”Dia |  |  |  |  |
|  | 01 No: |  | RS: 4290/00 | EACH | RS: 4290/00 |
| 17 | G.I Socket ¾ “Dia |  |  |  |  |
|  | 05 Nos: |  | RS: 25/00 | EACH | RS: 125/00 |
| 18 | Jointing C.I/M.S flanges pipes & specials flanged & inside trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc & tools required for jointing & the joints to the specified pressure etc complete (PHSI No: 1 P No:40) 6’Dia |  |  |  |  |
|  | 05 Joints 3”Dia |  | RS: 499/00 | P.JOINT | RS: 2495/00 |
| 19 | Providing CI Main Hole Cover & Frame i/c cost of material etc (PSHI No: 1 P No: 35) |  |  |  |  |
|  | 01 No: |  | RS: 6985/00 | EACH | RS: 6985/00 |
| 20 | CI Sluice valve heavy pattern test pressure 21Kg/Sq:cm or 300lbs/ sq: inch: (PSHI No: 2 P No: 11) |  |  |  |  |
|  | 01 No: 3”Dia |  | RS: 4290/00 | EACH | RS: 4290/00 |
| 21 | Providing Fixing CI ventilator not be less than 90lbs once in roof tank of approved design rain with water right joints i/c painting etc complete (PHSI No: 04 P No: 55) |  |  |  |  |
|  | 01 No: |  | RS: 4870/00 | EACH | RS: 4870/00 |
|  |  |  |  |  | RS: 276365/00 |
|  |  |  | 276365x3=829096/00 | TOTAL | RS: 829096/00 |

ABSTRACT

| S# | NAME OF WORK | SCHEDULE | NON- SCHEDULE | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Tube 03 Nos | 332532.00 | 00 | 332532.00 |
| 2 | Pump House 04 Nos: | 994532.00 | 00 | 994532.00 |
| 3 | Staff Quarter | 356183.00 | 00 | 356183.00 |
| 4 | P.E Rising Main | 3598484.00 | 26070.00 | 3624554.00 |
| 5 | Distribution System | 1854331.00 | 36220.00 | 1890551.00 |
| 6 | Pumping Machinery | 161321.00 | 1164000.00 | 1325321.00 |
| 7 | L.S.R 03 Nos: | 829095.00 | 00 | 829095.00 |
|  | TOTAL | 8126478.00 | 1226290.00 | 9352768.00 |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |

CONDITION

| 01 | The work shall have to be executed according to PWD/PHE specification |
| --- | --- |
| 02 | No premium on non schedule item shall be allowed to the contractor |
| 03 | Any error omission in the description of item of work and the rate shall be governed with the relevant schedule of rate and estimate |
| 04 | The contractor shall have to bring the material to be used from the quarries mentioned in the estimate |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |