SCHEDULE “B”

| NAME OF WORK | CONSTRUCTION OF SURFACE DRAINS & CC BLOCK (PART-III KALHORA PHATAK ZONE) FOR URBAN DRAINAGE SCHEME MIRPUR MATHELO. |
| --- | --- |

| A | SURFACE DRAINS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Excavation for foundation of building bridges and other structures i/c dag belling dressing refilling around structure with executed earth watering & ramming lift upto 5”ft (CSI No: 18 P No: 04) |  |  |  |  |  |  |  |
|  | 33560.05CFT |  |  | RS:3176/25 |  | P%0CFT |  | RS: 106595/00 |
| 02 | Cement concrete plain i/c placing compacting finishing and curing i/c screening and washing of stone aggregate without shuttering Ratio 1:4:8 (CSI No: 05 P No: 16) |  |  |  |  |  |  |  |
|  | 5577.50 CFT | Ratio 1:4:8 |  | RS: 11288/75 |  | P%CFT |  | RS: 629630/00 |
|  | 673.62CFT | Ratio 1:2:4 |  | RS: 14429/25 |  | P%CFT |  | RS: 97199/00 |
| 03 | Pacca brick work in foundation and plinth in cement sand mortar 41:6 (CSI No: 04 P. No: 21). |  |  |  |  |  |  |  |
|  | 22624.25CFT |  |  | RS: 11948/36 |  | P.%CFT |  | RS: 2703227/00 |
| 04 | Construction of open drains cunettee block of cement concrete (1:2:4) n situ to design profile i/c applying floating coat of cement 1/3” thick to the exposed face finished smooth curing etc complete as per detailed drawing (PHSI No: P No: 58). |  |  |  |  |  |  |  |
|  | 5500.00RFT Type-I |  |  | RS: 94/00 |  | P.RFT |  | RS: 517000/00 |
|  | 3000.0CFT Type-II |  |  | RS: 174/00 |  | P.RFT |  | RS: 522000/00 |
| 05 | Cement plaster (1:4) up to 20” height ½” (CSI No: 11 P No: 52) |  |  |  |  |  |  |  |
|  | 35000.00SFT |  |  | RS: 2283/93 |  | P.%SFT |  | RS: 799375/00 |
| 06 | RCC work in roof slabs beams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respect. (CSI No: 6 P No: 18) |  |  |  |  |  |  |  |
|  | 442.80 CFT |  |  | RS: 337/00 |  | P.%CFT |  | RS: 149224/00 |
| 07 | Fabrication of Mild Steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars. (CSI No7 P.20). |  |  |  |  |  |  |  |
|  | 15.81 CWT |  |  | RS: 5001/70 |  | P.CWT |  | RS: 79077/00 |
|  |  |  |  |  |  | TOTAL |  | RS: 5603327/00 |
| B | CC BLOCK |  |  |  |  |  |  |  |
| 01 | Barrow pit excavation under said lead up to 100 ft( CSI No. 3 P. 11 |  |  |  |  |  |  |  |
|  | 68440.00CFT |  |  | RS: 2117/50 | P.%0CFT |  | RS: 144922/00 |  |
| 02 | Carraige of Earth (CSI No:08 P No: 02) |  |  |  |  |  |  |  |
|  | 68440.00CFT |  |  | RS: 579/41 | P.%0CFT |  | RS: 396548/00 |  |
| 03 | Laying earth in 6” layer leveling dressing & watering for compaction etc complete |  |  |  |  |  |  |  |
|  | 102000.00CFT |  |  | RS: 354/00 | P.%0CFT |  | RS: 36108/00 |  |
| 04 | Cement concrete brick or stone ballast 1 ½ to 2” gauge (CSI No: 4 P No: 17) |  |  |  |  |  |  |  |
|  | 22440.00CFT |  |  | RS: 9416/28 | P.%CFT |  | RS: 2113013/00 |  |
| 05 | Cement Concrete plain compacting finishing and queering etc complete 1:2:4 i/c surface finishing and dividing in to panels 3” thick. (CSI No: 5 P No: 16). |  |  |  |  |  |  |  |
|  | 17000.00SFT |  |  | RS: 14429/25 | P.%SFT |  | RS: 2452972/00 |  |
| 06 | Eraction and removal of centering for RCC plain CC work of partal wood works of wood. |  |  |  |  |  |  |  |
|  | 4250.00SFT |  |  | RS: 3127/41 | P.%SFT |  | RS: 132915/00 |  |
|  |  |  |  |  | TOTAL |  | RS: 5276678/00 |  |
| C | CATCH PIT |  |  |  |  |  |  |  |
| 01 | Excavation for foundation of building bridges and other structures i/c dag belling dressing refilling around structure with executed earth watering & ramming lift upto 5”ft (CSI No: 18 P No: 04) |  |  |  |  |  |  |  |
|  | 112.50CFT |  |  | RS:3176/25 | P%0CFT |  | RS: 357/00 |  |
| 02 | Cement concrete plain i/c placing compacting finishing and curing i/c screening and washing of stone aggregate without shuttering Ratio 1:4:8 (CSI No: 05 P No: 16) |  |  |  |  |  |  |  |
|  | 12.50 CFT |  | Ratio 1:4:8 | RS: 11288/75 | P%CFT |  | RS: 1411/00 |  |
|  | 1.96CFT |  | Ratio 1:2:4 | RS: 14429/25 | P%CFT |  | RS: 283/00 |  |
| 03 | Pacca brick work in foundation and plinth in cement sand mortar 41:6 (CSI No: 04 P. No: 21). |  |  |  |  |  |  |  |
|  | 53.46CFT |  |  | RS: 11948/36 | P.%CFT |  | RS: 6388/00 |  |
| 04 | Cement plaster (1:4) up to 20” height ½” (CSI No: 11 P No: 52) |  |  |  |  |  |  |  |
|  | 54.00SFT |  |  | RS: 2283/93 | P.%SFT |  | RS: 1233/00 |  |
| 05 | RCC work in roof slabs beams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respect. (CSI No: 6 P No: 18) |  |  |  |  |  |  |  |
|  | 13.50 CFT |  |  | RS: 337/00 | P.%CFT |  | RS: 4550/00 |  |
| 05 | Fabrication of Mild Steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars. (CSI No7 P.20). |  |  |  |  |  |  |  |
|  | 0.54 CWT |  |  | RS: 5001/70 | P.CWT |  | RS: 2701/00 |  |
| 06 | Small iron work such as gusset plate knees bends, stirrups, rings etc including cutting drilling, reverting handling assembling and fixing but excluding erection in position (CSI No: 1 P No: 91) |  |  |  |  |  |  |  |
|  | 1.84CWT |  |  | RS: 6420/61 | P.CWT |  | RS: 11814/00 |  |
| 07 | Erection and fitting in position of iron trusses staging of water tank etc |  |  |  |  |  |  |  |
|  | 1.84CWT |  |  | RS: 271/04 | P.CWT |  | RS: 499/00 |  |
|  |  |  |  |  | TOTAL |  | RS: 29236/00 |  |
|  |  |  |  |  | 29236x15=438540/00 |  | RS: 438540/00 |  |
| D | INTECONNECTION |  |  |  |  |  |  |  |
| 01 | Dismantling & removing road metalling ( CSI No:51 P No:13) |  |  |  |  |  |  |  |
|  | 720.00CFT |  |  | RS: 605/00 | P.%CFT |  | RS: 4356/00 |  |
| 01 | Excavation for pipe line in trenches & pits in soft soil i/c trimming & dressing sides to true alignment & shape leveling of beds to correct level & grade, cutting joint, holes & disposal of surplus earth with in one chain as directed by Engineer incharge .providing fence guard, light flags & temporary crossing for non vehicular traffic where ever required lift up to 5 ft (1.52 m) & lead up to one chain (30.5 m) (P.H.S.I no-1 p-46) |  |  |  |  |  |  |  |
|  | 4240.00CFT |  |  | RS:3600/00 | P-%0 CFT |  | RS: 15264/00 |  |
| 02 | Providing laying RCC pipes of ASTM C-76-62 T/C 76-70 callas II wall “B” & fixing in trenches i/c cutting fitting & jointing with rubber rings i/c testing with water to specified pressure (PHSI No: 1 P No: 17) |  |  |  |  |  |  |  |
|  | 80.00 RFT 09”Dia |  |  | RS: 229/00 | P-RFT |  | RS: 18320/00 |  |
|  | 240.00 RFT 12”Dia |  |  | RS: 412/00 | P-RFT |  | RS: 98880/00 |  |
|  | 160.00 RFT 18”Dia |  |  | RS: 618/00 | P-RFT |  | RS: 98880/00 |  |
| 03 | Dry rammed brick or stone ballast 1 1/2 “ to 2”guage (CSI No: 2 P No: 15) |  |  |  |  |  |  |  |
|  | 580.00CFT |  |  | RS: 1028/50 | P%0CFT |  | RS: 5965/00 |  |
| 04 | Cement plaster 1:4 to upto 12.0ft height & ½” thick (CSI No: 11 P No: 52) |  |  |  |  |  |  |  |
|  | 777.15SFT |  |  | RS: 2283/93 | P.%SFT |  | RS: 17750/00 |  |
| 05 | High bond polymer compound (SMI No: 48 P No: 04) |  |  |  |  |  |  |  |
|  | 28.36KG |  |  | RS: 154/00 | P.KG |  | RS: 4368/00 |  |
| 06 | Supplying and filling under floor & plugging in wells (CSI No: 29 P No 31) |  |  |  |  |  |  |  |
|  | 960.00CFT |  |  | RS: 1141/25 | P%CFT |  | RS: 10956/00 |  |
| 07 | Refilling the excavated stuff in trenches 6’ thick layers i/c watering ramming to full compaction etc complete (P.H.S.I no-24 p-53) |  |  |  |  |  |  |  |
|  | 3280.00 CFT |  |  | RS: 2760/00 | P%0 CFT |  | RS: 9053/00 |  |
|  |  |  |  |  | TOTAL |  | RS: 283792/00 |  |

ABSTRACT

| S# | NAME OF WORK | SCHEDULE | NON- SCHEDULE | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Surface Drains | 5603327/00 | 00 | 5603327/00 |
| 2 | CC Block | 5276678/00 | 00 | 5276678/00 |
| 3 | Interconnection i/c Catch pit | 722332/00 | 00 | 722332/00 |
|  |  | 11602337/00 | 00 | 11602337/00 |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |

CONDITION

| 01 | The work shall have to be executed according to PWD/PHE specification |
| --- | --- |
| 02 | No premium on non schedule item shall be allowed to the contractor |
| 03 | Any error omission in the description of item of work and the rate shall be governed with the relevant schedule of rate and estimate |
| 04 | The contractor shall have to bring the material to be used from the quarries mentioned in the estimate |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |