SCHEDULE “B”

| NAME OF WORK | IMPROVEMENT & EXTENSION FOR RURAL WATER SUPPLY SCHEME RETTI TALUKA UBAURO DISTRICT GHOTKI. |
| --- | --- |

| A |  | TUBE WELL 06 NOS: |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 01 |  | Boring for type for tube well in all water bearing soil from ground level upto 100ft of 30.30 meter depth i/c sinking and with drawing of costing pipe (PHSI No: 1 P/41) |  |  |  |
|  |  | 90.0RFT 12:Dia | RS:743/00 | P.RFT | RS: 66870/00 |
| 02 |  | Providing strong substantially build wooden locked box with compartment for preserving 2lbs (1kg) sample of per strata from bore holes (PSHI No: 5 P No: 43) |  |  |  |
|  |  | 01 No: | RS: 3530/00 | P No: | RS: 3530/00 |
| 03 |  | Taking & preserving in box 2lbs (1kg) P-samples of per strata from boreholes (PHSI No: 6 P No:43) |  |  |  |
|  |  | 05 Sample | RS: 101/00 | P.Sample | RS: 505/00 |
| 04 |  | Supplying and installing PVC strainer (B) class of approved design quality and making i/c necessary socket etc complete (PHSI No: 9 P No: 43) |  |  |  |
|  |  | 60.0RFT | RS: 554/05 | P.RFT | RS: 33243/00 |
| 05 |  | Supplying and installing PVC blind PVC blind pipe (B) class approved quality and make i/c necessary socket etc (PHSI No: 12 P No: 44) |  |  |  |
|  |  | 35.0RFT | RS: 516/80 | P.RFT | RS: 18088/00 |
| 06 |  | Shrouding with graded bajri 3/8”to 1/8” or 8 to 3mm in between bore and blind pipe for the following diameters of strainers (PHSI No: 13 P No:45) |  |  |  |
|  |  | 90.0RFT | RS: 105/00 | P.RFT | RS: 9450/00 |
| 07 |  | Supplying & fixing of and plugging PVC (PHSI No: 3 P No: 26) |  |  |  |
|  |  | 01 No: | RS: 1000/00 | EACH | RS: 1000/00 |
| 08 |  | Supplying & fixing M.S bail plug (PHSI No: 8b P No: 43) |  |  |  |
|  |  | 01 No: | RS: 2607/00 | EACH | RS: 2607/00 |
| 09 |  | Development of tube well testing charges of sample from laboratory (PHSI No: 8n P No: 43) |  |  |  |
|  |  | 90.00RFT | RS: 200/00 | P. RFT | RS: 18000/00 |
|  |  |  |  | TOTAL | RS: 153293/00 |
|  |  |  | 153293x6=919758/00 |  | RS: 919758/00 |
| B |  | PUMP HOUSE 04 NOS: |  |  |  |
| 01 |  | Excavation in foundation of buildings bridges &other structures i/c dag belling dressing& refilling around the structures with excavated earth lead up to one chain &lift up to 5 ft (c.s.i no 18 p no 4) |  |  |  |
|  |  | 193.50CFT | RS: 3176/25 | P-%0 CFT | RS: 615/00 |
| 02 |  | Cement concrete brick or stone ballast 1 ½”--2” guage (c.s.i no 4 p no:17) |  |  |  |
|  |  | 93.58 CFT | RS: 9416/28 | P % CFT | RS: 8812/00 |
| 03 |  | Random Rubble masonry (Un coursed) in foundation (1:6) (c.s.i no- p-32) |  |  |  |
|  |  | 105.74CFT | RS: 17723/00 | P-% CFT | RS: 18741/00 |
| 04 |  | Coursed Rubble masonry i/c hammer dressing ( c.s.i no-1 p-32) |  |  |  |
|  |  | 205.62 CFT | RS:25321/00 | P-% CFT | RS: 50265/00 |
| 05 |  | Damp proof coarse with cement sand & shingle concrete (1:2:4) i/c two coats Maxphalt mixture |  |  |  |
|  |  | 58.75 SFT | RS: 4982/18 | P-% SFT | RS: 2927/00 |
| 06 |  | Painting on stone work raised (CSI No: 20 P No: 53) Ratio 1:3 |  |  |  |
|  |  | 195.00 SFT | RS: 1758/08 | P %SFT | RS: 3428/00 |
| 07 |  | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |
|  |  | 18.74 CFT | RS: 11948/36 | P %CFT | RS: 2239/00 |
| 08 |  | Pacca brick work in foundation ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |
|  |  | 305.50 CFT | RS: 12674/36 | P %CFT | RS: 38733/00 |
| 09 |  | Fabrication of heavy steel with angle iron flat iron round iron & sheet iron for Making truses girder tanks etc i/c cutting drilling reviting handling assembling & fixing but excluding errection in position (C.S.I no-02 p- 96) |  |  |  |
|  |  | 4.41 CWT | RS: 4928/49 | P- CWT | RS: 21734/00 |
| 10 |  | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |
|  |  | 102.89 CFT | RS: 337/00 | P- CFT | RS: 34674/00 |
| 11 |  | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |
|  |  | 4.13 CWT | RS: 5001/70 | P- CWT | RS: 20657/00 |
| 12 |  | Filling watering and remaining earth under floor with new earth excavated from out side lead upto one chain |  |  |  |
|  |  | 327.75CFT | RS: 1512/50 | P%0CFT | RS: 496/00 |
| 13 |  | Preparing surface painting doors & window any type i/c edge |  |  |  |
|  |  | 164.00SFT | RS: 2116/41 | P-%SFT | RS: 2201/00 |
| 14 |  | Cement painting strict joints on walls |  |  |  |
|  |  | 438.25SFT | RS: 1213/58 | P-%SFT | RS: 5319/00 |
| 15 |  | Cement plaster 1:6 upto 12ft height |  |  |  |
|  |  | 472.50 SFT | RS: 2206/60 | P-% SFT | RS: 10426/00 |
| 16 |  | Cement plaster 1:4 upto 11ft height |  |  |  |
|  |  | 440.00 SFT | RS: 2197/52 | P-% SFT | RS: 9669/00 |
| 17 |  | White washing one coat (c.s.i no- 26 p-60) |  |  |  |
|  |  | 440.00 SFT | RS: 416/63 | P-% SFT | RS: 1833/00 |
|  |  | Three Coat |  |  |  |
|  |  | 214.50SFT | RS: 829/95 | P.%SFT | RS: 1780/00 |
| 18 |  | Colour washing Two Coats |  |  |  |
|  |  | 668.00 SFT | RS: 859/90 | P-%SFT | RS: 7464/00 |
| 20 |  | Providing and laying 1”thick topping cement concrete (1:24) ic surface and deriding in to panels |  |  |  |
|  |  | 109.25SFT | RS: 4411/82 | P-%SFT | RS: 4820/00 |
|  |  |  |  | TOTAL | RS: 248633/00 |
| C |  | STAFF QUARTER. | 248633x6=1491798/00 |  | RS: 1491798/00 |
| 01 |  | Excavation in foundation of buildings bridges &other structures i/c dag belling dressing& refilling around the structures with excavated earth lead up to one chain &lift up to 5 ft (c.s.i no 18 p no 4) |  |  |  |
|  |  | 290.62CFT | RS: 3176/25 | P-%0 CFT | RS: 923/00 |
| 02 |  | Cement concrete brick or stone ballast 1 ½”--2” guage (c.s.i no 4 p no:17) |  |  |  |
|  |  | 141.54 CFT | RS: 9416/28 | P % CFT | RS: 13328/00 |
| 03 |  | Random Rubble masonry (Un coursed) in foundation (1:6) (c.s.i no- p-32) |  |  |  |
|  |  | 161.43CFT | RS: 17723/00 | P-% CFT | RS: 28612/00 |
| 04 |  | Coursed Rubble masonry i/c hammer dressing ( c.s.i no-1 p-32) |  |  |  |
|  |  | 314.89 CFT | RS:25321/00 | P-% CFT | RS: 79761/00 |
| 05 |  | Damp proof coarse with cement sand & shingle concrete (1:2:4) i/c two coats Maxphalt mixture |  |  |  |
|  |  | 90.00 SFT | RS: 4982/18 | P-% SFT | RS: 4484/00 |
| 06 |  | Painting on stone work raised (CSI No: 20 P No: 53) Ratio 1:3 |  |  |  |
|  |  | 229.25 SFT | RS: 1758/08 | P %SFT | RS: 4030/00 |
| 07 |  | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |
|  |  | 18.74 CFT | RS: 11948/36 | P %CFT | RS: 2239/00 |
| 08 |  | Pacca brick work in foundation ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |
|  |  | 350.80 CFT | RS: 12674/36 | P %CFT | RS: 44462/00 |
| 09 |  | Fabrication of heavy steel with angle iron flat iron round iron & sheet iron for Making truses girder tanks etc i/c cutting drilling reviting handling assembling & fixing but excluding errection in position (C.S.I no-02 p- 96) |  |  |  |
|  |  | 4.41 CWT | RS: 4928/49 | P- CWT | RS: 21734/00 |
| 10 |  | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |
|  |  | 176.27 CFT | RS: 337/00 | P- CFT | RS: 59403/00 |
| 11 |  | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |
|  |  | 7.08 CWT | RS: 5001/70 | P- CWT | RS: 35412/00 |
| 12 |  | Filling watering and remaining earth under floor with new earth excavated from out side lead upto one chain |  |  |  |
|  |  | 517.50CFT | RS: 1512/50 | P%0CFT | RS: 783/00 |
| 13 |  | Preparing surface painting doors & window any type i/c edge |  |  |  |
|  |  | 116.00SFT | RS: 2116/41 | P-%SFT | RS: 2455/00 |
| 14 |  | Cement painting strict joints on walls |  |  |  |
|  |  | 463.03SFT | RS: 1213/58 | P-%SFT | RS: 5619/00 |
| 15 |  | Cement plaster 1:6 upto 12ft height |  |  |  |
|  |  | 679.18 SFT | RS: 2206/60 | P-% SFT | RS: 14987/00 |
| 16 |  | Cement plaster 1:4 upto 11ft height |  |  |  |
|  |  | 679.18 SFT | RS: 2197/52 | P-% SFT | RS: 14928/00 |
| 17 |  | White washing one coat (c.s.i no- 26 p-60) |  |  |  |
|  |  | 679.18 SFT | RS: 416/63 | P-% SFT | RS: 2830/00 |
|  |  | Three Coat |  |  |  |
|  |  | 333.00SFT | RS: 829/95 | P.%SFT | RS: 2764/00 |
| 18 |  | Colour washing Two Coats |  |  |  |
|  |  | 1142.21 SFT | RS: 849/90 | P-%SFT | RS: 9822/00 |
| 19 |  | Providing and laying 1”thick topping cement concrete (1:24) ic surface and deriding in to panels |  |  |  |
|  |  | 172.50SFT | RS: 3275/50 | P-%SFT | RS: 7610/00 |
|  |  |  |  | TOTAL | RS: 356183/00 |
| D | P.E RISING MAIN 6”DIA |  |  |  |  |
| 01 | Excavation in foundation of building bridges and structure i/c dag belling dressing refilling around the structure executed earth watering and ramming lead upto one chain lift upto 5dt in ordinary soil |  |  |  |  |
|  | 96250.00CFT |  | RS: 3600/00 | P.%0CFT | RS: 346500/00 |
| 02 | Providing laying fixing testing i/c fitting jointing and testing etc complete in all respect the high density polyethylene P.E pipe (HDPE-100) for w/s confirming 1504427/DIN8074/8075 PS3580 & PSI 3051 (PHSI 1 No: P No: 25) (P N 08) |  |  |  |  |
|  | 11000.00RFT |  | RS: 860/00 | P.RFT | RS: 9460000/00 |
| 03 | P.E Specials (HDPE-100) P.N8 |  |  |  |  |
| a) | P.E Elbow 90’ P.N8 |  |  |  |  |
|  | 04 Nos: 8”Dia |  | RS: 6874/00 | P.No: | RS: 27496/00 |
|  | P.E Elbow 90’ P.N8 |  |  |  |  |
|  | 06 Nos: 3”Dia |  | RS: 1118/00 | P.No: | RS: 6708/00 |
| 04 | P.E Cross Tee 225mmx225 |  |  |  |  |
|  | 01 No: 8”Dia |  | RS: 8249/00 | Each | RS: 9047/00 |
| 05 | P.E Reading Tee 200mmx90mm (R.A) |  |  |  |  |
|  | 07 Nos: |  | RS: 22600/00 | Each | RS: 158200/00 |
| 06 | P.E Reading Tee 225mmx110mm (R.A) |  |  |  |  |
|  | 01 No: |  | RS: 22800/00 | Each | RS: 22800/00 |
| 07 | Butt Fusion |  |  |  |  |
|  | 14 Joint 8”Dia |  | RS: 1800/00 | P.No: | RS: 25200/00 |
|  | 01 Joint 4”Dia |  | RS: 1000/00 | P.No: | RS: 1000/00 |
|  | 08 Joint 3”Dia |  | RS: 600/00 | P.No: | RS: 4800/00 |
| 08 | Refilling the excavated stuff in trenches 6”thick layers i/c watering ramming to full compacting |  |  |  |  |
|  | 86625.00CFT |  | RS: 2760/00 | P.%0 | RS: 239085/00 |
|  |  |  |  | TOTAL | RS: 10300038/00 |
| E | P.E DISTRIBUTION SYSTEM |  |  |  |  |
| 01 |  | Excavation in foundation of building bridges and structure i/c dag belling dressing refilling around the structure executed earth watering and ramming lead upto one chain lift upto 5dt in ordinary soil |  |  |  |
|  |  | 100200.00CFT | RS: 3600/00 | P.%0CFT | RS: 360720/00 |
| 02 |  | Providing laying fixing testing i/c fitting jointing and testing etc complete in all respect the high density polyethylene P.E pipe (HDPE-100) for w/s confirming 1504427/DIN8074/8075 PS3580 & PSI 3051 (PHSI 1 No: P No: 25) (P N 08) |  |  |  |
|  |  | 300.00RFT 160.MM | RS: 440/00 | P.RFT | RS: 1320000/00 |
|  |  | 5700.00RFT 110.MM | RS: 224/00 | P.RFT | RS: 1276000/00 |
|  |  | 8000.00RFT 90.MM | RS: 148/00 | P.RFT | RS: 1184000/00 |
| 03 |  | P.E Tee equal |  |  |  |
|  |  | 01 No: 6”Dia | RS: 4175/00 | EACH | RS: 4175/00 |
|  |  | 02 No: 4”Dia | RS: 1986/00 | EACH | RS: 3972/00 |
|  |  | 03 No: 3”Dia | RS: 1341/00 | EACH | RS: 4023/00 |
| 04 |  | P.E Elbow 45C |  |  |  |
|  |  | 03 Nos: 3”Dia | RS: 894/00 | EACH | RS: 2682/00 |
|  |  | 01 No: 6” Dia 90C | RS: 3480/00 | EACH | RS: 3480/00 |
|  |  | 03 Nos: 4”Dia | RS: 1655/00 | EACH | RS: 4965/00 |
|  |  | 03 Nos: 3”Dia | RS: 1118/00 | EACH | RS: 3354/00 |
| 06 |  | P.E reading Tee 160mm+90mm (R.A) |  |  |  |
|  |  | 01 No: | RS: 9100/00 | EACH | RS: 9100/00 |
| 07 |  | P.E reading Tee 110mm+90mm (R.A) |  |  |  |
|  |  | 14 Nos: | RS: 4870/00 | EACH | RS: 68180/00 |
| 08 |  | Stab End place 110/90mm |  |  |  |
|  |  | 11 Nos: | RS: 1616/00 | EACH | RS: 17776/00 |
| 09 |  | But Fusion Joint 6”Dia |  |  |  |
|  |  | 04 Joints 6”Dia | RS: 1000/00 | EACH | RS: 4000/00 |
|  |  | 20 Joints 4”Dia | RS: 1000/00 | EACH | RS: 20000/00 |
|  |  | 37 Joints 3”Dia | RS: 600/00 | EACH | RS: 22200/00 |
| 10 |  | Refilling the excavated stuff in trenches 6”thick layers i/c watering ramming to full compacting |  |  |  |
|  |  | 90180.00CFT | RS: 2760/00 | P.%0 | RS: 248897/00 |
|  |  |  |  | TOTAL | RS: 4557524/00 |
| F | PUMPING MACHINERY |  |  |  |  |
| 01 | Supplying & installing in position i/c transportation to site of work at Retti, (Golden Made) SAER Submersible Pump NR-151D/10 Type 6”(2-1/2”) with +6-CL 140 10.0 BHP 3 phase Electric Motor Origin: SAER- Italy for discharge 90GMP @ 200ft head made accessories for 40ft setting its under control panel having instrument main circuit breaker –phase failure over load relay. Magnetic conductor, dry running protector Ampere / Volt meter LEDs Electric drop Cable 16mm2-3core x100ft water proof joint G.T pipe 2-1/2” III M gradex50 feet G.I Delivery pipe 2-1/2” III M Gradex5 feet M.S foundation plate with T-bolt M.S holding clamp x2-1/2”x1” socket 2-1/2”x30 M.S bore cover plate x I wire Rope with clamp x100 feet i/c earth, fixing automatic MCU (Motor control unit) consists oil starter (MEECO PAKISTAN) mccbb breaker oil, 10-A to 50-A (Shihlin Taiwan) cut out 60-A china AMP meter (60-A)SELCO China, volt meter 500-V (SELCO China) phase indication light (China) i/c transformer oil (2- liter) panel board 18”x26” & internal wiring etc complete providing fixing earth arrangement & CC foundation & making necessary arrangements for testing of complete set against the required for 72hours (A.A approved) |  |  |  |  |
|  | 06SETS |  | RS: 562000/00 | P-SET | RS: 3372000/00 |
|  | INTERCONNECTION |  |  |  |  |
| 01 | Providing laying GI pipe & clamps etc i/c fixing cutting & fitting i/c the cost of breaking walls & making good etc: painting 3 coats after cleaning the pipe with zink paint with pigment to match the pressure head of 200ft & handing (saint Sch: I No: 1 P No: 12) |  |  |  |  |
|  | 48.00RFT |  | RS: 304/02 | P.RFT | RS: 14593/00 |
| 02 | Providing & fixing M.S flanged 3”dia made out of M/S sheet 3/8” thick i/c cutting holes etc complete (R.A Approved) based on schedule rates. |  |  |  |  |
|  | 48 Nos: |  | RS: 500/89 | P.No: | RS: 20473/00 |
| 03 | Providing laying & Fixing in trench i/c fitting, jointing & testing etc complete in all respect the high Density Polythene P.E Pipe (HPD-100) PN-10for W/S confirming ISO 4427/DIN8074/8075 B.S 3580 & PSI 3051 (PHI No: F-1 P No: 25) |  |  |  |  |
|  | 120.00RFT |  | RS: 178/00 | P.RFT | RS: 21360/00 |
| 04 | Butt fussion Joints 3”Dia |  |  |  |  |
|  | 48.00 Joints |  | RS: 600/00 | P. Joint | RS: 288000/00 |
| 05 | Flange Adopter 3”Dia |  |  |  |  |
|  | 48.00 Joints |  | RS: 675/00 | P. Joint | RS: 32400/00 |
| 06 | CI supplying reflex valve heavy pattern (test pressure 21.00kg / sq cm or 300ibs inch) SM PHSI 6 P 11. |  |  |  |  |
|  | 06 Nos: 3” Dia |  | RS: 1543/75 | Each | RS: 9263/00 |
| 07 | Supplying CI Sluice valve heavy pattern SM PHSI 2 P 10. |  |  |  |  |
|  | 06 Nos: 3” Dia |  | RS: 4290/00 | Each | RS: 25740/00 |
| 08 | Supplying of Foot valve heavy pattern with one cone end type gate SM PHSI 2 P 10. |  |  |  |  |
|  | 06 Nos: 3” Dia |  | RS: 731/25 | Each | RS: 4388/00 |
| 09 | CI bends with flanges with holes i/c turning facing flanges for all size. SM PHSI 8 P 11. |  |  |  |  |
|  | 3.15CWT |  | RS: 6096/00 | P.CWT | RS: 19202/00 |
| 10 | Jointing C.I/M.S flanges pipes & specials flanged & inside trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc & tools required for jointing & the joints to the specified pressure etc complete (PHSI No: 1 P No:40) 6’Dia |  |  |  |  |
|  | 48 Joints 3”Dia |  | RS: 499/00 | P.JOINT | RS: 23952/00 |
|  |  |  |  | TOTAL | RS: 3572171/00 |

ABSTRACT

| S# | NAME OF WORK | SCHEDULE | NON- SCHEDULE | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Tube 06 Nos | 919758.00 | 00 | 919758.00 |
| 2 | Pump House 06 Nos: | 1491798.00 | 00 | 1491798.00 |
| 3 | Staff Quarter | 356183.00 | 00 | 356183.00 |
| 4 | P.E Rising Main | 10119038.00 | 181000.00 | 10300038.00 |
| 5 | Distribution System | 4399244.00 | 158280.00 | 4557524.00 |
| 6 | Pumping Machinery | 200171.00 | 3372000.00 | 3572171.00 |
|  | TOTAL | 17486192.00 | 3711280.00 | 21197472.00 |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |

CONDITION

| 01 | The work shall have to be executed according to PWD/PHE specification |
| --- | --- |
| 02 | No premium on non schedule item shall be allowed to the contractor |
| 03 | Any error omission in the description of item of work and the rate shall be governed with the relevant schedule of rate and estimate |
| 04 | The contractor shall have to bring the material to be used from the quarries mentioned in the estimate |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |