SCHEDULE “B”

| NAME OF WORK | PROVIDING LAYING P.E PIPE RISING MAIN 16”DIA, FOR NEW HYDER SHAH ZONE FOR URBAN DRAINAGE SCHEME MIRPUR MATHELO. |
| --- | --- |

| A | P.E RISING MAIN 16” DIA |  |  |  |
| --- | --- | --- | --- | --- |
| 01 | Excavation for pipe line in trenches & pits in soft soil i/c trimming & dressing sides to true alignment & shape leveling of beds to correct level & grade, cutting joint, holes & disposal of surplus earth with in one chain as directed by Engineer incharge .providing fence guard, light flags & temporary crossing for non vehicular traffic where ever required lift up to 5 ft (1.52 m) & lead up to one chain (30.5 m) (P.H.S.I no-1 p-46) |  |  |  |
|  | 75000.00CFT | RS:3600/00 | P-%0 CFT | RS: 270000/00 |
| 02 | Providing laying and fixing in trench i/c fitting jointing & testing etc complete in all respect the PE Pipe (HDPE-100) for W/S confirming ISO 4427 / DIN 8074 /8075 BS/3580 & PSI 3051. (PHSI No: 1 P No: 25) PN -08 |  |  |  |
|  | 500.00 RFT 16”Dia | RS: 2625/00 | P-RFT | RS: 13125000/00 |
| 03 | High Density Polyethylene fittings (PE-100) per each equivalent make (PHSI No: 01 P No: 18) PN-8 |  |  |  |
|  | Elbow 45c 16”Dia |  |  |  |
|  | 01 No. | RS: 17282/00 | EACH | RS: 17282/00 |
|  | Elbow 90c 16”Dia |  |  |  |
|  | 5 Nos. | RS: 21602/00 | EACH | RS: 108010/00 |
| 04 | Tee Equal 16”Dia |  |  |  |
|  | 1 No. | RS: 25922/00 | EACH | RS: 25922/00 |
| 05 | Buttfussion joints |  |  |  |
|  | 140 Joints | RS: 128/00 | EACH | RS: 392000/00 |
| 06 | Providing chamber (750x750mm) inside dimension 4/1/2 (1372mm) deep as per approved |  |  |  |
|  | 03 Nos: | RS: 18820/00 | EACH | RS: 56460/00 |
| 07 | Supplying of air valve Double Nutting heavy weight |  |  |  |
|  | 02 Nos: | RS: 4000/00 | EACH | RS: 8000/00 |
| 08 | Refilling the excavated stuff in trenches 6’ thick layers i/c watering ramming to full compaction etc complete (P.H.S.I no-24 p-53) |  |  |  |
|  | 67500.00 CFT | RS: 2760/00 | P%0 CFT | RS: 186300/00 |
|  |  |  | TOTAL | RS: 14188974/00 |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |

CONDITION

| 01 | The work shall have to be executed according to PWD/PHE specification |
| --- | --- |
| 02 | No premium on non schedule item shall be allowed to the contractor |
| 03 | Any error omission in the description of item of work and the rate shall be governed with the relevant schedule of rate and estimate |
| 04 | The contractor shall have to bring the material to be used from the quarries mentioned in the estimate |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |