(B) Description and rate of Item based on Market (offered Rates)

| S.NO | DESCRIPTION OF WORK / ITEM | QTY. | RATE |  | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Rate in Rupees | Rate in Words |  |  |
|  | Rewinding of electrical motor 3phase 400/440 volts 50 cycle with best quality insolated copper wire of required gauge including testing on load with satisfactory result up to one weeks time opening and refitting and replacing the bolts if necessary excluding the cost of worn out material for vertical 80 hp pump no1&2. | 02 NOS |  |  | EACH |  |
|  | Rewinding of electrical motor 3phase 400/440 volts 50 cycle with best quality insolated copper wire of required gauge including testing on load with satisfactory result up to one weeks time opening and refitting and replacing the bolts if necessary excluding the cost of worn out material for De-Watering Pump # 1 & 2. | 02 NOs |  |  | EACH |  |
|  | P/F Magnetic contactor model No, FC125N as required & as per instruction of E/I for Vertical Pump # 1 & 2. | 04 Nos |  |  | each |  |
|  | P/F Magnetic contactor model No, FC80N as required & as per instruction of E/I for Vertical Pump # 1 & 2. | 02 Nos |  |  | each |  |
|  | P/F C.I Sluice valve heavy pattern test presser 21.0kg / sq.com or 300 lb/sq.inch (Imported) 300mm 12” dia.Pump No,01 & 02. | 02 Nos |  |  | each |  |
|  | P/F Reflex valve heavy pattern (Test pressure 21kg/sq.cm or 300 lbs/sq.inch) (Imported) Pump 01& 02 | 02 Nos |  |  | each |  |
|  | MS Washer | 15 Kg |  |  | P/Kg |  |
| 8. | SS Nuts & Bolts (full threaded) | 35 Kg |  |  | P/Kg |  |
| 09 | Rubber packing sheet thickness 1.5mm to 5 | 25 Kg |  |  | P/Kg |  |
| 10 | Providing & fixing timer 500 Hp backup National after removing of existing burnt / damage old time after disconnection of main power supply & reconnection the same after fixing the timer as required as per instruction of E/L. | 02 Nos |  |  | Each |  |
| 11 | Providing & fixing volt meter size 96/69mm 500volts as required as per instruction of EI. | 02 Nos |  |  | “ |  |
| 12 | P/F ammeters size 96/96mm direct 15A,30A,50A,60A & 100A as required as per instruction of E/I. Pump No, 01&02 | 02Nos |  |  | “ |  |
| 13 | P/F universal cross dia 5 inch long 10inch as required welding cutter and big lath machine balancing of shaft after facing welding balancing turning and polishing etc universal size 10 inch long 2. | 02 Nos |  |  | each |  |
| 14 | P/F Oil Seal inner dia 100mm outer dia 150 mm thickness 10mm, as required 2. | 02 Nos |  |  | each |  |
| 15 | P/F Cylindrical roller bearing No.NJ421. | 02 Nos |  |  | each |  |
| 16 | P/F Deep Group Ball Bearing No.6411/C3 | 02 Nos |  |  | each |  |
| 17 | P/F Ball Bearing No.6322 for Motor # 1 & 2. | 02 Nos |  |  | each |  |
| 18 | P/F Ball Bearing No.6315.2Z/C3 for Motor # 1 & 2. | 02 Nos |  |  | each |  |
| 19 | Manufacturing Providing & Fixing of impeller 8” dia of Vertical Pump # 1 & 2. | 02 Jobs |  |  | P/Job |  |
| 20 | labour charges and transportation from side to workshop & back. | 02 Jobs |  |  | P/Job |  |
|  | Total |  |  |  |  |  |

EXECUTIVE ENGINEER (SPD-II)

KW&SB.

I /we hereby quoted amounting toRs.___________Inwords)______________________________________________

Signature & stamp of Contractor

Address: ______________________________________________________

Contact#_______________