## SUMMARY
SUMMARY OF COST
INFRASTRUCTURE/EXTERNAL WORKS
S.No. | Description | Amount
1) | CIVIL WORKS | Rs.
2) | PLUMBING WORKS | Rs.
3) | ELECTRICAL WORKS | Rs.
TOTAL VALUE OF WORKS |  | Rs.

## Abstract Infra
ABSTRACT OF COST CIVIL WORKS
INFRASTRUCTURE/EXTERNAL WORKS
S.No. | Description | Amount
1) | BOUNDARY WALL | Rs.
2) | UNDERGROUND WATER TANK | Rs.
3) | OVERHEAD WATER TANK | Rs.
4) | UNDERGROUND WATER TANK | Rs.
TOTAL VALUE OF CIVIL WORKS FOR INFRASTRUCTURE |  | Rs.

## BOQ Infrastructure
S.NO. | DESCRIPTIONS | UNIT | QTY | RATE (Rs.) | AMOUNT (Rs.)
A) | BOUNDARY WALL
1 | CLEARANCE OF SITE
| Clearance of Site includes removal of all bushes, debris and clearance for execution of excavation works, as directed by the Engineer and complete in all respect. | Sft | 16632
STRUCTURAL WORKS
2 | Excavation
| Excavation in all kind of Soil i/c Hard Silty Clay, Gravel and including dispose of surplus excavated material lead as per approved by Engineer complete in all respect as per engineer’s instructions / Project Requirement including all lift and lead. | Cft | 39974
3 | 1:4:8 Concrete
| Providing and laying lean concrete having minimum characteristics cylinder strength fc'=1000 psi nominal mix ratio 1:4:8 using Sulphate Resistant Cement (SRC). | Cft | 3332
4 | Back Fill
| It shall include backfilling & compacting of suitable excavated material in layer wise around footings. Compaction will be done up to 95% of density at optimum moisture content. | Cft | 16789
5 | CONCRETE WORKS
Providing and laying Design mix concrete having minimum characteristics cylinder Strength fc’=3000 psi at 28 day. Minimum cement content 300kg/m3. Water cement ratio should not exceed 0.5 Using Sulphate Resistant Cement (SRC).
a) | Column Foundations | Cft | 7995
b) | Column | Cft | 3024
6 | Grade 60 deformed steel bars conforming to ASTM A-615 having yield strength 414 N/mm² (60,000psi), as per drawing, specification and as directed by the Engineer. | Kg | 35276
7 | Providing & Fixing Polyurethane joint sealant "Approved" expanded Polystyrene sheets for horizontal expansion joint at any height and complete in all respect. | Rft | 630
8 | TERMITE CONTROL
Providing and carrying out termite proofing of approved chemical as per manufacturer's specifications in bottom and sides of trenches etc. The work will be done by a specialist sub-contractor who will required to give a ten years warranty acceptable to the Engineer for this work will be deemed to cover all works under this item complete in all respects as per drawings, Technical Provisions and or as directed by the Engineer In charge.
a) | Foundations | Sft | 38818
9 | Water Proofing
9.1 | Providing and applying Aquafin IC or approved equivalent on the surface of Construction joint, complete in all respects as per drawings, Technical Provisions and or as directed by the Engineer In charge.
a) | Boundary Wall | Sft | 1575
9.2 | Providing and fixing Swell bar induflex CJ-13 or approved equivalent along construction joint, complete in all respect as per drawings Technical Provisions and or as directed by the Engineer In charge.
a) | Construction Joint for Boundary Wall | Sft | 79
9.3 | Providing and applying Aquafin 2C or approved equivalent on the external face of construction joint, complete in all respect as per drawings Technical Provisions and or as directed by the Engineer In charge.
a) | For Foundation Boundary Wall
|  | Sft | 473
9.4 | Providing and fixing Joint Tape 2000-S or approved equivalent sandwich between 2C on the meeting point of old and new constructional member, complete in all respects as per drawings Technical Provisions and or as directed by the Engineer In charge.
a) | For Boundary Wall
|  | Sft | 150
ARCHITECTURAL WORKS
10 | BLOCK MASONRY IN SUPERSTRUCTURE
Solid Block Masonry
Providing and laying cement concrete Solid Block wall masonry (Size of Block 6" x 8" x 12") minimum 1000 psi compressive strength up to any height set with 1:6 cement mortar, including scaffolding / Raking out joints block cutting etc. complete in all respect as per drawings, technical Provisions and or as directed by the Engineer In charge.
i) | 6"thick | Sft | 34671
11 | Main Access Metal Doors
Providing, Fabricating and installing for complete m.s. metal Double Leaf Doors (Heavy-duty) for Main Access of Project Site 2" x 2" M.S. Square Hollow Tube frame 2" x 2" best locally available wood bracing at specified c/c includes primer coats and three coats of approved enamel paints, complete as per drawing / detail, complete in all respect as per drawings, Technical Provisions and or as directed by the Engineer In charge.
| Main Access Doors | Sft | 824
12 | Cement Sand Plaster
Providing and applying cement plaster 1:5 on external sides of walls, columns exposed concrete surfaces including hacking of concrete surface, making edges, corners, grooves over block masonry and concrete joints, with G.I Sheet Corner beads curing and scaffolding etc. complete in all respect as per drawings, Technical Provisions and or as directed by the Engineer In charge.
i) | Plaster 3/4" thick | Sft | 70676
13 | Weathershield
Providing and applying 3-coats of weather shield to plastered surfaces (ICI/Burger Pakistan) of approved color and shade including preparation of surface i.e. sand papering carborandam stone, filling, & primer etc. complete in all respect as per drawings, Technical Provisions and or as directed by the Engineer In charge.
70676
TOTAL VALUE OF CIVIL WORKS FOR BOUNDARY WALL
B) | UNDER GROUND WATER TANK
14 | Excavation
| Excavation in all kind of Soil i/c Hard Silty Clay, Gravel and including dispose of surplus excavated material lead as per approved by Engineer complete in all respect as per engineer’s instructions / Project Requirement including all lift and lead. | Cft | 8978
15 | 1:4:8 Concrete
| Providing and laying lean concrete having minimum characteristics cylinder strength fc'=1000 psi nominal mix ratio 1:4:8 using Sulphate Resistant Cement (SRC). | Cft | 278
16 | Back Fill
| It shall include backfilling & compacting of suitable excavated material in layer wise around footings. Compaction will be done up to 95% of density at optimum moisture content. | Cft | 2031
17 | CONCRETE WORKS
Providing and laying Design mix concrete having minimum characteristics cylinder Strength fc’=3000 psi at 28 day. Minimum cement content 300kg/m3. Water cement ratio should not exceed 0.5 Using Sulphate Resistant Cement (SRC).
| Slabs and Walls | Cft | 2048
18 | Grade 60 deformed steel bars conforming to ASTM A-615 having yield strength 414 N/mm² (60,000psi), as per drawing, specification and as directed by the Engineer. | Kg | 6452
19 | Waterproof Plaster for UG Tank as per drawing, complete in all respect. | Sft | 1403
20 | MS Cover & Frame (2'x2' Heavy Duty) | No. | 2
21 | Iron Rungs 2' Wide (1" Dia) | No. | 20
TOTAL VALUE OF CIVIL WORKS FOR UNDERGROUND WATER TANK
C) | OVERHEAD WATER TANK
CONCRETE WORKS
Providing and laying Design mix concrete having minimum characteristics cylinder Strength fc’=3000 psi at 28 day. Minimum cement content 300kg/m3. Water cement ratio should not exceed 0.5 using Ordinary Portland Cement (OPC).
| Slabs and Walls | Cft | 3675
23 | Grade 60 deformed steel bars conforming to ASTM A-615 having yield strength 414 N/mm² (60,000psi), as per drawing, specification and as directed by the Engineer. | Kg | 11577
24 | Waterproof Plaster for OH Tank as per drawing, complete in all respect. | Sft | 2556
25 | MS Cover & Frame (2'x2' Medium Duty) | No. | 4
26 | Iron Rungs 2' Wide (1" Dia) | No. | 40
TOTAL VALUE OF CIVIL WORKS FOR OVERHEAD WATER TANKS
D) | DRIVEWAY/PARKING
27 | Driveway/Parking Area
Providing and laying Flooring 1:2:4 for parking & driveway areas including lane marking in 20'x20' panels, as per drawing, complete in all respect.
| Ground Floor | Sft | 38823
TOTAL VALUE OF CIVIL WORKS FOR DRIVEWAY/PARKING
TOTAL VALUE OF CIVIL WORKS FOR INFRASTRUCTURE WORKS

## Abstract Plum
ABSTRACT OF COST PLUMBING WORKS
INFRASTRUCTURE/EXTERNAL WORKS
S.No. | Description | Amount
1) | PLUMBING SYSTEMS | Rs.
TOTAL VALUE OF PLUMBING WORKS |  | Rs.

## Plumbing BOQ
S.NO. | DESCRIPTIONS | UNIT | QTY | RATE (Rs.) | AMOUNT (Rs.)
A) | PLUMBING SYSTEMS
1 | SOIL, WASTE AND VENT SYSTEM
i. | Supply and installation of UPVC Class D piping including all fittings, sockets, hangers and specials for Soil, waste & vent stacks and horizontal runs buried in ground or above false ceiling, in shafts exposed or concealed in floors and walls and connecting to manholes, including cutting, fitting, chiseling, making good, fixing and cleaning, wall and slab openings complete in all respect as per drawings and specifications.
a. | 8" dia | Rft | 115 | 2920
b. | 6" dia | Rft | 520 | 2410
2 | Excavation and back filling for the sewerage and plumbing pipes as per drawings and specifications. | Lot | 1 | 100000
3 | Supply & Installation of MCC with circuit Breakers, Disconnect switches, fuses, starters etc. for all equipment as per specification & drawing. | Nos. | 1 | 103000
28 | Supply & installation of M.H. complete with all respect as per drawing & specification. | Nos. | 20 | 40000
29 | Supply & installation of G.T. complete with all respect as per drawing & specification. | Nos. | 24 | 22000
TOTAL VALUE OF PLUMBING WORKS

## Abstract Elect.
ABSTRACT OF COST ELECTRICAL WORKS
INFRASTRUCTURE/EXTERNAL WORKS
S.No. | Description | Amount
A | WIRING AND ACCESSORIES | Rs.
B | LIGHT AND FAN FIXTURES | Rs.
C | RACE WAYS | Rs.
D | L.V. SWITCHGEAR | Rs.
E | MAN/SUB-MAIN FEEDERS | Rs.
F | DATA AND VOICE SYSTEMS | Rs.
G | ADDRESSABLE FIRE ALARM SYSTEM | Rs.
H | CLOSE CIRCUIT TV AND CATV SYSTEM | Rs.
TOTAL VALUE OF ELECTRICAL WORKS |  | Rs.

## Electrical BOQ
S.NO. | DESCRIPTIONS | UNIT | QTY | RATE (Rs.) | AMOUNT (Rs.)
A | Wiring & Accessories
A.1 | Supply, installation & testing of following items, clipped to the surface or concealed in the building fabric, including all conduit & wiring accessories, as per drawings & instructions. Complete in all respect.
1 | Wiring of light / fan point controlled by one switch with 3x1C-1.5 sq. mm PVC cables drawn in 20/25mm dia PVC conduits, including 1.5 mm, powder coated MS back box and gang switches. Make: (1). Cables: Pakistan Cables Ltd / Pioneer Cables Ltd. (2). PVC Conduits & accessories: Jeddah / Galco. (3). Switches: Clipsal E-series / Legrand | Nos | 25
2 | Wiring of light point to light point with 3x1C-1.5 sq.mm PVC cables drawn in 20/25mm dia PVC conduits. | Nos | 20
3 | Wiring of light point to light point with 3x1C-2.5 sq.mm PVC cables drawn in 20/25 mm dia PVC conduits. | Nos | 0
4 | Wiring of two way light point controlled by two way switch with 4x1C-1.5 sq.mm PVC cables drawn in 20mm dia PVC conduits including 1.5 mm, powder coated MS back box and two way switches. | Nos | 0
5 | Wiring of light circuits from DB to switch board(s) or 1st SSO with 3x1C-2.5 sq.mm PVC cables drawn in 20 mm dia PVC conduits, including termination & labelling at both ends. | Nos | 2
6 | Wiring for power circuits from DB to 1st SSO or A/C with 3x1C-4 sqmm PVC cables in 20 mm dia PVC conduit, including termination & labelling at both ends. | Nos | 1
7 | Wiring for A/C circuit from DB to A/C or industrial socket unit with 3x1C-6.0 sqmm PVC cables drawn in 25 mm dia PVC conduit, including termination & labelling at both ends. | Nos | 0
8 | Wiring of SSO to SSO with 3x1C-2.5 sq.mm PVC cables drawn in 20 mm dia PVC conduits, including termination & labelling at both ends. (side by side or back to back will not be payable). | Nos | 5
9 | Wiring of SSO to SSO with 3x1C-4.0 sq.mm PVC cables drawn in 20 mm dia PVC conduits, including termination & labelling at both ends. (side by side or back to back will not be payable). | Nos | 4
A.2 | Supply & Installation of following Switch Socket Outlets (SSO) on already installed boxes.
1 | 5 Amp 3 Pin SSO. Make: Legrand / Clipsal | Nos | 7
2 | 15 Amp 3Pin SSO. Make: Legrand / Clipsal | Nos | 5
A.3 | Providing & fixing of following technology / floor boxes made of 1.5 mm sheet steel, power coated with earth terminal.
1 | Floor box 300 X 300 X 50 mm, with 4 nos. SSO fixture plate. | Nos | 0
2 | 1.5 mm, powder coated 4 gang technology box with earthing terminal. | Nos | 0
3 | 1.5 mm, powder coated MS back box with earthing terminal. | Nos | 20
4 | 1.5 mm, powder coated MS Fan box with earthing terminal. | Nos | 0
SUB TOTAL OF WIRING & ACCESSORIES RS.
B | Light & Fan Fixtures
B.1 | Supply & Installation of following light fixtures complete with lamps, starters, holders, electronic ballast etc. including hangers, supports & all mounting / fixing accessories, complete in all respect & as per consultants approval.
1 | Smart panel light fixture with 1 x 40 watts LED lamp. Make: Osaka | Nos | 0
2 | Smart panel light fixture with 1 x 18 watts LED lamp. Make: Osaka | Nos | 19
3 | Smart panel light fixture with 1 x 12 watts LED lamp. Make: Osaka | Nos | 5
4 | Bulk head light fixture with 20 watts LED lamp Make: Osaka/SE | Nos | 1
5 | Exhaust fan 12” dia Metal Body Make : Pak fan | Nos | 2
6 | Bracket fan 18” dia Plastic Body Make: Pak fan | Nos | 6
7 | Gate Light Fixture with 20 watts LED lamp Make: Osaka/SE | Nos | 16
8 | Street light fixture with 1 x 100 watts LED lamp Make: Osaka | Nos | 38
9 | GI pole with 2 coats of anti rust paint and finally two coats of silver paint, including brackets for lights/ camps as per drawing and consultant's approval | Nos | 32
SUBTOTAL VALUE OF LIGHT AND FAN FIXTURES
C | Race ways
C.1 | Supply & Installation of following sizes of conduits with all accessories, clipped to the surface or concealed in building fabric or to be laid in floor including cutting /excavation & back filling, complete in all respect.
1 | PVC pipe 150 mm dia | Mtr | 0
2 | PVC pipe 100 mm dia | Mtr | 50
3 | PVC pipe 75 mm dia | Mtr | 0
4 | PVC pipe 50 mm dia | Mtr | 0
5 | PVC pipe 38 mm dia | Mtr | 2000
6 | PVC pipe 32 mm dia | Mtr | 500
7 | PVC pipe 25 mm dia | Mtr | 0
8 | PVC pipe 20 mm dia | Mtr | 0
C.2 | Providing & fixing of cable tray with cover 75 x 75 mm made of 1.5 mm, G.I sheet steel, solid, with all fixing accessories (Fixing Brackets with rawal bolts) and as per site condition. | Mtr | 0
C.3 | Providing & fixing of cable tray with cover 150 x 75 mm made of 1.5 mm, G.I sheet steel, solid, with all fixing accessories (Fixing Brackets with rawal bolts) and as per site condition. | Mtr | 0
C.4 | Providing & fixing of cable tray with cover 300 x 75 mm made of 1.5 mm, G.I sheet steel ,solid, with all fixing accessories (Fixing Brackets with rawal bolts) and as per site condition. | Mtr | 0
C.5 | Providing & fixing of cable tray with cover 450 x 75 mm made of 1.5 mm, G.I sheet steel, solid, with all fixing accessories (Fixing Brackets with rawal bolts) and as per site condition. | Mtr | 0
C.6 | Construction of Main Hole 600 x 600 x 600 with Block masonry, Plastered inside & outside, MS Heavy Duty Main hole cover complete as per site requirements. | Nos | 0
C.7 | Construction of Main Hole 300 x 300 x 300 with Block masonry, Plastered inside & outside, MS Heavy Duty Main hole cover complete as per site requirements. | Nos | 0
SUB TOTAL OF RACE WAYS RS.
D | L.V. Switchgear
D.1 | Supply, installation, testing & commissioning of following factory assembled, pre-wired panel / distribution boards, concealed in wall or surface mounted or floor standing, 1.5/2.0 mm MS sheet steel fabricated, 120 microns powder coated, suitable for 500 volts, 3phase, 4wires, 50Hz, incorporate following components and configuration, complete with all mounting & connecting accessories as per drawings. Make: (1). Manufacturer: Uneeqe Engineering / Engineers & Engineering . (2). Circuit breakers: Terasaki / ABB. (3). Indication lamps: Camsco. (4). Control Fuse: Camsco. Control Fuse: Camsco. (5). Selector switch: Camsco. (6). A / V Meters: Camsco. (7). Current Transformer: Fico,(8) Load Break Switch - Socomec, (9) Capacitor Terasaki / PF Controller - Technologic, (10) Surge Suppressor - DEHN.
1 | DB-EX | No | 1
SUB TOTAL OF L.V. SWITCHGEAR RS.
E | Main / Sub-main Feeders
E.1 | Supply, installation & termination at both ends of following main/sub-main cables in already installed Pipes complete as per site requirements
1 | 1x6 mm sq 4core PVC/PVC Cable+1x6 mm sq 1 core PVC Cable. | Mtr | 2400
10 | 1x35 mm sq 1core PVC/PVC Cable | Mtr | 30
SUB TOTAL OF MAIN / SUB-MAIN FEEDER RS.
F | Data & Voice System
F.1 | Supply, pulling & fluke testing of Data or Voice cables in PVC Pipe, including labeling at both ends as per drawings. Make: Clipsal / Systimax.
1 | 30 Pair x 0.6 mm Jelly Filled Telephone Cable. Make : Pony | Mtr | 0
2 | 20 Pair x 0.6 mm Jelly Filled Telephone Cable. Make : Pony | Mtr | 0
3 | 10 Pair x 0.6 mm Jelly Filled Telephone Cable. Make : Pony | Mtr | 0
4 | Cat-5e UTP Cable in PVC pipe | Mtr | 50
5 | Cat-6 UTP Cable in PVC pipe | Mtr | 0
F.2 | Supply, installation and connecting of telephone Junction box 1.5 mm MS sheet steal fabricated, 120 micron powder coated, surface mounted or concealed in wall with locking arrangements and comprising with 3x10 pairs tag blocks. Make: Korne / Clipsal. | Nos | 0
F.3 | Supply, installation and connecting of telephone Junction box 1.5 mm MS sheet steal fabricated, 120 micron powder coated, surface mounted or concealed in wall with locking arrangements and comprising with 1x10 pairs tag blocks. Make: Korne / Clipsal. | Nos | 0
F.4 | Supply, installation & termination of face plates comprising as follows. Make: Clipsal / Systimax.
1 | 1No RJ-11 socket outlet | Nos | 2
F.5 | Supply, Installation & termination of 24 port RJ-45 Cat-6 UTP Patch Panel complete with all accessories. Make: Clipsal / Systimax. | Nos | 0
F.6 | Supply, Installation & termination of 24 port RJ-45 Cat-6, GIGA Speed Switch, complete with all accessories. Make: 3 COM. . Model JE-006 A / V 1910-24G. | Nos | 0
F.7 | Supply & installation of 42 U rack, made of 1.5mm sheet steel, powder coated, complete with cable management, troughs, labels, cable holder, cable guide and two exhaust fans. A cable extension lead with 4x13A sockets is to be provided & installed. The job includes all fixing & mounting accessories complete in all respect. Make: Local. | Nos | 0
F.8 | Supply & installation of 18 U rack, made of 1.5mm sheet steel, powder coated, complete with cable management, troughs, labels, cable holder, cable guide and two exhaust fans. A cable extension lead with 4x13A sockets is to be provided & installed. The job includes all fixing & mounting accessories complete in all respect. Make: Local. | Nos | 0
F.9 | Supply & installation of 9 U rack, made of 1.5mm sheet steel, powder coated, complete with cable management, troughs, labels, cable holder, cable guide and two exhaust fans. A cable extension lead with 4x13A sockets is to be provided & installed. The job includes all fixing & mounting accessories complete in all respect. Make: Local. | Nos | 0
F.10 | Supply & installation of following sizes of Cat-6 UTP (RJ-45 to RJ-45)certified patch cords. Make: Clipsal / Systimax.
1 | 1 meter long | Nos | 0
2 | 3 meter long | Nos | 0
SUB TOTAL OF DATA & VOICE SYSTEM RS.
G | Addressable Fire Alarm System
G.1 | Supply, installation & testing ZP2 Fire Panel - large cabinet -2 Loop (40 zone LED's). (FACP). Complete with Battery Make : Ziton /Securiton / Inim | Nos | 0
1 | Supply, installation & testing Analogue Addressable Optical Photo Electric Smoke Detector with Base. | Nos | 3
2 | Supply, installation & testing Analogue, Addressable Heat Detector with Base. | Nos | 0
3 | Supply, installation & testing Analogue Addressable Manual Break Glass Unit with Back Box. | Nos | 1
4 | Supply, installation & testing Analogue Addressable Electronic Sounder. | Nos | 1
G.2 | Supply, installation & testing of 1.5sqmm, 2C solid twisted PVC/PVC 2 Hours Fire Resistance Shielded Cable. In 20mm PVC pipe | Mtr | 100
SUB TOTAL OF ADDRESSABLE FIRE ALARM SYSTEM RS.
H | Close Circuit TV & CATV System.
H.1 | Supply, pulling & testing of following IP based CCTV wiring in 20mm dia PVC Pipe including labelling at both ends. Make:3M / Clipsal
1 | CAT-6 UTP Cable in 20/25 mm dia PVC Pipe | Mtr | 100
2 | Supply & installation of wall mounted 1/3'' SONY 222+HI3516C, Resolution: 1920* 1080@30fps, Support Onvif 2.2, IR Metal camera 2.8-12mm vari-focal lens,36pcs Ф5 IR LED, IR:30m, white color, Neutral, PAL. with external P.O.E make : Safer. China | Nos | 3
3 | Supply & installation of External wall mounted 1/3'' SONY 222+HI3516C, Resolution: 1920* 1080@30fps, Support Onvif 2.2, IR Metal camera 2.8-12mm vari-focal lens,36pcs Ф5 IR LED, IR:30m, white color, Neutral, PAL. with external P.O.E make : Safer. China | Nos | 1
4 | Supply & installation of Power supply 12Volt with BNCs and other accessories | Nos | 4
SUB TOTAL OF CLOSE CIRCUIT TV SYSTEM RS.
TOTAL VALUE OF ELECTRICAL WORKS | Sub total of Diesel Generating Set