.SCHEDULE “B”.

Name of Work: -	Providing Laying Jointing and Testing P.E Pipe Rising Main 6”& 8” dia (Zone A + C)  i/c Oxidation Pond Zone (A+B+C) (2 Nos), Construction of Compound Wall @ Zone (A+B), Pump House @ Oxidation Pond Zone (A+C) and Pumping Machinery  Zone (A+C) Rural Drainage Scheme Halani Taluka Mehrabpur District Naushahro Feroze.

| ###### S.No | Description of Item | Qty | # Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

PART-I.	OXIDATION POND (SIZE 100’X30’ (ZONE-B).

1.		Excavation for tanks and reservoirs in soft soil /i/c

trimming and dressing sides to true alignment/design

and shape leveling of beds of tanks to correct level and grade

cutting joints holes disposal surplus earth within one chain as 						directed by Engineer Inchage providing fence guards lights flags						temporary crossing for non vehicular traffic where ever required 						lift upto 5 ft.

Qty: 26478.93 cft @ Rs.3000/=    P%0 Cft.					Rs.79437/=

2.		Excavation for tanks and reservoirs in wet soil or mud i/c

trimming and dressing to true alignment and shape leveling of beds						of trenches to correct level and grade cutting joints holes disposal 						surplus earth within one chain as directed by Engineer Incharge 						providing fence guards lights flags temporary crossing for non 						vehicular traffic where ever required lift upto 5 ft and lead upto one					chain (PHSI NO. 14 Page No.52).

Depth 0’-5’

Qty: 1968.00  cft @ Rs.4800/=  	P%0 Cft.				Rs.9446/=

3.		Earth work compaction (soft ordinary or hard  soil)

Ramming earthwork all type of soil (CSI No.13  Page No.3).

Qty: 31842.00  Cft @ Rs.354/= 	P% 0 Cft.				Rs.11272/=

4.		Extra for every 50 ft additional lead (2600 Rft) or part thereof 						(CSI No.13 (B) Page No.3).

Qty: 3395.00  Cft @ Rs.5039/= 	P% 0 Cft.				Rs.17107/=

5.	Excavation for pipe lines in trenches and pits in soft soil i/c trimming and dressing sides to true alignment desing sections / profile and shape and levelling of beds of trencehs to cutting joints holes and disposal of surplus earth within one chain in directed by Engineer incharge i/c provding fence guards light. Flags traffic wherever required lift upto 5ft (1.52 m) and lead upto one chain (30.5 m) (PHSI No.1 Page No.46 )

Qty: 1512.00 cft @ Rs.3600/= 	P%0 cft 				Rs.5443/=

6.		Providing RCC ASTM C-76-62 T/C-70 Class II Wall B class and 						fixing in trenches i/c cutting fitting and joiting with rubber rings 						i/c testing with water to specified pressure (PHSI NO.b (i) Page No.17).

Qty: 80.00 Rft @ Rs.412/=		P.Rft 					Rs.32960/=

7.		Cement concrete brick or stone ballast 1/2" to 2" guage (Ratio 1:4:8).					(GSI No.5 Page No.15).

Qty: 16.58  cft @ Rs.9416/28 	P% Cft.				Rs.1561/=

6.		RCC work in all labour and material except the cost of steel reinforcement and its				labour for B/B which will be paid separetely. The rate also i/.c all kinds of forms				moulds lifting, shutting, curing rendering and finsihsing the exposed surface i/c  				S/W of shingle) (a) RCC work in Roof slab beams columns rafts lintels and other 				structure member lad in situe or pre-cost laid in position Complete in all respects

(GSI  No.6 A Page No.49).(Ratio 1:2:4).

Qty: 68.39  cft @ Rs.337/= 	P.Cft.						Rs.23047/=

7.		Fabrication of Mild Steel reinforcement concrete for CC i/c

Cutting, Bending Laying in position making joints and fastening

i/c Cost of binding wire also including removal of rust from bars

(CSI No.8 b P.No.17).

Qty: 2.75cwt @ Rs.5001/70 		P.Cwt.					Rs.13755/=

8.		Excavation in Foundation.

Qty: 66.33 cft @ Rs.3176/25 		P.%0 cft.				Rs.211/=

10.		Refilling excavated stuff in trenches 6”thick layers i/c watering						ramming to full compaction (PHSI No.24  P-53)

Qty: 1360.80 cft  @ Rs.2760/= 	P%0 cft				Rs.3756/=

Total	Rs.197995/=

PART-II.	COMPOUND WALL.

1.		Dismantling of brick work in lime or cement mortar (cSI No.13 P.No.10).

Qty; 119.50  cft  @Rs. 1285/63    P% cft					Rs.1536/=

2.		Cement concrete plain i/c placing compacting finishing and curing						complete i/c screening and washing of stone aggregate without shuttering					Ratio 1:3:6. (GSi No.5 Page No.16).

Qty; 768.00  cft  @Rs.12595/=    P% cft					Rs.96730/=

3.		Errection and removal of centering for RCC or palin CC Work of deodar					wood 1st class (Vertical) (GSI NO.19 (ii) Page No.18).

Qty; 1536.00  cft  @Rs.3127/41    P% cft					Rs.48037/=.

4.		Pacca brick work in ground floor cement sand mortar (1:6).							(GSI NO.9 © Page No.22).

Qty; 646.55  cft  @Rs.12346/65    P% cft					Rs.79827/=

5.		Reinforcement cement concrete work including all labour  and 						material except the cost of steel reinforcement and its labour for 						bending for and binding which will be paid separately.  This rate						also  includes all kinds of forms moulds lifting shuttering curing						rendering and finishing the exposed surface i/c Screening and 						washing  of Shingle, (a) RCC work in roof slab beams columns						raft lintels and other structural members laid in situe or pre cost

laid in positive complete  in ( Ratio 1:2:4) (G.S.I No.6-b Page No.17)

Qty; 98.50  cft  @Rs.337/=    P. cft						Rs.33195/=

6.		Fabrication of Mild Steel reinforcement concrete for CC i/c

Cutting, Bending Laying in position making joints and fastening

i/c Cost of binding wire also including removal of rust from bars

(CSI No.8 b P.No.17).

Qty: 3.96 Cwt. at Rs.5001/70    P/Cwt.	       				Rs. 19795/=

7.		Fabrication of heavy steel work with angle tee flats iron round and 						sheet iron for making to uses griders tanks etc i/c cutting being drilling					reviting handing assembling and fixing etc complete (CSI No.2 P.No.91).

Qty: 4.28  Cwt. at Rs.4928/49     P/Cwt.	       				Rs. 21094/=

8.		Pacca brick work in foundation and Plinth.

Qty; 867.84 cft   @  Rs.11948/36  P% cft 					Rs.103693/=

9.		DPC 3”Thick.

Qty; 216.96 cft   @  Rs.4982/18  P% cft 					Rs.10809/=

10.		Cement Plaster 1:6 upto ½” thick upto 12’ height (GSI No.13

Page No.52).

Qty: 2610.32 sft @ Rs. 2206/60  P% Sft.					Rs.57599/=

11.		Cement Plaster 1:4 upto 3/8”  thick upto 12’ height (GSI No.13

Page No.52).

Qty: 2610.32 sft @ Rs. 2197/52  P% Sft.					Rs.57362/=

12.		Cement Pointing  struck joints on walls (CSI No.19 P/59).

Out Side C/Wall

Qty: 1608.00 sft @ Rs.1213/58   P% Sft.					Rs.19514/=

13.		Repair of existing __________________

Qty: 1 NO. sft @ Rs. 5000/=   Each.						Rs.5000/=

14.		White washing one coat (CSI No.26 P.No.54).

Qty: 4218.32 Sft	@ Rs.416/63        P% Sft				Rs.17575/=

15.		Colour washing two coats (GSI NO.26 b P.No.54).

Qty: 4218.32 Sft	@ Rs.859/90        P% Sft				Rs.36273/=

16.		Preparing Surface and Painting guards bars gates of iron Bars Getting

Railing i/c standard brasses etc and similar Open works

(CSI No.5 Page No.70).(Two coat).

Qty: 144.00 Sft	@ Rs.1489/68    P% Sft.				Rs.2145/=

17.		Borrow pit excavation undressed lead upto 100 ft (Ordinary 						soil (CSi No.3 Page No.1).

Qty: 3233.27 cft	@ Rs.2117.50    P% 0 cft.				Rs.6846/=

18.		Earth from out side (Lead 2 miles ).

Qty: 3233.27  cft	@ Rs.407/=    P%  cft.				Rs.13159/=

19.		Earth work ocmpaction (Soft ordinary and hard soil) B Laying earth					in 6” layers leveling and dressing watering for compaction etc complete					(CSI No.13 Page No.3).

Qty: 3233.30 cft	@ Rs.354/=    P%0  cft.				Rs.1145/=

20.		Dry Brick on Edge Paving (CSI NO.   Page No.   ).

Qty: 400.00 sft	@ Rs.3823/57    P%  cft.				Rs.15294/=

Total	Rs.646628/=

PART-III.	P.E PIPES RISING MAIN 6”DIA.

1.		Dismantling and Removing Road metling (CSI No.51 Page No.13).

Qty: 108.00 cft	@ Rs.605/=    P%  cft.				Rs.653/=

2.		Excavation   for   pipe lines in   trenches pits in   soft   soil i/c clay or mud

trimming dressing sides to true alignment and shape   leveling

of beds of trenches to correct level and grade cutting joint holes

and disposal  of  Surplus  Earth  within  one   chain  as directed

by Engineer Incharge fence guards, lights, flags and temporary

crossing for non vehicular traffic wherever required lift up to 5’ft

and lead upto one chain ( P.H.S.I No.1 P.No.60).

0’-5’ depth 4”Dia.

Qty: 43400.00 cft @ Rs.3600/=		P%0 cft		 	Rs.156240/=

3.		Providing laying and fixing in trenche i/c fitting jointing etc						complete in all respect the high density polythlene PE pipes 					(HDPE-100) for W/S confirming ISO 4427/ DIN8074/8075 Bs3580				and PSI 3051 (PSI NO. F(i) Page No.25).

6”dia.(160 mm)

Qty: 6200.00 cft @ Rs.440/=		P%0 cft		 		Rs.2728000/=

4.		Supplying of high density Polyethlene fitting (PE-100) (P.Each					Equivalent make (SMI NO.ix Page No.104).

I.	ELBOW 90* DIA.

6”dia (160 mm).

Qty: 4 Nos . 	     @ Rs.3480/=		Each.				Rs.13920/=

II.	ELBOW 45* DIA.

6”dia (160 mm).

Qty: 2 Nos . 	     @ Rs.2784/=		Each.				Rs.5568/=

III.	Butt fusion Joint .

4’-6”dia (110-160 mm).

Qty: 6 Nos . 	     @ Rs.1000/=		Each.				Rs.6000/=

5.		Refilling excavated stuff in trenches as 6”thick layers i/c watering

ramming to full compacting etc complete (PHSI No.24 P.No.77).

Qty: 39060.00 cft   @ Rs.2760/=		P.%0cft	 		Rs.107806/=

Total	Rs.3018187/=

PART-IV.	OXIDATION POND (SIZE 120’X75’ (ZONE A+C).

1.		Excavation for tanks and reservoirs in soft soil /i/c

trimming and dressing sides to true alignment/design

and shape leveling of beds of tanks to correct level and grade

cutting joints holes disposal surplus earth within one chain as 						directed by Engineer Inchage providing fence guards lights flags						temporary crossing for non vehicular traffic where ever required 						lift upto 5 ft.

Depth 0’-5’.

Qty: 93457.65  cft @ Rs.3000/=    P%0 Cft.					Rs.280373/=

2.		Excavation for tanks and reservoirs in wet soil or mud i/c

trimming and dressing to true alignment and shape leveling of beds						of trenches to correct level and grade cutting joints holes disposal 						surplus earth within one chain as directed by Engineeer Incharge 						providing fence guards lights flags temporary crossing for non 						vehicular traffic where ever required lift upto 5 ft and lead upto one					chain (PHSI NO. 14 Page No.52).

Depth 0’-5’

Qty: 11628.00  cft @ Rs.4800/=  	P%0 Cft.				Rs.55814/=

3.		Earth work compaction (soft  ordinary  or hard  soil)

Ramming earthwork all type of soil (CSI No.13  Page No.3).

Qty: 102459.00  Cft @ Rs.354/= 	P% 0 Cft.				Rs.36270/=

4.		Extra for every 50 ft additional lead (2600 Rft) or part thereof 						(CSI No.13 (B) Page No.3).

Qty: 2627.00  Cft @ Rs.5039/= 	P% 0 Cft.				Rs.13237/=

5.		Excavation in Foundation.

Qty: 66.33 cft @ Rs.3176/25 		P.%0 cft.				Rs.211/=

6.	Excavation for pipe lines in trenches and pits in soft soil i/c trimming and dressing sides to true alignment desing sections / profile and shape and levelling of beds of trencehs to cutting joints holes and disposal of surplus earth within one chain in directed by Engineer incharge i/c provding fence guards light. Flags traffic wherever required lift upto 5ft (1.52 m) and lead upto one chain (30.5 m) (PHSI No.1 Page No.46 )

Qty: 1512.00 cft @ Rs.3600/= 	P%0 cft 				Rs.5443/=

7.		Providing RCC ASTM C-76-62 T/C-70 Class II Wall B class and 						fixing in trenches i/c cutting fitting and joiting with rubber rings 						i/c testing with water to specified pressure (PHSI NO.b (i) Page No.17).

Qty: 80.00 Rft @ Rs.412/=		P.Rft 					Rs.32960/=

8.		Cement concrete brick or stone ballast 1/2" to 2" guage (Ratio 1:4:8).					(GSI No.5 Page No.15).

Qty: 16.58  cft @ Rs.9416/28 	P% Cft.				Rs.1561/=

9.		RCC work in all labour and material except the cost of steel reinforcement and its				labour for B/B which will be paid separetely. The rate also i/.c all kinds of forms				moulds lifting, shutting, curing rendering and finsihsing the exposed surface i/c  				S/W of shingle) (a) RCC work in Roof slab beams columns rafts lintels and other 				structure member lad in situe or pre-cost laid in position Complete in all respects

(GSI  No.6 A Page No.49).(Ratio 1:2:4).

Qty: 68.39  cft @ Rs.337/= 	P.Cft.						Rs.23047/=

10.		Fabrication of Mild Steel reinforcement concrete for CC i/c

Cutting, Bending Laying in position making joints and fastening

i/c Cost of binding wire also including removal of rust from bars

(CSI No.8 b P.No.17).

Qty: 2.75cwt @ Rs.5001/70 		P.Cwt.					Rs.13755/=

11.		Refilling excavated stuff in trenches 6”thick layers i/c watering						ramming to full compaction (PHSI No.24  P-53)

Qty: 1360.80 cft  @ Rs.2760/= 	P%0 cft				Rs.3756/=

Total	Rs.466427/=

PART-V.	PUMP HOUSE (10X12).

1.		Excavation in foundation of building bridges and other structures i/c dag				belling dressing refilling around the structures with excavated earth

Watering ramming lead upto one chain and lift upto 5’ ft (GSI No.18 b p.no.4).

Qty: 188.00 cft  @ Rs.3176/25  	P%0 cft				Rs.597/=

2.		Cement concrete brick or stone ballast 1 ½” to 2” guage Ratio 1:4:8.

(GSI No.4 b page NO.15.

Qty: 94.56 cft  @ Rs.9416/28   	P% cft					Rs.8904/=

3.		Cement concerete plain i/c placing compacting finishing and curing complete			i/c screening and washing of stone aggregate without shuttering Ratio 1:3:6			(GSI No.5 Page No.16).

Qty: 258.50 cft  @ Rs.12595/=   	P% cft					Rs.32558/=

4.		Errection and removl of centering for RCC or plain CC work of deodar				partial wood (Vertifical) (GSI No.18 Page No.19).

Qty: 511.50 sft  @ Rs.3127/40   	P% sft					Rs.15997/=

5.		Pacca brick work (1:6) in ground floor cement sand mortar (GSI No.1 P.20)

Qty: 310.13 cft  @ Rs.12674/36   	P% cft					Rs.39306/=

6.		Pacca brick work in foundation and plinth in cement sand mortar					(GSI No. 4 Page No.25).

Qty: 37.50  cft  @ Rs.11948/36   	P% cft					Rs.4481/=

7.		Rcc work in roof slab beams columns rafts lintels and other structural				members laid in situ or pre cast laid in position complete in all respect				(i) Ratio 2:2:4 Lbs cement cft sand 4 cft shingle 1/8” to ¼” guage					(GSI No. 6 b Page No.17).

Qty: 105.36  cft  @ Rs.337/=   	P. cft					Rs.35506/=

8.		Fabrication of mild steel reinforcement for CC i/c cutting bending laying				in position making joints and fastening i/c sot of binding wire also i/c 				removal of rust from bars (GSI NO.8-b  Page 17).

Qty: 4.23 cwt  @ Rs.5001/70   	P.cwt					Rs.21173/=

9.		Cement Plaster (1:6) ½” thick upto 20’ height (GSI NO.13 Page No.52).

Qty: 390.00 sft  @ Rs.2206/60   	P.cwt					Rs.8606/=

10.		Cement Plaster (1:4 ) ¾”  thick upto 20’ height (GSI NO.13 Page No.52).

Qty: 390.00 sft  @ Rs.2197/52   	P%sft					Rs.8570/=

11.		Providing and laying 2” thick to topping cement concrete (1:2:4) 					i/c surface finishing and dividing in to panel (GSI No.16 c P.No>42).

Qty: 120.00 sft  @ Rs.3275/50   	P% sft					Rs.3931/=

12.		Supplying and fixing in position in iron steel grill of ¾” x ¼” size flate				iron of approval design painting 3 coats etc complete (GSI No. 31 P.No.99).

Qty: 24.00 sft  @ Rs.180/50   	P. sft					Rs.4332/=

13.		Fabrication of heavy steel work with angle tee flats iron round iron 				and sheet iron for making truses griders tanks etc i/c cutting being 					drilling reviting handing assembling and fixing etc complete 					(GSI No. 2 Page No.91).

Qty: 4.24 cwt   @ Rs.4928/49   	P.cwt 					Rs.20902/=

14.		Cement Pointing struck joint on walls (1:3) (GSI No.19 P.No.53).

Qty: 4500 sft  @ Rs.1213/58 		P%. sft					Rs.5461/=

15.		Earth filling water and ramming earth under floor with surplus earth				excavated from trenches lead upto one chain and lift upto 5 ft,					(GSI NO.22 Page No.4).

Qty: 382.38 cft  @ Rs.1512/50   	P% cft					Rs.578/=

16.		Painting new surface preparing surface and painting doors and widows				any type (GSI No. 5 c Page No.70) Two coats.

Qty: 100.00 sft  @ Rs.1489/68   	P% sft					Rs.1490/=

17.		Primary Coat of Calk distember.

Qty: 840.00 sft  @ Rs.442/75   	P% sft					Rs.3719/=

18.		White washing of Three Coats (GSI No. 26 Page No.54).

Qty: 204.00 sft  @ Rs.829/95   	P% sft					Rs.1693/=

19.		Distembery.

Qty: 840.00 sft  @ Rs.1043/90   	P% sft					Rs.8769/=

Total	Rs.226573/=

PART-VI.	P.E PIPES RISING MAIN 8”DIA.

1.		Dismantling and Removing Road metling (CSI No.51 Page No.13).

Qty: 1610.00 cft	@ Rs.605/=    P%  cft.				Rs.9680/=

2.		Excavation   for   pipe lines in   trenches pits in   soft   soil i/c clay or mud

trimming dressing sides to true alignment and shape   leveling

of beds of trenches to correct level and grade cutting joint holes

and disposal  of  Surplus  Earth  within  one   chain  as directed

by Engineer Incharge fence guards, lights, flags and temporary

crossing for non vehicular traffic wherever required lift up to 5’ft

and lead upto one chain ( P.H.S.I No.1 P.No.60).

0’-5’ depth 8”Dia.

Qty: 40800.00 cft @ Rs.3600/=		P%0 cft		 	Rs.146880/=

3.		Excavation   for   pipe lines in   trenches pits in   soft   soil i/c clay or mud

trimming dressing sides to true alignment and shape   leveling

of beds of trenches to correct level and grade cutting joint holes

and disposal  of  Surplus  Earth  within  one   chain  as directed

by Engineer Incharge fence guards, lights, flags and temporary

crossing for non vehicular traffic wherever required lift up to 5’ft

and lead upto one chain ( P.H.S.I No.1 P.No.60).

0’-5’ depth 8”Dia.

Qty: 6800.00 cft @ Rs.5400/=		P%0 cft		 	Rs.36720/=

4.		Providing laying and fixing in trenche i/c fitting jointing etc						complete in all respect the high density polythlene PE pipes 					(HDPE-100) for W/S confirming ISO 4427/ DIN8074/8075 Bs3580				and PSI 3051 (PSI NO. F(i) Page No.25).

8”dia.(160 mm)

Qty: 6800.00 cft @ Rs.691/=		P%0 cft		 		Rs.4698800/=

4.		Supplying of high density Polyethlene fitting (PE-100) (P.Each					Equivalent make (SMI NO.ix Page No.104).

I.	ELBOW 90* DIA.

8”dia (160 mm).

Qty: 4 Nos . 	     @ Rs.4345/=		Each.				Rs.17380/=

II.	ELBOW 45* DIA.

8”dia (160 mm).

Qty: 2 Nos . 	     @ Rs.5431/=		Each.				Rs.10862/=

III.	Butt fusion Joint .

8”dia .

Qty: 6 Nos . 	     @ Rs.1800/=		Each.				Rs.10800/=

5.		Refilling excavated stuff in trenches as 6”thick layers i/c watering

ramming to full compacting etc complete (PHSI No.24 P.No.77).

Qty: 42840.00 cft   @ Rs.2760/=		P.%0cft	 		Rs.118238/=

Total	Rs.5049360/=

PART-VII.	PUMPING MACHINERY FOR ZONE (A+C).

(For zone A).

1.	Providing and installing in position i/c transportation to site @ Disposal Work for rural Drainage Scheme Halani Electric Motor 15 BHP (KSB made) fixed of 1450 RPM< i/c all required accessories coupled with KSB non clogging pump type KWP-65-315 (including steel frame on base plate coupled i/c KSB coupling i/c alignment charges capable Discharge 360 GPM against the head of 65 ft  installed pumping set on cement concrete foundation Ratio 1:2:4 and 1:4:8 with stone ballast with MS nuts bolts ½” thick to be embedded capable in CC foundation i/c providing and fixing motor control unit MCU consists of circuit breaker magnetic contractor. Over load protection under over (MEECO PAK) voltage protection phase failure protection Amper meter with current control an power cables indicating lights and all these components are fixed in a metallic dust and smoke proof box and providing and laying (Main or sub main) PVC insulated with size 3-7/0.044 (10 mm 2) copper conductor in ½” laid PVC conduit on surface i/c providing and fixing earthing set with 0.6m x 0.6 m x 6.3 mm copper plate buried in the ground at depth of 12” or less if water comes out from the ground level with salt and charcoal etc. i/c making the pit 12” deep by excavation of all type of soil earth plate to be connected with 8 SWG bore copper wire in run in ½” GI pipe straight from the earth plate i/c testing pumping machinery set for 72 hours etc complete(RA attached).

Qty: 1 set   @ Rs.752000/=		P.Set	 				Rs.752000/=

(For Zone C).

2.	Providing and installing in position i/c transportation to site @ Disposal Work for rural Drainage Scheme Halani Electric Motor 7.5 BHP (Siemen made) fixed of 1450 RPM< i/c all required accessories coupled with KSB non clogging pump type KWP-65-315 (including steel frame on base plate coupled i/c KSB coupling i/c alignment charges capable Discharge 200 GPM against the head of 65 ft  installed pumping set on cement concrete foundation Ratio 1:2:4 and 1:4:8 with stone ballast with MS nuts bolts ½” thick to be embedded capable in CC foundation i/c providing and fixing motor control unit MCU consists of circuit breaker magnetic contractor. Over load protection under over (MEECO PAK) voltage protection phase failure protection Amper meter with current control an power cables indicating lights and all these components are fixed in a metallic dust and smoke proof box and providing and laying (Main or sub main) PVC insulated with size 3-7/0.044 (10 mm 2) copper conductor in ½” laid PVC conduit on surface i/c providing and fixing earthing set with 0.6m x 0.6 m x 6.3 mm copper plate buried in the ground at depth of 12” or less if water comes out from the ground level with salt and charcoal etc. i/c making the pit 12” deep by excavation of all type of soil earth plate to be connected with 8 SWG bore copper wire in run in ½” GI pipe straight from the earth plate i/c testing pumping machinery set for 72 hours etc complete(RA attached).

Qty: 1 set   @ Rs.706000/=		P.Set	 				Rs.706000/=

3.		Diesel Oil Engine 16 BHP @ Zone C.

Qty: 1 set   @ Rs.568000/=		P.Set	 				Rs.568000/=

B.		INTER CONNECTION.

1.		P.E Pipe HDPE Page No.10.

3”Dia.

Qty: 324 Rft @ Rs. 178/=		P.Rft.					Rs.4272/=

6”Dia.

Qty: 48.0 Rft @ Rs. 530/=		P.Rft.					Rs.25440/=

‘

2.		Supplying CI Bend of flanged ends with holes i/c turning and 						facing of flanges for all size (Smi No.8 Page NO.11).

Qty: 2.25 cwt @ Rs. 6096/=		P.cwt.					Rs.13716/=

3.		Supplying CI Tee with flanged endsd with holes i/c turning and 						facing of flanges for all size (SMi No.11 Pag No.11).

Qty: 1.25 cwt @ Rs. 6096/=		P.cwt.					Rs.7620/=

4.		Supplying CI Tapered flate bottomed or central tepered flanged 						ends with holes i/c turning and facing of flanged for all size 						(SI NO.9 Pag No.11).

6”Dia.

Qty: 1.60 cwt @ Rs. 6096/=		P.cwt.					Rs.9754/=

5.		Manufacturing and installing MS Pipe 3”dia made out of Sheet 						3/16 thick .

3”Dia.

Qty: 16 Rft @ Rs.385/89		P.Rft.					Rs.6174/=

6.		M.S Pipe 6”dia 3/16” thick.

Qty: 8.00  Rft @ Rs.749/34		P.Rft.					Rs.5995/=

7.		Manufacturing and installing 3”x4” dia MS Flange made out of 					MS sheet 3/8” thick cutting drilling holes etc complete.

3”Dia.

Qty: 8 Nos @ Rs. 500/89 		Each					Rs.4007/=

6”Dia.

Qty: 28 Nos @ Rs. 804/77 		Each					Rs.22534/=

8.		Supplying CI Sluice valve heavy pattern test pressure.						(PHSI  of material 1 No.2 Page No.97) 6”dia.

Qty: 03 Nos @ Rs. 9360/=  		Each					Rs.28080/=

9.		Supply CI Reflex valve heavy pattern test pressure,							(PHSI of material 1 NO.2 Page No.97) 6”Dia.

Qty: 03 Nos @ Rs. 4062/50  		Each					Rs.12188/=

10.		Foot Valve heavy pattern.(3”dia).

Qty: 02 Nos @ Rs. 731/25  		Each					Rs.1463/=

11.		Butt Fusion Joints.

3”dia.

Qty: 06 Nos @ Rs. 600/=  		Each					Rs.4800/=

6”dia.

Qty: 28 Nos @ Rs. 1000/=  		Each					Rs.28000/=.

12.		Supplying flange adapter.

3”Dia.

Qty: 8 Nos @ Rs.675/= 		Each.					Rs.5400/=

6”Dia.

Qty: 28 Nos @ Rs.1215/= 		Each.					Rs.34020/=

13.		Jointing CI/MS flanged pipe or special flanged ends inside a trenches				i/c supplying rubber packing of the required thickness nuts bolts with				washers etc and other tools required for jointing and Testing to the 					specified pressure etc complete (PHSI No.1 Page No.35).

3”Dia.

Qty: 8 Joints @ Rs.499/= 		P/Joint					Rs.3992/=

6”Dia.

Qty: 28 Joints @ Rs.938/= 		P/Joint					Rs.26264/=

Total	Rs.217455/=

ABSTRACT OF SCHEDULE B”.

| S.NO. | NAME OF WORK | SCHEDULE ITEMS | NON SCHEDULE ITEMS | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Oxidation Pond Zone (B) | Rs.197995/= | - | Rs.197995/= |
| 2. | Compound Wall. | Rs.646628/= | - | Rs.646628/= |
| 3. | P.E Pipe Rising main 6”dia. | Rs.3018187/= | - | Rs.3018187/= |
| 4. | Oxidation Pond Zone (A+C). | Rs.466427/= | - | Rs.466427/= |
| 5. | Pump House. | Rs.226573/= | - | Rs.226573/= |
| 6 | P.E Pipe Rising main 8”dia | Rs.5049360/= | - | Rs.5049360/= |
| 7 | Pumping Machinery Zone A + C. | Rs.2254017/= | - | Rs.2254017/= |
|  | Total | Rs. 11859187/= | - | Rs. 11859187/= |

CERTIFICATE.

- Any error or omission in the description of items or rates the original estimate schedule of rates will be referred to correct accordingly.

- No premium will be allowed on non-schedule items.

- The work will be carried out according to the drawing design and specifications

shown in the estimate.

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG; DIVISION

NAUSHAHRO FEROZE