## Sch B
" Schedule B."
Name of Work :- Up-Gradation of Gazdarabad General Hospital to the level of 200 Bedded Hospital Nishtar Road Saddar TownKarachi. (Electric Work).
S.No. | Item of Work | Quantity. |  | Rate | Unit | Amount.
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required.(S.I.No. 124, Page No. 15). | 10 | Pts. | 1130 | P.Pt. | 11300
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No. 126, Page No. 15). | 2 | Pts. | 985 | P.Pt. | 1970
|  |  |  | Total |  | 13270
Add: % Above/Below/At Par
|  |  |  | Total | "A"
PART "B" NON SCHEDULE ITEMS.
1 | P/F Switch 5 Amps: imporated Make i/c plastic board imported make etc complete. | 10 | Nos. |  | Each
2 | P/F 2 Pin 5 Amps:plug socket mporated Make i/c plastic board with necessary electric connection etc complete. | 2 | Nos. |  | Each
3 | P/F fancy type 3 pin 5 Amps: S.P. plug socket switch & shoe unit mporated Make with board i/c necessary connection etc, complete. | 2 | Nos. |  | Each
4 | P/F fancy type 3 pin 15 Amps: S.P. plug socket switch & shoe unit mporated Make with board i/cnecessary connection etc, complete. | 2 | Nos. |  | Each.
5 | P/F Fan dimmer fancy type Imported make with necessary connection. | 2 | Nos. |  | Each.
6 | P/F mild steel bar fan clamp 1/2" dia suitable for R.C.C. roof etc, complete. | 2 | Nos |  | Each
7 | P/F LED tube light 35 watts i/c necessary electric connection & fixing on wall or ceiling as approved by Engineer Incharge etc, complete. | 2 | Nos. |  | Each.
8 | P/F LED Light concelled type 18 Watts imporated make i/c necessary electric connection etc, complete. | 2 | Nos. |  | Each.
9 | P/F Ceiling fans 56" sweep "Pak/Royal or GFC make i/c necessary connection as approved by the Engineer Incharge. | 2 | Nos |  | Each
10 | P/F Distribution board 18 SWG double shutter to accommodate circuit breakers i/c painting with enamelled paint and for other similar jobs etc complete | 3 | Sft |  | P.Sft
11 | P/L 25mm2 4 core unarmoured cable PVC/PVC Pakistan/ AEG /Pioneer make or equalant quality required size PVC pipe i/c excavation etc, complete. | 50 | Rft |  | P.Sft
12 | P/L 35mm2 4 core unarmoured cable PVC/PVC Pakistan/ AEG /Pioneer make or equalant quality required size PVC pipe i/c excavation etc, complete. | 370 | Rft |  | P.Sft
13 | P/L 240mm2 4 core unarmoured cable PVC/PVC Pakistan/ AEG /Pioneer make or equalant quality required size PVC pipe i/c excavation etc, complete. | 20 | Rft |  | P.Sft
14 | P/L 120mm2 4 core unarmoured cable PVC/PVC Pakistan/ AEG /Pioneer make or equalant quality required size PVC pipe i/c excavation etc, complete. | 10 | Rft |  | P.Sft
15 | Wiring for main with 1-7/0.44 pvc insulated wire in existing pipe for ECC etc complete. | 370 | Rft |  | P.Sft
16 | P/F Bus bar 200-Amps: with 4-copper strips required size i/c fixing on prepared panel board with nuts & bolts etc. | 5 | Nos |  | Each
17 | P/F Bus bar 400-Amps: with 4-copper strips required size i/c fixing on prepared panel board with nuts & bolts etc. | 2 | Nos |  | Each
|  |  |  | Total | "B"
|  |  |  | Total | "A"
|  | Grand |  | Total
Conditions:
1. Any typographical error in the Schedule "B" are subject to the correction with reference to the Schedule of Rates for Electrical works 2004 Works and Services Department Karachi. ( October 04 ).
2. Arbitration clause stands deleted from the Agreement.
3. No. premium shall be paid on Non-Schedule Items.
4. The Contractors quoting exorbitant will be required to submit Rate Analysis to justify their rates within specified time other wise the concerned contractor shall be treated as a quilty of misconduct and he shall be liable to face punitive action under the rules as per EDO (W & S ) Deptt: letter No:EDO/W&S/CDGK/565 dated:29-09-2004.
| CONTRACTOR. Assistant Engineer-II |  |  | Executive Engineer
| Electrical/Energy-I, |  |  | Electrical/Energy-I,
| Karachi. |  |  | Karachi.