BILL OF QUANTITIES

NAME OF WORK:-	Drainage Scheme UC-2 Nango Lane Kotri City    (Taluka Kotri) 					District Jamshoro.

(A) 	Description and rate of item based on Composite schedule of Rates

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
|  |  | Group ‘A’ Renovation of Sewerage line. |  |  |  |
| 01 | 9049.0 Cft | Dismantling and removing road (G.S.INO;5,P/14) | 605/- | P%cft | 54,748/- |
| 02 | 3016.49 Cft | Dismantling Cement concrete plain (1:2:4) (G.S.I.NO; 19, (c ) P/10) ) | 3327/50 | P%cft | 1,00,374/- |
| 03 | 6032.98 Cft | Dismantling Cement concrete plain (1:4:8) (G.S.I.NO; 19, (a ) P/10) ) | 1663/75 | P%cft | 1,00,374/- |
| 04 | 33181.18 Cft | Excavation for pipe lines into trenches and pits in Soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 1, P/60) | 3600/- | P%0cft | 1,19,453/- |
| 05 | 39214.42 Cft | Excavation for pipe lines into trenches in wet soil clay or mud i/c trimming and dressing alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 14, P/66) | 5950/- | P%0cft | 2,33,326/- |
| 06 | 24863.91 Cft | Excavation for pipe lines into trenches in i/c trimming and dressing alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 14, P/66) | 6500/- | P%0cft | 1,61,615/- |
| 07 |  | Providing R.C.C. Pipe of A.S.T.M C-76 T/C -76-62 Class II wal B and fixing in trenches i/c testing with water to specified (P.H.S.I.NO.1P/17) |  |  |  |
|  | 1250.0Rft | 12” dia | 412/- | P/Rft | 5,15,000/- |
|  | 1250.0 Rft | 18” dia | 618/- | P/Rft | 7,72,500/- |
|  | 200.0 Rft | 24” dia | 869/- | P/Rft | 1,73,800/- |

(Cont: on page No;02)

(Page No:02)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| 08 | 895.0 Cft | Cement concrete plain i/c placing compacting finishing and curring complete(i/c screening and washing of stone aggregate without shuttering (Ratio 1:4:8) (G.S.I.NO;5(c)p/18) | 11288/75 | P%cft | 1,01,034/- |
| 09 | 636.51 cft | Cement concrete plain i/c placing compacting finishing and curring complete(i/c screening and washing of stone aggregate without shuttering (Ratio 1:4:8) (G.S.I.NO;5(c)p/18) | 14429/25 | P%cft | 91,844/- |
| 10 | 4552.14 Cft | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour forbending and binding which will be paid separately. This rate also includes all kinds of forms moulds, lifting, shuttering curring rendering and finishing the exposed surface)\(including screening and washing of shingle)(a)R.C. Work in roofslab, beams, columns,rafts, lintels and other structural members laid in situe or precast laid in position complete in all respect(i)Ratio 1:2:4)90 lbs cement 2 cft sand 4 cft shingle 1/8” to ¼” guage.(G.S.I.NO;6(a)(i)P/19) | 337/- | P/Cft | 15,34,024/- |
| 11 | 182.89 Cwt | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars(G.S.I.NO;7(ii)(a)P/20) | 5001/70 | P/Cwt | 9,14,761/- |
| 12 | 324 Nos: | C.I. Foot steps | 181/65 | Each | 58,855/- |
| 13 | 81 Cwt | Providing and fixing R.C.C Main hole cover with frame i/c cost of material Weight (P.H.S.I.M.1, P/35) | 6985/- | P/Cwt | 5,65,785/- |
| 14 | 54 Nos; | Manufacturing and supply R.C.C. Mainhole cover cost iron in 1:2:4 concrete Ratio 3” inch deep at centre reinforced with 3/8” dia for steel bars at 4” c/c deep M.S. plate i/c cutting stacking and transportation with in 10 meter (R.A.A.Based on schedule item) | 1881/18 | Each | 1,01,584/- |
| 15 | 4567.51 Cft | Dismantling cement concrete reinforcement separating reinforcement from cement cleaning and straightening the same (G.S.I.NO;20, P/10) | 5445/- | P%cft | 2,48,700/- |
| 16 | 85286.01 Cft | Refilling the excavated stuff in trenches 6” thick layers i/c watering ramming to full compaction etc; complete (P.H.S.I.NO;54, P/77) | 2760/- | P%0CFT | 2,35,389/- |
| 17 | 2700.0 Cft | Dismentling and removing earth for R.C.C. Pipe from trenches and stacking and side work (G.S.I.NO;32, P/12) | 16/94 | P%CFT | 45,738/- |
|  |  |  |  | Total | 61,28,903/- |

(Cont: on page No;03)

(Page No:03)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
|  |  | GROUP ‘B’ CONSTRUCTION OF CATCH PITS. |  |  |  |
| 01 | 250.0 Cft | Dismantling Cement concrete plain (1:2:4) (G.S.I.NO;19( c) P/10) ) | 3327/50 | P%cft | 8,319/- |
| 02 | 500.0 Cft | Dismantling Cement concrete plain (1:2:4) (G.S.I.NO;19( c) P/10) ) | 1663/75 | P%cft | 8,319/- |
| 03 | 1500.00 Cft | Dismantling brick or lime or cement mortor (G.S.I.NO;13, P/10) | 1285/63 | P%cft | 19,284/- |
| 04 | 18900.0 Cft | Excavation in foundation of building bridges and other structures including dabbling dressing refilling around structures with excavated earth watering and ramming lead upto 5’ft (in ordinary soil)(G.S.I.NO;18,. P/4) | 3176/25 | P%0cft | 60,031/- |
| 05 |  | Cement concrete plain including placing compacting finishing and curring complete including screening and washing of stone aggregate without shuttering (G.S.I.NO;5(c)P/15) |  |  |  |
|  | 2700.0 Cft | Ratio 1:4:8 | 11288/75 | P%cft | 3,04,796/- |
|  | 238.0 Cft | Ratio 1:2:4 | 14429/25 | P%cft | 34,342/- |
| 06 | 6387.0 Cft | Pacca brick work in foundation and plinth in cement sand mortor (Ratio 1:6) (G.S.I.NO;4( c) P/24) | 11948/36 | P%cft | 7,63,142/- |
| 07 | 6377.06 Sft | Cement plaster (1:4) upto 12’ft height ½” thick (G.S.I.NO;11, P/52) | 2283/93 | P%sft | 1,45,648/- |
| 08 | 1129.0 Cft | Precast reinforced cement concrete in columns, beams, lintels, stairs case shelves ratio 1:2:4 (G.S.I.NO;6 (b) P/17) | 309/78 | P/Cft | 3,49,742/- |
| 09 | 1129.0 Cft | Errection and fixing in position precast lintel etc: lift upto 20 i/c all charges. | 41/77 | P/Cft | 47,158/- |
| 10 | 45.36 Cwt | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars(G.S.I.NO;7(ii)(a)P/20) | 5001/70 | P/Cwt | 2,26,877/- |
| 11 | 39600.0 Cft | Excavation for pipe lines into trenches and pits in Soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 1, P/60) | 3600/- | P%0cft | 1,42,560/- |
| 12 |  | Providing R.C.C. Pipe of A.S.T.M C-76 T/C -76-62 Class II wal B and fixing in trenches i/c testing with water to specified (P.H.S.I.NO.1P/17) |  |  |  |
|  | 4800.0rft | 12” dia | 412/- | P/Rft | 19,77,600/- |

(Cont: on page No;04)

(Page No:04)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| 13 | 132.0 Cwt | Fabrication of heavy steel work with angle tees, flate iron round and sheet iron for making truses girders tand etc: i/c cutting tanks etc: i/c cutting drilling riveting handling assembling and fixing but excluding errection in position (G.S.I.NO;2, P/90) | 4928/49 | P/Cwt | 6,50,561/- |
| 14 | 132.0 Cft | Errection and fixing in position of iron truses staging of water tanks etc: (G.S.I.NO;3, P/90) | 271/04 | P/Cwt | 35,777/- |
| 15 | 35640.0 Cft | Refilling the excavated stuff in trenches 6” thick layers i/c watering ramming to full compaction etc: complete. (P.H.S.I.NO;24, P/77) | 2760/- | P%0CFT | 98,366/- |
|  |  |  |  | Total | 48,72,522/- |
|  |  | GROUP ‘C’ CONSTT: OF SURFACE DRAINS TYPE A,B & C, |  |  |  |
| 01 | 1584.0 Cft | Dismantling Cement concrete plain (1:2:4) (G.S.I.NO;19 (C ) P/10) | 3327/50 | P%Cft | 52,708/- |
| 02 | 792.0 Cft | Dismantling cement concrete plain (1:4:8) (G.S.I.NO;19 (b)P/10) | 1663/75 | P%cft | 13,177/- |
| 03 | 65860.0 Cft | Excavation in foundation of building bridges and other structures including dabbling dressing refilling around structures with excavated earth watering and ramming lead upto 5’ft (in sand soil ) (G.S.I.NO;18,. P/4) | 3554/38 | P%0cft | 2,34,091/- |
| 04 | 15245.25 Cft | Cement concrete plain i/c placing compacting finishing and curring complete(i/c screening and washing of stone aggregate without shuttering (Ratio 1:4:8) (G.S.I.NO;5(c)p/18) | 11288/75 | P%cft | 17,20,998/- |
| 05 |  | Construction of standard open drains cunette block of cement concrete 1:2:4 in situ to the design profile i/c cost of mould as per drawing i/c applying floating coat of cement 1/32” thick to the exposed face finished smooth curring etc: complete as per detailed drawing (P.H.S.I.NO;1, P/58) |  |  |  |
|  | 22050.0 Rft | TYPE ‘A’ | 94/- | P/Rft | 20,72,700/- |
|  | 1000.0Rft | TYPE ‘B’ | 174/- | P/Rft | 1,74,000/- |
|  | 1000.0Rft | TYPE ‘C’ | 309/- | P/Rft | 3,09,000/- |
| 06 | 39825.0 Cft | Pacca brick work in foundation and plinth in cement sand mortar (Ratio 1:6) (G.S.INO;4 ( c) P/20) | 11948/36 | P%cft | 47,58,434/- |
| 07 | 71702.0 Sft | Cement plaster (1:4) upto 12’ft height thick ½” thick (G.S.I.NO;11( b) P/51) | 2283/93 | P%sft | 16,37,623/- |
| 08 | 3692.00 Cft | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour forbending and binding which will be paid separately. This rate also includes all kinds of forms moulds, lifting, shuttering curring rendering and finishing the exposed surface)\(including screening and washing of shingle)(a)R.C. Work in roofslab, beams, columns,rafts, lintels and other structural members laid in situe or precast laid in position complete in all respect(i)Ratio 1:2:4)90 lbs cement 2 cft sand 4 cft shingle 1/8” to ¼” guage. (G.S.I.NO;6(a)(i)P/19) | 337/- | P/Cft | 12,44,204/- |

(Cont: on page No:05)

(Page No:05)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| 02 | 131.85 Cwt | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars(G.S.I.NO;8(ii)(C)P/20) | 5001/70 | P/Cwt | 6,59,474/- |
|  |  |  |  | Total | 1,28,76,409/- |
|  |  | GROUP ‘D’ CONSTT: OF C.C. BLOCK |  |  |  |
| 01 | 110540.0 Cft | Barrow pit excavation undressed lead upto 100’ft(in ordinary soil)(G.S.I.NO;3(a)P/1) | 2117/50 | P%0cft | 2,34,068/- |
| 02 | 176400.0 Cft | Earth work compaction (a)Laying earth in 6” layers leveling dressing and watering for compaction Etc: complete (G.S.I.NO;13( b) P/3) | 354/- | P%0cft | 62,446/- |
| 03 | 110540.0 Cft | Extra for every 50’ ft additional or part there off (a) for earth work (soft ordinary hard and very hard)(G.S.I.NO:P, P/3) | 2519/50 | P%0cft | 2,78,506/- |
| 04 | 58212.0 Cft | Cement concrete brick or stone ballast 1½” to 2” guage(Ratio 1:4:8) (G.S.I.NO;4(b)P/17) | 9416/28 | P%cft | 54,81,405/- |
| 05 | 44100.0 Cft | Cement concrete plain i/c placing compacting finishing and curring complete(i/c screening and washing of stone aggregate without shuttering Ratio (1:2:4)(G.S.I.NO;5(a)p/18) | 14429/25 | P%cft | 63,63,299/- |
| 06 | 2940.0 Sft | Errection and removal of centering for RCC or plain cement concrete work s of partal wood (G.S.I.NO;19(b) P/18) | 3127/41 | P%sft | 91,946/- |
|  |  |  |  | Total | 1,25,11,670/- |
|  |  | GROUP ‘E’ DE-SILTING OF SEWER LINE |  |  |  |
|  |  | Cleaning in side sewerage lines completely restoring original Silt free space/ diameter of pipe lines by labour and equipment. Mechanically/electrically driven)Including accessories like pulley’s Steel rope ,bucket and draggers sizing from 6” to 18” dia .Their “to And fro” pulling action (No of passes shall be as many as required)Would be taken in two phases ( first phase entire length from down Stream to up stream)bringing down peak hour sewerage to flow in side Pipe line (as free flow)and in second phase from up stream to down Stream of entire length ensuring no silt is observed in buckets (6” dia 18”dia )except only sewage water and finally passing a steel ball of Dia 12”dia lesser that the diameter of pipe but not exceeding 48”dia Ball even for large dia pipe to ensure perfect cleaning .The job i/c All the hire/cost of equipment and accessories of above winching Machine /devices along with /engines with winching drum set having steel rope pully mounted over it,steel bucket fro 6”dia to 18”dia ooks and other protection likes safety barriers, traffic signs,traffic cones ensuring no damage to pipe along with ensuring safety to labour and other public proerty/lives and removal of silts/ solid during desilting and clearance of site etc, complete as per full satisfaction of site Engineer,(S.S I. 1P/30) |  |  |  |
|  | 3000.0rft | 12” DIA | 80/50 | P/rft | 2,41,500/- |
|  | 3000.0rft | 18” DIA | 128/80 | P/Rft | 3,86,400/- |
|  | 1600.0rft | 24” DIA | 209/30 | P/rft | 3,34,880/- |
|  | 1000.0rft | 27” DIA | 225/40 | P/Rft | 2,25,400/- |
|  |  | (Cont: on page No:06) |  | Total | 11,88,180/- |

(Page No:06)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
|  |  | GROUP ‘F’ REPAIR OF MANHOLES |  |  |  |
| 01 | 602.00 Cft | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same (G.S.I.NO;20, P/10) | 5445/- | P%Cft | 32,781/- |
| 02 | 602.04 Cft | Cement concrete plain i/c placing compacting finishing and curring complete(i/c screening and washing of stone aggregate without shuttering (Ratio 1:2:4) (G.S.I.NO;5(c)p/18) | 14429/25 | P%cft | 86,870/- |
| 03 | 3210.0 Sft | Errection and removal of centering for RCC or plain cement concrete work s of partal wood (G.S.I.NO;19(b) P/18) | 3127/41 | P%sft | 1,00,418/- |
| 04 | 215.62 Cft | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour forbending and binding which will be paid separately. This rate also includes all kinds of forms moulds, lifting, shuttering curring rendering and finishing the exposed surface)\(including screening and washing of shingle)(a)R.C. Work in roofslab, beams, columns,rafts, lintels and other structural members laid in situe or precast laid in position complete in all respect(i)Ratio 1:2:4)90 lbs cement 2 cft sand 4 cft shingle 1/8” to ¼” guage. (G.S.I.NO;6(a)(i)P/17) | 337/- | P/Cft | 72,664/- |
| 05 | 8.66 Cwt | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars(G.S.I.NO;7(ii)(a)P/20) | 5001/70 | P/Cwt | 43,315/- |
| 06 | 675.97 Sft | Cement plaster (1:4) upto 12’ft ¾” thick (G.S.I.NO;1 ( c ) P/52) | 2283/93 | P%sft | 15,439/- |
| 07 | 39.0 Cwt | Providing C.I. Man hole cover & frame i/c cost of material etc: (P.H.S.I.NO;1, P/35) | 6985/- | P/Cwt | 2,72,415/- |
| 08 | 26 Nos: | Manufacturing and supply R.C.C. Mainhole cover cast iron in 1:2;4 concrete Ratio 3” inch deep at centre reinforced with 3/8” dia for steel bars at 4 c/c deep M.S. plate i/c curing stacking and transportation with in 10 meter (R.A.Attached). | 1881/18 | Each | 48,911/- |
|  |  |  |  | Total | 6,72,813/- |

A B S T R A C T

| Group | Schedule Item | Non Schedule Item | Total |
| --- | --- | --- | --- |
| ‘A’ Renovation of Sewerage line | 61,28,903/- | ---- | 61,28,903/- |
| ‘B’ Constt: of Catch pits | 48,72,522/- | ---- | 48,72,522/- |
| ‘C’ Constt: of Surface drains Type ‘A’, B & C | 1,28,76,409/- | ---- | 1,28,76,409/- |
| ‘D’ Constt: of C.C. Block | 1,25,11,677/- | ---- | 1,25,11,677/- |
| ‘E’ De-silting | 11,18,180/- | ----- | 11,18,180/- |
| ‘F’ Repair of old civil works | 6,72,813/- | ---- | 6,72,813/- |
| Total | 3,81,80,504/- | ----- | 3,81,80,504/- |

(Cont: on page No:07)

(Page No:07)

Amount Total (a) + (b) Rs:___________________

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (c ) offered for Non-schedule items_________

Total (A) = a + b in works & Figures______________________________________________

Contractor 						 	EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG:DIVISION

JAMSHORO