BILL OF QUANTITIES

NAME OF WORK:-	Construction of C.C. Block and drains of various streets of U.C. Shaikh   				(Taluka Sehwan) 	District Jamshoro.

(A) 	Description and rate of item based on Composite schedule of Rates

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
|  |  | Group ‘A’ Constt: Open surface drains Type I,II,III & C.C Block |  |  |  |
| 01 | 1125.00 cft | Dismantling and removing road (G.S.INO;5,P/14) | 605/- | P%cft | 6,806/- |
| 02 |  | Dismantling Cement concrete plain (G.S.I.NO; ) |  |  |  |
|  | 1016.40 Cft | Ratio (1:4:8). | 1663/75 | P%cft | 16,910/- |
|  | 375.00 Cft | Ratio (1:2:4). | 3327/50 | P%cft | 12,478/- |
| 03 | 375.00 Cft | Dismantling Brick work in lime (G.S.I.NO;13, P/1) | 1285/63 | P%cft | 4,821/- |
| 04 | 18523.0 Cft | Excavation in foundation of building bridges and other structures including dabbling dressing refilling around structures with excavated earth watering and ramming lead upto 5’ft (in sand soil ) (G.S.I.NO;18,. P/4) | 3176/25 | P%0cft | 58,834/- |
| 05 | 3975.0 Cft | Cement concrete plain i/c placing compacting finishing and curring complete(i/c screening and washing of stone aggregate without shuttering (Ratio 1:4:8) (G.S.I.NO;5(c)p/18) | 11288/75 | P%cft | 4,48,728/- |
| 06 | 10537.50 Cft | Pacca brick work in foundation and plinth in cement sand mortar (Ratio 1:6) (G.S.INO;4 ( c) P/20) | 11948/36 | P%cft | 12,59,058/- |
| 07 |  | Construction of standard open drains cunette block of cement concrete 1:2:4 in situ to the design profile i/c cost of mould as per drawing i/c applying floating coat of cement 1/32” thick to the exposed face finished smooth curring etc: complete as per detailed drawing (P.H.S.I.NO;1, P/58) |  |  |  |
|  | 4400.0 Rft | TYPE ‘A’ | 94/- | P/Rft | 4,13,600/- |
|  | 1750.00 Rft | TYPE ‘B’ | 174/- | P/Rft | 3,04,500/- |
| 08 | 18481.0 Sft | Cement plaster (1:4) upto 12’ft height thick ½” thick (G.S.I.NO;11( b) P/51) | 2283/93 | P%sft | 4,22,093/- |
| 09 | 549.55 Cft | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour forbending and binding which will be paid separately. This rate also includes all kinds of forms moulds, lifting, shuttering curring rendering and finishing the exposed surface)\(including screening and washing of shingle)(a)R.C. Work in roofslab, beams, columns,rafts, lintels and other structural members laid in situe or precast laid in position complete in all respect(i)Ratio 1:2:4)90 lbs cement 2 cft sand 4 cft shingle 1/8” to ¼” guage.(G.S.I.NO;6(a)(i)P/19) | 337/- | P/Cft | 1,85,198/- |

(Cont: on page No;02)

(Page No:02)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| 10 | 19.62 Cwt | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars(G.S.I.NO;8(ii)(a)P/17) | 5001/70 | P/Cft | 98,133/- |
| 11 | 11477.00 Cft | Barrow pit excavation undressed lead upto 100’ft(in ordinary soil)(G.S.I.NO;3(a)P/1) | 2117/50 | P%0cft | 24,303/- |
| 12 | 30000.0 Cft | Earth work compaction(ordinary or hard soil) Laying earth in 6” layers leveling dressing and watering for compaction Etc: complete (G.S.I.NO;13( b) P/3) | 354/- | P%0cft | 10,620/- |
| 13 | 14368.40 Cft | Extra for every 50’ ft additional or part there off (a) for earth work (soft ordinary hard and very hard)(G.S.I.NO:P, P/3) | 5039/- | P%0cft | 72,402/- |
| 14 | 15840.0 Cft | Cement concrete brick or stone ballast 1½” to 2” guage(Ratio 1:4:8) (G.S.I.NO;4(b)P/17) | 9416/28 | P%cft | 14,91,539/- |
| 15 | 12000.0 Cft | Cement concrete plain i/c placing compacting finishing and curring complete(i/c screening and washing of stone aggregate without shuttering Ratio (1:2:4) (G.S.I.NO;5(a)p/18) | 14429/25 | P%cft | 17,31,510/- |
| 16 | 800.0 Sft | Errection and removal of centering for R.C.C. or plain cement concrete work of partal wood (G.S.I.NO;19(b) P/18) | 3127/41 | P%sft | 25,019/- |
|  |  |  |  | Total | 65,86,552/- |
|  |  | Group‘B’ Construction of Pump House. |  |  |  |
| 01 | 248.96 Cft | Excavation in foundation of building bridges and other structures including dabbling dressing refilling around structures with excavated earth watering and ramming lead upto 5’ft (in ordinary soil)(G.S.I.NO;18,. P/4) | 3176/25 | P%0cft | 791/- |
| 02 | 93.00 Cft | Cement concrete brick or stone ballast 1½” to 2” gauge Ratio 1:4:8) (G.S.I.NO;4(b)P/16) | 9416/28 | P%cft | 8,757/- |
| 03 | 329.0Cft | Errection and removal of centering for R.C.C or plain cement concrete works of deodar wood)2nd class)(for partal wood) (Vertical)(G.S.I.NO;19,(b) P/17) | 3127/41 | P%sft | 10,289/- |
| 04 | 179.0 Cft | Cement concrete plain including placing compacting finishing and curring complete including screening and washing of stone aggregate without shuttering (Ratio :3:6)(G.S.I.NO;5(c)P/15) | 12595/- | P%cft | 22,545/- |
| 05 | 171.94 Cft | Filling watering and ramming earth under floor with surplus earth (Excavated from out side)Lead upto one chain and lift upto 5’ft(G.S.I.NO;22, P/44) | 1512/50 | P%0cft | 260/- |

(Cont: on page No;03)

(Page No:03)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| 06 | 304.0 Cft | Pacca brick work ground floor including striking of joints Up to 20’ ft height in cement sand mortar (1:6) (GSINO:I-e,P-21) | 12674/36 | P%cft | 38,530/- |
| 07 | 106.86 Cft | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds, lifting, shuttering currying rendering and finishing the exposed surface)(including screening and washing of shingle)(a)R.C. Work in roof slab, beams, columns, rafts, lintels and other structural members laid in situe or precast laid in position complete in all respect(i)Ratio 1:2:4)90 lbs cement 2 cft sand 4 cft shingle 1/8” to ¼” gauge.(G.S.I.NO;6(a)(i)P/17) | 337/- | P/cft | 36,012/- |
| 08 | 4.29 Cwt | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars (G.S.I.NO;7(ii)(a)P/20) | 5001/70 | P/Cwt | 21,457/- |
| 09 | 120.0 sft | Laying white marble flooring fine dressed on the surface without winding set in lime mortar 1:2 including rubber and polishing of the joint (G.S.I.NO;28, P/43)3/4” thick | 567/48 | P/Sft | 68,098/- |
| 10 | 865.00 Sft | Cement plaster (1:6) ½” thick upto 20’ft height (G.S.I.NO;11(b) P/58) | 2206/60 | P%sft | 19,087/- |
| 11 | 865.00 sft | Cement plaster (1:4) 3/8” thick upto 12’ft height (G.S.I.NO;11(b) P/58) | 2197/52 | P%sft | 19,009/- |
| 12 | 28.00 Sft | Making and fixing steel grated door with 1/16” thick sheeting i/c angle iron frame2”x2”x3/8” and ¾” square bars 4” center to center with locking arrangement(G.S.I.NO;28, P/97) | 726/72 | P/sft | 20,348/- |
| 13 | 3.05 Cwt | Fabrication of heavy steel work with angles tees, flat iron , round iron and sheet iron for making trusses girdes tands etc including cutting tanks etc.i/c cutting drilling iverting handling assembling and fixing but excluding erection in position (G.S.I.No.2,P-91) | 4928/49 | P/Cwt | 15,032/- |
| 14 | 3.05 Cwt | Errection and fitting in position of iron trusses staging of water tanks etc: (G.S.I.NO;3, P/96) | 271/04 | P/cwt | 827/- |
| 15 | 128.0 Sft | PAINTING NEW SURFACE. Preparing surface and painting of doors and windows in any type (3 coats) (G.S.I.NO;5P/69) | 2116/41 | P%sft | 2,709/- |
| 16 | 429.0 Sft | Priming coats of chalk. (G.S.I.NO; 23, P/54) | 442/75 | P%sft | 1,899/- |
| 17 | 718.50 Sft | Distempering (2 coats) (G.S.I.NO;24, P/54) | 1043/90 | P%Sft | 7,500/- |
|  |  | Cost for 2 Nos: 293150x2=586,300/- |  | Total | 2,93,150/- |

(Cont: on page No;04)

(Page No:04)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
|  |  | Group ‘C’ Providing Installing 16 BHP Diesel Engine |  |  |  |
| 01 | 1 P/Set | Providing & Installing in position i/c transportation to site of work at Bambha 16 BHP Diesel Pumping set(Golden Made) coupled with non-clogging KSB pump type Golden mounted on Common steel frame or base plate capable of discharge 70 gallons per Minute against a head of 60’ ft: i/c installing of pumping set on Cement oncrete foundation ratio 1:2:4 and C.C. (1:4:8) with ballast with M.S. nuts and bolts of 5/8” dia to be embedded in C.C. foundation i/c testing of pumping set against the required head of 72 hours etc; complete(M.R) | 76600/- | P/Set | 76,600/- |
| 02 | 1 No: | Providing and Fixing pump of discharge non clogging Golden pump type Size 4”x3” 70 GPM against a head of 65’ ft: (M.R) | 734000/- | Each | 7,34,000/- |
| 03 | 1 No: | Providing common steel frame or base plate (M.R) | 19890/- | Each | 19,890/- |
| 04 | 20.0 Cft | Making foundation of cement concrete plain i/c placing compacting finishing and curring complete i/c screening and washing of stone aggregate without shuttering (1:2:4) (G.S.I.NO;5, P/18) | 14429/25 | P%cft | 2,886/- |
| 05 | 7.50 Cft | Cement concrete brick or stone ballast 1½” to 2” guage (Ratio 1:4:8) (G.S.INO;4 (b) P/15) | 9416/28 | P%cft | 706/- |
| 06 | 8.32 lbs | Providing & embedding M.S. Foundation nuts and bolts of 5/8” dia (4 Nos:) 2.00 long each half threaded (SMI.NO;6, P/27) | 112/61 | P/lbs | 937/- |
| 07 | 1 day | Labour charges for lowering the pumping set in side pump house in correct alignment and fixing etc: | 700/- | P/day | 700/- |
| 08 |  | Testing Pumping set for 72 hours |  |  |  |
|  | 259.20 Litters | Diesel Oil Engine | 100/- | P/Litter | 25,920/- |
|  | 4 days | Electrician | 450/- | P/Day | 1,800/- |
|  | 4 days | Helper 1 No; | 250/- | P/Day | 1,000/- |
|  |  | Mobil Oil Grease and cotton waste etc: | 200/- | Lum sum | 200/- |
|  |  |  |  | Total | 2,04,039/- |
|  |  | Group ‘D’ Providing Laying Jointing and Testing PVC Rising Main 6” dia |  |  |  |
| 01 | 6000.00 Cft | Excavation for pipe lines into trenches and pits in Soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 1, P/60) | 3600/- | P%0cft | 21,600/- |

(Cont: on page No:05)

(Page No:05)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| 02 |  | Providing PVC pipe of class ‘B’ (equivalent make)fixing in trenches i/c cutting and jointing with “Z” joints with one rubber rings i/c testing with water to head of 61 meter or 200’ft. (P.H.S.I.NO;1,P/21) |  |  |  |
|  | 1000.00 Rft | 3” dia | 90/- | P/Rft | 90,000/- |
| 03 |  | P.V.C ‘Z’ Joints fitting (P.H.S(M),16 P/28) |  |  |  |
|  | 3 Nos: | P.V.C. Bend 900 3” dia | 731/- | Each | 2,193/- |
| 04 |  | P.V.C Socket (P.H.S(M)I-P/112) |  |  |  |
|  | 2 Nos: | 3” dia | 405/- | Each | 810/- |
| 05 |  | C.I Gibualt joint (P.H.S.I.No:8,P/98). |  |  |  |
|  | 2 No: | 3” dia | 568/- | Each | 1,138/- |
| 06 | 5400.00 cft | Refilling the excavated stuff in trenches 6” thick layers i/c watering ramming to full compaction etc: complete (P.H.S.I.NO;24, P/53) | 2760/- | P%0cft | 14,904/- |
|  |  |  |  | Total | 1,30,645/- |
|  |  | GROUP ‘E’ CONSTT: OF OXIDATION POND (35’x22’) 03 Nos: |  |  |  |
| 01 | 5313.06 Cft | Excavation in foundation for tanks and reservoir in sofit soil trimming and dressing sides to true alignment/design section profiled and shape leveling of bed of tanks to correct level and grade i/c laying in 6” layers for construction of banks and disposal of surplus earth with in one chain as directed by Engineer in charge i/c providing fence guard, lights, flags and wherever required lift upto 5’ ft: and lead up to one chain etc: complete. (P.H.S.I.No: 1,P/67). | 3000/- | P%0cft | 15,939/- |
| 02 | 136.00 Cft | Excavation in foundation for tanks and reservoir in wet soil / Clay or mud i/c trimming and dressing sides to true alignment/design section profiled and shape leveling of bed of tanks to correct level and grade i/c laying in 6” layers for construction of banks and disposal of surplus earth with in one chain as directed by Engineer in charge i/c providing fence guard, lights, flags and wherever required lift upto 5’ ft: and lead up to one chain etc: complete. (P.H.S.I.No: 4,P/74). | 4800/- | P%0cft | 653/- |

(Cont: on page No;06)

(Page No:06)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| 03 | 12796.50 Cft | Earth work compaction (Sofit, ordinary or hard soil ) Laying earth in 6” layers levelling, dressing and watering for compaction etc: complete. (GSI.No:13(B)P/3). | 354/- | P%0cft | 4,530/- |
| 04 | 7347.44 Cft | Extra for every 50; ft: additional lead or part there of (G.S.I.No:8,P/2) | 403/12 | P%0cft | 2,962/- |
|  |  | SUMP WELL. |  |  |  |
| 1 | 226.08 Cft | Excavation in foundation of building bridges and other structures including dabbling dressing refilling around structures with excavated earth watering and ramming lead upto 5’ft (in sand soil ) (G.S.I.NO;18,. P/4) | 3176/25 | P%0cft | 718/- |
| 2 | 28.26 Cft | Cement Concrete brick or stone ballast 1 ½” to 2” guage Ratio (1:4:8) (G.S.I.No:4,d,P/14). | 9416/28 | P%cft | 2,661/- |
| 3 | 187.0 Cft | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds, lifting, shuttering currying rendering and finishing the exposed surface)(including screening and washing of shingle)(a)R.C. Work in roof slab, beams, columns, rafts, lintels and other structural members laid in situe or precast laid in position complete in all respect(i)Ratio 1:2:4)90 lbs cement 2 cft sand 4 cft shingle 1/8” to ¼” gauge.(G.S.I.NO;6(a)(i)P/17) | 337/- | P/cft | 63,019/- |
| 4 | 7.51 Cwt | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars (G.S.I.NO;7(ii)(a)P/20) | 5001/70 | P/Cwt | 37,563/- |
|  |  | INTER CONNECTION |  |  |  |
| 1 | 2240.0 Cft | Excavation for pipe lines into trenches and pits in Soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft(1.52m) and lead upto one chain (30.5mm) (P.H.S.I.NO; 5, P/38) | 3600/- | P%0cft | 8,064/- |

(Cont: on page No;07)

(Page No:07)

| Item No: | Quantity | Description of Item to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 01 | 02 | 03 | 04 | 05 | 06 |
| 2 |  | Providing RCC ASTM Pipe of class ‘B’ (equivalent make)fixing in trenches i/c cutting and jointing with “Z” joints with one rubber rings i/c testing with water to head of 61 meter or 200’ft .(P.H.S.I.NO;1(b),P/17) |  |  |  |
|  | 160.00 Rft | 18” dia | 618/- | P/Rft | 98,880/- |
| 3 | 2016.0 Cft | Refilling the excavated stuff in trenches 6” thick layers i/c watering ramming to full compaction etc: complete (P.H.S.I.NO;24, P/53) | 2760/- | P/Rft | 5,564/- |
|  |  |  |  | Total | 2,40,553 |

A B S T R A C T

| Group | Schedule Item | Non Schedule Item | Total |
| --- | --- | --- | --- |
| ‘A’ Constt: Open surface drains Type I,II,III & C.C Block | 65,86,552/- |  |  |
| ‘B’ Construction of Pump House. | 5,86,300/- |  |  |
| ‘C’ Providing Installing 12 BHP Diesel Engine |  | 1,05,520/- |  |
| ‘D’ Providing Laying Jointing and Testing PVC Pipe 3” dia | 1,30,645/- |  |  |
| ‘E’ Construction of Oxidation pond . |  |  |  |

Amount Total (a) + (b) Rs:___________________

________% above / below on the rates of CSR, Amount to be added / deducted on the basis

Total (b) of premium quoted ______________

Total (c ) offered for Non-schedule items_________

Total (A) = a + b in works & Figures______________________________________________

Contractor 						 	EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG:DIVISION

JAMSHORO