ESTIMATE

Part-A Surface Drain

Name of Work: - Construction of surface drain CC block at town Ubauro city from

house pd Liaqat Ali, Gul Muhammad Samejo Jam Sajan Dhandhu

upto main road Bashirabad Ubauro city.

01. Excavation in foundation of building bridges and structure i/c dag

Belling dressing refilling around the structure executes earth watering and

Ramming lead up to one chain lift up to 5ft in ordinary soil

(Sch: No.8 (b) P-4)

Qty: 937.50 Cft @ Rs: 3176.25 P%0 Cft                                                   Rs:  2978/-

02. Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 187.50 Cft @ Rs: 9416.28 P% Cft.                                                   Rs: 17656/-

03. Pacca brick work in foundation in cement sand mortar 1:6

(Sch: No.4 (e) P=20).

Qty: 562.50 @ Rs: 11948.36 P% Cft                                                                  Rs: 67209/-

04. Construction of standard cunntte blocks open drains profile drawing

of cement concrete 1:2:4 situ to the design profile i-e applying flouting cost

of cement 1/32” to the exposed finishing complete as per deleted drawing.

(Sch: No.6 P-58).

Qty:  300 Rft @ Rs: 94/- P /Rft.                                                                          Rs: 28200/-

05. Cement plaster 1:4 up to 20ft heights 1/2 “

(Sch: No. 11 (B) P.No. 52)

Qty: 825.0 Sft @ Rs: 2283.93 P% Sft.                                                                 Rs: 18842/-

06. R.C.C Work in roof, slab beams, columns, rafts lintels and other Structural

members laid in situ or precost laid in position complete in all respect.

(I) Ratio (1:2:4) 90lbs. cement 2 cft. Sand 4 cft. Shingle 1/8x1/4 Gauge

(Sch: No.6 (A) P-17)

Qty: 123.75 Cft @ Rs: 337.0 P.Cft                                                                    Rs: 41703/-

07. Fabrication of Mild steel reinforcement for cement concrete i/c cutting,

Laying in position making joined and fastening i/c cost binding wire.

Qty: 5.52 Cwt @ Rs: 5001.70 P.Cwt                                                                         Rs: 27634/-

08. Providing & laying RCC pipe and collars of class “B” and fixing in trench i/c

Cutting , fitting  in trench jointing with .(P.H.E I no 2 © P-16)

06” dia

12.00 Rft @ Rs: 163.0 P.Rft                                                                              Rs:    1956/-

09” dia

12.00 Rft @ Rs: 163.0 P.Rft                                                                              Rs:    1956/-

09. Providing & laying PVC pipes of class “B” “C” & “D” and fixing in trench i/c

Cutting, fixing & jointing with maxphalt composition and jointing with solvent

Cement i/c testing with water to head of 61 meter to 122 meter or 200 ft to 400 ft

(P.H.E I no E (4) P-23)

04” dia

12.00 Rft @ Rs: 136.0 P.Rft                                                                                 Rs:  1632/-

06” dia

12.00 Rft @ Rs: 259.0 P.Rft                                                                                  Rs:  3108/-

Part-B Cement Concrete Block

01.  Barrow pit excavation undressed lead up to 100. Ft. in ordinary soil extra 3 mile lead.

(Sch: No.3 (a) P-1)

Qty: 5000.0 Cft @ Rs: 7911.60 P%0 Cft                                                             Rs: 39558/-

02. Dressing leveling of Earth Work.

(Sch: No.11 (b)   P.03   )

Qty: 5000.0 @ Rs: 187.55 P%0 Cft                                                                         Rs:  938/-

03 Rehandling of earth work, upto lead 50 ft (G.Sch. I no-9(b) P-2)

Qty: 5000.00 Cft @ Rs: 1058.75 P%0 Cft                                                               Rs: 5293/-

04. Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 825.00 Cft @ Rs: 9416.28 P% Cft.                                                                 Rs: 77684/-

04. Cement concrete plan i/c compacting finishing and complete i/c screening

and washing stone aggregate without shuttering. Ratio 1:2:4

(Sch: No.5 P-16)

Qty: 625.0 Cft @ Rs: 14429.25 P% Cft                                                                    Rs:   90183/-

SUB-ENGINEER                                     ASSISTAN EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                TOWN COMMITTEE UBAURO