Schedule B

Name of Work: - Providing and laying steel shade at Shaheed Benazeer Bhutto Market Town

Committee Ubauro

01. Excavation in foundation of building bridges and structure i/c dag

Belling dressing refilling around the structure executes earth watering and

Ramming lead up to one chain lift up to 5ft in ordinary soil (Sch: No.8 (b) P-4)

Qty: 250.0 Cft @ Rs: 3176.15 P%0 Cft                                                                   Rs: 794/-

02. Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 63.0 Cft @ Rs: 9418.25 P% Cft                                                                     Rs: 5933/-

02. R.C.C Work in roof, slab beams, columns, rafts lintels and other Structural

members laid in situ or precost laid in position complete in all respect. Ratio (1:2:4)

90lbs. cement 2 Cft. Sand 4 Cft. Shingle 1/8x1/4 Gauge (GSI No.6 (A) P-17).

Qty: 380.0 Cft @ Rs: 337.0 P.Cft                                                                          Rs: 128060/-

03. Fabrication of Mild steel reinforcement for cement concrete i/c cutting bending,

Laying in position, making joints & fastening i/c cost binding wire also i/c removal

Of rust from bars. (CSI No: 08 P-17)

Qty: 15.0 Cwt @ Rs: 5001.70 P.Cwt                                                                     Rs: 75026/-

04. G.I shade non schedule item (RA) (M.R Non schedule item shade)

Qty: 2725.0 Sft @ Rs 270.0 P.Sft                                                                         Rs: 735750/-

SUB-ENGINEER                                          ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                   TOWN COMMITTEE UBAURO