Schedule B

Name of Work: - Supplying and laying GRP pipe line malik colony disposal Amirabad road to

chowk mater kot Langho road Ubauro to Amirabad disposal. Part-1

01. Excavation for pipe line in the trenches & pits in soft soil i/c trimming &

dressing sides to true alignment & shapes leveling of beds to correct level

& grade cutting joints holes & disposal of surplus earth with in one chain as

directed by engineer in charge, providing fence guard light flags & temporary

crossing for non vehicular traffic where ever required lift Upto 5ft (1.52m) & lead

Upto one chain (30.5m) (PHSI No: 1 P-60)

12” Dia

Qty: 9188.00 Cft @ Rs: 3600.0 P%0 Cft                                                          Rs:   33077/-

02. Providing laying UPVC Pressure Pipe of Class ‘D’ (equivalent make) fixing in

trenches i/c cutting fitting and jointing with ‘z’ joint with one rubber ring i/c

testing with water to a head 122 meter or 400 ft. (PHSI No. 3 P-23)

12” Dia

Qty: 1225.00 Rft @ Rs: 1929.0 P.Rft                                                                Rs: 2363025/-

03. (a) CI Bend 90’ (PHSI MI No. 14 P- 13)

Qty: 02.00 Nos @ Rs: 16801.0 P.Nos				   Rs:   33602/-

(b) CI Bend 45’ (PHSI MI No: 14 P-13)

Qty: 02.00 Nos @ Rs: 13441.0 P.Nos				   Rs:  26882/-

04. CI Jibault joints (PHSI No: 15 P- 17)

Qty: 02.00 Nos @ Rs: 2681.25 P.Nos				   Rs:   5363/-

05. Refilling the excavated stuff in trenches 6” thick layers i.c watering ramming

to full compaction etc complete (PHSI No: 24 P-27)

Qty: 8269.0 Cft @ Rs: 2760.0 P%0 Cft                                                Rs:   22822/-

SUB-ENGINEER                                                 ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                            TOWN COMMITTEE UBAURO