Schedule B

Name of Work: - Raising of old main hole various roads & Mohalla of Town Ubauro

01. Dismantling cement concrete reinforcement separate from & strengthening the sand

(CSI No 20 P-10)

Qty: 1298.00 Cft @ Rs: 5445.0 P% Cft                                                        Rs: 70676/-

02. R.C.C Work in roof, slab beams, columns, rafts lintels and other Structural

members laid in situ or precost laid in position   complete   in   all   respect.

(I) Ratio (1:2:4)(Sch: No.6 (A) P-15)

Qty: 790.00 Cft @ Rs: 337.0 P.Cft                                                                Rs: 266230/-

03. Fabrication of Mild steel reinforcement for cement concrete i/c cutting,

Laying in position making joined and fastening i/c cost binding wire.

Qty: 35.26 Cwt @ Rs: 5001.70 P.Cwt                                                          Rs: 176359/-

04. C.I main Hole

Qty: 56.25 Cwt @ Rs: 6985.0 P.Cwt	                                    Rs: 392906/-

05. Erection & removal of centring for RCC of plain cc work of partial wood

Qty: 56.25 Cwt @ Rs: 271.04 P.Cwt                                                            Rs:  15246/-

SUB-ENGINEER                                                     ASSISTAN EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                               TOWN COMMITTEE UBAURO