Schedule B

Name of Work: - Remaining work Construction of Surface Drain and CC Block New Muslim

Colony Ubauro Part-2

01.  Barrow pit excavation undressed lead up to 100. Ft. in ordinary soil extra 6 mile lead.

(Sch: No.3(a) P-1)

Qty: 2625.00 Cft @ Rs: 7911.60 P%0 Cft                                            Rs: 20768

02. Dressing and leveling of earth work (Sch: no 11(B) P-3)

Qty: Same as item no 01 = 2625.00 Cft

Qty: 2625.00 Cft @ Rs: 187.550 P%0 Cft                                               Rs:    492/-

03 . Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8) (Sch: No.4 (b) P.14)

Qty: 300.00 Cft @ Rs: 9416.28 P% Cft.                                                  Rs: 28249/-

04. Pacca brick work in foundation in cement sand mortar 1:6 (Sch: No.4 (e) P=20).

Qty: 1539.0 @ Rs: 11948.36 P% Cft                                                          Rs: 183882/-

05. Construction of standard cunntte blocks open drains profile drawing

of cement concrete 1:2:4 situ to the design profile i-e applying flouting cost

of cement 1/32” to the exposed finishing complete as per deleted drawing.

(Sch: No.6 P-58).

Qty:  300 Rft @ Rs: 94 P /Rft.                                                                       Rs: 28200/-

06. Cement plaster 1:4 up to 20ft heights 1/2 “

(Sch: No. 11 (B) P.No. 52)

Qty: 1400.0 Sft @ Rs: 2283.93 P% Sft.                                                                      Rs: 31975/-

07. Fabrication of Mild steel reinforcement for cement concrete i/c cutting,

Laying in position making joined and fastening i/c cost binding wire.

Qty: 4.15 Cwt @ Rs: 5001.70 P.Cwt                                                                         Rs:   20757/-

08. R.C.C Work in roof, slab beams, columns, rafts lintels and other Structural

members laid in situ or precost laid in position complete in all respect.

(I) Ratio (1:2:4) 90lbs. cement 2 cft. Sand 4 cft. Shingle 1/8x1/4 Gauge

(Sch: No.6 (A) P-17)

Qty: 83.0 Cft @ Rs: 337.0 P% Cft                                                                           Rs: 27971/-

Part-B Cement Concrete Block

01.  Barrow pit excavation undressed lead up to 100. Ft. in ordinary soil extra 3 mile lead.

(Sch: No.3 (a) P-1)

Qty: 11550.0 Cft @ Rs: 7911.60 P%0 Cft                                                                  Rs: 91379/-

02. Dressing leveling of Earth Work.

(Sch: No.11 (b)   P.03   )

Qty: Same as Item No: 01 = 11550.0 Cft

Qty: 11550.0 @ Rs: 187.55 P%0 Cft                                                                           Rs: 2166/-

03. Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 1386.0 Cft @ Rs: 9416.28 P% Cft.                                                                      Rs: 130510/-

04. Laying CC Topping 3” thick

Qty: 4200.0 Sft @ Rs: 4411.28 P% Sft                                                                      Rs: 185296/-

SUB-ENGINEER                              ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                             TOWN COMMITTEE UBAURO