Schedule B

Name of Work: - Construction of surface drain & CC laying Paver Mahtab Soomro

Street Town Ubauro.

01.  Dismantling of cc drain & Pacca Brick Work (CSI No 20 P-10)

Qty: 439.00 Cft @ Rs: 5440.0 P% Cft                                                  Rs: 23882/-

02. Barrow pit excavation undressed lead up to 100. Ft. in ordinary soil extra 6 mile lead.

(Sch: No.3 (a) P-1)

Qty: 900 Cft @ Rs: 7911.60 P%0 Cft                                                Rs: 7120/-

03. Dressing levelling of Earth Work. (Sch: No.11 (b)   P.03)

Qty: 900.0 Cft @ Rs: 263.0 P%0 Cft                                                  Rs:  237/-

04. Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 101.25 Cft @ Rs: 9416.28 P% Cft.                                                      Rs:  9534/-

05. Construction of standard cunntte blocks open drains profile drawing

of cement concrete 1:2:4 situ to the design profile i-e applying flouting cost

of cement 1/32” to the exposed finishing complete as per deleted drawing.

(Sch: No.6 P-58).

Qty: 330.00 Rft @ Rs: 94.00 P.Rft                                                              Rs: 31020/-

06. Cement plaster 1:4 up to 20ft heights 1/2 “(Sch: No. 11 (B) P.No. 52)

Qty: 990.00 Cft @ Rs: 2283.93 P.Sft                                                         Rs: 22702/-

07 R.C.C Work in roof, slab beams, columns, rafts lintels and other Structural

Members laid in situ or precost laid in position   complete   in   all   respect.

(I) Ratio (1:2:4) (Sch: No.6 (A) P-15)

Qty: 54.12 Cft @ Rs: 337.0 P.Cft                                                                  Rs: 18238/-

08. Fabrication of Mild steel reinforcement for cement concrete i/c cutting,

Laying in position making joined and fastening i/c cost binding wire.

Qty: 2.416 Cwt @ Rs: 5001.70 P.Cwt                                                           Rs: 12084/-

Part – B CC Paver

- Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 570.00 Cft @ Rs: 9416.28 P% Cft                                                       Rs: 53673/-

02. Supplying the 1st layer Powder……

Qty: 570.0 Cft @ Rs: 4500 P% Cft                                                                     Rs: 25650/-

03. Providing and fixing cement paving blocks flooring having size of

197x97x80 m.m of city quddra / coble shape with natural colours, having strength

b/w 5000 Psi 8500 Psi i/c filling the joints with hill sand laying in specified manner/

pattern and design etc (G.Sch I no 71 P-48)

Qty: 2280.0 Sft @ Rs: 248.17 P.Sft                                                                      Rs: 565828/-

SUB-ENGINEER                               ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                           TOWN COMMITTEE UBAURO