Schedule B

Name of Work: - Construction of RCC Pipe 18” dia sewerage line and main hole from Noori

mosque to Amirabad drainage scheme via Qutub malik machine Part-01

01. Excavation for pipe line in the trenches & pits in soft soil i/c trimming &

dressing sides to true alignment & shapes leveling of beds to correct level

& grade cutting joints holes & disposal of surplus earth with in one chain as

directed by engineer in charge, providing fence guard light flags & temporary

crossing for non vehicular traffic where ever required lift upto 5ft (1.52m) & lead

upto one chain (30.5m) (PHSI No: 1 P-60)

Qty: 8160.0 Cft @ Rs: 3600.0 P%0 Cft                                               Rs: 27376/-

02. Excavation for pipe line in the trenches & pits in wet soil clay or mud i/c trimming &

dressing sides to true alignment & shape levelling of beds to correct level & grade

cutting joints holes & disposal of surplus earth with in one chain as directed by

engineer in charge, providing fence guard light flags & temporary crossing for non

vehicular traffic where ever required lift upto 5ft (1.52m) & lead upto one chain (30.5m)

(PHSI No: 1 P-60)

Qty: 1920.0 Cft @ Rs: 5400.0 P%0 Cft                                             Rs: 10368/-

03 Providing RCC Pipes of ASTM C-76-62 T/C 76-70 class II wall ‘B’ & fixing in Trenches

i/c cutting fitting & jointing with water rubber rings i/c testing with water to specified pressure

(PHSI No. 1(b) P-17)

Qty: 480.0 Rft @ Rs: 618.0 P.Rft                                                     Rs: 296640/-

04. Cement concrete brick or stone ballast 11/2 to 2  gauge (CSI No 4 P-15)

Qty: 180.00 Cft @ Rs: 9416.28 P% Cft                                                         Rs:  16949/-

06. Cement Concrete plain i/c placing, compacting, finishing curing i/c screening &

Washing of stone aggregate w/o shuttering Ratio 1:2:4(CSI No 05 P-16)

Qty: 80.76 Sft @ Rs: 14429.25 P% Sft                                                          Rs: 11653/-

07.  Refilling the excavated stuff in trenches 6’ thick layer i/c watering, ramming to full

Compaction etc complete(PHSI no 24 P-77)

Qty: 7006.05 Cft @ Rs: 2760.00 P%0 Cft                                                   Rs:   19337/-

Part – B Main Hole

01. Dismantling and removing road metling (GSI No 51 P-13)

Qty: 99.49 Cft @ Rs: 605.00 P% Cft                                                                  Rs: 602/-

02. Excavation in foundation of building bridges and structure i/c dag

Belling dressing refilling around the structure executes earth watering and

Ramming lead up to one chain lift up to 5ft in ordinary soil

(Sch: No.8 (b) P-4)

Qty: 1560.76 Cft @ Rs: 3176.25 P%0 Cft                                                      Rs: 4957/-

03. Extra for wet earth work (GSI NO 15 P-3)

Qty: 514.65 Cft @ Rs: 1058.75 P%0 Cft                                                         Rs: 545/-

04. Cement concrete brick or stone ballast 11/2 to 2 gauges (CSI No 4 P-15)

Qty: 187.81 Cft @ Rs: 9416.28 P% Cft                                                       Rs: 17685/-

05. Cement Concrete plain i/c placing, compacting, finishing curing i/c screening &

Washing of stone aggregate w/o shuttering Ratio 1:2:4(CSI No 05 P-16)

Qty: 128.16 Cft @ Rs: 14429.25 P% Cft                                                     Rs: 18493/-

06. R.C.C Work in roof, slab beams, columns, rafts lintels and other Structural

members laid in situ or precost laid in position   complete   in   all   respect.

(I) Ratio (1:2:4) (Sch: No.6 (A) P-15)

Qty: 351.16 Cft @ Rs: 337.0 P.Cft                                                         Rs: 118341/-

07 Fabrication of Mild steel reinforcement for cement concrete i/c cutting,

Laying in position making joined and fastening i/c cost binding wire.

Qty: 12.54 Cwt @ Rs: 5001.70 P.Cwt                                                   Rs: 72728/-

08. Providing C.I main Hole cover & frame i/c cost material etc

(CSI no 1(p) P-35)

Qty: 27.50 Cwt @ Rs: 6985.00 P.Cwt                                                    Rs: 192088/-

09. Erection & fitting in position of iron trusses lagging of water tanks

(PHSI No 3 P-91)

Qty: 27.36 Cwt @ Rs: 271.04 P.Cwt                                                      Rs: 7416/-

10. Earth excavation undressed lead upto to a single throw of kassi phawrah or shovel

(GSI No 1 P-1) i/c03. Miles

Qty: 1248.60 Cft @ Rs: 6928.48 P%0 Cft                                              Rs:  8651/-

SUB-ENGINEER                               ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                             TOWN COMMITTEE UBAURO