Schedule B

Name of Work: - Construction of Surface Drain and CC Block @ ward 01 of Town Ubauro.

Part-A Surface Drain

01.  Barrow pit excavation undressed lead up to 100. Ft. in ordinary soil extra 3 mile lead.

(Sch: No.3 (a) P-1)

Qty: 1750.0 Cft @ Rs: 7911.60 P%0 Cft                                                             Rs: 13845/-

02. Dressing leveling of Earth Work. (Sch: No.11 (b)   P.03 )

Qty: 1750.0 @ Rs: 187.55 P%0 Cft                                                                     Rs:  328/-

03. Excavation in foundation of building bridges and structure i/c dag

Belling dressing refilling around the structure executes earth watering and

Ramming lead up to one chain lift up to 5ft in ordinary soil

(Sch: No.8 (b) P-4)

Qty: 750.00 Cft @ Rs: 3176.25 P%0 Cft                                                           Rs:  2382/-

04. Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 375.00 Cft @ Rs: 9416.28 P% Cft.                                                             Rs: 35311/-

05. Pacca brick work in foundation in cement sand mortar 1:6 (Sch: No.4 (e) P=20).

Qty: 1125.00 Cft @ Rs: 11948.36 P% Cft                                                        Rs: 134419/-

06. Construction of standard cunntte blocks open drains profile drawing

of cement concrete 1:2:4 situ to the design profile i-e applying flouting cost

of cement 1/32” to the exposed finishing complete as per deleted drawing.

(Sch: No.6 P-58).

Qty:  500.0 Rft @ Rs: 94/- P /Rft.                                                                          Rs: 47000/-

07. Cement plaster 1:4 up to 20ft heights 1/2 “ (Sch: No. 11 (B) P.No. 52)

Qty: 1250.0 Sft @ Rs: 2283.93 P% Sft.                                                                 Rs: 28549/-

08. R.C.C Work in roof, slab beams, columns, rafts lintels and other Structural

members laid in situ or precost laid in position   complete   in   all   respect.

(I) Ratio (1:2:4)(Sch: No.6 (A) P-17)

Qty: 83.00 Cft @ Rs: 337.0 P.Cft                                                                        Rs: 27971/-

09. Fabrication of Mild steel reinforcement for cement concrete i/c cutting,

Laying in position making joined and fastening i/c cost binding wire.

Qty: 4.15 Cwt @ Rs: 5001.70 P.Cwt                                                                        Rs:    20757/-

10. Providing & laying RCC pipe and collars of class “B” and fixing in trench i/c

Cutting , fitting  in trench jointing with .(P.H.E I no 2 © P-16)

06” dia

Qty: 12.00 Rft @ Rs: 163.0 P.Rft                                                               Rs:    1956/-

09” dia

Qty: 12.00 Rft @ Rs: 163.0 P.Rft                                                                Rs:    1956/-

11. Providing & laying PVC pipes of class “B” “C” & “D” and fixing in trench i/c

Cutting, fixing & jointing with maxphalt composition and jointing with solvent

Cement i/c testing with water to head of 61 meter to 122 meter or 200 ft to 400 ft

(P.H.E I no E (4) P-23)

04” dia

Qty: 12.00 Rft @ Rs: 136.0 P.Rft                                                                 Rs:   1632/-

06” dia

Qty: 12.00 Rft @ Rs: 259.0 P.Rft                                                                Rs:    3108/-

Part-B Cement Concrete Block

01.  Barrow pit excavation undressed lead up to 100. Ft. in ordinary soil extra 3 mile lead.

(Sch: No.3 (a) P-1)

Qty: 3900.0 Cft @ Rs: 7911.60 P%0 Cft                                                             Rs: 30855/-

02. Rehandling of earth work, upto lead 50 ft.(G.Sch: I no 9 (b) P-2)

Qty: 3900.0 Cft @ Rs: 1058.75 P%0 Cft                                                               Rs: 4129/-

03. Dressing leveling of Earth Work. (Sch: No.11 (b)   P.03 )

Qty: 3900.0 Cft @ Rs: 187.55 P%0 Cft                                                                 Rs:  731/-

04. Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 1089.0 Cft @ Rs: 9416.28 P% Cft.                                                             Rs: 102543/-

05. Cement concrete laying CC block 3” thick 1:2:4.

Qty: 3300.0 Sft @ Rs: 4411.28 P% Cft                                                                 Rs: 145572/-

SUB-ENGINEER                                                     ASSISTAN EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                                  TOWN COMMITTEE UBAURO