Schedule B

Name of Work: - Supplying & laying GRP pipe line from Malik Colony Disposal Amirabad road to

Chowk Mater kot Langho road Ubauro to Amirabad Disposal. Part-4.

Part – A

01. Excavation for pipe line in the trenches & pits in soft soil i/c trimming &

dressing sides to true alignment & shapes leveling of beds to correct level

& grade cutting joints holes & disposal of surplus earth with in one chain as

directed by engineer in charge, providing fence guard light flags & temporary

crossing for non vehicular traffic where ever required lift Upto 5ft (1.52m) & lead

Upto one chain (30.5m) (PHSI No: 1 P-60)

Qty: 3000.00 Cft @ Rs: 3600.0 P%0 Cft                                                            Rs:   10800/-

02. Providing laying UPVC Pressure Pipe of Class ‘D’ (equivalent make) fixing in

trenches i/c cutting fitting and jointing with ‘z’ joint with one rubber ring i/c

testing with water to a head 122 meter or 400 ft. (PHSI No. 3 P-23)

Qty: 500.00 Rft @ Rs: 1929.0 P.Rft                                                                   Rs: 964500/-

03. (a) CI Bend 90’ (PHSI MI No. 14 P- 13)

Qty: 01.00 Nos @ Rs: 16801.0 P.Nos				                Rs: 16801/-

(b) CI Bend 45’ (PHSI MI No: 14 P-13)

Qty: 01.00 Nos @ Rs: 13441.0 P.Nos				                 Rs:  13441/-

04. CI Jibault joints (PHSI No: 15 P- 17)

Qty: 01.00 Nos @ Rs: 2681.25 P.Nos				                  Rs:   2681/-

05. Refilling the excavated stuff in trenches 6” thick layers i.c watering ramming

to full compaction etc complete (PHSI No: 24 P-27)

Qty: 2700 Cft @ Rs: 2760.0 P%0 Cft                                                                   Rs:    7452/-

Part-B R.C.C Collecting Tank 20’ dia.

01. Excavation of well in dry upto 20’ below ground level disposal of soil within one chain

(PHSI No- 01 P-86)

Qty: 2453.12 Cft @ Rs: 2247.58 P%0 Cft                                                            Rs:  1378/-

02. what sinking of well for depth below spring level by means of all charges for sharing lead….

(CSI No-02 P-09)

Qty: 1987.03 Cft @ Rs: 2420.50 P% Cft                                                             Rs: 48096/-

(b) 10’ – 15’ Depth

Qty: 1987.03 Cft @ Rs: 2420.50 P% Cft                                                            Rs:  48096/-

(c) 15’ – 20’ Depth

Qty: 1987.03 Cft @ Rs: 2420.50 P% Cft                                                        Rs:   48096/-

03. R.C.C work in roof slab beams, columns………..

Qty: 1147.04 Cft @ Rs: 337.0 P.Rft                                                               Rs: 386552/-

04. Fabrication of Mild Steel reinforcement force i/c cutting…….

(CSI No7 P-17)

Qty: 46.08 Cwt @ Rs: 5001.70 P.Cwt                                                            Rs: 230478/-

05. Providing construction joint in concrete work of 9’’ wide (225 mm)

corrugated PVC stop (with Rubs) i/c …… cost of material and labors

change i/c complete (PHSI No-B2 P-56)

Qty: 197.82 Rft @ Rs: 86.0 P.Rft                                                                   Rs: 17013/-

06. Cement Concrete Brick or Stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(CSI No-04 P-17)

Qty: 647.89 Cft @ Rs: 9416.28 P% Cft                                                          Rs: 61007/-

07. Cement concrete plan i/c compacting finishing and complete i/c screening

and washing stone aggregate without shuttering. Ratio 1:2:4

(CSI: No.5 P-16)

Ratio 1:3:6

Qty: 314.0 Cft @ Rs: 12595/- P% Cft                                                             Rs: 39548/-

Ratio 1:2:4

Qty: 628.0 Cft @ Rs: 14429.25 P% Cft                                                           Rs: 90616/-

08. Bailing or pumping out sub soil water during excavation concreting cost in situ

Concrete for masonry work in foundation (PHSI No-18 P-75)

Qty: 5694.0 Cft @ Rs: 543.0 P% Cft                                                                  Rs:  30918/-

09. Providing and fixing in Portion in foundation 1:3:6 M.S ladder of M.S raibs

Iron 2x2x ¼ 1-0 Past with M.S Bar 3/4 ‘’ dia spared 1-0’ Port-3 coat

(PHSI No-03 P-42

Qty: 20.0 Rft @ Rs: 342.90 P.Rft                                                                            Rs:   6858/-

10. Supplying DAMPO water proofing (SMI No- 16 P-4)

Qty: 247.27 lbs @ Rs: 27.27 P.lbs                                                                          Rs:  6743/-

SUB-ENGINEER                                            ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                         TOWN COMMITTEE UBAURO