Schedule B

Name of Work: - Supplying and laying  GRP Pipe line from drainage scheme Muslim

Colony via Govt. Degree College to Khanpur Mohalla Ubauro.

01. Dismantling of road mettling (CSI No: 51 P-No13)

Qty: 4900.00 Cft @ Rs: 605.0 % Cft                                                                   Rs: 29645/-

02. Excavation for pipe line in the trenches & pits in soft soil i/c trimming &

dressing sides to true alignment & shapes leveling of beds to correct level

& grade cutting joints holes & disposal of surplus earth with in one chain as

directed by engineer in charge, providing fence guard light flags & temporary

crossing for non vehicular traffic where ever required lift upto 5ft (1.52m) & lead

upto one chain (30.5m) (PHSI No: 1 P-60)

12” Dia

Qty: 3675.0 Cft @ Rs: 3600.0 P%0 Cft                                                                     Rs: 13230/-

03. Providing laying UPVC Pressure Pipe of Class ‘D’ (equivalent make) fixing in

trenches i/c cutting fitting and jointing with ‘z’ joint with one rubber ring i/c

testing with water to a head 122 meter or 400 ft. (PHSI No. 3 P-23)

Qty: 350.0 Rft @ Rs: 1929.0 P.Rft                                                                         Rs: 675150/-

04. CI Bend 90’ (PHSI MI No. 14 P- 13)

Qty: 03.0 Nos @ Rs: 16801.0 P.Nos						       Rs: 50403/-

CI Bend 45’ (PHSI MI No: 14 P-13)

Qty: 03.0 Nos @ Rs: 13441.0 P.Nos                                                                    Rs: 40323/-

05. CI Jibault joints (PHSI No: 15 P- 17)

Qty: 01.0 Nos @ Rs: 2681.25 P.Nos                                                                     Rs: 2681/-

06. Refilling the excavated stuff in trenches 6” thick layers i.c watering ramming

to full compaction etc complete (PHSI No: 24 P-27)

Qty: 4410.0 Cft @ Rs: 2760.0 P%0 Cft                                                                Rs: 12172/-

SUB-ENGINEER                                                  ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                             TOWN COMMITTEE UBAURO