Schedule B

Name of Work: - Supplying and laying  GRP Pipe line from drainage scheme Khanpur Mohalla Disposal scheme upto Ranwti road to Shaheed Banazeer Chowk  via  Bashir

Abad road to Disposal scheme Eid Gah Ubauro. Part-1

01. Dismantling of road mettling (CSI No: 51 P-No13)

Qty: 250.00 Cft @ Rs: 605.0 % Cft                                                                     Rs:   21175/-

02. Excavation for pipe line in the trenches & pits in soft soil i/c trimming &

dressing sides to true alignment & shapes leveling of beds to correct level

& grade cutting joints holes & disposal of surplus earth with in one chain as

directed by engineer in charge, providing fence guard light flags & temporary

crossing for non vehicular traffic where ever required lift upto 5ft (1.52m) & lead

upto one chain (30.5m) (PHSI No: 1 P-60)

16” Dia        1x250x3.50x3.0              = 2625.00 Cft

Qty: 2625.0 Cft @ Rs: 3600.0 P%0 Cft                                                                    Rs:    9450/-

03. Providing laying UPVC Pressure Pipe of Class ‘D’ (equivalent make) fixing in

trenches i/c cutting fitting and jointing with ‘z’ joint with one rubber ring i/c

testing with water to a head 122 meter or 400 ft. (PHSI No. 3 P-23)

16” Dia

Qty: 250.0 Rft @ Rs: 3023.0 P.Rft                                                                         Rs: 755750/-

04. CI Bend 90’ (PHSI MI No. 14 P- 13)

Qty: 01.0 Nos @ Rs: 16801.0 P.Nos						       Rs: 16801/-

CI Bend 45’ (PHSI MI No: 14 P-13)

Qty: 01.0 Nos @ Rs: 13441.0 P.Nos                                                                    Rs: 13441/-

05. CI Jibault joints (PHSI No: 15 P- 17)

Qty: 01.0 Nos @ Rs: 2681.25 P.Nos                                                                     Rs: 2681/-

06. Refilling the excavated stuff in trenches 6” thick layers i.c watering ramming

to full compaction etc complete (PHSI No: 24 P-27)

Qty: 5512.50 Cft @ Rs: 2760.0 P%0 Cft                                                              Rs: 15215/-

SUB-ENGINEER                                                   ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                             TOWN COMMITTEE UBAURO