## Schedule B
" Schedule B ."
Mame of Work:- Repair / Renovation & Re-Construction of SSD Dham Reherki Darbar District Ghotki (Internal & External Electrification) (Package-24)
Minority
S.No. | Item of Work | Quantity. |  | Rate | Unit | Amount.
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required.(S.I.No. 124, Page No. 15). | 80 | Pts. | 1130 | P.Pt. | 90400
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No. 126 Page No. 15). | 12 | Pts. | 985 | P.Pt. | 11820
3 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 10 Page No. 2). | 200 | Mtrs. | 222 | P.Mtr. | 44400
4 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.036 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 11 Page No. 2). | 100 | Mtrs. | 252 | P.Mtr. | 25200
5 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.044 (6mm2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 12 Page No. 2). | 95 | Mtrs. | 341 | P.Mtr. | 32395
6 | Providing and fixing Circuit Breaker 6,10,15,20,30,40,50 & 63 Amps: SP (TB-5S) on prepared board as required.(S.I.No. 203, Page No. 31). | 16 | Nos | 916 | Each. | 14656
7 | P/F Circuit breaker 6,10,15,20,30,40,50, & 63 Amps: D.P. (TB-5S) on prepared board as required.(S.I.No. 204, Page No. 31) | 12 | Nos | 2456 | p.No | 29472 | 0 | 2400 | -300000
8 | Providing & fixing Bakelite ceiling rose with two terminals. (S.I.No. 228, Page No. 33) | 25 | Nos | 72 | Each | 1800
9 | Providing and Fixing Brass Battern Holder. (S.I.No. 232, Page No. 33) | 20 | Nos | 70 | Each | 1400
|  |  |  | Total |  | 251543
Add: At Par / %Above/Below
|  |  |  | Total | "A"
PART "B" NON SCHEDULE ITEMS.
1 | P/F Switch 5 Amps: imporated Make i/c plastic board imported make etc complete. | 80 | Nos. |  | Each
2 | P/F 2 Pin 5 Amps:plug socket imporated Make i/c plastic board with necessary electric connection etc complete. | 12 | Nos. |  | Each
3 | P/F fancy type 3-pin 5-Amps: S.P. plug socket switch & shoe unit imported qualty with board as approved by the Engineer Incharge i/c necessary connection & recessed in the wall etc. | 8 | Nos. |  | Each
4 | P/F Ceiling Light LED 7 to 11 watts Imported make with Metal Base holder screw type i/c necessary connection etc, complete. | 20 | Nos. |  | Each
5 | P/F Ceiling Fan 56" sweep (Pak/Royal /Millat make or equivalent with necessary electric connection/ cartage etc, complete. | 10 | Nos. |  | Each
6 | P/F fancy type wall / ceiling light of approved make & quality i/c necessary connection etc complet | 8 | Nos. |  | Each.
7 | Providing & fixing Energy Saver 18 to 24 Watts approved quality etc, complete. | 35 | Nos. |  | Each
Total B
Total A
Gramd Total A+B
CONDITIONS.
1 | 50% of total cost will be paid after receipt of LC from the bidder after taking some security in shape of pay order or bank grantee etc 25% will be paid after reciept of genrator at site.
2 | Remaining 25% of total cost will be paid after the genrator is made operational and smooth running .
3 | Price quoted will be not subject to any change due to change of custom rates , Government taxes or foreign exchange rates.
4 | 8% Security Deposit will be deducted from running bills of the registered firms and 18% from the unregistered from the make total of 10% and 12% respectively and will be refuned after guarantee period.
5 | fee for award of contract at the rate of 0.30% of the value of contract in shape of levies stamp will be realized /charged at the time of award of contract.
6 | Income Tax will be deducted from running bills @ rate of 7.5%
7 | Bidder are requested to mention make and country of origin in their bid.
8 | One Year free service i/c parts ,three years service guarantee and availabilty of spare parts must be confirmed by the bidder.
9 | The jobs will be completed within 09-months and Generator will be made operational and smooth running before the end of June 2015.
10 | Free demonstration of consignees will be made and shall be responsibillity of the firm where necessary.
11 | Time are the essence of the contract and contractor /firm must adhere nto the agreed time frame.
12 | Duration of storage due to any major fault (During the warranty period) will not be counted towards warranty time.
13 | All technical details regarding software testing and instrument control machine /motors and circuits through original changes and literatures shall be submitted by the firms to the client before issuance of completion certificates.
14 | All scaffolding planks, ladder and any other items required for testing and commissioning of Genrators is i/c in the scope of work of the firms.
15 | The civil works i/c new /renovation/dismentling/making good to complete the installation shall be firms responsibilty
16 | The work involving hammering /dirlling and chiseling should be carried out after office hours or holiday.
17 | Inspection of material imported will be made by the Technical committee at the port or site of work before instalation of Generators.
18 | The contractor /firm should provide on technician for maintenance of Generators continuously through out warranty period(One Year).
19 | The tender shall be quoted on the prescribed schedule to this NIT on the bases indicated therein and shall sign the certifcate given therein to the effect that the store shall be supplied exactly in accidence with the requirement specified in the schedule . In case there is any deviation ,it should be clearly stated by tenders otherwise it will be persumed that offer is strictly in accordance with the requirement of the teneder notice.
20 | In the case of offers of supply of stores both imported and indigenous from within the country price quoted shall be inclusive all taxes ,duties and charges for packing making handing etc and sales taxe is livable and is included in the prices quoted to tenders.
21 | Tender should be properly sealed with wax.
22 | The tenders will be accepted alongwith the 2.0% of the quoted amount as earnest money in the from of Bnak Draft/Pay Order etc.
23 | The work will strictly be carried out as per specification and terms & condition agreed upon within stipulated time.
Contractor
| Assistant Engineer | Executive Engineer
| Minorities Affairs(Electrical) | Minorities Affairs Department
| Sindh | Sindh

## Estamate
" Estimate ."
Mame of Work:- Repair / Renovation & Re-Construction of SSD Dham Reherki Darbar District Ghotki (Internal & External Electrification) (Package-24)
Minority
S.No. | Item of Work | Quantity. |  | Rate | Unit | Amount.
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required.(S.I.No. 124, Page No. 15). | 80 | Pts. | 1130 | P.Pt. | 90400
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No. 126 Page No. 15). | 12 | Pts. | 985 | P.Pt. | 11820
3 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 10 Page No. 2). | 200 | Mtrs. | 222 | P.Mtr. | 44400
4 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.036 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 11 Page No. 2). | 100 | Mtrs. | 252 | P.Mtr. | 25200
5 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.044 (6mm2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 12 Page No. 2). | 95 | Mtrs. | 341 | P.Mtr. | 32395
6 | Providing and fixing Circuit Breaker 6,10,15,20,30,40,50 & 63 Amps: SP (TB-5S) on prepared board as required.(S.I.No. 203, Page No. 31). | 16 | Nos | 916 | Each. | 14656
7 | P/F Circuit breaker 6,10,15,20,30,40,50, & 63 Amps: D.P. (TB-5S) on prepared board as required.(S.I.No. 204, Page No. 31) | 12 | Nos | 2456 | p.No | 29472 | 0 | 2400 | -300000
8 | Providing & fixing Bakelite ceiling rose with two terminals. (S.I.No. 228, Page No. 33) | 25 | Nos | 72 | Each | 1800
9 | Providing and Fixing Brass Battern Holder. (S.I.No. 232, Page No. 33) | 20 | Nos | 70 | Each | 1400
|  |  |  | Total |  | 251543
|  | At Par |  |  |  | 0
|  |  |  | Total | "A" | 251543
PART "B" NON SCHEDULE ITEMS.
1 | P/F Switch 5 Amps: imporated Make i/c plastic board imported make etc complete. | 80 | Nos. | 130 | Each | 10400
2 | P/F 2 Pin 5 Amps:plug socket imporated Make i/c plastic board with necessary electric connection etc complete. | 12 | Nos. | 225 | Each | 2700
3 | P/F fancy type 3-pin 5-Amps: S.P. plug socket switch & shoe unit imported qualty with board as approved by the Engineer Incharge i/c necessary connection & recessed in the wall etc. | 8 | Nos. | 375 | Each | 3000
4 | P/F Ceiling Light LED 7 to 11 watts Imported make with Metal Base holder screw type i/c necessary connection etc, complete. | 20 | Nos. | 3200 | Each | 64000
5 | P/F Ceiling Fan 56" sweep (Pak/Royal /Millat make or equivalent with necessary electric connection/ cartage etc, complete. | 10 | Nos. | 5900 | Each | 59000
6 | P/F fancy type wall / ceiling light of approved make & quality i/c necessary connection etc complet | 8 | Nos. | 1450 | Each. | 11600
7 | Providing & fixing Energy Saver 18 to 24 Watts approved quality etc, complete. | 35 | Nos. | 550 | Each | 19250
|  |  | Total B |  |  | 169950
|  |  | Total A |  |  | 251543
|  |  | Gramd Total A+B |  |  | 421493
| SUB ENGINEER ELECTRICAL | ASSISTANT ENGINEER ELECTRICAL
| MINORITIES AFFAIRS DEPARTMENT | MINORITIES AFFAIRS DEPARTMENT
GOVERNMENT OF SINDH

## sumery of Cost
SUMMARY OF COST
Mame of Work:- Repair / Renovation & Re-Construction of SSD Dham Reherki Darbar District Ghotki (Internal & External Electrification) (Package-24)
1 | COST OF SCHEDULE ITMES | 251543
1 | COST OF NON SCHEDULE ITMES | 169950
| TOTAL | 421493
| TOTAL | 421493
GRAND TOTAL (A+B+C) |  | 421493
SAY RS. |  | 0.42149 | Million

## Main Page
MINORITIES AFFAIRS DEPARTMENT
GOVERNMENT OF SINDH
DETAILED WORKING ESTIMATE
FUND HEAD |  | :- | MINORITIES AFFAIRS DEPARTMENT
MAJOR HEAD |  | :- | HD4144
MINOR HEAD |  | :- | SC21030(030)
DEPARTMENT HEAD |  | :- | Mame of Work:- Repair / Renovation & Re-Construction of SSD Dham Reherki Darbar District Ghotki (Internal & External Electrification) (Package-24)
SERVICES HEAD |  | :-
The estimate has been framed in the office of the Assistant Engineer, Minorities Affairs Department, Government of Sindh, Karachi for the probable expenditure that will be incurred in the current financial year.
Amounting to Rs. | 421493 |  | Say Rs. | 0.42149
The work will be carried out as per P.W.D. specification through Government Contractors of the Minorities Affairs Department, Government of Sindh.

## 1Ra Bill
Amount
S.No. | Unit | Quantity executed for supplied up-to-date as per measurement book |  | Item work or supplies (grouped under sub-head as sub-works of Estimates) | Rate | Up-to-date | Since previous bill total full esti: sub-head | Remarks
1 | 2 | 3 |  | 4 | 5 | 6 | 7 | 8
1 | Wiring for light or fan points with 3/.029 PVC insulated wire in 20mm (3/4")PVC conduit recessed in the wall or columns as required.(S.I.No.124 Page No. 15).
| P.Pts | 15 | Pts |  | 1130 | 16950 | 16950
2 | Wiring for plug points with 3/.029 PVC insulated wire in 20mm (3/4")PVC conduit recessed in the wall or columns as required.(S.I.No.126 Page No. 15).
| P.Pts | 2 | Pts |  | 985 | 1970 | 1970
3 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 10 Page No. 2).
| P.Mtr | 50 | Mtr |  | 222 | 11100 | 11100
4 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.044 (6mm2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 12 Page No. 2).
| P.Mtr | 55 | Mtr |  | 341 | 18755 | 18755
5 | Providing and fixing Circuit Breaker 6,10,15,20,30,40,50 & 63 Amps: SP (TB-5S) on prepared board as required.(S.I.No. 203, Page No. 31).
| Each | 8 | Nos |  | 916 | 7328 | 7328
6 | Providing and fixing Circuit Breaker 6,10,15,20,30,40,50 & 63 Amps: SP (TB-5S) on prepared board as required.(S.I.No. 204, Page No. 31).
| Each | 3 | Nos |  | 2456 | 7368 | 7368
7 | Providing and fixing 10/15 amps Switch surface type
| Each | 15 | Nos |  | 58 | 870 | 870
7 | Providing & fixing Bakelite ceiling rose with two terminals. (S.I.No. 228, Page No. 33)
| Each | 8 | Nos |  | 72 | 576 | 576
7 | P/F Bress button holder
| Each | 20 | Nos |  | 70 | 1400 | 1400
|  |  |  | Total. |  | 66317 | 66317
|  |  |  | At Par |  | 0 | 0
|  |  |  | Total (A) |  | 66317 | 66317
PART "B" NON SCHEDULE ITEMS.
1 | P/F Brass Ceiling fan 56' (good quality
| Each | 6 | Nos |  | 4800 | 28800 | 28800
2 | P/F 1-36 watts tube light complete with 36 watts 4.0 ft long rod chock starter and putty with philips component i/c necessary electric connection and fixing on wall / ceiling etc complete
| Each | 8 | Nos |  | 900 | 7200 | 7200
4 | Providing & fixing Energy Saver Philips 24Watts i/c fixing on existing holder etc, complete.
| Each | 15 | Nos |  | 400 | 6000 | 6000
|  |  |  | Total B |  | 42000 | 42000
|  |  |  | Total A |  | 66317 | 66317
|  |  |  | G. Total |  | 108317 | 108317

## Bill of Qty
Bill of Quantities
Internal & external Electrification of Two Halls & Bath Room Block Dado Sadh Sawai Near Lucky Cement factory Taluka Thana Bula Khan District Jamshoro
Minority
S.No. | Item of Work | Quantity. |  | Rate | Unit | Amount.
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required.(S.I.No. 124, Page No. 15). | 130 | Pts. | 1130 | P.Pt. | 146900
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No. 126 Page No. 15). | 20 | Pts. | 985 | P.Pt. | 19700
3 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 10 Page No. 2). | 200 | Mtrs. | 222 | P.Mtr. | 44400
4 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.036 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 11 Page No. 2). | 194.34 | Mtrs. | 252 | P.Mtr. | 48973.68
5 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.044 (6mm2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 12 Page No. 2). | 100 | Mtrs. | 341 | P.Mtr. | 34100
6 | Providing and laying (Main or sub Main)PVC insulated with size 4-7/.064 (16mm2) copper conductor in 1-1/2" dia PVC conduit recessed in the wall or column as required. (S.I.No. 42 Page No. 6). | 60 | Mtrs. | 1213 | P.Mtr. | 72780
7 | Providing and fixing Circuit Breaker 6,10,15,20,30,40,50 & 63 Amps: SP (TB-5S) on prepared board as required.(S.I.No. 203, Page No. 31). | 24 | Nos | 916 | Each. | 21984
8 | P/F Circuit breaker 125,150,200 & 225 Amps: T.P. (XS-225NS) on prepared board as required.(S.I.No. 208, Page No. 31) | 1 | No | 25541 | Each. | 25541
9 | Providing and fixing Circuit Breaker 3,5,10,15,20 & 30 Amps: TP (XS-30NS[NB]) on prepared board as required.(S.I.No. 205, Page No. 31). | 1 | Nos | 5301 | Each. | 5301
10 | P/F Circuit breaker 15,20,30,40,50,60,75 & 100 Amps: T.P. (XS-100NS) on prepared board as required.(S.I.No. 206, Page No. 31) | 1 | No | 9261 | Each. | 9261
11 | Providing & Fixing Amp meter Size 96/96 mm direct 15A,30, & circuit breaker 15,20,30,40,50,60,75 &100amp as required & as per instruction of Engineer Incharge (S.I.No284,P41) | 1 | No | 1054 | P.No | 1054
12 | Providing & Fixing voltmeter Size 96/96 mm 500 volt as required & as per E.I (S.I.No285,P41) | 1 | No | 999 | P.No | 999
13 | Providing & fixing Bakelite ceiling rose with two terminals. (S.I.No. 228, Page No. 33) | 10 | Nos | 72 | Each | 720
14 | Providing and Fixing Brass Battern Holder. (S.I.No. 232, Page No. 33) | 10 | Nos | 70 | Each | 700
15 | Providing & fixing Current Transformer rating 1600/5 amps (Square/rectanglar) RLC-80 as required & as per instruction of EI(S.I.No279,P40) | 1 | No | 4656 | Each | 4656
16 | P/Fflood light 250 watts(SON-T) having IP65classification with 250 w lamp, chokw capicitor igniter & ubternal wiring complete in all respect at the height upto 40ft with the help of hydeaulic crane and manual labour as per site requirment and instruction of E.I(S.I.No 164,P- | 1 | No | 15825 | P.No | 15825
17 | Manufacturing providing & fixing G.I single arm double arch as per site requirement with the help of hyderlic crane instruction of EI with following specification GI pipe 2" dia 10 SWG 5 feet long 2 nos MS clamps with nut & Bolts (S.I.No 144-P-21) | 1 | No | 2866 | P.No | 2866
|  |  |  | Total |  | 455760.68
At Par
|  |  |  | Total | "A"
PART "B" NON SCHEDULE ITEMS.
1 | P/F Switch 5 Amps: imporated Make i/c plastic board imported make etc complete. | 130 | Nos. |  | Each
2 | P/F 2 Pin 5 Amps:plug socket imporated Make i/c plastic board with necessary electric connection etc complete. | 20 | Nos. |  | Each
3 | P/F Sollar Pannel 100x2= 200 watts German make or equilent it complete with G.I Breaket fixed in position i/c necessary connection with Battery, sensior with pannel testing taping etc complete | 5 | Nos. |  | Each
4 | P/F Dry battery 200 amps fixed with proper it matlic box i/c cooloing arangment with thermopole sheet to protect to sun heat complete with G.I Breaket fixed in position i/c necessary connection with sensior, pannel testing taping etc complete | 2 | Nos. |  | Each.
5 | P/F Automatic sencer suitable for 200 amps pannel fixed in matlic box fixed in position i/c necessary connection with sensior, pannel testing taping etc complete | 2 | Nos. |  | Each.
6 | P/F Ceiling Light LED 7 to 11 watts Imported make with Metal Base holder screw type i/c necessary connection etc, complete. | 17 | Nos. |  | Each
7 | P/F Wall Bracket 16" sweep D.C type suitable for sollar energy imporated make i/c necessary electric connection etc, complete. | 1 | Nos. |  | Each
8 | P/F Ceiling fan 56" sweep D.C type suitable for sollar energy imporated make i/c necessary electric connection etc, complete. | 4 | Nos. |  | Each
9 | P/F Earthing set with 1-1/2x1-1/2"x1/4" GI plate buried in the ground at depth of 12-ft: water comes out from the ground level with salt and charcoal etc i/c providing GI pipe and copper wire 8-SWG etc complete. | 1 | Sets |  | Each
11 | Providing & fixing Energy Saver 18 to 24 Watts approved quality etc, complete. | 19 | Nos. |  | Each
12 | P/F poly decorative pole 8'-6"long with 16" Mashal height i/c providing 35-45 wat energy saver with base plate burried in the ground with CC foundation finishing with plaster etc complete | 4 | Nos. |  | Each
13 | P/F section pump 2HP motor single phase with 2x1-1/2 section and delevery double bellete i/c fixing necessary electric connection etc complete | 1 | Nos. |  | Each
14 | P/F electric water cooler matelic body, 30-40 gallons capcity tand National Make of approved quality i/c fillter etc complete | 2 | Nos. |  | Each
Total B
Total A
Gramd Total A+B
CONDITIONS.
1 Any typographical errors in the Schedule "B" are subject to correction with the reference in the Schedule of Rates General 2012, inforced from 12.07.2012 as approved by the SRC karachi Sindh
2 Arbitration Clause stands from the Agreement.
3 No premium shall be paid on Non Schedule items
4 No cartage of any item of material either supplied by department of arrange by the contractor shall be paid
5 The contractor squoting exorbitant will be required to submit Rate Analysis to justyfy their rates within specified time other wise the concerned contrator shall be treated as aquality of misconduct and he shass be liable to face punitive action under the rules as per EDO (W&S) department letter No EDO/W&S/CDGK/565 dated 29-09-2004
| CONTRACTOR | EXECUTIVE ENGINEER
MINORITIES AFFAIRS DEPARTMENT
GOVERNMENT OF SINDH