## Schedule B
" Schedule B ."
Mame of Work:- Repair / Renovation & Re-Construction of ( A) Khushi Ram Temple @ Rohri (B) SSD Dham @ Pano Akil ( C ) Saint Wali Ram Hall @ Pano Akil ( ( D ) Dall Darbar @ Pano Akil District Sukkur ( E ) Hall @ Zinda Pir Sukkur ( F ) Balmik Mandir New Pind Sukkur (Internal & External Electrification) (Package-18)
Minority
S.No. | Item of Work | Quantity. |  | Rate | Unit | Amount.
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required.(S.I.No. 124, Page No. 15). | 120 | Pts. | 1130 | P.Pt. | 135600
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No. 126 Page No. 15). | 15 | Pts. | 985 | P.Pt. | 14775
3 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 10 Page No. 2). | 325 | Mtrs. | 222 | P.Mtr. | 72150
4 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.036 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 11 Page No. 2). | 300 | Mtrs. | 252 | P.Mtr. | 75600
5 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.044 (6mm2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 12 Page No. 2). | 250 | Mtrs. | 341 | P.Mtr. | 85250
6 | Providing and fixing Circuit Breaker 6,10,15,20,30,40,50 & 63 Amps: SP (TB-5S) on prepared board as required.(S.I.No. 203, Page No. 31). | 30 | Nos | 916 | Each. | 27480
7 | P/F Circuit breaker 6,10,15,20,30,40,50, & 63 Amps: D.P. (TB-5S) on prepared board as required.(S.I.No. 204, Page No. 31) | 28 | Nos | 2456 | p.No | 68768 | 0 | 2400 | -300000
8 | Providing & fixing Bakelite ceiling rose with two terminals. (S.I.No. 228, Page No. 33) | 40 | Nos | 72 | Each | 2880
9 | Providing and Fixing Brass Battern Holder. (S.I.No. 232, Page No. 33) | 40 | Nos | 70 | Each | 2800
|  |  |  | Total |  | 485303
Add: At Par / %Above/Below
|  |  |  | Total | "A"
PART "B" NON SCHEDULE ITEMS.
1 | P/F Switch 5 Amps: imporated Make i/c plastic board imported make etc complete. | 120 | Nos. |  | Each
2 | P/F 2 Pin 5 Amps:plug socket imporated Make i/c plastic board with necessary electric connection etc complete. | 15 | Nos. |  | Each
3 | P/F fancy type 3-pin 5-Amps: S.P. plug socket switch & shoe unit imported qualty with board as approved by the Engineer Incharge i/c necessary connection & recessed in the wall etc. | 12 | Nos. |  | Each
4 | P/F Ceiling Light LED 7 to 11 watts Imported make with Metal Base holder screw type i/c necessary connection etc, complete. | 40 | Nos. |  | Each
5 | P/F Ceiling Fan 56" sweep (Pak/Royal /Millat make or equivalent with necessary electric connection/ cartage etc, complete. | 30 | Nos. |  | Each
6 | P/F fancy type wall / ceiling light of approved make & quality i/c necessary connection etc complet | 40 | Nos. |  | Each.
7 | Providing & fixing Energy Saver 18 to 24 Watts approved quality etc, complete. | 58 | Nos. |  | Each
Total B
Total A
Gramd Total A+B
CONDITIONS.
1 | 50% of total cost will be paid after receipt of LC from the bidder after taking some security in shape of pay order or bank grantee etc 25% will be paid after reciept of genrator at site.
2 | Remaining 25% of total cost will be paid after the genrator is made operational and smooth running .
3 | Price quoted will be not subject to any change due to change of custom rates , Government taxes or foreign exchange rates.
4 | 8% Security Deposit will be deducted from running bills of the registered firms and 18% from the unregistered from the make total of 10% and 12% respectively and will be refuned after guarantee period.
5 | fee for award of contract at the rate of 0.30% of the value of contract in shape of levies stamp will be realized /charged at the time of award of contract.
6 | Income Tax will be deducted from running bills @ rate of 7.5%
7 | Bidder are requested to mention make and country of origin in their bid.
8 | One Year free service i/c parts ,three years service guarantee and availabilty of spare parts must be confirmed by the bidder.
9 | The jobs will be completed within 09-months and Generator will be made operational and smooth running before the end of June 2015.
10 | Free demonstration of consignees will be made and shall be responsibillity of the firm where necessary.
11 | Time are the essence of the contract and contractor /firm must adhere nto the agreed time frame.
12 | Duration of storage due to any major fault (During the warranty period) will not be counted towards warranty time.
13 | All technical details regarding software testing and instrument control machine /motors and circuits through original changes and literatures shall be submitted by the firms to the client before issuance of completion certificates.
14 | All scaffolding planks, ladder and any other items required for testing and commissioning of Genrators is i/c in the scope of work of the firms.
15 | The civil works i/c new /renovation/dismentling/making good to complete the installation shall be firms responsibilty
16 | The work involving hammering /dirlling and chiseling should be carried out after office hours or holiday.
17 | Inspection of material imported will be made by the Technical committee at the port or site of work before instalation of Generators.
18 | The contractor /firm should provide on technician for maintenance of Generators continuously through out warranty period(One Year).
19 | The tender shall be quoted on the prescribed schedule to this NIT on the bases indicated therein and shall sign the certifcate given therein to the effect that the store shall be supplied exactly in accidence with the requirement specified in the schedule . In case there is any deviation ,it should be clearly stated by tenders otherwise it will be persumed that offer is strictly in accordance with the requirement of the teneder notice.
20 | In the case of offers of supply of stores both imported and indigenous from within the country price quoted shall be inclusive all taxes ,duties and charges for packing making handing etc and sales taxe is livable and is included in the prices quoted to tenders.
21 | Tender should be properly sealed with wax.
22 | The tenders will be accepted alongwith the 2.0% of the quoted amount as earnest money in the from of Bnak Draft/Pay Order etc.
23 | The work will strictly be carried out as per specification and terms & condition agreed upon within stipulated time.
Contractor
| Assistant Engineer | Executive Engineer
| Minorities Affairs(Electrical) | Minorities Affairs Department
| Sindh | Sindh