BILL OF QUANTITIES

NAME OF WORK: -	UP-GRADATION OF MIDDLE SCHOOL TO HIGH SCHOOL IN SINDH (2008-09) PROGRAMME AT GGMS PURAN (FIRST FLOOR)  TAULKA MORO.

| Sr. No. | Item of work | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

01.	Pacca Brick work in ground floor in cement sand mortar ratio 1:6   (S.I No. 5 P-20)

2018       Rs: 13112/99 %Sft                      Rs.264620/-

02.	Pacca Brick work 2nd floor

374       Rs: 13687/74 %Sft                        Rs.51192/-

03.	R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding laying in position. This rate also i/c kinds of forms mould lifting shuttering curing rending exposed.

3510      Rs: 337/-   % Pcft                        Rs.1182870/-

04.	Extra labour 1st floor

3510    Rs: 12/10 %P.Sft                           Rs.42471/-

05.	Fabrication of mild steel reinforcement cement for cement concrete i/c cutting bending laying imposition making joints and fastening  i/c cost of wire also  removal rust from bars

188.035       Rs: 5001/70-   % Pcwt              Rs.940495/-

06.	Extra labour for lifting steel 1st floor.

188.035    Rs: 151/25 %P.cwt                Rs.28440/-

07.	Providing and fixing G.I frame/chowkat of siz 7”x2” or 4 ½ x3” for door using 20 gauge G.I sheet i/c welded hings and fixing at site with necessary hold fasts hings and fixing at site with necessary hold fast filling the cost also i/c all carriage of tools and plants used in making and fixing.

For Doors                           103            Rs:228/90 P Rft                        Rs.23577/-

For Windows                     390            Rs:240/50 P Rft                       Rs.93795/-

08.	1st Class Deodar wood wrought joinery in doors and windows etc fixed in position i/c

chowkats holds fasts hings iron towers bolts chocks handles  and cords with hocks etc.

Deodar  paneled glazed fully 1 ¾” thick.

262 Sft	902/93 P.Sft	 	    	Rs. 236568/-

09.	S/F in position iron steel grill of 3/4” x1/4” size flate iron of approved design i/c painting 3 coat complete weight not to be less than 3.7 lbs sq: finishing grill.

789       Rs: 180/50 - P.sft                            Rs.142415/-

10.	Cement plaster 1:6 upto 20” height ½” thick   (S.I.No: 11- P/52).

7197         Rs: 2493/45 p.sft                            Rs 179454/-

Part B       1072          Rs: 2912/71 p.sft                            Rs 31224/-

11.	Cement plaster 1:4 upto 20” height 3/8” thick   (S.I.No: 11 - P/52).

7197	      Rs: 2483/19 Sft		                Rs: 178715/-

Part B       1072          Rs: 2900/72 %.sft                            Rs 31096/-

12.	Providing and laying 1” thick topping cement concrete 1:2:4 including surface finishing and dividing into panels  (S.I.No: 16 - P/47).

2” thick			2371 sft	3275/50%Sft	      		    Rs.77662/-

1-1/2” thick			3761 sft	2548/39%Sft	      		    Rs.95841/-

13.	Extra labour for each story above ground for mosaic conglomerate or tiles stone and wooden floor.

6132	      Rs: 226/88 Sft		                Rs: 13912/-

14.	Cement pointing struck joints on walls 1:2.

1539        Rs: 1287/44 p.sft	                             Rs 19814/-

15.	Making notice board with cement sand.

120       Rs: 58/11- %Sft      		    Rs.6973/-

16.	P/L Halla or gattern tiles glazed 8”x8” ¼” on floor or wall facing required patterns of stile specification joints white cement and pigment over a base of 1:2 grey cement mortar ¾” thick i/c washing and filling of joints with slurry of with cement pigment in desird.

602      Rs: 34520/31 - %sft                            Rs.207812/-

17.	Two coat bitumen laid hot using 34 lbs %sft over roof and blinded with sand at one cft %sft.

3333	       Rs: 1887/40% sft                           Rs: 62850/-

18.        Primary coat of chalk of under distemper etc.

7197 	  Rs: 442/75 % sft 		                  Rs31865/-

-

19.        Distempering 3 coats.

7197    	Rs: 1043/90 % sft		              Rs.75129/-

20.        White wash 3 coat.

2671	  Rs: 829/95 % sft                  	  Rs.22168/

21.        Colour wash of two coats.

1539  	 Rs: 859/90 % sft        	             Rs.13234/-

22.        Preparing new surface painting D/W any type i/c edges.

584          Rs: 2116/41 % sft    		              Rs.12360/-

_____________

Total		  4026573/-

__________

Amount Total (a)

_____________ above /below on the                        Amount to be added / deducted on the

The rates of CSR                                                          basis of premium quoted Total (b)

Total (A) a+b in words and figure: _______________

Contractor						Executive Engineer / Procuring Agency