## S B
SCHEDULE “B”
NAME OF WORK: | [5 empty] | CONSTRUCTION OF INTERNAL & EXTERNAL DRAINS,
C/TANK, S/CHAMBER, INTER CONNECTION, P/HOUSE,
P/MACHINERY, PE PIPE RISING MAIN, C/WALL, S/QUARTER
& CC TOPPING FOR RURAL DRAINAGE SCHEME MALHIR
PATO, TALUKA KOTDIJI, DISTRICT KHAIRPUR
S No. |  | Qty: |  | Item of Work |  |  |  |  | Rate |  |  | Unit |  |  |  | Amount
PART - I |  |  | INTERNAL & EXTERNAL DRAINS
1 | Dismantling and removing road metaling. ( CS I No:51 P.No:13)
| Qty: | 814 |  |  | cft |  | .@Rs: | 605 |  |  |  | P.%cft |  |  | Rs: | 4924.7 | /=
2 | Dismantling brick work lime or cement mortor( CS I No:13 P.No:10)
| Qty: | 232.5 |  |  | cft |  | .@Rs: | 1285.63 |  |  |  | P.%cft |  |  | Rs: | 2989.0898 | /=
3 | Excavation in foundation of building bridges & other structure i/c dag belling dressing
refilling around the structure with excavated earth watering ramming lead, up to one
chain & lift upto 5”ft ( CSI-No:18, P-No:4) In Ordinary soil.
| Qty: | 30172 |  |  | cft |  | .@Rs: | 3176.25 |  |  |  | P.%ocft |  |  | Rs: | 95833.815 | /=
4 | Cement concrete plain i/c placing compacting finishing and curring complete i/c
Screening & washing of stone aggregates without shuttering. (CSI.No:5(i) P.No:16)
Ratio 1:4:8
| Qty: | 6068 |  |  | cft |  | .@Rs: | 11288.75 |  |  |  | P.%cft |  |  | Rs: | 685001.35 | /=
5 | Pacca brick work in foundation plinth in cement sand mortor (1:6)
(CSI.No:4 (e )P.No:20)
| Qty: | 17475 |  |  | cft |  | .@Rs: | 11948.36 |  |  |  | P.%cft |  |  | Rs: | 2087975.91 | /=
6 | Constt: of standard of open drains cunette block of cement concrete (1.2.4.) in situ to
The design profile i/c cost of mould as per drawing i/c applying floating coat of cement
1/32”inch thick to exposed face finished smooth curing etc complete (as per detail drawing)
(PHSI No. D (I) P-58)
Type I
| Qty: | 6600 |  |  | rft |  | .@Rs: | 94 |  |  |  | P.rft |  |  | Rs: | 620400 | /=
Type II
| Qty: | 1600 |  |  | rft |  | .@Rs: | 174 |  |  |  | P.rft |  |  | Rs: | 278400 | /=
Type III
| Qty: | 1000 |  |  | rft |  | .@Rs: | 309 |  |  |  | P.rft |  |  | Rs: | 309000 | /=
7 | Cement plaster 1:4 upto 20” height ½ thick (C.S.I No11 (b) .P No 52)
| Qty: | 9316 |  |  | sft |  | .@Rs: | 2283.93 |  |  |  | P.%sft |  |  | Rs: | 212770.9188 | /=
8 | R.C.C work in roof, slabs, beams, columns raft lintel & other structural members laid in situ
or preCost lead position complete in all respect Ratio (1:2:4) (C.S.I No: 6 (a)(i) P.No: 16)
| Qty: | 6348 |  |  | cft |  | .@Rs: | 337 |  |  |  | P,cft |  |  | Rs: | 2139276 | /=
9 | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in
position making joints & fastening i/c cost of binding wire also removal of rust from bars
(C.S.I No: 8(b), PNo:17)
| Qty: | 255.05 |  |  | cwt |  | .@Rs: | 5001.7 |  |  |  | P.cwt |  |  | Rs: | 1275683.585 | /=
[14 empty] | Total | Rs: | 7712255.3685 | /=
PART-II RCC COLLECTING TANK 10' FT DIA
1 | Excavation of well in dry soil up to 20" ft. below ground level
and disposal of soil within one chain (CSI No.1 P.-86)
(a) | in ordanary soil or sand)
Qty: | 883.12 |  | Cft. |  |  | .@Rs: | 2247.58 |  |  | ‰ Cft. |  |  |  |  | Rs: | 1984.8828 | /=
2 | RCC work in roof slab beam cloumns rafts lintels and other
structure member laid in citu or pre cost laid in position making
complete in all respect Ratio 1:2:4 lbs. of cement Cft. Of sand
4 Cft. of shingle 1/2 to 1/4 guage (CSI No.6 P-17)
Qty: | 599.36 |  | Cft. |  |  | .@Rs: | 337 |  |  | P.Cft. |  |  |  |  | Rs: | 201984.32 | /=
3 | Fabrication of mild steel reinforcement for cement concrete i/c
cutting hendign laying in position making joints and fastening
i/c cost of binding wire (also includes removal of rust from bars
| (CSI No.8 (b) P-17) |  |  |  | Qt: of curb = 259.50 (-)52 =207.4
Qty: | 25.16 |  | cwt |  |  | .@Rs: | 5001.7 |  |  | P.cwt |  |  |  |  | Rs: | 125842.772 | /=
4 | Wet sinking of wells for depth below spring level by means driving
i/c all charges for shorting loading and removing excavated material
one chain (CSI No.3 P-87)
a)0-5' depth
Qty: | 613.28 |  | Cft. |  |  | .@Rs: | 11763.8 |  |  | ‰ Cft. |  |  |  |  | Rs: | 7214.5033 | /=
b)5'-10' depth
Qty: | 613.28 |  | Cft. |  |  | .@Rs: | 24200 |  |  | ‰ Cft. |  |  |  |  | Rs: | 14841.376 | /=
5 | Providing construction joints in concrete work of 9" (225mm)wide
corrugated PVC water stop (with bulbs) i/c soldering cost of
materials and labour (PHSI No.1 P-56)
Qty: | 69.08 |  | rft |  |  | .@Rs: | 86 |  |  | P.rft |  |  |  |  | Rs: | 5940.88 | /=
6 | Cement concrete or brick stone ballast 1/2 to 2 guage ratio 1:4:8
(CSI No.4 P-15)
Qty: | 102.45 |  | Cft. |  |  | .@Rs: | 9416.28 |  |  | %Cft. |  |  |  |  | Rs: | 9646.9789 | /=
7 | Cement concrete plain compacting finishing and curing complete
i/c screening and washing of stone aggregate without
shuttering (CSI No.5 P-16)
a) Ratio 1:4:8
Qty: | 78.5 |  | Cft. |  |  | .@Rs: | 11288.75 |  |  | %Cft. |  |  |  |  | Rs: | 8861.6688 | /=
b) Ratio 1:3:6
Qty: | 78.5 |  | Cft. |  |  | .@Rs: | 12595 |  |  | %Cft. |  |  |  |  | Rs: | 9887.075 | /=
c) Ratio 1:2:4
Qty: | 78.5 |  | Cft. |  |  | .@Rs: | 14429.25 |  |  | %Cft. |  |  |  |  | Rs: | 11326.9613 | /=
9 | Bailing or pumping out sub soil water during excavation concreting
cost in sity concrete or masonary work in foundation etc (1) onely
three operations to be allowed trench volume under water to be
measured first time for concreting and second tome for cost in citu
or masonary work in foundation etc. (CSI No.18 P-75)
Qty: | 1177.5 |  | Cft. |  |  | .@Rs: | 543 |  |  | %Cft. |  |  |  |  | Rs: | 6393.825 | /=
[14 empty] | Total | Rs: | 403925.243 | /=
PART-III SCREENING CHEMBER (8'x5')
1 | Excavation in foundation of building bridges & other structure i/c dag belling dressing
refilling around the structure with excavated earth watering ramming lead, up to one
chain & lift upto 5”ft ( CSI-No:18, P-No:4) In Ordinary soil.
| Qty: | 647.06 |  |  | cft |  | .@Rs: | 3176.25 |  |  |  | P.%ocft |  |  | Rs: | 2055.2243 | /=
2 | Extra for wet earth work (CSI No.15 P3)
| Qty: | 415.43 |  |  | cft |  | .@Rs: | 1058.75 |  |  |  | P.%ocft |  |  | Rs: | 439.8365 | /=
3 | Cement concrete or brick stone ballast 1/2 to 2 guage ratio 1:4:8
(CSI No.4 P-16)
Qty: | 73.31 |  | Cft. |  |  | .@Rs: | 9416.28 |  |  | %Cft. |  |  |  |  | Rs: | 6903.0749 | /=
4 | RCC work in roof slab beam cloumns rafts lintels and other
structure member laid in citu or pre cost laid in position making
complete in all respect Ratio 1:2:4 lbs. of cement Cft. Of sand
4 Cft. of shingle 1/2 to 1/4 guage (CSI No.6 P-17)
Qty: | 231.58 |  | Cft. |  |  | .@Rs: | 337 |  |  | P.Cft. |  |  |  |  | Rs: | 78042.46 | /=
5 | Fabrication of mild steel reinforcement for cement concrete i/c
cutting hendign laying in position making joints and fastening
i/c cost of binding wire (also includes removal of rust from bars
| (CSI No.8 (b) P-17) |  |  |  | Qt: of curb = 84.78 (-)14.70 =70.06
Qty: | 9.3 |  | cwt |  |  | .@Rs: | 5001.7 |  |  | P.cwt |  |  |  |  | Rs: | 46515.81 | /=
6 | Fabrication of havey steel work with angle tees flate iron round
iron sheet iron for making girder tanks etc i/c cutting drilling
revilling reviling handling assembling and fixing but eccluding
erection in position (CSI NO.02 P-91)
Qty: | 1.75 |  | cwt |  |  | .@Rs: | 4928.49 |  |  | P.cwt |  |  |  |  | Rs: | 8624.8575 | /=
7 | Erection and fitting in position of iron trusses staging of water
tank etc (CSI No..3 P-91)
Qty: | 1.75 |  | cwt |  |  | .@Rs: | 271.04 |  |  | P.cwt |  |  |  |  | Rs: | 474.32 | /=
8 | Pacca brick work in foundation and plinth in cement sand mortar
(CSI No.4 (e) P-21)
Ratio 1:6
Qty: | 21.47 |  | Cft. |  |  | .@Rs: | 11948.36 |  |  | %Cft. |  |  |  |  | Rs: | 2565.3129 | /=
9 | Cement plaster (1:4) upto 20' ft height 1/2 thick
(CSI No.11 P-52)
Qty: | 57.21 |  | Sft. |  |  | .@Rs: | 2283.93 |  |  | P%Sft.. |  |  |  |  | Rs: | 1306.6364 | /=
[14 empty] | Total | Rs: | 146925.5325 | /=
PART-IV INTER CONNECTION
1 | Excavation for pipe lines trenches and soft soil i/c trimming
and dressing to true alignment and shape liveling of beds of trenches
to level and grade cutting and disposal of surplus earth with in one
chain as directed by engineer Incharge, providing fence guards lights
flags and temporary crossing for non vehicular traffic where ever
required lift up to 5’ ft and lead up one chain (PHSI-No:2, P-No:60 )
Qty: | 84 |  | Cft. |  |  | .@Rs: | 3000 |  |  | ‰ Cft. |  |  |  |  | Rs: | 252 | /=
2 | Providing RC.C pipe of A.S.T.M -76-62-T/C -76-70 Calss II wall B and
fixing in trnnch i/c cutting fitting and jointing with rubber rings i/c testing with
water to specified pressure (PHSI-No:1 (b) P-No:17)
12" Dia
Qty: | 8 |  | rft |  |  | .@Rs: | 412 |  |  | Prft |  |  |  |  | Rs: | 3296 | /=
3 | Refilling the excavated stuff in trenches 6" thick layer i/c
watering ramming to full compaction etc complete
(PHSI-No:24, P-No:77)
Qty: | 76 |  | rft |  |  | .@Rs: | 2760 |  |  | P‰.rft |  |  |  |  | Rs: | 209.76 | /=
[14 empty] | Total | Rs: | 3756.76 | /=
PART- V PUMP HOUSE 10X12
1 | Excavation in foundation of building bridges
and other structure i/c dag belling bressing refilling
around the structure with excavated earth watering
and ramming lead upto one chain and lift upto 5’ ft
(in ordinary soil) (CSI No: 18 P.No: 04)
Qty: | 188 |  | cft |  |  | .@Rs: | 3176.25 |  |  |  | P.‰ Cft. |  |  |  | Rs: | 597.135 | /-
2 | Cement concrete brick or stone ballast 1 ½” to 2” guage
Ratio 1:4:8 (CSI No: 4 P-No: 15)
Qty: | 90.97 |  | cft |  |  | .@Rs: | 9416.28 |  |  |  | % Cft. |  |  |  | Rs: | 8565.9899 | /-
3 | Pacca brick work in foundation plinth in cement
sand mortar (1:6)(CSI.No: 4 (e) P.No: 21)
Qty: | 212.34 |  | cft |  |  | .@Rs: | 11948.36 |  |  |  | % Cft. |  |  |  | Rs: | 25371.1476 | /-
4 | D.P.C with (cement sand & shingle (1:2:4) i/c three coats of miax phlat mixture
(CSI No 28 P-19)
Qty: | 53.08 |  | Sft. |  |  | .@Rs: | 4982.18 |  |  |  | % Sft. |  |  |  | Rs: | 2644.5411 | /-
5 | Pacca Brick work in ground floor including
stricking of joints cement sand motor motor 1:6
(CSI No: 5 P-No; 24)
Qty: | 305.06 |  | Cft. |  |  | .@Rs: | 12674.36 |  |  |  | % Cft. |  |  |  | Rs: | 38664.4026 | /-
6 | RCC work in roof slabs, beams, columns, rafts,
lintels and other structure members laid in situ
or precost laid in position making complete in all
respect Ratio: 1:2:4 90 Lbs of cement Cft. of sand
4 Cft. of shingle ½ to ¾ gauge (CSI No: 6 P-No: 17)
Qty: | 92.76 |  | cft |  |  | .@Rs: | 337 |  |  |  | P.Cft. |  |  |  | Rs: | 31260.12 | /-
7 | Fabrication of mild steel reinforcement for cement
concrete i/c cutting bending laying in position making
joints and fastering i/c cost of binding wire and also
i/c cost of steel bars (Also include removal of rust
from bars (CSI No: 7 P-No: 19)
Qty: | 3.73 |  | cwt |  |  | .@Rs: | 5001.7 |  |  |  | P.cwt |  |  |  | Rs: | 18656.341 | /-
8 | Cement plaster (1:6) upto 12 height 1/2 thick
(CSI No: 11(a) P-59)
Qty: | 525.56 |  | sft |  |  | .@Rs: | 2206.6 |  |  |  | %Sft.. |  |  |  | Rs: | 11597.007 | /-
9 | Cement plaster (1;4) upto 12 ft height (3/8" thick)
(CSI No: 11 P-58)
Qty: | 525.56 |  | sft |  |  | .@Rs: | 2197.52 |  |  |  | %Sft.. |  |  |  | Rs: | 11549.2861 | /-
10 | Providing and laying 3" thick CC topping surface
finishing and dividing to pancls (SCI No: P- )
Qty: | 120 |  | sft |  |  | .@Rs: | 4411.82 |  |  |  | P% Sft. |  |  |  | Rs: | 5294.184 | /-
11 | Fabrication of heavy steel work with angle tees flate iron round steel iron trues
girder tanks etc i/c cutting revitting drilling bending assembling and fising erecting
in position exulding etection in position (CSI No.2 P-91)
Qty: | 4.41 |  | cwt |  |  | .@Rs: | 4928.49 |  |  |  | P.cwt |  |  |  | Rs: | 21734.6409 | /=
12 | Cement Pointing struck joints on walls (1:3)
(CSI No: 19 P-No: 58)
Qty: | 443.25 |  | sft |  |  | .@Rs: | 1213.58 |  |  |  | %Sft.. |  |  |  | Rs: | 5379.1933 | /-
13 | Filling watering and ramming earth in floors with
surplus earth from foundation and lead upto one
chain and lift upto 5’ ft (CSI No: 21 P-No: 5)
Qty: | 273.12 |  | cft |  |  | .@Rs: | 1512.3 |  |  |  | P‰Cft. |  |  |  | Rs: | 413.0394 | /-
14 | Painting new preparing surface painting of doors and windows
any type i/c edge (CSI No: 5 P-No: 76) Three coats
Qty: | 100 |  | sft |  |  | .@Rs: | 1489.68 |  |  |  | %Sft.. |  |  |  | Rs: | 1489.68 | /-
15 | White washing one coats (CSI No: 26 P-54)
Qty: | 968.81 |  | sft |  |  | .@Rs: | 416.63 |  |  |  | %Sft.. |  |  |  | Rs: | 4036.3531 | /-
16 | White washing three coats (CSI No: 26 P-54)
Qty: | 120 |  | sft |  |  | .@Rs: | 829.95 |  |  |  | %Sft.. |  |  |  | Rs: | 995.94 | /-
17 | Colour washing to coads (CSI No: 25(b) P-60)
Qty: | 968.81 |  | sft |  |  | .@Rs: | 859.9 |  |  |  | %Sft.. |  |  |  | Rs: | 8330.7972 | /-
[14 empty] | Total | Rs: | 196579.7983 | /-
NON SCHEDULE ITEMS
PART-VI PUMPING MACHINERY 5.5 BHP
Non - Schedule Items
1 | Supplying installing in position at site of work for Drainage Scheme Electric Motor set 7.5 BHP (KSB made) 4 pole 1500 RPM 3 Phase 400 VAC 50 Cycles coupled with KSB non clogging sludge pump (Type KWPZ-65-315) size 3x2 1/2" i/c common steel frame and coupling with sleeve etc complete capable of discharging 110 gallons per minute against a head of 55 ft i/c installaiton of pumping set in cement concrete foundation ration 1:2:4 with MS nuts & bolts to be embedded in CC foundation i/c providing andfixing automatic motor control unit (MCU) consist oil starter (MEECO Pakistan) MCCB breaker 10-A to 50A (shihline Taiwan) coutout 60A (China) amperemeter (60-A) (SELCO China) volt meter (500-V) (SELCO China) Phase indication light (China) i/c transformer oil (2 litter) Panel Board 18"x26"x9" and internal wriing etc complete) and providing internal electrical wiring main or sub main PVC insulted with size 3-7/0.44 (6mm2) i/c providing and fixing earthing set 0.6 mm 6.3 mm 2x2 1/2" C.I Plate buried in the ground at depth of 3.7 mm (12") or lessasper PAK PWD specification andtesting of the pumping set against set requried head of 72 hours etc complete (R.A. attached)
Qty: | 1 |  | sets |  |  | .@Rs: | 690000 |  |  |  | P.set |  |  |  | Rs: | 690000 | /-
2 | Supplying and installing Diesel Oil Engine 16 BHP (Golden made) model
1110L 2200 RPM coupled with Golden Non clogging sludge pump type
GSWG-103 size 4x2 capable discharging 110 GPM against the Head 55 ft
i/c frame, pully for Engine & Pump with belt and installing of pump set in CC
foundation with nuts and bolts and testing of the pumping set against the
required head at 48 hours (RA Attached)
Qty: | 1 |  | Set |  |  | .@Rs: | 202000 |  |  |  | Each |  |  |  | Rs: | 202000 | /-
3 | Flange Adopter 6" dia NSI
3" dia
Qty: | 4 |  | No |  |  | .@Rs: | 675 |  |  | Each |  |  |  |  | Rs: | 2700 | /- | #VALUE!
4" dia
Qty: | 4 |  | No |  |  | .@Rs: | 1215 |  |  | Each |  |  |  |  | Rs: | 4860 | /- | #VALUE!
6" dia
Qty: | 4 |  | No |  |  | .@Rs: | 2025 |  |  | Each |  |  |  |  | Rs: | 8100 | /- | 2700
[13 empty] | Total = |  | Rs: | 907660 | /-
| INTER CONNECTION | [5 empty] | SCHEDULE ITEMS
1 | Manufacturing and supplying and fixing black steel M.S. Pipe
made out of MS Sheet 3/16" thick cutting folding to curvature
and shape i/c welding etc complete.
a) | Suction 3" dia.
Qty: | 12 |  | Rft |  |  | .@Rs: | 385.59 |  |  | P.Rft |  |  |  |  | Rs: | 4627.08 | /-
b) | Delevery 4" dia.
Qty: | 12 |  | Rft |  |  | .@Rs: | 506.6 |  |  | P.Rft |  |  |  |  | Rs: | 6079.2 | /-
2 | Providing layiing and fixing in trenches tranch i/c fitting jointing
& testing etc complete in all respect the high density polythylene
PE pipes (HDPE 100) for water supply conformaing ISO 4427/DIN
8074/8075 BS 3580 and PSI 3051 (PHSI No.1 P-25)
6"dia
Qty: | 18 |  | rft |  |  | .@Rs: | 530 |  |  |  | P.rft |  |  |  | Rs: | 9540 | /-
3 | Supplying & installing with welding MS flange made out MS sheet 3/8" thick
cutting drilling holes etc complete. (RAA)
3" dia
Qty: | 4 |  | Nos. |  |  | .@Rs: | 500.89 |  |  | Each |  |  |  |  | Rs: | 2003.56 | /-
4" dia
Qty: | 4 |  | Nos. |  |  | .@Rs: | 596.75 |  |  | Each |  |  |  |  | Rs: | 2387 | /-
6" dia
Qty: | 10 |  | Nos. |  |  | .@Rs: | 804.77 |  |  | Each |  |  |  |  | Rs: | 8047.7 | /-
4 | Reflex valve heavy pattern (Test pressure 21 Kg/sq: cm or
300 Lbs/sq: inch imported) (PHSRMI-No.6, (a) P-No:11)
6" Dia Delevery
Qty: | 2 |  | Nos. |  |  | .@Rs: | 4062.5 |  |  |  | Each |  |  |  | Rs: | 8125 | /-
5 | C.I sluice value heavy pattern (Test pressure) 21.0 Kg/Sq: cm
or 300 Lbs/sq: inch imported) (PHSRMI-No:2, (b) P-No:11)
4" Delevery
Qty: | 2 |  | Nos. |  |  | .@Rs: | 9360 |  |  |  | Each |  |  |  | Rs: | 18720 | /-
6 | C.I Bends with flanged ends with holes including turning and
and facing of flanges for all size. (SRMI-No:8, P-No:12)
Qty: | 64.1 |  | Kg |  |  | .@Rs: | 120 |  |  |  | P.Kg. |  |  |  | Rs: | 7692 | /-
7 | C.I Tapper flat bottomed or central Tapered flanged
ends with holes i/c turning, facing of flanges for all size.
(SRMI-No:9, P-No:12)
Qty: | 33.41 |  | Kg |  |  | .@Rs: | 120 |  |  |  | P.Kg. |  |  |  | Rs: | 4009.2 | /-
8 | Foot valve heavy pattern with cone type gate (imported)
(PHSRMI-No:4 (a), P-No:11)
3" dia
Qty: | 1 |  | Nos. |  |  | .@Rs: | 731.25 |  |  |  | Each |  |  |  | Rs: | 731.25 | /-
4" dia
Qty: | 1 |  | Nos. |  |  | .@Rs: | 893.75 |  |  |  | Each |  |  |  | Rs: | 893.75 | /-
9 | C I Tees flanged ends with holes i/c turning and facing of
flanges for all size (SRMI-No.12, P-No:12)
C.I.Tee 6"x6"x6"
Qty: | 22 |  | Kg |  |  | .@Rs: | 120 |  |  |  | P.Kg. |  |  |  | Rs: | 2640 | /-
10 | Butt fusion Joint
3" dia
Qty: | 4 |  | Nos. |  |  | .@Rs: | 600 |  |  | Each |  |  |  |  | Rs: | 2400 | /-
4" dia
Qty: | 4 |  | Nos. |  |  | .@Rs: | 1000 |  |  | Each |  |  |  |  | Rs: | 4000 | /-
6" dia
Qty: | 4 |  | Nos. |  |  | .@Rs: | 1000 |  |  | Each |  |  |  |  | Rs: | 4000 | /-
11 | Jointing CI/MS flanged pipe to special flange and inside threaded i/c
supplying rubber packing the required thickness nuts and bolts with
wisher wand other required for jointing and testing the joint of the
specified pressure etc complete (PHSI-No:M-1-h, P-No:40)
4" Dia Suction
Qty: | 4 |  | Nos. |  |  | .@Rs: | 499 |  |  | P.Joint |  |  |  |  | Rs: | 1996 | /-
4" Dia Delevery
Qty: | 4 |  | Nos. |  |  | .@Rs: | 513 |  |  | P.Joint |  |  |  |  | Rs: | 2052 | /-
6" Dia
Qty: | 8 |  | Nos. |  |  | .@Rs: | 938 |  |  | P.Joint |  |  |  |  | Rs: | 7504 | /-
[14 empty] | Total | Rs: | 97447.74 | /- | 1005107.74
PART-VII: PE PIPE RISING MAIN
1 | Dismantling and removing road metaling. (CSI-No:51, P-No:13)
Qty: | 200 |  | cft |  |  | .@Rs: | 605 |  |  | P%cft |  |  |  |  | Rs: | 1210 | /-
2 | Excavation for pipe lines trenches and pits soft soil i/c trimming
and dressing to true alignment and shape liveling of beds of trenches
to level and grade cutting and disposal of surplus earth with in one
chain as directed by engineer Incharge, providing fence guards lights
flags and temporary crossing for non vehicular traffic where ever
required lift up to 5’ ft and lead up one chain (PHSI-No:1, P-No:60 )
Qty: | 32800 |  | cft |  |  | .@Rs: | 3600 |  |  | P.%ocft |  |  |  |  | Rs: | 118080 | /-
3 | Providing layiing and fixing in trenches tranch i/c fitting jointing
& testing etc complete in all respect the high density polythylene
PE pipes (HDPE 100) for water supply conformaing ISO 4427/DIN
8074/8075 BS 3580 and PSI 3051 (PHSI No.1 P-25)
6" Dia 160 mm
Qty: | 5500 |  | Rft |  |  | .@Rs: | 440 |  |  | P.Rft |  |  |  |  | Rs: | 2420000 | /-
4 | Highy Density Polyethylene fittings (PE-100)
(PHSMI No; XI P-18)
| Elbow 6" dia 90* |  |  |  | (PHSMI No; B(6) P-17)
Qty: | 2 |  | No |  |  | .@Rs: | 3480 |  |  | Each |  |  |  |  | Rs: | 6960 | /-
| Elbow 6" dia 45* |  |  |  | (PHSMI No; A(6) P-17)
Qty: | 2 |  | No |  |  | .@Rs: | 2784 |  |  | Each |  |  |  |  | Rs: | 5568 | /-
5 | Making But fusion Joint (SMI No.14 P-10)
6" Dia
Qty: | 4 |  | Joint |  |  | .@Rs: | 1000 |  |  | P.Joint |  |  |  |  | Rs: | 4000 | /-
6 | Refilling the excavated stuff in trenches in 6” thick layers i/c watering
ramming or full etc complete (PHSI No: 24 P.No: 53)
Qty: | 29700 |  | cft |  |  | .@Rs: | 2760 |  |  | P.%ocft |  |  |  |  | Rs: | 81972 | /-
[14 empty] | Total | Rs: | 2637790 | /-
PART- VII COMPOUND WALL
1 | Excavation in foundation of building bridges
and other structure i/c dag belling bressing refilling
around the structure with excavated earth watering
and ramming lead upto one chain and lift upto 5’ ft
(in ordinary soil) (CSI-No:18 P-No:04)
Qty: | 772 |  | cft |  |  | .@Rs: | 3176.25 |  |  |  | P.‰ Cft. |  |  |  | Rs: | 2452.065 | /-
2 | Cement concrete brick or stone ballast 1 ½” to 2” guage
Ratio 1:4:8 (CSI No:4, P-No:16)
Qty: | 193 |  | cft |  |  | .@Rs: | 9416.28 |  |  |  | % Cft. |  |  |  | Rs: | 18173.4204 | /-
7 | Pacca brick work in foundation plinth in cement
sand mortar (1:6)(CSI-No:4-e, P-No:20)
Qty: | 831.68 |  | cft |  |  | .@Rs: | 11948.36 |  |  |  | %rft |  |  |  | Rs: | 99372.1204 | /-
5 | D.P.C with (cement sand and shingle concrete (1:2:4)
i/c two coats of max phalt mixture .
| (CSI-No:28-c, P-No:19) 3" thick. | [5 empty] | 3” Thick
Qty: | 207.92 |  | Sft. |  |  | .@Rs: | 4982.18 |  |  |  | %Sft.. |  |  |  | Rs: | 10358.9487 | /-
7 | Pacca Brick work other then building i/c stricly
of joint 20' heght in cement sand motor motor 1:6
(CSI-No:7-i-e, P-No:22)
Qty: | 305.01 |  | Cft. |  |  | .@Rs: | 12346.65 |  |  |  | %Cft. |  |  |  | Rs: | 37658.5172 | /-
8 | RCC work in roof slabs, beams, columns, rafts,
lintels and other structure members laid in situ
or precost laid in position making complete in all
respect Ratio: 1:2:4 90 Lbs of cement Cft. of sand
4 Cft. of shingle ½ to ¾ gauge (CSI-No:6-a-I, P-No:16)
Qty: | 51.5 |  | cft |  |  | .@Rs: | 337 |  |  |  | P.Cft. |  |  |  | Rs: | 17355.5 | /-
9 | Fabrication of mild steel reinforcement for cement
concrete i/c cutting bending laying in position making
joints and fastering i/c cost of binding wire and also
i/c cost of steel bars (Also include removal of rust
from bars (CSI-No:8-b, P-No:17)
Qty: | 2.069 |  | cwt |  |  | .@Rs: | 5001.7 |  |  |  | P.cwt |  |  |  | Rs: | 10348.5173 | /-
11 | Cement Plaster (1:6) upto 12 height 3/8" thick
(CSI-No:13(b), P-No:52)
Qty: | 1922.16 |  | sft |  |  | .@Rs: | 2206.6 |  |  |  | %Sft.. |  |  |  | Rs: | 42414.3826 | /-
12 | Cement plaster (1;6) upto 12 ft height (1/2 thick)
(CSI-No:11-a, P-No:52)
Qty: | 1922.16 |  | Sft. |  |  | .@Rs: | 2197.52 |  |  |  | %Sft.. |  |  |  | Rs: | 42239.8504 | /-
10 | Cement pointing struck joint on walls .
(CSI-No:19-b, P-No:53)
Qty: | 648 |  | sft |  |  | .@Rs: | 1213.58 |  |  |  | %Sft.. |  |  |  | Rs: | 7863.9984 | /=
12 | Fabrication of heavy steel work with angle tees flate iron round steel iron trues
girder tanks etc i/c cutting revitting drilling bending assembling and fising erecting
in position exulding etection in position (CSI No.2 P-91)
Qty: | 6.42 |  | cwt |  |  | .@Rs: | 4928.49 |  |  |  | P.cwt |  |  |  | Rs: | 31640.9058 | /=
14 | White washing one coats (CSI-No:26-a, P-No:54)
Qty: | 2570.16 |  | sft |  |  | .@Rs: | 416.63 |  |  |  | %Sft.. |  |  |  | Rs: | 10708.0576 | /-
15 | Colour washing two coats (CSI-No:25(b), P-No:54)
Qty: | 2570.16 |  | sft |  |  | .@Rs: | 859.9 |  |  |  | %Sft.. |  |  |  | Rs: | 22100.8058 | /-
16 | Preparing surface painting of doors and windows
any type i/c edge (CSI-No:4-c, P-No:68) Three coats
Qty: | 120 |  | sft |  |  | .@Rs: | 1489.68 |  |  |  | %Sft.. |  |  |  | Rs: | 1787.616 | /-
[14 empty] | Total | Rs: | 354475.7056 | /-
PART-VIII STAFF QUARTER
1 | Excavation in foundation of building bridges
and other structure i/c dag belling bressing refilling
around the structure with excavated earth watering
and ramming lead upto one chain and lift upto 5’ ft
(in ordinary soil) (CSI-No:18 P-No:04)
Qty: | 285 |  | cft |  |  | .@Rs: | 3176.25 |  |  |  | P.‰ Cft. |  |  |  | Rs: | 905.2313 | /-
2 | Cement concrete brick or stone ballast 1 ½” to 2” guage
Ratio 1:4:8 (CSI No:4, P-No:16)
Qty: | 139.55 |  | cft |  |  | .@Rs: | 9416.28 |  |  |  | % Cft. |  |  |  | Rs: | 13140.4187 | /-
3 | Pacca brick work in foundation plinth in cement
sand mortar (1:6)(CSI-No:4-e, P-No:20)
Qty: | 325.97 |  | cft |  |  | .@Rs: | 11948.36 |  |  |  | %rft |  |  |  | Rs: | 38949.0691 | /-
4 | D.P.C (cement sand & shingle (1:2:4) i/c three coats of miax phlat mixture
(CSI No 28 P-42)
3" thick
Qty: | 81.49 |  | Sft. |  |  | .@Rs: | 4982.18 |  |  |  | % Sft. |  |  |  | Rs: | 4059.9785 | /-
5 | Pacca Brick work in ground floor including
stricking of joints cement sand motor motor 1:6
(CSI-No:5-e, P-No:21)
Qty: | 465.38 |  | Cft. |  |  | .@Rs: | 12674.36 |  |  |  | % Cft. |  |  |  | Rs: | 58982.9366 | /-
6 | RCC work in roof slabs, beams, columns, rafts,
lintels and other structure members laid in situ
or precost laid in position making complete in all
respect Ratio: 1:2:4 90 Lbs of cement Cft. of sand
4 Cft. of shingle ½ to ¾ gauge (CSI-No:6-a-I, P-No:16)
Qty: | 156.64 |  | cft |  |  | .@Rs: | 337 |  |  |  | P.Cft. |  |  |  | Rs: | 52786.68 | /-
7 | Fabrication of mild steel reinforcement for cement
concrete i/c cutting bending laying in position making
joints and fastering i/c cost of binding wire and also
i/c cost of steel bars (Also include removal of rust
from bars (CSI-No:8-b, P-No:17)
Qty: | 6.29 |  | cwt |  |  | .@Rs: | 5001.7 |  |  |  | P.cwt |  |  |  | Rs: | 31460.693 | /-
8 | Cement plaster (1:6) upto 20 height 1/2" thick
(CSI-No:13(b), P-No:52)
Qty: | 874 |  | sft |  |  | .@Rs: | 2206.6 |  |  |  | %Sft.. |  |  |  | Rs: | 19285.684 | /-
9 | Cement plaster (1:4) upto 12 ft height (3/8" thick)
(CSI-No:11-a, P-No:52)
Qty: | 874 |  | sft |  |  | .@Rs: | 2197.52 |  |  |  | %Sft.. |  |  |  | Rs: | 19206.3248 | /-
10 | Providing and laying 3" thick CC topping surface
finishing and dividing to pancls (CSI-No:16, P-No:42)
Qty: | 192 |  | Sft. |  |  | .@Rs: | 4411.82 |  |  |  | P%Sft.. |  |  |  | Rs: | 8470.6944 | /-
11 | Fabrication of heavy steel work with angle tees flate iron round steel iron trues
girder tanks etc i/c cutting revitting drilling bending assembling and fising erecting
in position exulding etection in position (CSI No.2 P-91)
Qty: | 5.08 |  | cwt |  |  | .@Rs: | 4928.49 |  |  |  | P.cwt |  |  |  | Rs: | 25034.7292 | /=
12 | Cement Pointing struck joints on walls (1:3)
(CSI No: 19 P-No: 58)
Qty: | 541.25 |  | sft |  |  | .@Rs: | 1213.58 |  |  |  | %Sft.. |  |  |  | Rs: | 6568.5018 | /-
13 | Filling watering and ramming earth in floors with
surplus earth from foundation and lead upto one
chain and lift upto 5’ ft (CSI-No:21, P-No:4)
Qty: | 455.3 |  | cft |  |  | .@Rs: | 1512.3 |  |  |  | P‰Cft. |  |  |  | Rs: | 688.5502 | /-
14 | White washing three coats (CSI-No:26-c, P-No:54)
Qty: | 192 |  | sft |  |  | .@Rs: | 829.95 |  |  |  | %Sft.. |  |  |  | Rs: | 1593.504 | /-
15 | White washing one coats (CSI-No:26-a, P-No:54)
Qty: | 1415.25 |  | sft |  |  | .@Rs: | 416.63 |  |  |  | %Sft.. |  |  |  | Rs: | 5896.3561
16 | Colour washing two coats (CSI-No:25(b), P-No:54)
Qty: | 1415.25 |  | sft |  |  | .@Rs: | 859.9 |  |  |  | %Sft.. |  |  |  | Rs: | 12169.7347 | /-
17 | Painting New surface preparing surfce painting Doors& Windows
any type i/c edge (CSI-No:4-c, P-No:68) Three coats
Qty: | 109.5 |  | sft |  |  | .@Rs: | 2116.41 |  |  |  | %Sft.. |  |  |  | Rs: | 2317.4689 | /-
[14 empty] | Total | Rs: | 301516.5552 | /-
PART - IX |  |  |  | C.C TOPPING
1 | Borrow pit excavation dressed lead upto 100 ft
ordinary soil (CSI .No: 3 (a) P. No:1)
|  | Qty: | 16028 |  | cft |  | .@Rs: | 2117.5 |  |  |  |  | P.%ocft |  | Rs: | 33939.29 | /=
2 | Earth work compaction (soft ordinary or hard
soil ) laying earth in 6” layer and dressing
complete (CSI No: 13 P-4)
|  | Qty: | 46200 |  | cft |  | .@Rs: | 263 |  |  |  |  | P.%ocft |  | Rs: | 12150.6 | /=
3 | Extra for every 50” ft additional lead or part there of (C.S.I No:8(a)P-3)
Total lead (2600-100)= 50 Leads @Rs: 100/78 per lead 5039/= %o cft
50
| Qty: | 16028 |  |  | cft |  | .@Rs: | 5039 |  |  |  | P.%ocft |  |  | Rs: | 80765.092 | /=
4 | Cement concrete brick or stone ballast 1-1/2" 2" gague
(CSI.No:4 P.No: 15)
Ratio: 1:4:8
| Qty: | 17424 |  |  | cft |  |  | .@Rs: | 9416.28 |  |  | P.%cft |  |  | Rs: | 1640692.6272 | /=
5 | Cement concrete plain i/c placing comacting finishing and curring complete
i/c screening and washing of stone aggregate (CSI.No:5 P.No: 17)
Ratio: 1:2:4
| Qty: | 13200 |  |  | cft |  |  | .@Rs: | 14429.25 |  |  | P.%cft |  |  | Rs: | 1904661 | /=
6 | Errection & removal of centring for R.C.C or plain C.C of partal wool
(C.S.I.No:19 P.No: 18)
| Qty: | 3300 |  |  | cft |  |  | .@Rs: | 3127.41 |  |  | P.%sft |  |  | Rs: | 103204.53 | /=
[14 empty] | Total | Rs: | 3775414.1392 | /=
GENERAL ABSTRACT
S.No. | Name of Work | [7 empty] | Schedule Item |  |  | Non Schedule Item |  | G. Total
1 | Internal & External Drains | [6 empty] | Rs: | 7712255.3685 |  |  | Rs: | --- |  | Rs: | 7712255.3685
2 | RCC Coleckting Tank | [6 empty] | Rs: | 403925.243 |  |  | Rs: | --- |  | Rs: | 403925.243
3 | RCC Screening Chember | [6 empty] | Rs: | 146925.5325 |  |  | Rs: | --- |  | Rs: | 146925.5325
4 | Inter Connection | [6 empty] | Rs: | 3756.76 |  |  | Rs: | --- |  | Rs: | 3756.76
5 | Pump House | [6 empty] | Rs: | 196579.7983 |  |  | Rs: | --- |  | Rs: | 196579.7983
6 | Pumping Machinery | [6 empty] | Rs: | 97447.74 |  |  | Rs: | 907660 |  | Rs: | 1005107.74
7 | Rising Main | [6 empty] | Rs: | 2637790 |  |  | Rs: | -- |  | Rs: | 2637790
8 | Compound Wall | [6 empty] | Rs: | 354475.7056 |  |  | Rs: | --- |  | Rs: | 354475.7056
9 | Staff Quarter | [6 empty] | Rs: | 301516.5552 |  |  | Rs: | --- |  | Rs: | 301516.5552
10 | C.C. Topping | [6 empty] | Rs: | 3775414.1392 |  |  | Rs: | --- |  | Rs: | 3775414.1392
[7 empty] | G.Total | Rs: | 15630086.8423 |  |  | Rs: | 907660 |  | Rs: | 16537746.8423 |  | 16537746.8423
1 | Any error commission in the description of itme of work rates original schedule B
correct accordingly in the instruciton of the Executive Engineer PHE Division-I Khairpur
2 | No Premium will be allowed on Non Schedule item.
3 | The Work will be carred out as per PWD / PHE specificaiton approval rates working
CONTRACTOR
16537746.8423
EXECUTIVE ENGINEER
PUBLIC HEALTH ENGINEERING DIVISION No.1
KHAIRPUR
EXECUTIVE ENGINEER
PUBLIC HEALTH ENGINEERING DIVISION-I
KHAIRPUR