# abstract

| S.No | name of Work | Sch; Amount | Non Sch: Amount | Total |
| --- | --- | --- | --- | --- |
| Part – I | RCC COLLECTING TANK 12” | RS.519750/- | --- | RS.519750/- |
| Part-- II | RCC SCREENING CHAMBER | RS.148433/- | --- | RS.148433/- |
| Part – III | INTER CONNECTION | RS.5315/- |  | RS.5315/- |
| Part – III | PUMP HOUSE | RS.205448/- |  | RS.205448/- |
| Part—iv | PUMPING MACHINERY | --- | RS.419000/- | RS.419000/- |
| Part—v | INTER CONNECTION | RS.79314/- | RS.19440/- | RS.98754/- |
| Part—vI | P.E RISING MAIN | RS.225989/- | --- | RS.225989/- |
| Part—vII | COMPOUND WALL | RS.353407/- | --- | RS.353407/- |
| Part—vIII | SURFACE DRAINS | RS.4659049/- | --- | RS.4659049/- |
| Part-- IX | CC BLOCK | RS.2413132/- | --- | RS.2413132/- |
|  | TOTAL: | RS.8609837/- | RS.438440/- | RS.9048277/- |

CertificateS

- Any error or omission in the description of items of works rates original schedule will be correct. Accordingly in the instruction of the Executive Engineer, Public Health Engineering Division-I Khairpur.

- No premium will be allowed on non-schedule items.

- The work to be carried out as per PWD/PHE specifications approval rates working estimates.

CONTRACTOR.				                EXECUTIVE ENGINEER

PUBLIC HEALTH ENGINEERING

DIVISION-I KHAIRPUR

SCHEDULE-B

Name of Work:-	 RURAL DRAINAGE SCHEME GHAMBHIR  TALUKA

& DISTRICT KHAIRPUR

| S. No | Qty: | Item of Work | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

Part – I 	rcc Collecting Tank 12’ Dia

1.	Excavation of well in dry soil up to 20” ft below ground level and disposal of soil within one chain. (CSSI No: 1 Page 86)

0 – 5 Depth

Qty: 1004.80	cft		@Rs: 2247/58		P%o cft		Rs:	2258/-

2.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making K=joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.8 Page 17)

Qty: 30.88	cwt		@Rs: 5001/70		P. cwt			Rs:	154452/-

3.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (PHSI No.6 P.NO.17)

R-1:2:4

Qty: 739.75	cft		@Rs: 337/-		P. cft			Rs:	249296/-

4.	Wet sinking of wells for depth below spring level by means driving i/c all charges for shorting loading and removing excavated material one chain (CSI NO 3 page 87)

a) 0 – 5’ depth

Qty: 825.23	cft		@Rs: 11763/80		P% cft		Rs:	9708/-

b) 5’ – 10’ depth

Qty: 825.23	cft		@Rs: 24200/-			P% cft		Rs:	19971/-

5.	Providing construction joints in concrete work of 9” (225 mm) wide corrugate PVC water stop (with bulbs) i/c soldering cost of materials and labour etc complete (PHSI – 2 Page 43)

Qty: 81.64	rft		@Rs: 86/10		P. rft			Rs:	7021/-

6.	Cement concrete brick or stone ballast 1 ½” to 2”  guage Ratio 1:2:4 (CSI No. 9 P. 16).

Qty: 240.92 cft		Rs: 9416/28 		cft			Rs:	22686/-

7.	Cement concrete plain 1:2:4 i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering (CSI No.5 P.No.18)

a)Ratio 1:4:8

Qty: 113.0	cft		@Rs: 11288/75	P% cft			Rs:	12761/-

a) Ratio 1: 3: 6

Qty: 113.04	cft		@Rs: 12595/		P% cft			Rs:	14237/-

b) Ratio 1:2:4

Qty: 113.04	cft		@Rs: 14429/25	P% cft			Rs:	16311/-

8.	Bailing or pumping out sub soil water during excavation concreting cost is stiu concrete or masonry work im foundation etc (CSI NO – 18 Page 52)

Qty: 2034.72	cft		@Rs: 543/=		P% cft			Rs:	11049/-

Total	Rs:	5179750/-

part – ii 		rcc screening chamber

1.	Excavation in foundation building bridges and other structure i/c dag  bailing dressing refilling around the structure with excavated earth watering and ramming lead up to once chain and lift up to 5’ ft. (in ordinary soil) (CSI No.18 P.No.5)

Qty: 570.93	cft		@Rs: 3176/25		P%0 cft		Rs:	1814/-

2.	Extra for earth work (CSI No.15 P-3)

Qty: 255.93	cft		@Rs: 1058/75		P%0 cft		Rs:	271/-

3.	Cement concrete brick or stone ballast ½ to 2 gauges Ratio 1:4:8 (CSI No.4 P.No.15).

Qty: 59.06	cft		@Rs: 9416/28		P% cft			Rs:	5561/-

4.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (PHSI No.6 P.NO.17)

Qty: 231.57	cft		@Rs: 337/-		P. cft			Rs:	78039/-

5.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.8 (a) P.NO.17)

Qty: 9.30	cwt		@Rs: 5001/70		P. cwt			Rs:	46516/-

6.	Providing cement joints in concrete work of 9” (225mm) wise corrugated PVC water stop (with bulbs) i/c soldering cost of materials and labour (PHSI NO – 2 Page 43)

Qty: 29.0	rft		@Rs: 86/		P. rft			Rs:	2494/-

7.	Small iron work as guest in best plate knees bends stops etc i/c cutting drilling riveting handling assembling and fixing excluded erection and in position covers  (CSI No 1.P.No. 91)

Qty: 1.72	cwt		@Rs:6420/61		P. cwt			Rs:	11043/-

8.	Erection and fitting in position of iron trusses staging of water tank etc complete (CSI no - 3 Page 96)

Qty: 1.72	cwt		@Rs: 271/04		P. cwt			Rs:	  466/-

9. 	Paca bricks work in foundation plinth in cement sand mortar(CSI No.4 P-21) .

1:6

Qty: 10.98 Cwt		@Rs.11948/36/-		P-Cwt		Rs.	1312/-

11.	Cement plaster (1:4) ½ thick up to 20’ height ( CSI No    P No.       )

Qty: 40.15 Cwt		@Rs.2283/93		P%sft			Rs.	917/-

Total	Rs:	148433/-

Part – III 		inter connection

1.	Excavation for pipe line in trenches and pits soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within one chain as directed by Engineer inharge providing fence guards, lights flages and temporary crossing for non vehicular traffic where ever required lift up to 5 ft and lead upto one chain. (PH SCHI No 1 Page 46)

For 12” dia RCC Pipe

Qty: 112.00	cft		@Rs: 3600/		P%0      cft		Rs:	403/-

2.	Excavation for pipe line in trenches and pits wet soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within one chain as directed by Engineer inharge providing fence guards, lights flages and temporary crossing for non vehicular traffic where ever required lift up to 5 ft and lead upto one chain. (PH SCHI No 1 Page 46)

For 12” dia RCC Pipe

Qty: 56.0	cft		@Rs: 5400/-		P%0 cft		Rs:	302/-

3.	Providing RCC pipe of A.S.T.M – 76 – 62 – 70 class II wall B and fixing in trench i/c cutting and jointing with rubber rings i/c testing with water to specified pressure. (PHSI I(c) P-No17 )

For 12” Dia Pipe

Qty: 8.0	rft		@Rs: 515/		P. rft			Rs:	4120/-

4.	Refilling the excavated stuff in trenches 6” thick layer i/c watering ramming to full compaction etc complete. (PHSI No – 24 Page 53)

Qty: 151.20	cft		@Rs: 2760/-		P%0 cft		Rs:	417/-

1.	Carriage of RCC pipe of any class with collars from Sukkur to site of work lead 22 miles

12” Dia pipe

Qty: 8.0	cft		@Rs.649/48		P% cft			Rs:	   73/-

Total:	Rs.	5315/-

Part – Iv 		pump house 12 x 10)

1.	Excavation in foundation building bridges and other structure i/c dag  bailing dressing refilling around the structure with excavated earth watering and ramming lead up to once chain and lift up to 5’ ft. (in ordinary soil) (CSI No.18 P.No.5)

Qty: 188.0	cft		@Rs:3176/25		P%o cft		Rs:	597/-

2.	Cement concrete brick or stone ballast ½ to 2 gauges Ratio 1:4:8 (CSI No.6 P.No.16).

Qty: 83.88	cft		@Rs: 9416/28		P% cft			Rs:	7898/-

3.	Pacca brick work in foundation plinth in cement sand mortar 1:6 (CSI No:   P-20)

Qty: 212.34	cft		@Rs: 11948/36	P% cft			Rs:	25371/-

4.	Damp proof course of cement sand and shingle concrete 1:2:4 i/c two coats of asphalted mixture (CSI No.28 P.No.19)

Qty: 53.08	sft		@Rs: 4982/18		P% sft			Rs:	2645/-

8.	Pacca brick work in ground floor i/c sand mortar 1:6 (CSI No – 5 Page 24    )

Qty: 308.62	cft		@Rs: 12674/36		P% cft		Rs:	39116/-

9.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (CSI No.6 P.NO.17) Ratio 1:2:4 90 LBS cement Cft of sand 4 Cft of shingle ½ to ¾ gage

Qty: 105.35	cft		@Rs: 337/-		P. cft			Rs:	35506/-

10.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.7 (a) P.NO.19

Qty: 4.233 	cwt		@Rs: 5001/70		P. cwt			Rs:	21173/-

11.	Supplying fixing in position Iron Steel gril using  sold squire bars of size ¾ x ¼ dia complete

(CSI No.20 P-93)

Qty: 24.00	sft		@Rs.180/50		P. sft			Rs:	4332/-

12.	Filling watering ramming earth in floor with surplus earth from foundation and lead up to one chain and lift up to 5’ ft   (CSI NO. 21, P. NO. 5).

Qty: 279.46	cft		@Rs:1512/50		P. cwt			Rs:	423/-

13.	Fabrication of heavy steel work height tees flat iron round iron and steel iron i/c cutting drilling riveting handling assembling and fixing excluded erection and in position (covers of catch pits). (CSI NO. 2, P. NO. 91).

Qty: 4.41	cwt		@Rs:4928/49		P. cwt			Rs:	21735/-

14.	Errection and rolled steel beams of old slabs in roof etc errection fixing in position (CSI NO – 1 a page 96)

Qty: 4.41	cwt		@Rs.271/64		P. cwt			Rs:	1195/-

15.	Preparing surface painting doors & windows any type i/c edge (CSI No – 5 page 76)

Qty: 104	sft		@Rs.2116/41		P% sft			Rs:	2201/-

16.	Cement pointing  struck joint on walls 1:3 (CSI No – 19 Page 59) (Ratio 1.3)

Qty: 448.00	sft		@Rs: 1213/58		P% sft			Rs:	5437/-

17.	Cement Plaster (1:6) up to 20 ft: Height ½ “thick. (CSI No 1.P.No. 58)

Qty: 529.57	sft		@Rs.2206/60		P% sft			Rs:	11685/-

18.	Cement Plaster (1:4) up to 12 ft: Height 3/8 “thick. (CSI No 1.P.No. 58)

Qty: 529.57	sft		@Rs.2197/52		P% sft			Rs:	11637/-

19.	Primary Coat of destembring   (CSI No – 26 Page 60)

Qty: 529.57	sft		@Rs: 442/75		P% sft			Rs:	2345

20.	White washing (Three coats) CSI No – 26 Page 60)

Qty: 204.0	sft		@Rs: 829/95		P% sft			Rs:	1693/-

21.	Distembering  Two Coats (CSI No – 25 Page 60)

Qty:529.57 	sft		@Rs: 1043/90		P% sft			Rs:	5528/-

22.	Providing and laying 1” thick topping cement concrete (1:2:4) i/c surface fixing and deriding in to panels. (CSI No 16 P No 42)

Qty: 111.78	sft		@Rs.4411/82		P% sft			Rs:	  4931/-

Total	Rs:	205448/-

Non Schedule item

PART V			(A)PUMPING MACHINERY

1	supplying installing in position at site of work for drainage scheme Ghambhir electric motor set 7.50 BHP (KSB made)  4 pole 1500RPM 3 phase 400 VAC 500 cycles coupled with Golden non clogging sullage pump (type GSWG-103) size 4”x3” i/c common steel frame & coupled with sleeve etc complete capable of discharge 60 gallons per minute against a head of 40 ft i/c installation of pumping set in cement concrete foundation ratio 1:2:4 with MS nuts and bolts embedded in cc foundation i/c providing and fixing automatic motor control unit (MCU) consist oil stator (MECO Pakistan) MCCB Breaker 10-A to 50-A (Shihlin Taiwan) cutout 60-A (China) ampere meter (60-A) (SELCO China) volt meter (500-V) (SELCO China) phase indication light (China) i/c transformer oil (2 Letter) (Panel Board 18’x26’x9’ & internal wiring etc complete) and providing internal electric wiring main or sub-main PVC insulated with size 3-7/0.044 (6mm2)i/c providing and fixing earthling set 0.6m in to 6.3mm 2x2x1/2 CI plate buried in the ground at depth of 3.7mm (12”)or less as per PAK PWD specification and testing of the pumping set required head of 72 hours etc complete (R.A)

Qty: 1 Set			@Rs. 213000/-		P. set		Rs.	213000/-

2	Providing and installing Diesel oil Engine 16 BHP Golden made Model-1100B 2200RPM coupled with golden non clogging Horizontal semi open impeller pump type GSWG-103 size 4”x3” capable discharge 60 GPM against the head of 470 ft i/c frame pully for engine and pump with belt and installing of pump set i/c cement concrete foundation with MS nuts Bolts i/c testing the pumping machinery sets against required head for 48 hours etc complete. (R.A)

Qty: 1 Set			@Rs. 206000/-		P. set		Rs.	206000/-

Total:	Rs. 	419000/-

Prt-B	Inter Connection

1.	P.E Pipe HDPE-100  PN-10

4” dia

Qty. 43 	rft		@Rs. 268/-		P rft.			Rs. 	11524/-

2	Providing & Fixing M.S Pipe made out of MS Sheet of 3/16 mm thickness cutting folding to concrete an shape i/c welding etc complete (Base on Schedule item)

3” Dia

Qty: 16	rft		@Rs: 506/60		P. rft			Rs:	8106/-

3	M.S flange 3/8”  thick

4”Dia

Qty: 16.00	Nos.		@Rs: 596/75		each 			Rs:	9548/-

4	Supplying reflex valve heavy pattern test pressure 21.0 kg or CM or 300 lbs sq inch. (Based on Schedule item)

4” Dia

Qty. 2 Nos.			@Rs. 1706/25		Each			Rs. 	3413/-

5.	Supplying CI sluice valve heavy pattern test pressure 21.0 kg sq cm 300 lbs sq inch. (CSMI No 6 P No-10)

4” Dia

Qty. 02 Nos.			@Rs. 5460/-		Each			Rs.	10920/-

6.	CI Bend with flanged end with holes i/c trenches and facing of flanged for all size (SMI No.8 P.11).

Qty: 0.848	cwt		@Rs: 6096/-		P. cwt			Rs:	5169/-

7	CI tapers flat bottomed central flanged end with tapered holes i/c turning and facing of flanged of size (CMI No – 9 Page 11)

CI Bend 90o

Qty: 0.33	cwt		@Rs: 6096/-		P. cwt			Rs:	2012/-

8.	Supplying CI Teel flanged end with holes i/c trimming facing of flanged for all size (SCI No 11 Page 11)

Tee 4”x4”x4”

Qty: 0.267	cwt		@Rs: 6096/-		P. cwt			Rs:	1628/-

9.	CI foot valve heavy pattern with type (SMOI No 4 Page10)

4” Dia

Qty: 2.0 Nos.			@Rs: 893/75		Each			Rs:	1788/-

10	But fusion joint(SMI I H P No. 19)

4” dia

Qty: 16.00	Nos.		@Rs: 1000/-		each 			Rs:	16000/-

12.	Jointing CI/MS flanged pipe to special flanged and inside threaded i/c supplying rubber packing the required thickness nuts and bolts with wisher and other required for jointing and testing the joint to the specified pressure etc complete (PHSI No.1 P.35).

3” dia

Qty: 2.00	Joints		@Rs: 499/		P. Joint		Rs:	998/-

4” Dia for Delivery

Qty: 16.00	Joints		@Rs: 513/		P. Joint		Rs:	8208/-

Total: -	Rs.    79314/-

Non Schedule

1	flange adopter   (NSI)

b)4”Ø

Qty: 16.00	Nos.		@Rs: 1215/-		each 			Rs:	19440/-

Total: -	Rs.    19440/-

PART VI 	RISING MAIN 4” DIA

1.	Excavation for pipe line in trenches and pits soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within one chain as directed by Engineer inharge providing fence guards, lights flages and temporary crossing for non vehicular traffic where ever required lift up to 5 ft and lead upto one chain. (PH SCHI No 1 Page 60)

Qty: 4800.00 cft		@Rs:3600/-		P%o c ft		Rs:	17280/-

2.	Providing Laying & fixing in trenches i/c cutting fitting and jointing out testing in all respect the high testing polyethylene P.E pipe (PHSI No-1 P- No 25)

(110 mm) PN-8

4” Dia

Qty: 800.00	rft		@Rs:224/-		P. rft			Rs:	179200/-

4.	High Density Polyethylene fitting

Elbow 90 degree 10mm  4” Dia PN-10

Qty: 4.00	Nos		@Rs:2069/-		Each			Rs:	8276/-

Elbow 45 degree 110mm  4” Dia PN-10

Qty: 2.00	Nos		@Rs:1655/-		Each			Rs:	3310/-

5.	Butt fusion joint (SMI No.H P.20).

4’ Dia

Qty: 6.00	Joints		@Rs: 1000/-		Each			Rs:	6000/-

6.	Refilling the excavated stuff in trenches in cement in 6” thick layers i/c watering trimming on full compaction etc complete (PHSI No.24 P.No.77).

Qty: 4320.0 cft		@Rs: 2760/-		P. %o cft		Rs:	11923/-

Total	Rs.	225989/-

part VII		Compound Wall

1.	Excavation in foundation of building bridges and other structure i/c deg belling dressing refilling around the structure with excavated earth watering ramming load up to one chain and lift up to 5 ft. in ordinary soil (CSI No.18 P.5)

Qty. 772.00	cft	@Rs.3176/25 			P%0 cft		Rs:	2452/-

2.	Cement concrete brick or stone ballast 1 ½” to 2” gauge (CSI No.4 P.17).

Ratio 1:4:8

Qty. 193.0	  cft	@Rs. 9416/28			P% cft			Rs.	18173/-

3.	Pacca brick work in foundation in cement sand mortar 1:6 (CSI No: 4 P-24)

Qty: 828.00	cft		@Rs: 11948/36	P% cft			Rs:	98932/-

4.	DPC with cement sand & shingle concrete 1:2:4 i/c coated of asphaltic mixture (CSI No.27 P.23).

3” thick

Qty. 207 sft		@Rs.4982/18			P% sft			Rs.	10313/-

5	Pacca brick work other than building  in foundation i/c striking of joints up ot 50 ft. height (in cement sand mortar) Ratio 1:46 (CSI No.7 P.25).

Qty. 321.37 cft	@Rs.12346/65		P% cft			Rs.	39678/-

6.  	Cement plaster (1:6) upto 12’height 1/2”thick   (CSI No.11 (b) P.NO.58).

Qty.2038.50 	 sft	@Rs.2206/60			P% sft			Rs.	44982/-

7.    	Cement plaster (1:4) upto 20’height ⅜”thick   (CSI No.11 (b) P.NO.58).

Qty: 2038.50	sft	@Rs.2197/52			P. % sft		Rs:	44796/-

8.	Cement pointing striking joint on walls (1:3) (CSI No.19 p-No 58)

Qty. 629.00 	sft	@Rs.1213/58			P% sft			Rs.	7633/-

9.	Primary Coat of challe distembring (CSI No.26 P.60).

Qty. 2038.50	 sft	@Rs. 442/75			P% sft			Rs.	9025/-

10.	Color washing (two coats)  (CSI No.25(b) P.60).

Qty. 2038.50sft	@Rs.1043/90 			P% sft			Rs.	21280/-

11	Fabrication of heavy steel work with angles tees flat iron and sheet iron making trusses girders tanks etc i/c cutting reverting handing assembling and fixing but eluding eriction in position (CSI No.2 (a) P.NO.90)

Qty: 5.35	cwt		@Rs: 4928/49		P. cwt			Rs:	26367/-

12.	Preparing surface painting of door and windows of any type 3 Coats (CSI No. P-59).

Qty. 100	 sft	@Rs. 2116/41			P% sft.			Rs.	   2116/-

13.	RCC work in roof slab beams Colums lintel & Other (CSI No.5-P-16)

Qty. 51.50 cft		@Rs. 337/-			P% cftt.		Rs.	   17356/-

10.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.7 (a) P.NO.19

Qty: 2.06 	cwt		@Rs: 5001/70		P. cwt			Rs:	10304/-

Total Rs:	353407/-

PART –  VIII			INTERNAL AND EXTERNAL DRAINS

- Excavation in foundation of building bridges and other structure i/c dag belling refilling around the structure with excavated earth watering ramming lead up to one chain and lift up to 5 ft. (PH Sch.No.18 P.NO.4)

Qt 18141cft.		@Rs.3176/25			P%0 cft.		Rs. 	57620/-

2. Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

- Ratio 1:4:8

Qt. 3991.50 cft.	@Rs. 11288/75		P% cft.			Rs. 	450590/-

3.   Pacca Brick work in foundation and plinth in cement sand Ratio (1;6)  (CSI No.4 P.NO.20)

Qt. 10462.50cft.	@Rs. 11948/36		P% cft.			Rs. 	1250097/-

4.   	Construction of standard of open drains cunette block of cement concrete 1:2:4 in situ to design

profile i/c cost of mould as per drawing i/c applying floating coat of cement 1/32” thick to the

exposed face finished smooth curing etc complete as per detail drawing  (PHSI No.D P.NO.58)

For type-I

Qt. 4800.00 rft.	Rs. 94/-			P rft.			Rs. 	451200/-

For type-II

Qt. 1450.00 rft.	@Rs. 174/00			P rft.			Rs. 	252300/-

5.   	Cement plaster 1:4 20’ height ½” thick (CSI No.11 P.NO.51)

Qt. 6091.00Sft.	@Rs. 2283/93			P% Sft.		Rs. 	139114/-

6.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect 1:2:4  (CSI No.5 P.NO.16)

Qt. 3991.50cft.	Rs 337/-			P cft.			Rs. 	1345136/-

7. 	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in

position making K=joints and fastering i/c cost of binding wire also i/c removal of rust

from bars (CSI No.7 (ii) P.NO.16).

Qt1. 142.55 cwt	@Rs. 5001/70			P cwt.		Rs. 	712992/-

Total:	Rs:	4659049/-

PART - IX		C.C TOPPING

01.	Barrow pit excavation undressed led up to 100 rft in ordinary soil (CSI no.3 p.1)..

Qt. 15459.0 cft.		@Rs.2117/50		P%o cft.		Rs. 	32734/-

02.	Earth work compaction (soft ordinary hard soil Laying earth in 6” thick layer, leveling and dressing complete. (CSI.NO.13 (b) P/03)

Qty: 33600.00 Cft 		@Rs:-263/-		P%0 Cft	 	Rs. 	8837/-

03.	Extra for every 50 ft: additional lead or part therefore earth work soft or ordinary hard very hard.(CSI No: 8 P.No:3) Total land 2600 (-) 100 =  50 leads  @Rs. 100/78 Per Lead Rs. 5039/=

Qty: 15459.00cft		@Rs: 5039/-		P%0 cfT		Rs. 	77898/-

04.	Cement concrete brick or stone ballast 1 ½” to 2”  guage Ratio 1:4:8 (CSI No.9 P.16).

Ratio: 1:4:8

Qt. 11088.00 cft.		@Rs. 9416/28			P% cft.		Rs. 	1044077/-

0.4      Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

Ratio 1:2:4

Qt. 8400.00 cft.	@Rs.14429/25		P% cft.			Rs.	1212057/-

06	Erection and removal of centering for RCC and Plain CC work of partial wood, (2 nd Class)

(CSI No.19 (b) P.No.17)

Qty. 1200.00 sft.	@Rs. 3127/41			P% sft.			Rs. 	37529/-

Total:-		Rs:	2413132/-