CertificateS

- Any error or omission in the description of items of works rates original schedule will be correct. Accordingly in the instruction of the Executive Engineer, Public Health Engineering Division-I Khairpur.

- No premium will be allowed on non-schedule items.

- The work to be carried out as per PWD/PHE specifications approval rates working estimates.

CONTRACTOR.				             	       EXECUTIVE ENGINEER

PUBLIC HEALTH ENGINEERING

DIVISION-I KHAIRPUR

SCHEDULE -B

NAME OF WORK :-	 PROVIDING PAVER BLOCK AT DOGAR MUHALLA U/C SHAHLADHANI  TALUKA & District Khairpur.

| S. No | Qty: | Item of Work | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

PART –  I			PAVER BLOCK

01.	Hard Murrum or fine powdery murrum (SMI No. 71P-6)

Qt. 2322.00 cft.			@Rs. 1800			P% cft.			Rs.	41796/-

0.2      Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

(A) Ratio 1:4:8

Qt. 127.17 cft.				@Rs. 11288/75		P% cft.			Rs.	14417/-

(b) Ratio 1:2:4

Qt. 64.50 cft.				@Rs. 14429/25		P% cft.			Rs.	9307/-

03.	Providing & Fixing Cement Paving Blocks Flooring Having Size Of 197x97x60(Mm) Of City /Quddra/ Cobble Shape With natural color Having Strength B/W 5000 Psi To 8500 Psi I/C Filling The Joint With Hill Sand Laying In Specified Manner / Pattern And Design Etc Complete.

(CSI No-71 P-49)

Qt. 9288.00 sft.			@Rs. 223/97			P. sft.			Rs.  2,080,233/-

Total:-			Rs:	2148139/-

# general Abstract of cost

| S. No | Name of Work | Schedule Item | Non | G. Total |
| --- | --- | --- | --- | --- |

1.  Paver Block				  Rs. 	2148139/=	Rs.	---       Rs. 	2148139/=

G.Total:        Rs. 2148139/= Rs.	---        Rs. 2148139/=