CertificateS

- Any error or omission in the description of items of works rates original schedule will be correct. Accordingly in the instruction of the Executive Engineer, Public Health Engineering Division-I Khairpur.

- No premium will be allowed on non-schedule items.

- The work to be carried out as per PWD/PHE specifications approval rates working estimates.

CONTRACTOR.				             	       EXECUTIVE ENGINEER

PUBLIC HEALTH ENGINEERING

DIVISION-I KHAIRPUR

SCHEDULE -B

NAME OF WORK :-	REPLACEMENT OF DAMAGED /OUT DATED RISING MAIN

FOR SHAHBAZ COLONY DISPOSAL WORK KHAIRPUR.

| S. No | Qty: | Item of Work | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

Part –I			P.E RISING MAIN

1.	Dismantling and removing road mettaling (CSI No. 5 P-No.14)

Qty: 4000.00 Cft			@Rs.605/-			P% Cft			Rs.	24200/-

2.	Excavation for pipe line in trenches and pits soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within one chain as directed by Engineer inharge providing fence guards, lights flages and temporary crossing for non vehicular traffic where ever required lift up to 5 ft and lead upto one chain. (PH SCHI No 1 Page 60)

Qty: 47800 cft				@Rs:3600/40			P%o c ft		Rs:	172099/-

3.	Providing Laying & fixing in trenches i/c cutting fitting and jointing out testing in all respect the high testing polyethylene P.E pipe (PHSI No-1 P- No 25)

PN-8

(P.E Rising  8” dia 225 mm)

Qty: 7400.00	rft			@Rs:860/-			P. rft			Rs:	6364000/-

4.	High Density-P.E fitting (PE-100) equivalent make

(i) Elbow 90o

225 mm

Qty. 3.00 Nos				@Rs.6788/-			Each			Rs.	20364/-

(ii) Elbow 45o

200 mm

Qty: 2.00	No			@Rs:5431/-			Each			Rs:	10862/-

Reducer;

(6” x 8”)

Qty. 1.00	No			@Rs. 1137/50			Each			Rs.	1138/-

Blank Flanges

8” dia

Qty. 1.00	No			@Rs. 812/50			Each			Rs.	813/-

(A) Stab and Plug 8” dia

Qty: 1.0	No.			@Rs:6690/-		Each				Rs. 	6690/-

5	Butt fusion joint (SMI No.H P.20).

i)8’ Dia

Qty: 7.00	Nos			@Rs: 1800/-		Each				Rs:	12600/-

6.	Refilling the excavated stuff in trenches in cement in 6” thick layers i/c watering trimming on full compaction etc complete (PHSI No.24 P.No.77).

Qty: 46620 cft				@Rs: 2760/-		P. %o cft			Rs:	128671/-

Total:		Rs. 	6741437/-

PART - II		REMAKING OF ROAD

01.	Cement concrete brick or stone ballast 1 ½” to 2”  guage Ratio 1:4:8 (CSI No.9 P.16).

Qt.1320.0 cft.			@Rs. 9416/28			P% cft.				Rs. 	124295/-

0.2     Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

Ratio 1:2:4

Qt. 1000.0 cft.			@Rs.14429/25		P% cft.				Rs.	144293/-

Total:		Rs.	268588/-

# general Abstract of cost

| S. No | Name of Work | Schedule Item | Non | G. Total |
| --- | --- | --- | --- | --- |

1.  Rising Main			  Rs. 6741437/=		Rs.	---       Rs. 	6741437/=

2. Remaking Road		Rs.  268588/=    		Rs.	---	  268588/=

G.Total:     Rs. 7010025/=		 Rs.	---        Rs. 7010025/=