## AB
DETAILED WORKING ESTIMATE FOR WATER SUPPLY SCHEME DRIB MEHAR SHAH U/C DRIB MEHAR SHAH TALUKA KINGRI , DISTRICT KHAIRPUR
GENERAL ABSTRACT OF COST
| PART-I TUBE WELL BORRING (4 Nos) |  |  |  | Rs: | 0 | /=
| PART - II P.E TRUNK MAIN 8" |  |  |  | Rs: | #REF! | /=
| PART-III PUMP HOUSE (8'X8') (4 Nos) |  |  |  | Rs: | #REF! | /=
| PART-IV | STAFF QUARTER |  |  | Rs: | #REF! | /=
|  |  |  | TOTAL = | Rs: | #REF! | /=
|  |  |  | SAY = | Rs. |  | /=
|  |  |  | Million | Rs: | 0 | /=
ASSISTANT ENGINEER
PUBLIC HEALTH ENGINEERING
SUB-DIVISION-III KHAIRPUR
EXECUTIVE ENGINEER
PUBLIC HEALTH ENGINEERING
DIVISION -I KHAIRPUR

## SCHEDULE-B
SCHEDULE-B
NAME OF WORK:- |  |  |  |  | WATER SUPPLY SCHEME DRIB MEHAR SHAH TALUKA KINGRI DISTRICT KHAIRPUR
SUB HEAD -I TUBE WELL
1 | Boring for tube well in all water bearing soil from
ground level upto 100” ft or 30.50 meter depth i/c sinking
and with drawing of cassing pipe 8" dia boring
(PHSI No; 1 (B-a) P-41)
Qty: | 100 |  | rft |  |  | .@Rs: | 160 |  |  | P.rft |  |  |  |  | Rs: | 16000 | /-
12" dia (3 Nos)
Qty: | 300 |  | rft |  |  | .@Rs: | 743 |  |  | P.rft |  |  |  |  | Rs: | 222900 | /-
2 | Supplying and installing PVC strainer “B” class of
approved design quality and make necessary sockets
etc complete for 8” dia PVC strainer. (PHSI No: 9 (E) P-43)
Qty: | 120 |  | rft |  |  | .@Rs: | 554.05 |  |  | P.rft |  |  |  |  | Rs: | 66486 | /-
3 | Supplying and installing PVC blind pipe “B” class of
approved design quality and make necessary sockets
etc complete for 8” dia PVC strainer. (PHSI No: 12 (E) P-44)
Qty: | 180 |  | rft |  |  | .@Rs: | 516.8 |  |  | P.rft |  |  |  |  | Rs: | 93024 | /-
4 | Surroundings with grated Bajri size 3/8” to 1/8” or (9 to 3” mm)
in between bore and blind pipe for the following dia meter
of strainer (PHSI No: 13 P-34)
Qty: | 300 |  | rft |  |  | .@Rs: | 105 |  |  | P.rft |  |  |  |  | Rs: | 31500 | /-
5 | Supplying M.S. bail plug of approved quality. (PHS. I. No. 8 (b) P.No.43).
Qty: | 3 |  | Nos |  |  | .@Rs: | 2607 |  |  | Each |  |  |  |  | Rs: | 7821 | /-
6 | Taking samples of water from bore hole and placing into
two seprate botles (PHSI No.7 P-43)
Qty: | 21 |  | No. |  |  | .@Rs: | 131 |  |  | P.Sample |  |  |  |  | Rs: | 2751 | /-
7 | Development of tube wells PHSI No. 8 (a) P-43) '
Qty: | 300 |  | Rft |  |  | .@Rs: | 200 |  |  | P.Hour |  |  |  |  | Rs: | 60000 | /-
8 | Taking & preserving box 2 lbs: (1 Kg) sample of per at starta from bore holes.
(PHS. I No.6 P.NO.43)
Qty: | 21 |  | No. |  |  | .@Rs: | 101 |  |  | Each |  |  |  |  | Rs: | 2121 | /-
9 | Supplying and fixing 8” dia Dead ends (SMI No, 13 P-17)
Qty: | 3 |  | No |  |  | .@Rs: | 1218.75 |  |  | P.rft |  |  |  |  | Rs: | 3656.25 | /-
10 | Providing strong substantially built wooden locked box with conartments for preserving 2 lbs (1 Kg) sample of starta (PHS I No. 5 P-43)
Qty: | 3 |  | No |  |  | .@Rs: | 3530 |  |  | Each |  |  |  |  | Rs: | 10590 | /-
[13 empty] | Total |  | Rs: | 516849.25 | /-
PART - II TRUNK MAIN
1 | Dismenteling and removing Road mentling (CSI No.51 P-13)
Qty: | 1000 |  | cft |  |  | .@Rs: | 605 |  |  | P%cft |  |  |  |  | Rs: | 6050 | /=
2 | Excavation for pipe lines in trenches and pits in soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting & disposal of surplus earth with in one chain as directed by Engineer in charge, providing fence guards, lights, flags and temporary crossing for non-vehicular traffic wherever required lift up to 5’ft. lead up to one chain (PHSI No : P. No: 60).
Qty: | 76000 |  | cft |  |  | .@Rs: | 3600 |  |  | P%0cft |  |  |  |  | Rs: | 273600 | /=
3 | Providing layiing and fixing in trenches tranch i/c fitting jointing
& testing etc complete in all respect the high density polythylene
PE pipes (HDPE 100) for water supply conformaing ISO 4427/DIN
8074/8075 BS 3580 and PSI 3051 (PHSI No.1 P-25)
(i) | P.E Pipe 6" Dia PN-8 (out Dia 160 mm)
Qty: | 11000 |  | Rft |  |  | .@Rs: | 440 |  |  | P-Rft |  |  |  |  | Rs: | 4840000 | /=
4 | High density P.E fitting (PE-100) per each equivalent make
(SMI No. P-No )
a) | Tee Un equal (Outer Dia 160 x 90 x 160)
size 6" x 6" x 3"
Qty: | 1 |  | No |  |  | .@Rs: | 4220 |  |  | Each |  |  |  |  | Rs: | 4220 | /=
b) | Tee Un equal (Outer Dia 160 x 110 x 110)
size 6" x 6" x 4"
Qty: | 1 |  | No |  |  | .@Rs: | 5715 |  |  | Each |  |  |  |  | Rs: | 5715 | /=
c) | Elbow 6" Dia (Outer Dia 160 mm)
Qty: | 3 |  | No |  |  | .@Rs: | 4349 |  |  | Each |  |  |  |  | Rs: | 13047 | /=
d) | Bend 6" Dia 45o (16 mm)
Qty: | 2 |  | No |  |  | .@Rs: | 3480 |  |  | Each |  |  |  |  | Rs: | 6960 | /=
e) | Short piece 6" Dia
Qty: | 2 |  | No |  |  | .@Rs: | 618.75 |  |  | Each |  |  |  |  | Rs: | 1237 | /=
5 | C.I Gibault joint (SMI No. 14 P-No.16)
Qty: | 10 |  | No |  |  | .@Rs: | 1062.5 |  |  | Each |  |  |  |  | Rs: | 10625 | /=
6 | Supplying and fixing CI sluce value heavy pattern test pressure 21.0 kg / sq. cm or 300 ft / sq inch) imported (PHSI No. 5 P-No. 9)
Qty: | 1 |  | No |  |  | .@Rs: | 9360 |  |  | Each |  |  |  |  | Rs: | 9360 | /=
7 | Refilex value heavy pattern test pressure 21.0 kg / sq cm
or 300 ft / inch ) importted (PHSI No. 6 P-9)
6" Dia
Qty: | 1 |  | No |  |  | .@Rs: | 4062.5 |  |  | Each |  |  |  |  | Rs: | 4062.5 | /=
8 | Fire Hydrant Tee 6" x 6" x 3" (Sch: of mat 1 No. 10 P- 16)
Qty: | 2 |  | No |  |  | .@Rs: | 1375 |  |  | Each |  |  |  |  | Rs: | 2750 | /=
9 | Air Value double acting 3" x 1" (Sch: of Mat: 1 No. 8 P-12)
Qty: | 2 |  | No |  |  | .@Rs: | 4000 |  |  | Each |  |  |  |  | Rs: | 8000 | /=
10 | Jointing CI/MS flanged pipe to special flange and inside threaded i/c
supplying rubber packing the required thickness nuts and bolts with
wisher wand other required for jointing and testing the joint of the
specified pressure etc complete (PHSI No: 1(a) P-40)
6" Dia Joints
Qty: | 2 |  | Nos |  |  | .@Rs: | 938 |  |  | Each |  |  |  |  | Rs: | 1876 | /=
11 | Providing chamber 3’x2’(915 x 615 mm) inside dimension 4 ½’ (1372 mm) deep as per approved design for sluice valve 3” to 12” Dia with 18” (457 mm) Dia inside cost iron cover and frame (wt= 1 cwt 3 qr) fixed in RCC 1:2:4 (102 mm) thick (with 5 Lbs steel per Cft ) 9”=(299 mm)thick brick masonry wall set in 1:6 cement mortar 6”(1152 mm) thick cement concrete 1:3:6 in foundation 1” (25 mm) thick cement concrete 1:2:4 flooring ½” (12.5 mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing MS foot rest at every one foot beyond 2 ½ ft depth curing excavation back filling and disposal of surplus earth etc complete (PHSI No. 1 P. 49).
Qty: | 3 |  | Nos |  |  | .@Rs: | 18820 |  |  | Each |  |  |  |  | Rs: | 56460 | /=
12 | Refilling the excavated stuff in trenches in 6” thick layers i/c watering
ramming or full etc complete (PHSI No: 24 P.No: 53)
Qty: | 69300 |  | cft |  |  | .@Rs: | 2760 |  |  | P%0 cft |  |  |  |  | Rs: | 191268 | /=
13 | But fusion joints (sch: of mat 1 No. H P-No. 20)
Qty: | 9 |  | Joints |  |  | .@Rs: | 1000 |  |  | P-Joints |  |  |  |  | Rs: | 9000 | /=
[13 empty] | Total: |  | Rs: | 5444230.5 | /=
NON-SCHEDULE ITEM
1 | Manufacturing supplying and fixing MS sheet 3/16" with welded
i/c shape level
8" Dia
Qty: | 50 |  | Rft |  |  | .@Rs: | 980.2 |  |  | P-Rft |  |  |  |  | Rs: | 49010 | /=
2 | Manufacturing and fixing MS flanged made out of MS sheet 3/16" with welded
i/c driling & holes .
Qty: | 4 |  | Nos |  |  | .@Rs: | 1002.44 |  |  | Each |  |  |  |  | Rs: | 4009.76 | /=
[13 empty] | Total: |  | Rs: | 53019.76 | /-
PART- III PUMP HOUSE
1 | Excavation in foundation of building bridges
and other structure i/c dag belling bressing refilling
around the structure with excavated earth watering
and ramming lead upto one chain and lift upto 5’ ft
(in ordinary soil) (CSI No: 18 P.No: 04)
Qty: | 140 |  | cft |  |  | .@Rs: | 3176.25 |  |  |  | P.‰ Cft. |  |  |  | Rs: | 444.675 | /-
2 | Cement concrete brick or stone ballast 1 ½” to 2” guage
Ratio 1:4:8 (CSI No: 4 P-No: 15)
Qty: | 54.21 |  | cft |  |  | .@Rs: | 9416.28 |  |  |  | P.% Cft. |  |  |  | Rs: | 5105 | /-
3 | Pacca brick work in foundation plinth in cement sand motor 1:6
(CSI No.4 P-23)
Qty: | 248.93 |  | cft |  |  | .@Rs: | 11948.36 |  |  |  | P.% Cft. |  |  |  | Rs: | 29743.0525 | /-
4 | Damp proof course of cement sand and shingle concrete 1:2:4 i/c two
coats of asphalted mixture (CSI No.28 P.No.18)
Qty: | 39.2 |  | cft |  |  | .@Rs: | 4982.18 |  |  |  | P.% Cft. |  |  |  | Rs: | 1953.0146 | /-
PART - III |  |  | PUMPING MACHINERY
NON-SCHEDULE ITEM
1 | Providing installing Transportation and testing of Golden-SAER Submersible Pump NR-151 D/15 Type 6" (2 1/2"), with 15 BHP 3 Phase Electric Motor Origin Saer-Itely for discharge 120 GPM @ 180 feet Head. With Local made accessories for 40 feet setting as under : Electric drop cabile 20 mm 2-3 core core x 70 feet water proof joint G.I Pipe 2 1/2" IIL-M Grade x 40 feet G.I Bend 2 1/2" x 1 G.I Delivery Pipe 2 1/2" III-M Grade x 5 foundation plate with T-Bolts holding clamp 2 1/2" x 1 sockets 2 1/2" x 5 M.S Bore cover plate x1 wire rope with clamps x 100 feet i/c providing,Fixing automic motor control unit (MCU) consist oil starter (MEECO Pakitan ) and providing earthing set i/c CC foundation with Nuts & Bolts and Providing Internal Electric wiring & Testing of the pumping set against 72 Hours etc complete.
| Qty: | 1 |  |  | Set |  | .@Rs: | 571000 |  |  |  | Each |  |  | Rs: | 571000 | /=
2 | Flange Adapter
| Qty: | 6 |  |  | Nos |  | .@Rs: | 675 |  |  |  | Each |  |  | Rs: | 4050 | /=
[13 empty] | Total: |  | Rs: | 575050 | /=
SCHEDULE ITEM
1 | Providing Laying & fixing in trench i/c fitting jointing & testing etc complete In all respect the high density polyethylene PE pipes (HDPE-100) for W/S confirming ISO 4427/DIN 8074/8075 B.S 3580 & PSI 3051 (G S I. No. 1 P.No.25)
| Qty: | 20 |  |  | Rft |  | .@Rs: | 178 |  |  |  | P.Rft |  |  | Rs: | 3560 | /=
2 | Providing & Installing 4” Dia: MS pipe made out of MS sheet 3/16” thick cutting folding to curvature & shape i/c welding etc complete (Base on schedule)
| Qty: | 6 |  |  | Nos |  | .@Rs: | 500.89 |  |  |  | Each |  |  | Rs: | 3005.34 | /=
3 | Supplying reflex value heavy pattern test pressure 21.0 kg or CM or 300 Sq. inch.(SMI-No. 6 P-11) '
| Qty: | 1 |  |  | Nos |  | .@Rs: | 1543.75 |  |  |  | Each |  |  | Rs: | 1543.75 | /=
4 | C.I. bend with flanged end with holes i/c turning and facing of flanged for all size (SRM I-No. 8 P-12)
| Qty: | 0.26 |  |  | Cwt |  | .@Rs: | 6096 |  |  |  | P-Cwt |  |  | Rs: | 1584.96 | /=
5 | C.I. Toppers flat bottomed or central tapered flanged edgs with holes i/c truning, facing flanged for all size (SRM I-No. 8 (b) P-11)
| Qty: | 0.16 |  |  | Cwt |  | .@Rs: | 6096 |  |  |  | P-Cwt |  |  | Rs: | 975.36 | /=
6 | Supplying sluice value heavy pattern test pressure 21.0 kg or CM or 300 Sq inch imported. (SM I-No. 2 P-11)
3" Dia
| Qty: | 1 |  |  | Nos |  | .@Rs: | 4290 |  |  |  | Each |  |  | Rs: | 4290 | /=
7 | Butt Fusion Joint (SM I-No.HP-No 18)
3" Dia
| Qty: | 6 |  |  | Nos |  | .@Rs: | 600 |  |  |  | Each |  |  | Rs: | 3600 | /=
8 | Jointing CI/MS pipe to specials flanged and inside threaded i/c supplying rubber packing the required thickness nuts and bolts with washer and other required for jointing & testing the joint to the specified pressure etc complete. (PHS. I. No. 1 P. No. 40).
3" Dia
| Qty: | 3 |  |  | Nos |  | .@Rs: | 499 |  |  |  | P.Joint |  |  | Rs: | 1497 | /=
[13 empty] | Total |  | Rs: | 20056.41 | /=
PART - DISTRIBUTION SYSTEM 6", 4" 3" dia
SCHEDULE ITEMS
1 | Dismenteling and removing Road mentling (CSI No.51 P-13)
Qty: | 4500 |  | cft |  |  | .@Rs: | 605 |  |  | P%cft |  |  |  |  | Rs: | 27225 | /=
2 | Dismantling cement concrete plain Ratio: 1:3:6. (CSI. No. 19 (b) P. No. 10)
Qty: | 4000 |  | cft |  |  | .@Rs: | 1306.8 |  |  | P%cft |  |  |  |  | Rs: | 52272 | /=
3 | Excavation for pipe lines in trenches and pits in soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting & disposal of surplus earth with in one chain as directed by Engineer in charge, providing fence guards, lights, flags and temporary crossing for non-vehicular traffic wherever required lift up to 5’ft. lead up to one chain (PHSI No : P. No: 60).
Qty: | 72250 |  | cft |  |  | .@Rs: | 3600 |  |  | P%0cft |  |  |  |  | Rs: | 260100 | /=
4 | Providing layiing and fixing in trenches tranch i/c fitting jointing
& testing etc complete in all respect the high density polythylene
PE pipes (HDPE 100) for water supply conformaing ISO 4427/DIN
8074/8075 BS 3580 and PSI 3051 (PHSI No.1 P-25)
(i) | P.E Pipe 6" Dia PN-8 (out Dia 160 mm)
Qty: | 2200 |  | Rft |  |  | .@Rs: | 440 |  |  | P-Rft |  |  |  |  | Rs: | 968000 | /=
(ii) | P.E Pipe 4" Dia PN-8 (110 mm)
Qty: | 3950 |  | Rft |  |  | .@Rs: | 224 |  |  | P-Rft |  |  |  |  | Rs: | 884800 | /=
(iii) | P.E Pipe 3" Dia PN-8 (90 mm)
Qty: | 6300 |  | Rft |  |  | .@Rs: | 148 |  |  | P-Rft |  |  |  |  | Rs: | 932400 | /=
5 | High density P.E fitting (PE-100) per each equivalent make
(i) | PN-10 Elbow 90o (6" Dia)( 160 mm)
Qty: | 1 |  | No |  |  | .@Rs: | 4349 |  |  | Each |  |  |  |  | Rs: | 4349 | /=
(ii) | PN-10 Elbow 90o (3" Dia)( 90 mm)
Qty: | 3 |  | Nos |  |  | .@Rs: | 1397 |  |  | Each |  |  |  |  | Rs: | 4191 | /=
(iii) | PN-10 Elbow 90o (4" Dia)( 110 mm)
Qty: | 2 |  | Nos |  |  | .@Rs: | 2069 |  |  | Each |  |  |  |  | Rs: | 4138 | /=
(iv) | PN-10 Elbow 45o (3" Dia)( 90 mm)
Qty: | 2 |  | Nos |  |  | .@Rs: | 1118 |  |  | Each |  |  |  |  | Rs: | 2236 | /=
(v) | PN-10 Elbow 45o (4" Dia)( 110 mm)
Qty: | 1 |  | Nos |  |  | .@Rs: | 1655 |  |  | Each |  |  |  |  | Rs: | 1655 | /=
(i) | Tee Equal PN-10 (90 x 90 x 90 mm)
Qty: | 5 |  | Nos |  |  | .@Rs: | 1848 |  |  | Each |  |  |  |  | Rs: | 9240 | /=
(ii) | Tee Equal PN-10 (110 x 110 x 110 mm)
Qty: | 1 |  | Nos |  |  | .@Rs: | 2743 |  |  | Each |  |  |  |  | Rs: | 2743 | /=
(v) | Tee Equal PN-10 (160 x 160 x 160 mm)
Qty: | 1 |  | Nos |  |  | .@Rs: | 5715 |  |  | Each |  |  |  |  | Rs: | 5715 | /=
4" Dia (S.I No. GP-20)
Qty: | 2 |  | Nos |  |  | .@Rs: | 2020 |  |  | Each |  |  |  |  | Rs: | 4040 | /=
6 | Butt Fusion
6" Dia
Qty: | 9 |  | Nos |  |  | .@Rs: | 1000 |  |  | Each |  |  |  |  | Rs: | 9000 | /=
4" Dia
Qty: | 10 |  | Nos |  |  | .@Rs: | 1000 |  |  | Each |  |  |  |  | Rs: | 10000 | /=
3" Dia
Qty: | 20 |  | Nos |  |  | .@Rs: | 600 |  |  | Each |  |  |  |  | Rs: | 12000 | /=
7 | Refilling the excavated stuff in trenches in 6” thick layers i/c watering
ramming or full etc complete (PHSI No: 24 P.No: 53)
Qty: | 72675 |  | cft |  |  | .@Rs: | 2760 |  |  | P%cft |  |  |  |  | Rs: | 200583 | /=
[12 empty] | Total |  | 0 | Rs: | 3394687 | /=
NON-SCHEDULE ITEM
(iii) | Tee un Equal PN-10 (110 x 90 x 110 mm)
Qty: | 1 |  | 0 |  |  | .@Rs: | 4870 |  |  | 0 |  |  |  |  | Rs: | 4870 | /=
(iv) | Tee un Equal PN-10 (160 x 90 x 160 mm)
Qty: | 2 |  | 0 |  |  | .@Rs: | 8690 |  |  | 0 |  |  |  |  | Rs: | 17380 | /=
(vi) | Tee un Equal PN-10 (160 x 110 x 160 mm)
Qty: | 1 |  | No |  |  | .@Rs: | 9100 |  |  | Each |  |  |  |  | Rs: | 9100 | /=
(i) | Reducer 4" x 3" (110 mm x 90 mm) ( M.R )
Qty: | 1 |  | No |  |  | .@Rs: | 1810 |  |  | Each |  |  |  |  | Rs: | 1810 | /=
(ii) | Reducer 6" x 4" (160 mm x 110 mm) ( M.R )
Qty: | 1 |  | No |  |  | .@Rs: | 3270 |  |  | Each |  |  |  |  | Rs: | 3270 | /=
(iv) | Reducer 6" x 3" (160 mm x 90 mm) ( M.R )
Qty: | 1 |  | No |  |  | .@Rs: | 3250 |  |  | Each |  |  |  |  | Rs: | 3250 | /=
End cup 3" Dia 9 mm
Qty: | 5 |  | No |  |  | .@Rs: | 1650 |  |  | Each |  |  |  |  | Rs: | 8250 | /=
[13 empty] | Total: |  | Rs: | 47930 | /=
PART - VII |  |  |  | REMAKING OF C.C ROAD
1 | Cement concrete brick or stone ballast 1-1/2" 2" gague
(CSI.No:4 P.No: 17)
Ratio: 1:4:8
Qty: | 3960 |  | cft |  |  | .@Rs: | 9416.28 |  |  | P%cft |  |  |  |  | Rs: | 372884.688 | /=
2 | Cement concrete plain i/c placing comacting finishing and curring complete
i/c screening and washing of stone aggregate (CSI.No:5 P.No: 17)
Ratio: 1:2:4
Qty: | 3000 |  | cft |  |  | .@Rs: | 14429.25 |  |  | P%cft |  |  |  |  | Rs: | 432877.5 | /=
[13 empty] | Total: |  | Rs: | 805763 | /=
ABSTRACT OF COST
| S. No. | Item of Work |  |  |  |  | Schedule Items |  | Non-Schedule |  |  | Total
| 1 | Tube Well |  |  |  |  | 516849.25 |  | *** |  |  | 516849.25
| 2 | Trunck Main |  |  |  |  | 5444230.5 |  | 53019.76 |  |  | 5497251
| 3 | Pump House 3 Nos |  |  |  |  | 494274 |  | *** |  |  | 494274
| 4 | Chowkidar Hut |  |  |  |  | 270055 |  | *** |  |  | 270055
| 5 | Pumping Machinery 3 Nos |  |  |  |  | 60168 |  | 1725150 |  |  | 1785318
| 6 | Distribution System |  |  |  |  | 3394687 |  | 47930 |  |  | 3442617
| 7 | Remaking of Road |  |  |  |  | 805763 |  | *** |  |  | 805763
|  | TOTAL |  |  |  |  | 10491753 |  | 1826100 |  |  | 12317853
1 | Any error ommission in the description of itmes of & rates original schedule will be
correct accordingly in the instruciton of the Executive Engineer PHE Division-I Khairpur
2 | No Premium will be allowed on Non Schedule items.
3 | The Work will be carred out as per PWD / PHE specificaiton approval rates working
| CONTRACTOR | [5 empty] | EXECUTIVE ENGINEER
PUBLIC HEALTH ENGINEERING
DIVISION-I, KHAIRPUR