CertificateS

- Any error or omission in the description of items of works rates original schedule will be correct. Accordingly in the instruction of the Executive Engineer, Public Health Engineering Division-I Khairpur.

- No premium will be allowed on non-schedule items.

- The work to be carried out as per PWD/PHE specifications approval rates working estimates.

CONTRACTOR.				             	       EXECUTIVE ENGINEER

PUBLIC HEALTH ENGINEERING

DIVISION-I KHAIRPUR

SCHEDULE -B

NAME OF WORK :-	CONSTRUCTION OF  DRAINage SCHEME FOR VILLAGE MUNEER ABAD U/C BUGRO  TALUKA & District Khairpur.

PART –  I			INTERNAL AND EXTERNAL DRAINS

1.   Excavation in foundation of building bridges and other structure i/c dag belling refilling around the

structure with excavated earth watering ramming lead up to one chain and lift up to 5 ft. (PH Sch.

No.18 P.NO.4)

Qt 10757.40cft.	@Rs.3176/25			P%0 cft.		Rs. 	34168/-

2.   Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing

stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

- Ratio 1:4:8

Qt. 1916.40 cft.	@Rs. 11288/75		P% cft.			Rs. 	216338/-

3.   Pacca Brick work in foundation and plinth in cement sand Ratio (1;6)  (CSI No.4 P.NO.20)

Qt. 6120.00cft.	@Rs. 11948/36		P% cft.			Rs. 	731240/-

4.   	Construction of standard of open drains cunette block of cement concrete 1:2:4 in situ to design

profile i/c cost of mould as per drawing i/c applying floating coat of cement 1/32” thick to the

exposed face finished smooth curing etc complete as per detail drawing  (PHSI No.D P.NO.58)

For type-I

Qt. 1680.00 rft.		Rs. 94/-			P rft.		Rs. 	157920/-

For type-II

Qt. 1200 rft.			@Rs. 174/00			P rft.		Rs. 	208800/-

5.   	Cement plaster 1:4 20’ height ½” thick (CSI No.11 P.NO.51)

Qt. 8635.20Sft.		@Rs. 2283/93		P% Sft.		Rs. 	197222/-

6.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre 	cost laid in position complete in all respect 1:2:4  (CSI No.5 P.NO.16)

Qt. 246.80cft.		Rs 337/-			P cft.			Rs. 	83173/-

7. 	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in

position making K=joints and fastering i/c cost of binding wire also i/c removal of rust

from bars (CSI No.7 (ii) P.NO.16).

Qty:8.81 cwt		@Rs. 5001/70			P cwt.			Rs. 	44065/-

Total:		Rs.	1672925/-

PART - Ii		Paver Block

0.1      Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

(A) Ratio 1:4:8

Qt. 100.98 cft.		@Rs. 11288/75			P% cft.			Rs.	11399/-

(b) Ratio 1:2:4

Qt. 51 cft.		@Rs. 11288/75			P% cft.			Rs.	5757/-

02.	Hard Murrum or fine powdery murrum (SMI No. 71P-6)

Qt. 816 cft.		@Rs. 1800/-				P% cft.			Rs.	14688/-

03.	Providing & Fixing Cement Paving Blocks Flooring Having Size Of 197x97x60(Mm) Of City /Quddra/ Cobble Shape With natural color Having Strength B/W 5000 Psi To 8500 Psi I/C Filling The Joint With Hill Sand Laying In Specified Manner / Pattern And Design Etc Complete.

(CSI No-71 P-49)

Qt. 3264.00 sft.	@Rs. 199/77				P. sft.			Rs.	652049/-

Total:-			Rs:	683893/-

# general Abstract of cost

| S. No | Name of Work | Schedule Item | Non | G. Total |
| --- | --- | --- | --- | --- |

1.  Internal & External Drains	  Rs. 	1672925/=	Rs.	---       Rs. 	1672925/=

2. Paver  Block				  Rs. 	683893/=	 Rs.	---       Rs. 	683893/=

G.Total:        Rs. 2356818/= Rs.	---        Rs. 2356818/=