SCHEDULE -B

NAME OF WORK :-	REPLACEMENT OF DAMAGED /OUT DATED RISING MAIN

FOR SUPERIOR SCIENCE COLLEGE  DISPOSAL WORK KHAIRPUR.

| S. No | Qty: | Item of Work | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

Part –I			P.E RISING MAIN

1.	Dismantling and removing road mettaling (CSI No. 5 P-No.14)

Qty: 1500.00 Cft		@Rs.605/-		P% Cft			Rs.	9075/-

2.	Excavation for pipe line in trenches and pits soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within one chain as directed by Engineer inharge providing fence guards, lights flages and temporary crossing for non vehicular traffic where ever required lift up to 5 ft and lead upto one chain. (PH SCHI No 1 Page 60)

Qty: 7250.00 cft		@Rs:3600/00		P%o c ft		Rs:	26100/-

3.	Providing Laying & fixing in trenches i/c cutting fitting and jointing out testing in all respect the high testing polyethylene P.E pipe (PHSI No-1 P- No 25)

PN-8

(P.E Rising  12” dia 315 mm)

Qty: 1000.00	rft		@Rs:1635/-		P. rft			Rs:	1635000/-

4.	High Density-P.E fitting (PE-100) equivalent make

(i) Elbow 90o

315 mm

Qty. 2.00 Nos			@Rs.13441/-		Each			Rs.	26882/-

(ii) Elbow 45o

335 mm

Qty: 1.0	No		@Rs:10753/-		Each			Rs:	10753/-

(REDUCER)

(8 x 12) dia (160 x 315 mm)

(300mm TO 200 mm)

Qty: 1.0	No		@Rs:3752/50		Each			Rs:	3753/-

Blank Flanges

12” dia

Qty:  1.0 	No.		@Rs:2750/-		Each			Rs:	2750/-

(A) Stab end Place

12” dia

Qty: 1.0	No.		@Rs:13065/-		Each			Rs. 	13065/-

5	Butt fusion joint (SMI No.H P.20).

(i)12’ Dia

Qty: 6.00	Nos		@Rs: 2200/-		Each			Rs:	13200/-

6.	Refilling the excavated stuff in trenches in cement in 6” thick layers i/c watering trimming on full compaction etc complete (PHSI No.24 P.No.77).

Qty: 7875.00 cft		@Rs: 2760/-		P. %o cft		Rs:	21735/-

Total:		Rs. 	1762313/-

PART - II		REMAKING OF ROAD

01.	Cement concrete brick or stone ballast 1 ½” to 2”  guage Ratio 1:4:8 (CSI No.9 P.16).

Qt. 495.0 cft.		@Rs. 9416/28			P% cft.			Rs. 	46611/-

0.2     Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

Ratio 1:2:4

Qt. 375.0 cft.		@Rs.14429/25		P% cft.			Rs.	54485/-

Total:	Rs.	101096/-

# general Abstract of cost

| S. No | Name of Work | Schedule Item | Non | G. Total |
| --- | --- | --- | --- | --- |

1.  Rising Main			  Rs. 1762313/=		Rs.	---       Rs. 1762313/=

2. Remaking Road		Rs.  101096/=    		Rs.	---	   Rs. 101096/=

G.Total:     Rs. 1863409/= 		Rs.	---        Rs. 1863409/=

CertificateS

- Any error or omission in the description of items of works rates original schedule will be correct. Accordingly in the instruction of the Executive Engineer, Public Health Engineering Division-I Khairpur.

- No premium will be allowed on non-schedule items.

- The work to be carried out as per PWD/PHE specifications approval rates working estimates.

CONTRACTOR.				             	       EXECUTIVE ENGINEER

PUBLIC HEALTH ENGINEERING

DIVISION-I KHAIRPUR