# general Abstract of cost

| S. No | Name of Work | Schedule Item | Non | G. Total |
| --- | --- | --- | --- | --- |

1.  Internal & External Drains	  Rs. 	715290/=	Rs.	---       Rs. 	715290/=

2. C.C Block				  Rs. 	301757/=	 Rs.	---       Rs. 	301757/=

3. Paver Block				  Rs. 	466830/=	 Rs.	---       Rs. 	466830/=

4. Diesel Engine 			  Rs. 	      ---	 Rs.	205000/- Rs. 205000/=

5. Inter Connection			  Rs. 	30795/=	 Rs.	---       Rs. 	30795/=

6. P.E Rising Main 			  Rs. 	58833/=	 Rs.	---       Rs. 	58833/=

7. RCC Screening Chamber 	  Rs. 	160209/=	 Rs.	---       Rs. 	160209/=

G.Total:      Rs. 1733714/= Rs.205000/- Rs. 1938714/=

CertificateS

- Any error or omission in the description of items of works rates original schedule will be correct. Accordingly in the instruction of the Executive Engineer, Public Health Engineering Division-I Khairpur.

- No premium will be allowed on non-schedule items.

- The work to be carried out as per PWD/PHE specifications approval rates working estimates.

CONTRACTOR.				             	       EXECUTIVE ENGINEER

PUBLIC HEALTH ENGINEERING

DIVISION-I KHAIRPUR

SCHEDULE -B

NAME OF WORK :-	CONSTRUCTION OF DRAINAGE SYSTEM AT VILLAGE MANGI MUHALLA VILLAGE LAL BUX MANGI   TALUKA & District Khairpur.

| S. No | Qty: | Item of Work | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

PART –  I			Internal & External Drains

1.   Excavation in foundation of building bridges and other structure i/c dag belling refilling around the

structure with excavated earth watering ramming lead up to one chain and lift up to 5 ft. (PH Sch.

No.18 P.NO.4)  In Ordinary Soil.

:

Qt 5016.75cft.		@Rs.3176/25			P%0 cft.		Rs. 	15934/-

2.   Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing

stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

- Ratio 1:4:8

Qt. 797.25 cft.		@Rs. 11288/75		P% cft.			Rs. 	90000/-

3.   Pacca Brick work in foundation and plinth in cement sand Ratio (1;6)  (CSI No.4 P.NO.20)

Qt. 2250.00cft.	@Rs. 11948/36		P% cft.			Rs. 	268838/-

4.   	Construction of standard of open drains cunette block of cement concrete 1:2:4 in situ to design

profile i/c cost of mould as per drawing i/c applying floating coat of cement 1/32” thick to the

exposed face finished smooth curing etc complete as per detail drawing  (PHSI No.D P.NO.58)

Type-I

Qt. 450.00 rft.		Rs. 94/-			P rft.			Rs. 	42300/-

Type-II

Qt. 700.00 rft.		@Rs. 174/00			P rft.			Rs. 	121800/-

5.   	Cement plaster 1:4 20’ height ½” thick (CSI No.11 P.NO.51)

Qt. 3153.00Sft.	@Rs. 2283/93			P% Sft.		Rs. 	72012/-

6.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre 	cost laid in position complete in all respect 1:2:4  (CSI No.5 P.NO.16)

Qt. 202.50cft.		Rs 337/-			P cft.			Rs. 	68243/-

7. 	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in

position making K=joints and fastering i/c cost of binding wire also i/c removal of rust

from bars (CSI No.7 (ii) P.NO.16).

Qt. 7.23 cwt		@Rs. 5001/70			P cwt.			Rs. 	36162/-

Total:	Rs:	715289/-

PART - II		C.C BLOCK

01.	Barrow pit excavation undressed led up to 100 rft in ordinary soil (CSI no.3 p.1)..

Qt. 3375.00 cft.	@Rs.2117/50			P%o cft.		Rs. 	7147/-

02.	Earth work compaction (soft ordinary hard soil Laying earth in 6” thick layer, leveling and dressing complete. (CSI.NO.13 (b) P/03)

Qty: 3375.00 Cft 	@Rs:-354/-			P%0 Cft	 	Rs. 	1195/-

03.	Extra for every 50 ft: additional lead or part therefore earth work soft or ordinary hard very hard.(CSI No: 8 P.No:3) Total land 2600 (-) 100 =  50 leads  @Rs. 100/78 Per Lead Rs. 5039/=

Qty: 3375.00 cft	@Rs: 5039/-		P%0 cfT			Rs. 	17007/-

04.	Cement concrete brick or stone ballast 1 ½” to 2”  guage Ratio 1:4:8 (CSI No.9 P.16).

Ratio: 1:4:8

Qt. 1320.00 cft.	@Rs. 9416/28			P% cft.			Rs. 	124295/-

0.4      Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

Ratio 1:2:4

Qt. 1000.00 cft.	@Rs.14429/25		P% cft.			Rs.	144293/-

06	Erection and removal of centering for RCC and Plain CC work of partial wood, (2 nd Class)

(CSI No.19 (b) P.No.17)

Qty. 250.00sft.	@Rs. 3127/41			P% sft.			Rs. 	7819/-

Total:-		Rs:	301757/-

PART - III		Paver BLOCK

01        Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing stone aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

(A) Ratio 1:4:8

Qty. 75.00 cft.			@Rs. 11288/75		P% cft.			Rs.	8467/-

(b) Ratio 1:2:4

Qty. 66.00 cft.			@Rs. 14429/25		P% cft.			Rs.	9523/-

02.	Hard Murrum or fine powdery murrum (SMI No. 71P-6)

Qty. 500.00 cft.		@Rs. 1800/-			P%o cft.			Rs.	900/-

03.	Providing & Fixing Cement Paving Blocks Flooring Having Size Of 197x97x60(Mm) Of City /Quddra/ Cobble Shape With natural color Having Strength B/W 5000 Psi To 8500 Psi I/C Filling The Joint With Hill Sand Laying In Specified Manner / Pattern And Design Etc Complete.

(CSI No-71 P-49)

Qty. 2000.00 sft.		@Rs. 223//97			P. sft.			Rs.	447940/-

Total:-			Rs:	466830/-

NON-SCHEDULE

PART IV			DIESEL OIL ENGINE

2	Providing and installing Diesel oil Engine 16 BHP Golden made Model-1100B 2200RPM coupled with golden non clogging Horizontal semi open impeller pump type GSWG-103 size 4”x3” capable discharge 150 GPM against the head of 47 ft i/c frame pully for engine and pump with belt and installing of pump set i/c cement concrete foundation with MS nuts Bolts i/c testing the pumping machinery sets against required head for 48 hours etc complete. (R.A)

Qty 1 Set			@Rs. 205000/-		P. set			Rs.205000/-

Total:	Rs. 205000/-

Prt-V	Inter Connection

1.	P.E Pipe HDPE-100  PN-10

Qty: 12.0	rft		@Rs: 178/-		P. rft			Rs:	2136/-

b)	For Delivery 4” dia

Qty. 19.0 	rft		@Rs. 268/-		P rft.			Rs. 	5092/-

2	Supplying reflex valve heavy pattern test pressure 21.0 kg or CM or 300 lbs sq inch. (Based on Schedule item)

3” Dia  for Suction

Qty. 1 Nos.			@Rs. 1543/75		Each			Rs. 	1544/

4” Dia  for Delivery

Qty. 1 Nos.			@Rs. 1706/25		Each			Rs. 	1706/-

3.	Supplying CI sluice valve heavy pattern test pressure 21.0 kg sq cm 300 lbs sq inch. (CSMI No 6 P No-10)

4” Dia

Qty. 01 Nos.			@Rs. 5460/-		Each			Rs.	5460/-

4.	CI Bend with flanged end with holes i/c trenches and facing of flanged for all size (SMI No.8 P.11).

Qty: 0.50	cwt		@Rs: 6096/-		P. cwt			Rs:	3048/-

5	CI tapers flat bottomed central flanged end with tapered holes i/c turning and facing of flanged of size (CMI No – 9 Page 11)

CI Bend 90o

Qty: 0.165	cwt		@Rs: 6096/-		P. cwt			Rs:	1006/-

6.	Supplying CI Teel flanged end with holes i/c trimming facing of flanged for all size (SCI No 11 Page 11)

Qty: 0.267	cwt		@Rs: 6096/-		P. cwt			Rs:	1628/-

7.	CI foot valve heavy pattern with type (SMOI No 4 Page10)

3” Dia

Qty: 1.0 Nos.			@Rs: 731/25		Each			Rs:	731/-

8	But fusion joint(SMI I H P No. 19)

3” dia

Qty: 4		Nos.		@Rs: 600/-		each 			Rs:	2400/-

b)

Qty: 4.00	Nos.		@Rs: 1000/-		each 			Rs:	4000/-

9.	Jointing CI/MS flanged pipe to special flanged and inside threaded i/c supplying rubber packing the required thickness nuts and bolts with wisher and other required for jointing and testing the joint to the specified pressure etc complete (PHSI No.1 P.35).

3” dia

Qty: 8.00	Joints		@Rs: 499/		P. Joint		Rs:	3992/-

4” Dia for Delivery

Qty: 4.00	Joints		@Rs: 513/		P. Joint		Rs:	2052/-

Total: -	Rs.    30795/-

Part –VI		P.E PIPE Rising main 4” DIa

1.	Dismantling and removing road mettaling (CSI No. 5 P-No.14)

4” Dia

Qty:400.00 Cft		@Rs.605/-		P% Cft			Rs.	2420/-

2.	Excavation for pipe line in trenches and pits sand soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within one chain as directed by Engineer inharge providing fence guards, lights flages and temporary crossing for non vehicular traffic where ever required lift up to 5 ft and lead upto one chain. (PH SCHI No 1 Page 60)

Qty: 800.00 cft		@Rs:3750/-		P%o c ft		Rs:	3000/-

3.	Providing Laying & fixing in trenches i/c cutting fitting and jointing out testing in all respect the high testing polyethylene P.E pipe (PHSI No-1 P- No 25)

(110 mm)

4” Dia

Qty: 200.00	rft		@Rs:224/-		P. rft			Rs:	44800/-

4.	CI Gibault joint 4” Dia (PHSMI  NO 15 (14-b) P No 17 )

Qty: 2.00	Nos		@Rs:731/25		Each			Rs:	1463/-

5.	CI Short piece 4” Dia   (PHSMI  NO 15 (14-b) P No 16 )

Qty: 2.00	Nos		@Rs:487/50		Each			Rs:	975/-

6.	Supplying fixing MS flandge made out of MS sheet 3/8” cutting drilling holes.

Qty: 2.00	Nos		@Rs:596/75		Each			Rs:	1194/-

7.	Butt fusion joint (SMI No.H P.20).

4” Dia

Qty: 2.00	Joints		@Rs: 1000/-		Each			Rs:	2000/-

8.	Refilling the excavated stuff in trenches in cement in 6” thick layers i/c watering trimming on full compaction etc complete (PHSI No.24 P.No.77).

Qty: 1080.00 cft		@Rs: 2760/-		P. %o cft		Rs:	2981/-

Total: -	Rs.    58833/-

part – VII 		rcc screening chamber

1.	Excavation in foundation building bridges and other structure i/c dag  bailing dressing refilling around the structure with excavated earth watering and ramming lead up to once chain and lift up to 5’ ft. (in ordinary soil) (CSI No.18 P.No.5)

Qty: 649.68	cft		@Rs: 3176/25		P%0 cft		Rs:	2064/-

2.	Extra for earth work (CSI No.15 P-3)

Qty: 157.50	cft		@Rs: 1053/75		P% cft			Rs:	116/-

3.	Cement concrete brick or stone ballast ½ to 2 gauges Ratio 1:4:8 (CSI No.4 P.No.15).

Qty: 59.06	cft		@Rs: 9416/28		P% cft			Rs:	5561/-

4.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (PHSI No.6 P.NO.17)

Qty: 253.32	cft		@Rs: 337/-		P. cft			Rs:	85369

5.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.8 (a) P.NO.17)

Qty: 10.16	cwt		@Rs: 5001/70		P. cwt			Rs:	50817/-

6.	Providing cement joints in concrete work of 9” (225mm) wise corrugated PVC water stop (with bulbs) i/c soldering cost of materials and labour (PHSI NO – 2 Page 43)

Qty: 29.0	rft		@Rs: 86/		P. rft			Rs:	2494/-

7.	Small iron work as guest in best plate knees bends stops etc i/c cutting drilling riveting handling assembling and fixing excluded erection and in position covers  (CSI No 1.P.No. 91)

Qty: 1.72	cwt		@Rs:6420/61		P. cwt			Rs:	11043/-

8.	Erection and fitting in position of iron trusses staging of water tank etc complete (CSI no - 3 Page 96)

Qty: 1.72	cwt		@Rs: 271/04		P. cwt			Rs:	  466/-

9. 	Paca bricks work in foundation plinth in cement sand mortar(CSI No.4 P-21) .

Qty: 10.98 Cwt		@Rs.11948/36/-		P-Cwt		Rs.	1312/-

10.	Cement plaster (1:4) ½ thick up to 20’ height ( CSI No    P No.       )

Qty: 40.15 Cwt		@Rs.2283/93		P%sft			Rs.	917/-

Total	Rs:	160209/-