3. 	Pacca brick work in foundation plinth in cement sand mortar 1:6 (CSI No – 4 Page  23 )

Qty: 248.93	cft		@Rs: 11948/36	P% cft			Rs:	29743/-

4.	Damp proof course of cement sand and shingle concrete 1:2:4 i/c two coats of asphalted mixture (CSI No.28 P.No.18)

3” Thick

Qty: 39.20	cft		@Rs: 4982/18		P% cft			Rs:	1953/-

5.	Rough Cost srtucco cement plaster ¾” thick in proportional 1:1 ½ :1 ½ cement hill sand bajri in pattern (CSI No 32 P-54)

Qty: 158.08	cft		@Rs: 2306/10		P% cft			Rs:	3645/-

6	Pacca brick work in ground floor i/c striking of jointing cement sand mortar 1:6 (CSI No: 5

P-24)

Qty: 218.63	cft		@Rs: 12674/36		P% cft		Rs:	27710/-

7.	Fabrication of heavy steel work with angles tees flat iron and sheet iron making trusses girders tanks etc i/c cutting revering handing assembling and fixing but eluding eriction in position (CSI No.2 (a) P.NO.90)

Qty: 4.40	cwt		@Rs: 4928/49		P. cwt			Rs:	21685/-

8.	Errection & fitting  in position iron trusses fixing in position (C,S,I No.6 P-No.91)

Qty: 4.40	cwt		@Rs: 271/04		P. cwt			Rs:	1193/-

9.	Supplying fixing in position iron steel gril of size ¾” x ¼” etc complete (CSI NO 26 – Page 92)

Qty: 24.00	sft		@Rs: 180/50		P. sft			Rs:	4332/-

10.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (PHSI No.6 P.NO.17)

Qty: 4.88	cft		@Rs: 337/-		P. cft			Rs:	1645/-

11.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.7 (a) P.NO.19

Qty: 0.19 	cwt		@Rs: 5001/70		P. cwt			Rs:	950/-

12	Providing and laying 3” thick topping cement concrete finishing diving to panels                       (SCI  No. 16 P No. 41)

Qty: 64.00	sft		@Rs: 4411/82		P% sft			Rs:	  2824/-

13	Providing & Fixing MS Girder Cross (SMI No160 P-6)

Qty: 2.04 	cwt		@Rs: 3850/		P. cwt			Rs:	7854/-

14	Providing & Fixing MS Tee Iron (SMI No140 P-6)

Qty: 1.30 	cwt		@Rs: 3575/		P. cwt			Rs:	4648/-

15	2nd class tills roofing consisting of 4” earth & 1: thick mud plaster with Gobri leping over ½” thick cement plaster 1:6 with 34 lbs of hot bitumen coating sand blinded providing over one layer of 12”x6”x2” thick sand washed layer of 1:6 cement pointing under side of tiles complete i/c curing etc. (CSI No. 2 P-No. 37)

Qty: 90.25	sft		@Rs: 7607/25		P%sft			Rs:	  6866/-

16	Khaprail of CC 12”x8”x1” of approved designed/shape lead flat in 1:2 grey cement mortor over of bind of ¾” thick cement motor 1:2(CSI No-39 P-37)

Qty: 90.25	sft		@Rs: 8977/90		P% sft			Rs:	  8103/-

17.	Cement Plaster (1:6) up to 12’ ft: Height ½”.thick (CSI No 11.P.No. 51)

Qty: 596.00	sft		@Rs: 2206/60		P% sft			Rs:	13151/-

18.	Cement Plaster (1:4) up to 12 ft: Height 3/8”thick. (CSI No 11.P.No. 51)

Qty: 596.00	sft		@Rs: 2197/52		P% sft			Rs:	13097/-

19.	White washing (two Coats) (CSI No – 26 Page 53)

Qty: 596	sft		@Rs: 416/63		P% sft			Rs:	2483/-

18.	Color Washing Two Coats (CSI No – 25 (a) Page 53)

Qty: 596.0 	sft		@Rs: 859/90		P% sft			Rs:	5125/-

19.	Painting new surface painting doors & windows any type i/c edge (CSI No – 5 page 76)

3 Coats

Qty: 104.00	sft		@Rs: 2116/41		P% sft			Rs:	2201/-

Total	Rs:	164,758/-