(SCHEDULE B )

(PART “A” ROAD WORK)

NAME OF SCHEM:- RECONDG: OF ROAD FROM

ABDUL KAREEM KHARAL TO MOHAMMED HASSAN

QURESHI MILE 0/0-0/5

| QTY. | ITEM OF WORK | QTY | RATE. | UNIT | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

1/-Laying Brick on end edging i/cs: supply of 9’’x4-1/2’’x3’’Ist: Class

Burnt bricks excavation for having edging with small size parallel

to the road (Rate i/cs: lead up to side of Work)

6800          Rft               @Rs: 2854/99                P.%   Rft:                Rs.194139/=

2/-Preparing Base course i/cs: supplying & spreading stone

metal of approved quality properly grade to maximum size of

1-1/2 in required thickness to proper camber & grade i/cs:

supplying & spreading 15 cft: screening & Non plastic quarry

fines filling depression with stone metal after initial rolling

i/cs: watering & compacting the same so as to achieve 100%

density as per modified AASHO Specification.(Rate i/cs: all cost

of materials T&P& carriage up to site of work.

20400         Cft:              @Rs: 8135/72                P.% cft:                  Rs.1659686/=

5/-Providing Surface Dressing Ist: coat on new or existing surface

with 30 lbs: of bitumen & 4.00 cft: Crush bajri of required siz i/cs:

cleaning the road surface rolling etc: complete.(Rate i/cs: all

cost of materials T&P& carriage up to site work).

40800           Sft:             @Rs:1630/33                 P.% Sft:                  Rs.665174/=

6/-Providing I’’ thick (consolidate e) Premixed Carpet in proper

camber & grade i/cs: supplying of 10 Cft: Crush bajri 4 cft:

Hill Sand (of approved quality and grade) with 67 lbs: bitumen

of 80/100 penetration i/cs: fixing in mechanical mixer in required

proportion i/cs:heating materials and cleaning the road surface

(Hill sand 2cft:for mixing and 2cft: for dusting)

40800             Sft:           @Rs:4592/13                 P.% Sft:                  Rs.1873589/=

7/Earth work embankment from barrow pits including laying in 6” layers

Breaking remming dressing complete lead up to 100’ ft up to 5 ft in ord: soil.

189800           Cft:         @Rs: 7233/57                P.% Cft:                  Rs.1372931/=

____________

Total Rs:5765519/=

8)       Decreased Cost of Bitumen

17.66      Tons          @Rs:17595/=        P.ton         (-)                       Rs: 310727/=

______________

G.Total  Rs:5454792/=

Note:- Subject to any changes/

Variation quantities/rates in

the technical Sanction

(CONTRACTOR)                                        EXECUTIVE ENGINEER

HIGHWAYS DIVISION

KHAIRPUR

(SCHEDULE B )

PART”B”MASSONARY STRUCTURE

NAME OF SCHEME: - 3-SPANCULVERT ALONG  ROAD FROM

ABDUL KARIM KHARAL TO MOHAMMED HASSAN

QURESHI ROAD  MILE 0/0-0/5

| QTY | ITEM OF WORK | RATE. | UNIT | AMOUNT |
| --- | --- | --- | --- | --- |

1. Excavation in foundation of building bridges and other structure including

Dig belling dressing refilling around structure with excavated earth watering and

Ramming lead up to one chain lift up to 5.o’ in ordinary soil.

1250      Cft:                                     @Rs: 1306/80         P.%0 Cft:                              Rs. 3970/=

2. Cement concrete brick in stone ballast 1-1/2 to 1:4:8. (Hill / sand to be used)

245        Cft:                                    @Rs:  3584/10         P.%cft:                                  Rs.  23070/=

3. Pacca brick work in foundation in plinth i1:4.

357            Cft:                                 @Rs: 4150/30         P.%cft:                                 Rs.  44630/=

4.Cement Concrete plain i/c plashing compacting finishing and curing complete (i/c

screening and washing of stone aggregate without shuttering Ratio (1:2:4).

21              Cft:                                  @Rs: 5941/10         P.%cft:                               Rs.  3030/=

5. Fabrication of mild steel reinforcement for cement concrete including cutting bending,

laying in position making joints and fastenings including cost of binding wire also

includes removal of rust from bars.

6.83             Cwt:                               @Rs: 4820/20          P.% Cwt:                                 Rs.  32922/=

6. R.C.C  Work including all labor and material   except the Cost of steel reinforcement

and its labor for bending and binding which will paid Separately. This rate also includes

all kinds of forms mould lifting shuttering curing rendering and finishing the exposed

surface (including screening and washing of shingle)(a)RCC works in roof slab, beams

columns rafts lintels and other structural member laid  in situ recast laid in position

complete in all respect ratio (1:2:4)  90 lbs: cement 2cft:sand 4cft:shingle 4/8’’guage.

157             Cft:                                 @Rs: 337/=           P.Cft:                                   Rs.   52909/=

7. Cement plaster (1:3) up to 20’hieght ½ “ thick.

198             Sft:                                 @Rs: 604/18        P.% Sft:                                 Rs:   4642/=

______________

Total Rs:  165173/=

Note:- Subject to any changes/

Variation quantities/rates in

the technical Sanction

(CONTRACTOR)                                                              EXECUTIVE ENGINEER

HIGHWAYS DIVISION

KHAIRPUR

(SCHEDULE B)

PART”C”SCHEME BOARD

NAME OF SCHEM:- RECONDG: OF ROAD FROM

ABDUL KAREEM KHARAL TO MOHAMMED HASSAN

QURESHI MILE 0/0-0/5

| Quality | Item of Work | Rate | Unit | Amount. |
| --- | --- | --- | --- | --- |

1.  Supply of Scheme board of M.S Sheet of 3 ¼ ‘’-2’x3’ of 1/8’’ guage and

wielding with 2’’ dia pipe around the sheet and for Stand 2 Nos: including

cutting painting writing and fixing at site in situ (1:3:6) plate from (2’x2’x2’) etc

complete .

01    No:                           @Rs: 16956/=                       Rs: 16956/=

__________

Total Rs: 16956/=

Note:- Subject to any changes/

Variation quantities/rates in

the technical Sanction

(CONTRACTOR)                                         EXECUTIVE ENGINEER

HIGHWAYS DIVISION

KHAIRPUR