| Name of Work :- | Construction of 8’Span bridge at Sim Nala Near Village Katohar. |
| --- | --- |

SCHEDULE-B.

| Quantity. | Item of Work. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- |

01. Excavation in foundation of building, bridges and other structure i/c degbelling, dressing, refilling around structure with excavated earth watering and ramming lead upto one chain and lift upto 5’(S.I.No.18b, P-5).

| 3256 | Cft | @ | Rs: | 3176.25 | P.% 0 Cft | Rs: | 10342.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |

02. Cement Concrete brick or Stone ballast 1-1/2” to 2” guage Ratio (1:4:8) (S.I.No.4, P-17).

| 763 | Cft | @ | Rs: | 9416.28 | P.% Cft | Rs: | 71846.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |

03. Pacca brick work in foundation and Plinth in Cement Sand mortor Ratio (1:4).

| 1280 | Cft | @ | Rs: | 12501.41 | P.% Cft | Rs: | 160018.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |

04. Cement Concrete Plain i/c Placing compacting, finishing and curing complete (i/c screening and washing of stone aggregate without shuttering (1:3:6) (S.I.No.5h, P-18).

| 72 | Cft | @ | Rs: | 14429.25 | P.% Cft | Rs: | 10389/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

05. Fabrication of mild Steel reinforcement for Cement Concrete i/c cutting, bending, laying in Position making joints and fastening i/c cost of binding wire (also i/c removal of rust from bars) (S.I.No.7ii, P-20).

| 25.46 | Cft | @ | Rs: | 4820.20 | P. Cwt | Rs: | 122722.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |

06. R.C.C.Work i/c all labor and material except the cost of steel r/f and its labor for bending and binding which will be paid separately, This rate also i/c all kinds of  forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (i/c screening and washing of shingle) (a) R.C.C.Work in roof slabs beams, columns, lintels and other structural member slain in situ or pre-cast laid in Position complete in all respects Ratio (1:2:4) (S.I.No.6a, P-19).

| 580 | Cft | @ | Rs: | 337.00 | P. Cft | Rs: | 195460.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |

07. Cement Plaster (1:3) upto 20’height ½”thick. (S.I.No.13b, P-58).

| 359 | Sft | @ | Rs: | 2344.59 | P. % Sft | Rs: | 8417.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |

08. Earth work embankment from barrow Pits including laying in 6”layers, clod breaking ramming dressing complete, lead upto 100’ft:lift upto 5ft: ( in ordinary soil).(S.I.No.2,P-01)

| 17000 | Sft | @ | Rs: | 2208.37 | P. %0 Cft | Rs: | 37542.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | G. Total | Rs: | 616736.00 |

Note:- Subject to any Changes Variation in rates/

Quantities in Technical Sanction.

| (CONTRACTOR) | Executive Engineer |
| --- | --- |
|  | Highways Division |
|  | Khairpur. |

| Name of Work :- | Fixing the Paver blocks Over the existing road. |
| --- | --- |

SCHEDULE-B.

| Quantity. | Item of Work. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- |

01. Stone Crushed grated ¾” ring.

| 346 | Cft | Rs:3075.00 | P. % Cft | Rs:10640.00 |
| --- | --- | --- | --- | --- |

02. Crushed fire bricks grated as sand (S.I.No.51 P,No.04)

| 300 | Cft | Rs:2500.00 | P. % Cft | Rs:7500.00 |
| --- | --- | --- | --- | --- |

03. Supplying and filling Sand under floor and plugging in wells. (S.I.No.29, P-31)

| 300 | Cft | Rs:151.25 | P.% Cft | Rs:454.00 |
| --- | --- | --- | --- | --- |

04. Erection and removal of centering for R.c.c.or Plain C.C. works of portal wood (S.I.No.18b, P-21).

| 105 | Sft | Rs:3127.41 | P. % Sft | Rs:3284.00 |
| --- | --- | --- | --- | --- |

05. Cement Concrete Plain i/c Placing compacting, finishing and curing complete (i/c screening and washing of stone aggregate without shuttering (1:3:6) (S.I.No.5h, P-18).

| 79 | Cft | Rs:14429.25 | P. % Cft | Rs:11399.00 |
| --- | --- | --- | --- | --- |

06. Providing & fixing cement paving blocks flooring having size of 197x97x           60 (mm) of city/quddra/cobble shape with natural colours, having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner/pattern and design etc complete.

| 1081 | Sft | Rs:199.77 | P. Sft | Rs:215951.00 |
| --- | --- | --- | --- | --- |
|  |  |  | G. Total | Rs:249228.00 |

Note:- Subject to any Changes Variation in rates/

Quantities in Technical Sanction.

| (CONTRACTOR) | Executive Engineer |
| --- | --- |
|  | Highway Division |
|  | Khairpur. |

Part-(C)-Scheme Board.

| Name of Work :- | Supplying and fixing Scheme board |
| --- | --- |

SCHEDULE-B.

| Quantity | Item of Work. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- |

01. Providing & Fixing Informatory Sign Rectangular shape 4”x3”comprising 2Nos. 3”dia G.I.pipe Post i/c painting Writing as directed each.

| 01 | No. | Rs:16956.00 | Each | Rs: | 16956.00 |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Total | Rs: | 16956.00 |

Note:- Subject to any Changes Variation in rates/

Quantities in Technical Sanction.

| (CONTRACTOR) | Executive Engineer |
| --- | --- |
|  | Highways Division |
|  | Khairpur. |