## 01
ESTIMATE FOR CONSTRUCTOIN OF COMPOUND WALL FOR EIDGAH / IMAM BARGAH AT KOT DIJI TALUKA KOT DIJI (ELECTRIFICATION)
S.NO | NAME OF ITMES | QTY |  | RATE | UNIT | AMOUNT
PART "A" Shedule Items 2012.
1 | wiring for light or fan light point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit receased in the walls or columns as required (S.I.NO:124 P.NO:15) | 60 | Nos | 1130 | p.point | 67800
2 | wiring for plug point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit recessed in the walls or columns as required (S.I.NO:126 P.NO:15). | 8 | Nos | 985 | p.point | 7880
3 | Providing and fixing curcuit breaker 6,10,15,20,30,40,50, and 63 amps a.p (TB-5a). | 8 | Nos | 916 | p.no | 7328
4 | Providing and circuit breaker 6,10,15,20,30,40, and 63amps DP (TB-5a) on an prepared board as required )S. I. 204 P.NO:31) | 2 | Nos | 2456 | p.no | 4912
5 | Providing and circuit breaker 15,20,30,40,50,60,75 and 100amps DP (TB-5a) on an prepared board as required )S. I. 207 P.NO:31) | 1 | Nos | 9261 | p.no | 9261
6 | Providing and fixing on-e way s.p 5amps switch flush type (S.I. NO:219 P.NO:33) | 60 | Nos | 54 | p.no | 3240
7 | Providing and fixing two pin 5amps plug and socket flush type (S.I. NO:225 P.NO:33) | 8 | Nos | 83 | p.no | 664
8 | Providing and fixing three pin 15amps 10 amps plug socket flush type (S.I.NO 227 P.NO:33) | 4 | Nos | 162 | p.no | 648
9 | Providing and fixing bakelite ceiling Rose with two terminals (S.I NO:228 P.NO:33) | 8 | Nos | 72 | p.no | 576
10 | Providing and fixing (Main or subLMain) Pvc insulated with size 2-7/029 copper conduter in 3/4 pvc conduit recessed in the walls or columns as required (S.I NO:10 P.NO:2) | 400 | Mtr | 222 | p.mtr | 88800
11 | Providing and fixing celling fan 56"sweep (Good Quilty) (S.I NO:235 P.NO:54) | 20 | Nos | 3185 | p.no | 63700
12 | Providing and fixing bass button holder (S.I NO:232 P.NO:33) | 26 | Nos | 70 | p.no | 1820
13 | Providing and laying (Main or Sub Main ) Pvc insulated with size 2-7/036 copper conductorin 3/4 dia pvc conduit recessed in the wall or Columns as required (S.I NO:11 P.NO:02) | 100 | Mtr | 252 | p.mtr | 25200
14 | Providing and laying (Main or Sub Main ) Pvc insulated with size 2-7/052 copper conductorin 3/4 dia pvc conduit recessed in the wall or Columns as required (S.I NO:13 P.NO:02) | 120 | Mtr | 463 | P.mtr | 55560
15 | Providing and fixing of Street light 250 watts (Son-T having IP 65 classification 250 watts lamps chock copacitor and internal wiring complete all respect at the hight with the hydraulic crain is per side requirement (S.I.No:162 P.no:25 | 3 | Nos | 16100 | P.no | 48300
16 | Providing and fixing Junction box as per following specification size of box 8'x6"x4 Ms plate 16swg thick clamp screw painting two ceats of rust preventive red eride and two coasts of IGI oil paint as per site requirement and instruciton of EI (S.I NO:158 P.NO:24) | 20 | Nos | 800 | p.no | 16000 | 401689
Part "B" Shedule Items 2004
1 | S/F Engery saver suprior quality (S.I NO:15 P.NO:33) | 45 | Nos | 497 | each | 22365
2 | P/F Main pannal board doubble shutter to accomedate heavy duty circuit bus bar i/e painting with other simllar jobs(S.I NO:8 P.NO:13) | 1 | Sft | 1426.33 | p.sft | 1426.33
4 | P/F wall braket light fancy type suprior quality i/c necessary electric connection and fixing on walls or ceiling etc complete (S.I NO:10 P.NO:33) | 10 | Nos | 497 | each | 4970
5 | P/F earthing sets with 2"x2"x1/2 copper plate burried in ground at depth of 12"less if water from the ground level with salt and characal etc I/C plate to be connected with No:8 s.w.f. boxes copper wiring in 2x1/2" G.I pipe strenght from (S.I NO:(A)1 P.NO:26) | 4 | Nos | 3610 | each | 14440
43201.33
Part "C" Shedule Items 2004
1 | P/F Tublar Pole 20 long 10x5x55x4x5x3 complete with socket duly walded and mild steel of 18x18 3/4' duly walded with overlab etc complete (RA pass by chief Engineer Building hyderabad) | 3 | Nos | 19894 | Each | 59682
2 | CC foundation of 20' long pole ratio 1:2:4: (RA pass by chief Engineer Building Hyderabad) | 3 | Nos | 4000 | Each | 12000
3 | S/F ancher bolts fixing in c.c foundation for pole (RA pass by chief Engineer Building Hyderabad) | 12 | Nos | 200 | Each | 2400
4 | Colouring of pole with paint with silver paint two coats. (RA pass by chief Engineer Building Hyderabad) | 3 | Nos | 800 | Each | 2400
A B S T R A C T
1) Part "A" Total Rs: |  | 402337
2) Part "B" Total Rs: |  | 35981
| 3) Part "C" Total Rs: | 76482
| Grant Total | 514800
| SUB: ENGINEER | ASSISTANT ENGINEER
BUILDING (ELECTRIC) SUB:DIVISION
KHAIRPUR
Part "B" Total Amount 35981
Part "A" Total Amount 402337
Part "C" Total Amount 76482

## 01 (2)
REMAINING WORK DARGAH SYED SHAHNSHAH SHAH MOHARO SAIN AT VILLAGE KHANPUR NEAR KHAIRPUR BYPASS TALUKA KHAIRPUR (ELECTRICFICATION)
S.NO | NAME OF ITMES | QTY |  | RATE | UNIT | AMOUNT
PART "A" Shedule Items 2012.
1 | wiring for light or fan light point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit receased in the walls or columns as required (S.I.NO:124 P.NO:15) | 60 | Nos | 1130 | p.point | 67800
2 | wiring for plug point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit recessed in the walls or columns as required (S.I.NO:126 P.NO:15). | 8 | Nos | 985 | p.point | 7880
3 | Providing and fixing curcuit breaker 6,10,15,20,30,40,50, and 63 amps a.p (TB-5a). | 8 | Nos | 916 | p.no | 7328
4 | Providing and circuit breaker 6,10,15,20,30,40, and 63amps DP (TB-5a) on an prepared board as required )S. I. 204 P.NO:31) | 2 | Nos | 2456 | p.no | 4912
5 | Providing and circuit breaker 15,20,30,40,50,60,75 and 100amps DP (TB-5a) on an prepared board as required )S. I. 207 P.NO:31) | 1 | Nos | 9261 | p.no | 9261
6 | Providing and fixing on-e way s.p 5amps switch flush type (S.I. NO:219 P.NO:33) | 60 | Nos | 54 | p.no | 3240
7 | Providing and fixing two pin 5amps plug and socket flush type (S.I. NO:225 P.NO:33) | 8 | Nos | 83 | p.no | 664
8 | Providing and fixing three pin 15amps 10 amps plug socket flush type (S.I.NO 227 P.NO:33) | 4 | Nos | 162 | p.no | 648
9 | Providing and fixing bakelite ceiling Rose with two terminals (S.I NO:228 P.NO:33) | 8 | Nos | 72 | p.no | 576
10 | Providing and fixing (Main or subLMain) Pvc insulated with size 2-7/029 copper conduter in 3/4 pvc conduit recessed in the walls or columns as required (S.I NO:10 P.NO:2) | 400 | Mtr | 222 | p.mtr | 88800
11 | Providing and fixing (Main or subLMain) Pvc insulated with size 2-7/044 (6mm2) copper conduter in 3/4 dia pvc conduit recessed in the walls or columns as required (S.I NO:12 P.NO:2) | #REF! | Mtr | 341 | p.mtr | #REF!
12 | Providing and laying (Main or Sub Main ) Pvc insulated pvc sheeted with single core copper conductor 300/500 volte size 2-7/064 P.NO:57 P.NO:7 | #REF! | Mtr | 524 | p.mtr | #REF!
13 | Providing and fixing celling fan 56"sweep (Good Quilty) (S.I NO:235 P.NO:54) | 20 | Nos | 3185 | p.no | 63700
14 | Providing and fixing bass button holder (S.I NO:232 P.NO:33) | 26 | Nos | 70 | p.no | 1820
15 | Providing and laying (Main or Sub Main ) Pvc insulated with size 2-7/036 copper conductorin 3/4 dia pvc conduit recessed in the wall or Columns as required (S.I NO:11 P.NO:02) | 100 | Mtr | 252 | p.mtr | 25200
16 | Providing and fixing Junction box as per following specification size of box 8'x6"x4 Ms plate 16swg thick clamp screw painting two ceats of rust preventive red eride and two coasts of IGI oil paint as per site requirement and instruciton of EI (S.I NO:158 P.NO:24) | 20 | Nos | 800 | p.no | 16000 | #REF!
Part "B" Shedule Items 2004
1 | S/F Engery saver suprior quality (S.I NO:15 P.NO:33) | 45 | Nos | 497 | each | 22365
2 | P/F Main pannal board doubble shutter to accomedate heavy duty circuit bus bar i/e painting with other simllar jobs(S.I NO:8 P.NO:13) | 1 | Sft | 1426.33 | p.sft | 1426.33
3 | S/F of A.C ceilling fan regulator on metal board recessed in the walls or columns and covered with plastic sheet (S.I NO:(A)3 P.NO:14) | #REF! | Nos | 124.3 | each | #REF!
4 | P/F wall braket light fancy type suprior quality i/c necessary electric connection and fixing on walls or ceiling etc complete (S.I NO:10 P.NO:33) | 10 | Nos | 497 | each | 4970
5 | P/F earthing sets with 2"x2"x1/2 copper plate burried in ground at depth of 12"less if water from the ground level with salt and characal etc I/C plate to be connected with No:8 s.w.f. boxes copper wiring in 2x1/2" G.I pipe strenght from (S.I NO:(A)1 P.NO:26) | 4 | Nos | 3610 | each | 14440
(NOTE) | [6 empty] | #REF!
Quotation and Rate may be changed as per / according technical sanctioned by competent Authorities.
A B S T R A C T
1) Part "A" Total Rs: |  | #REF!
1) Part "B" Total Rs: |  | #REF!
| Grant Total | #REF!
| Say Rs: | 514800
EXECUTIVE ENGINEER
BUILDING DIVISION
KHAIRPUR
Part "A" Total Amount 260534
Part "B" Total Amount 9385
Part "A" Total Amount 92110

## Sheet2
F A C E S H E E T
FUND HEAD:-
MAJOR HEAD:-
MINOR HEAD:- |  | ESTIMATE FOR CONSTRUCTOIN OF COMPOUND WALL FOR EIDGAH / IMAM BARGAH AT KOT DIJI TALUKA KOT DIJI (ELECTRIFICATION)
SERVICE HEAD:-
DEPTT:HEAD:-
This estimate has been framed in the office of the Executive Engineer
Building Division Khairpur for the Expenditure that wil be incurred on the above subjected work.
|  |  |  | AMOUNT TO RS: | 514800
…………………………………